## Sheet1
Component | Part Number | Details | Unit Price | Units Required | Cost | STATUS
Air Tank Pressure Transducer (I3) | MKS 722B24TBA2A | range 400 psi, 1/2" tube, 0-10 vdc out, 9 pin D type, | 1500 | 1 | 1500 | OK
Air Flow Transducer ( I4 and I5) | MKS 0579A 01332LS3BV | range 0-300 slm, 1/2" swagelock fitting, 15 pin D type | 1700 | 3 | 5100 | OK
Flow Control Rotameter | Dwyer RMC-121-SSV | 0-10 scfm (283 slm), SS control valve | 140 | 2 | 280 | OK
High Purity Pressure Regulator | McMaster Carr part # 49305K23 | 5-55 psi range, 1" FPT | 226 | 2 | 452 | OK
Local Pressure Gauges – Tank | McMaster Carr part # 4000k791 | 0-200 psi | 12.03 | 1 | 12.03 | OK
Local Pressure Gauges – Supply | McMaster Carr part # 4000k721 | 0-100 psi | 10.14 | 2 | 20.28 | OK
Check Valves | Swagelock # SS-CHS16-1 | 1” valve, 1 psid | 283 | 2 | 566 | OK
Fittings Estimate | TBD | Compression and pipe fittings | 50 | 30 | 1500 | OK
Isolation Valves | In House Supply | Valves are on hand and available | 0 | 0 | 0 | OK
SS piping | 1” SS tubing | Estimate Required |  |  | 0 | OPEN
Fittings | Pipe Fitting to connect tubing | Estimate Required |  |  | 0 | OPEN
ASME Relief Valve for Tank | Requires Analysis | Pressure System Requirements |  | 1 | 0 | OPEN
Relief Valves for Supply | Requires Analysis | Pressure System Requirements |  | 2 | 0 | OPEN
Compressor Running Transducer | Atlas Copco | Atlas Copco |  | 2 | 0 | OPEN
Air Supply Flex Lines | TBD | Need Layout with Routing to Estimate lengths |  |  | 0 | OPEN
Detector Air Out Temp Sensor | TBD | RICH group |  | 2 | 0 | OPEN
Detector Air In Temp/H2O | TBD | RICH group /DSG |  | 2 | 0 | OPEN
Compressors | RICH Group | Atlas Copco |  | 2 |  | OPEN
ASME Air Tank | RICH Group | ASME Tank |  | 1 |  | OPEN
|  |  |  | SUB TOTAL | 9430.31