Proposed magnetic field binary file format

Version 2

October 18, 2012

David Heddle

Christopher Newport University

# The ascii file, sptorus_map.dat

The CLAS 12 GeV torus field is in the ASCII file sptorus_map.dat. This file is 495.5 MB.

The format of sptorus_map.dat is:

-  varies from 0.0 to 30.0° in steps of 0.25°.

- r varies from 0.0 to 500 cm in steps of 2.0 cm.

- z varies from 100.0 cm to 600.0 cm in steps of 2.0 cm

- The field values are in kG, and are provided in Cartesian components.

That is: the magnetic field grid is in cylindrical coordinates, but the data stored at each grid point are the Cartesian components of the magnetic field.

Each line in the file has six numbers:

i, rj, zk, Bx, By, Bz

The loop over z is the inner (fastest) loop. The r-loop is the middle, and the -loop is the outer, slowest varying loop.

While the ASCII map is useful, it may be too slow for some applications. This document proposes a format for a binary version of the file, and for any other field map. It can accommodate different coordinate systems and different units. It assumes that the step size in any direction is fixed and determined by the extremes for that direction and the number of points.

The proposed binary file format contains a twenty 32-bit word header. (The 80 bytes for this header are in the noise when it comes file size.) The proposed header format is:

(int) 0xced (decimal: 3309) magic number—to check for byte swapping

(int) Grid Coordinate System (0 = cylindrical, 1 = Cartesian)

(int) Field Coordinate System (0 = cylindrical, 1 = Cartesian)

(int) Length units (0 = cm, 1 = m)

(int) Angular units (0 = decimal degrees, 1 = radians)

(int) Field units (0 = kG, 1 = G, 2 = T)

(int) q1 min (min value of slowest varying coordinate)

(int) q1 max (max value of slowest varying coordinate)

(int) Nq1 number of points (equally spaced) in q1 direction including ends

(float) q2 min (min value of medium varying coordinate)

(float) q2 max (max value of medium varying coordinate)

(int) Nq2 number of points (equally spaced) in q2 direction including ends

(float) q3 min (min value of fastest varying coordinate)

(float) q3 max (max value of fastest varying coordinate)

(int) Nq3 number of points (equally spaced) in q3 direction including ends

Reserved 1

Reserved 2

Reserved 3

Reserved 4

Reserved 5

The only ambiguity is the meaning of the triplet {q1, q2, q3} For cylindrical coordinates, to be compatible with sptorus_map.dat, the triplet means { r, z}. It seems most natural that for Cartesian coordinates the triplet maps to: {x, y, z}. Thus for a Cartesian field map, x would be the outer, slowest-varying grid component.

The total number of field points will be: N = N1*N2*N3 (we will store floats, not doubles)). Each point requires three four-byte quantities. The total size of the binary file will be 80 + 3*4*N.

Noting that the number of points always includes the endpoints, the step size in direction i is (qimax - qimin)/(Ni - 1)

The reserved fields can be used, in some manner to be defined later, to indicate scaling or the application of a smoothing function.

The field follows the header, in repeating triplets:

B1

B2

B3

The first three entries correspond to the field components for the first grid point, the next three for the second grid point, etc. The ordering, for consistency, should be:

{Bx, By, Bz} if the field is Cartesian

{B, Br, Bz} if the field is Cylindrical

For the binary version of the standard file sptorus_map.dat, we have for the header:

0xced

0 (grid is cylindrical)

1 (field is Cartesian)

0 (units: cm)

0 (units: decimal degrees)

0 (units: kG)

0.0 (min)

30.0 (max, degrees)

121 (N)

0.0 (rmin)

500.0 (rmax, cm)

251 (Nr)

100.0 (zmin, cm)

600.0 (zmax, cm)

251 (Nz)

0 (Reserved 1)

0 (Reserved 2)

0 (Reserved 3)

0 (Reserved 4)

0 (Reserved 5)

Thus the three step sizes are:

 = (30-0)/(121-1) = 0.25°

r = (500-0)/(251-1) = 2 cm

z = (600-100)/(251-1) = 2 cm

The size of the binary is

80 + 3*4*121*251*251 = 91,477,532 bytes.

# The field map for ced: clas12_torus_fieldmap_binary.dat

ced uses the file clas12_torus_fieldmap_binary.dat.  It stores the field in this proposed format with the coordinate system described above. However, the number of data points has been reduced (approximately) by a factor of 8 (step size doubled in each direction.) For the ced torus field stored in clas12_torus_fieldmap_binary.dat:

N= 61, and Nr = Nz = 126,

The minimum and maximum of each coordinate is the same as above, so

 = (30-0)/(61-1) = 0.50°

r = (500-0)/(126-1) = 4 cm

z = (600-100)/(126-1) = 50 cm

The size of clas12_torus_fieldmap_binary.dat is then

80 + 3*4*61*126*126 =  11,621,312 bytes.

# Questions

- Is this format sufficiently flexible?

- Is storing field components as floats rather than doubles sufficient?