## Heater Controls
Heater Controls
Cable # | TC extension pair | cRIO Con nection (slot.channel) | Detector Channel Name | Pair Label | Thermocouple sensor location | Map Controls Thermocouples (main) | Map Controls Thermocouple (spare)
Heat Con 1 | 1.1 | 1.0 | Controls Temp Zone 1 | Con Temp Zone 1 | Zone 1 (AL1/AL2) | 3 | 10
| 1.2 | 1.1 | Controls Temp Zone 2 | Con Temp Zone 2 | SM2/SM6 | 4 | 6
| 1.3 | 1.2 | Controls Temp Zone 3 | Con Temp Zone 3 | SM8/SM9 | 7 | 8
| 1.4 | 1.3 | Controls Temp Zone 4 | Con Temp Zone 4 | SM12/SM19 | 11 | 14
| 1.5 | 1.4 | Controls Temp Zone 5 | Con Temp Zone 5 | SM15/SM22 | 12 | 15
| 1.6 | 1.5 | Controls Temp Zone 6 | Con Temp Zone 6 | SM30/SM39 | 20 | 25
| 1.7 | 1.6 | Controls Temp Zone 7 | Con Temp Zone 7 | Zone 7 (AL1/AL2) | 17 | 22
| 1.8 | 1.7 | Controls Temp Zone 8 | Con Temp Zone 8 | SM26/SM34 | 18 | 23
Heat Con 2 | 2.1 | 1.8 | Controls Temp Zone 9 | Con Temp Zone 9 | SM28/SM37 | 19 | 24
| 2.2 | 1.9 | Controls Temp Zone 10 | Con Temp Zone 10 | SM50/SM51 | 29 | 30
| 2.3 | 1.10 | Controls Temp Zone 11 | Con Temp Zone 11 | SM52/SM53 | 31 | 32
| 2.4 | 1.11 | Controls Temp Zone 12 | Con Temp Zone 12 | SM54/SM55 | 33 | 34
| 2.5 | 1.12 | Controls Temp Zone 13 | Con Temp Zone 13 | SM56/SM57 | 35 | 36
| 2.6 | 1.13 | Controls Temp Zone 14 | Con Temp Zone 14 | SM67/SM76 | 37 | 39
| 2.7 | 1.14 | Controls Temp Zone 15 | Con Temp Zone 15 | Zone 15 (AL1/AL2) | 28 | 40
| 2.8 | 1.15 | Controls Temp Zone 16 | Con Temp Zone 16 | SM77/SM78 | 41 | 42
Heat Con 3 | 3.1 | 2.0 | Controls Temp Zone 17 | Con Temp Zone 17 | SM79/SM80 | 43 | 44
| 3.2 | 2.1 | Controls Temp Zone 18 | Con Temp Zone 18 | SM81/SM82 | 45 | 46
| 3.3 | 2.2 | Controls Temp Zone 19 | Con Temp Zone 19 | SM83/SM84 | 47 | 48
| 3.4 | 2.3 | Controls Temp Zone 20 | Con Temp Zone 20 | Zone 20 (AL1/AL2) | 50 | 52
| 3.5 | 2.4 | Controls Temp Zone 21 | Con Temp Zone 21 | SM105/SM106 | 53 | 54
| 3.6 | 2.5 | Controls Temp Zone 22 | Con Temp Zone 22 | SM107/SM108 | 55 | 56
| 3.7 | 2.6 | Controls Temp Zone 23 | Con Temp Zone 23 | SM109/SM110 | 57 | 58
| 3.8 | 2.7 | Controls Temp Zone 24 | Con Temp Zone 24 | SM111/SM112 | 59 | 60
Heat Con 4 | 4.1 | 2.8 | Controls Temp Zone 25 | Con Temp Zone 25 | SM113/SM114 | 61 | 64
| 4.2 | 2.9 | Controls Temp Zone 26 | Con Temp Zone 26 | Zone 26 (AL1/AL2) | 63 | 74
| 4.3 | 2.10 | Controls Temp Zone 27 | Con Temp Zone 27 | SM131/SM132 | 65 | 66
| 4.4 | 2.11 | Controls Temp Zone 28 | Con Temp Zone 28 | SM133/SM134 | 67 | 68
| 4.5 | 2.12 | Controls Temp Zone 29 | Con Temp Zone 29 | SM135/SM136 | 69 | 70
| 4.6 | 2.13 | Controls Temp Zone 30 | Con Temp Zone 30 | SM137/SM138 | 71 | 72
| 4.7 | 2.14 | Controls Temp Zone 31 | Con Temp Zone 31 | Zone 31 (AL1/AL2) | 79 | 87
| 4.8 | 2.15 | Controls Temp Zone 32 | Con Temp Zone 32 | SM150/SM158 | 75 | 80
Heat Con 5 | 5.1 | 3.0 | Controls Temp Zone 33 | Con Temp Zone 33 | SM133/SM161 | 76 | 81
| 5.2 | 3.1 | Controls Temp Zone 34 | Con Temp Zone 34 | SM155/SM163 | 77 | 82
| 5.3 | 3.2 | Controls Temp Zone 35 | Con Temp Zone 35 | SM166/SM173 | 84 | 88
| 5.4 | 3.3 | Controls Temp Zone 36 | Con Temp Zone 36 | SM169/SM176 | 85 | 89
| 5.5 | 3.4 | Controls Temp Zone 37 | Con Temp Zone 37 | SM180/SM182 | 92 | 93
| 5.6 | 3.5 | Controls Temp Zone 38 | Con Temp Zone 38 | Zone 38 (AL1/AL2) | 91 | 95
| 5.7 | 3.6 | Controls Temp Zone 39 | Con Temp Zone 39 | Zone 39 (AL1/AL2) | 94 | 96
| 5.8 | 3.7 | Controls Temp Zone 40 | Con Temp Zone 40 | Zone 40 (AL1/AL2) | 86 | 90
Heat Con 6 | 6.1 | 3.8 | Controls Temp Zone 41 | Con Temp Zone 41 | Zone 41 (AL1/AL2) | 78 | 83
| 6.2 | 3.9 | Controls Temp Zone 42 | Con Temp Zone 42 | Zone 42 (AL1/AL2) | 62 | 73
| 6.3 | 3.10 | Controls Temp Zone 43 | Con Temp Zone 43 | Zone 43 (AL1/AL2) | 49 | 51
| 6.4 | 3.11 | Controls Temp Zone 44 | Con Temp Zone 44 | Zone 44 (AL1/AL2) | 27 | 38
| 6.5 | 3.12 | Controls Temp Zone 45 | Con Temp Zone 45 | Zone 45 (AL1/AL2) | 21 | 26
| 6.6 | 3.13 | Controls Temp Zone 46 | Con Temp Zone 46 | Zone 46 (AL1/AL2) | 13 | 16
| 6.7 | 3.14 | Controls Temp Zone 47 | Con Temp Zone 47 | Zone 47 (AL1/AL2) | 5 | 9
| 6.8 | 3.15 | Controls Temp Zone 48 | Con Temp Zone 48 | Zone 48 (AL1/AL2) | 1 | 2

## Crystal Temps
Front and Rear Crystal Thermocouple Monitoring
Cable # | TC extension pair | cRIO connection (slot.channel) | Detector Channel Name | Pair Label | Thermocouple sensor location [Zone (SM junction)] | Crystal Thermocouple
Crystal Temp 7 | 7.1 | 1.0 | Front Crystal Temp Location 1 | Fr Crystal Temp 1 | Zone 2 (SM1 & SM5) | Front 1
| 7.2 | 1.1 | Front Crystal Temp Location 2 | Fr Crystal Temp 2 | Zone 3 (SM4 & SM8) | Front 2
| 7.3 | 1.2 | Front Crystal Temp Location 3 | Fr Crystal Temp 3 | Zone 2/4 (SM6 & SM12) | Front 3
| 7.4 | 1.3 | Front Crystal Temp Location 4 | Fr Crystal Temp 4 | Zone 3/5 (SM9 & SM15) | Front 4
| 7.5 | 1.4 | Front Crystal Temp Location 5 | Fr Crystal Temp 5 | Zone 4 (SM12 & SM19) | Front 5
| 7.6 | 1.5 | Front Crystal Temp Location 6 | Fr Crystal Temp 6 | Zone 5 (SM16 & SM23) | Front 6
| 7.7 | 1.6 | Front Crystal Temp Location 7 | Fr Crystal Temp 7 | Zone 4/8 (SM19 & SM26) | Front 7
| 7.8 | 1.7 | Front Crystal Temp Location 8 | Fr Crystal Temp 8 | Zone 5/9 (SM21 & SM28) | Front 8
Crystal Temp 8 | 8.1 | 1.8 | Front Crystal Temp Location 9 | Fr Crystal Temp 9 | Zone 6 (SM24 & SM31) | Front 9
| 8.2 | 1.9 | Front Crystal Temp Location 10 | Fr Crystal Temp 10 | Zone 8/10 (SM33 & SM41) | Front 10
| 8.3 | 1.10 | Front Crystal Temp Location 11 | Fr Crystal Temp 11 | Zone 8/11 (SM36 & SM43) | Front 11
| 8.4 | 1.11 | Front Crystal Temp Location 12 | Fr Crystal Temp 12 | Zone 9/12 (SM37 & SM45) | Front 12
| 8.5 | 1.12 | Front Crystal Temp Location 13 | Fr Crystal Temp 13 | Zone 6/14 (SM39 & SM47) | Front 13
| 8.6 | 1.13 | Front Crystal Temp Location 14 | Fr Crystal Temp 14 | Zone 10 (SM50 & SM59) | Front 14
| 8.7 | 1.14 | Front Crystal Temp Location 15 | Fr Crystal Temp 15 | Zone 11 (SM52 & SM61) | Front 15
| 8.8 | 1.15 | Front Crystal Temp Location 16 | Fr Crystal Temp 16 | Zone 12 (SM54 & SM63) | Front 16
Crystal Temp 9 | 9.1 | 2.0 | Front Crystal Temp Location 17 | Fr Crystal Temp 17 | Zone 13 (SM56 & SM65) | Front 17
| 9.2 | 2.1 | Front Crystal Temp Location 18 | Fr Crystal Temp 18 | Zone 14 (SM58 & SM67) | Front 18
| 9.3 | 2.2 | Front Crystal Temp Location 19 | Fr Crystal Temp 19 | Zone 16 (SM68 & SM77) | Front 19
| 9.4 | 2.3 | Front Crystal Temp Location 20 | Fr Crystal Temp 20 | Zone 17 (SM70 & SM79) | Front 20
| 9.5 | 2.4 | Front Crystal Temp Location 21 | Fr Crystal Temp 21 | Zone 18 (SM72 & SM81) | Front 21
| 9.6 | 2.5 | Front Crystal Temp Location 22 | Fr Crystal Temp 22 | Zone 19 (SM74 & SM83) | Front 22
| 9.7 | 2.6 | Front Crystal Temp Location 23 | Fr Crystal Temp 23 | Zone 14 (SM76 & SM85) | Front 23
| 9.8 | 2.7 | Front Crystal Temp Location 24 | Fr Crystal Temp 24 | Zone 16/21 (SM86 & SM95) | Front 24
Crystal Temp 10 | 10.1 | 2.8 | Front Crystal Temp Location 25 | Fr Crystal Temp 25 | Zone 17/22 (SM88 & SM97) | Front 25
| 10.2 | 2.9 | Front Crystal Temp Location 26 | Fr Crystal Temp 26 | Zone 18/23 (SM90 & SM99) | Front 26
| 10.3 | 2.10 | Front Crystal Temp Location 27 | Fr Crystal Temp 27 | Zone 19/24 (SM92 & SM101) | Front 27
| 10.4 | 2.11 | Front Crystal Temp Location 28 | Fr Crystal Temp 28 | Zone 14/25 (SM94 & SM103) | Front 28
| 10.5 | 2.12 | Front Crystal Temp Location 29 | Fr Crystal Temp 29 | Zone 21 (SM104 & SM113) | Front 29
| 10.6 | 2.13 | Front Crystal Temp Location 30 | Fr Crystal Temp 30 | Zone 22 (SM106 & SM115) | Front 30
| 10.7 | 2.14 | Front Crystal Temp Location 31 | Fr Crystal Temp 31 | Zone 23 (SM108 & SM117) | Front 31
| 10.8 | 2.15 | Front Crystal Temp Location 32 | Fr Crystal Temp 32 | Zone 24 (SM110 & SM119) | Front 32
Crystal Temp 11 | 11.1 | 3.0 | Front Crystal Temp Location 33 | Fr Crystal Temp 33 | Zone 25 (SM112 & SM121) | Front 33
| 11.2 | 3.1 | Front Crystal Temp Location 34 | Fr Crystal Temp 34 | Zone 27 (SM122 & SM131) | Front 34
| 11.3 | 3.2 | Front Crystal Temp Location 35 | Fr Crystal Temp 35 | Zone 28 (SM124 & SM133) | Front 35
| 11.4 | 3.3 | Front Crystal Temp Location 36 | Fr Crystal Temp 36 | Zone 29 (SM126 & SM135) | Front 36
| 11.5 | 3.4 | Front Crystal Temp Location 37 | Fr Crystal Temp 37 | Zone 30 (SM128 & SM137) | Front 37
| 11.6 | 3.5 | Front Crystal Temp Location 38 | Fr Crystal Temp 38 | Zone 25 (SM130 & SM139) | Front 38
| 11.7 | 3.6 | Front Crystal Temp Location 39 | Fr Crystal Temp 39 | Zone 27/32 (SM140 & SM149) | Front 39
| 11.8 | 3.7 | Front Crystal Temp Location 40 | Fr Crystal Temp 40 | Zone 28/32 (SM142 & SM151) | Front 40
Crystal Temp 12 | 12.1 | 3.8 | Front Crystal Temp Location 41 | Fr Crystal Temp 41 | Zone 29/33 (SM144 & SM153) | Front 41
| 12.2 | 3.9 | Front Crystal Temp Location 42 | Fr Crystal Temp 42 | Zone 30/34 (SM146 & SM155) | Front 42
| 12.3 | 3.10 | Front Crystal Temp Location 43 | Fr Crystal Temp 43 | Zone 32/35 (SM157 & SM165) | Front 43
| 12.4 | 3.11 | Front Crystal Temp Location 44 | Fr Crystal Temp 44 | Zone 33/36 (SM160 & SM168) | Front 44
| 12.5 | 3.12 | Front Crystal Temp Location 45 | Fr Crystal Temp 45 | Zone 34 (SM163 & SM171) | Front 45
| 12.6 | 3.13 | Front Crystal Temp Location 46 | Fr Crystal Temp 46 | Zone 35 (SM166 & SM173) | Front 46
| 12.7 | 3.14 | Front Crystal Temp Location 47 | Fr Crystal Temp 47 | Zone 36 (SM170 & SM177) | Front 47
| 12.8 | 3.15 | Front Crystal Temp Location 48 | Fr Crystal Temp 48 | Zone 35/37 (SM173 & SM180) | Front 48
Crystal Temp 13 | 13.1 | 4.0 | Front Crystal Temp Location 49 | Fr Crystal Temp 49 | Zone 36/37 (SM176 SM183) | Front 49
| 13.2 | 4.1 | Rear Crystal Temp Location 1 | Re Crystal Temp 1 | Zone 2 (SM1 & SM5) | Rear 1
| 13.3 | 4.2 | Rear Crystal Temp Location 2 | Re Crystal Temp 2 | Zone 3 (SM4 & SM8) | Rear 2
| 13.4 | 4.3 | Rear Crystal Temp Location 3 | Re Crystal Temp 3 | Zone 2/4 (SM6 & SM12) | Rear 3
| 13.5 | 4.4 | Rear Crystal Temp Location 4 | Re Crystal Temp 4 | Zone 3/5 (SM9 & SM15) | Rear 4
| 13.6 | 4.5 | Rear Crystal Temp Location 5 | Re Crystal Temp 5 | Zone 4 (SM12 & SM19) | Rear 5
| 13.7 | 4.6 | Rear Crystal Temp Location 6 | Re Crystal Temp 6 | Zone 5 (SM16 & SM23) | Rear 6
| 13.8 | 4.7 | Rear Crystal Temp Location 7 | Re Crystal Temp 7 | Zone 4/8 (SM19 & SM26) | Rear 7
Crystal Temp 14 | 14.1 | 4.8 | Rear Crystal Temp Location 8 | Re Crystal Temp 8 | Zone 5/9 (SM21 & SM28) | Rear 8
| 14.2 | 4.9 | Rear Crystal Temp Location 9 | Re Crystal Temp 9 | Zone 6 (SM24 & SM31) | Rear 9
| 14.3 | 4.10 | Rear Crystal Temp Location 10 | Re Crystal Temp 10 | Zone 8/10 (SM33 & SM41) | Rear 10
| 14.4 | 4.11 | Rear Crystal Temp Location 11 | Re Crystal Temp 11 | Zone 8/11 (SM36 & SM43) | Rear 11
| 14.5 | 4.12 | Rear Crystal Temp Location 12 | Re Crystal Temp 12 | Zone 9/12 (SM37 & SM45) | Rear 12
| 14.6 | 4.13 | Rear Crystal Temp Location 13 | Re Crystal Temp 13 | Zone 6/14 (SM39 & SM47) | Rear 13
| 14.7 | 4.14 | Rear Crystal Temp Location 14 | Re Crystal Temp 14 | Zone 10 (SM50 & SM59) | Rear 14
| 14.8 | 4.15 | Rear Crystal Temp Location 15 | Re Crystal Temp 15 | Zone 11 (SM52 & SM61) | Rear 15
Crystal Temp 15 | 15.1 | 5.0 | Rear Crystal Temp Location 16 | Re Crystal Temp 16 | Zone 12 (SM54 & SM63) | Rear 16
| 15.2 | 5.1 | Rear Crystal Temp Location 17 | Re Crystal Temp 17 | Zone 13 (SM56 & SM65) | Rear 17
| 15.3 | 5.2 | Rear Crystal Temp Location 18 | Re Crystal Temp 18 | Zone 14 (SM58 & SM67) | Rear 18
| 15.4 | 5.3 | Rear Crystal Temp Location 19 | Re Crystal Temp 19 | Zone 16 (SM68 & SM77) | Rear 19
| 15.5 | 5.4 | Rear Crystal Temp Location 20 | Re Crystal Temp 20 | Zone 17 (SM70 & SM79) | Rear 20
| 15.6 | 5.5 | Rear Crystal Temp Location 21 | Re Crystal Temp 21 | Zone 18 (SM72 & SM81) | Rear 21
| 15.7 | 5.6 | Rear Crystal Temp Location 22 | Re Crystal Temp 22 | Zone 19 (SM74 & SM83) | Rear 22
| 15.8 | 5.7 | Rear Crystal Temp Location 23 | Re Crystal Temp 23 | Zone 14 (SM76 & SM85) | Rear 23
Crystal Temp 16 | 16.1 | 5.8 | Rear Crystal Temp Location 24 | Re Crystal Temp 24 | Zone 16/21 (SM86 & SM95) | Rear 24
| 16.2 | 5.9 | Rear Crystal Temp Location 25 | Re Crystal Temp 25 | Zone 17/22 (SM88 & SM97) | Rear 25
| 16.3 | 5.10 | Rear Crystal Temp Location 26 | Re Crystal Temp 26 | Zone 18/23 (SM90 & SM99) | Rear 26
| 16.4 | 5.11 | Rear Crystal Temp Location 27 | Re Crystal Temp 27 | Zone 19/24 (SM92 & SM101) | Rear 27
| 16.5 | 5.12 | Rear Crystal Temp Location 28 | Re Crystal Temp 28 | Zone 14/25 (SM94 & SM103) | Rear 28
| 16.6 | 5.13 | Rear Crystal Temp Location 29 | Re Crystal Temp 29 | Zone 21 (SM104 & SM113) | Rear 29
| 16.7 | 5.14 | Rear Crystal Temp Location 30 | Re Crystal Temp 30 | Zone 22 (SM106 & SM115) | Rear 30
| 16.8 | 5.15 | Rear Crystal Temp Location 31 | Re Crystal Temp 31 | Zone 23 (SM108 & SM117) | Rear 31
Crystal Temp 17 | 17.1 | 6.0 | Rear Crystal Temp Location 32 | Re Crystal Temp 32 | Zone 24 (SM110 & SM119) | Rear 32
| 17.2 | 6.1 | Rear Crystal Temp Location 33 | Re Crystal Temp 33 | Zone 25 (SM112 & SM121) | Rear 33
| 17.3 | 6.2 | Rear Crystal Temp Location 34 | Re Crystal Temp 34 | Zone 27 (SM122 & SM131) | Rear 34
| 17.4 | 6.3 | Rear Crystal Temp Location 35 | Re Crystal Temp 35 | Zone 28 (SM124 & SM133) | Rear 35
| 17.5 | 6.4 | Rear Crystal Temp Location 36 | Re Crystal Temp 36 | Zone 29 (SM126 & SM135) | Rear 36
| 17.6 | 6.5 | Rear Crystal Temp Location 37 | Re Crystal Temp 37 | Zone 30 (SM128 & SM137) | Rear 37
| 17.7 | 6.6 | Rear Crystal Temp Location 38 | Re Crystal Temp 38 | Zone 25 (SM130 & SM139) | Rear 38
| 17.8 | 6.7 | Rear Crystal Temp Location 39 | Re Crystal Temp 39 | Zone 27/32 (SM140 & SM149) | Rear 39
Crystal Temp 18 | 18.1 | 6.8 | Rear Crystal Temp Location 40 | Re Crystal Temp 40 | Zone 28/32 (SM142 & SM151) | Rear 40
| 18.2 | 6.9 | Rear Crystal Temp Location 41 | Re Crystal Temp 41 | Zone 29/33 (SM144 & SM153) | Rear 41
| 18.3 | 6.10 | Rear Crystal Temp Location 42 | Re Crystal Temp 42 | Zone 30/34 (SM146 & SM155) | Rear 42
| 18.4 | 6.11 | Rear Crystal Temp Location 43 | Re Crystal Temp 43 | Zone 32/35 (SM157 & SM165) | Rear 43
| 18.5 | 6.12 | Rear Crystal Temp Location 44 | Re Crystal Temp 44 | Zone 33/36 (SM160 & SM168) | Rear 44
| 18.6 | 6.13 | Rear Crystal Temp Location 45 | Re Crystal Temp 45 | Zone 34 (SM163 & SM171) | Rear 45
| 18.7 | 6.14 | Rear Crystal Temp Location 46 | Re Crystal Temp 46 | Zone 35 (SM166 & SM173) | Rear 46
| 18.8 | 6.15 | Rear Crystal Temp Location 47 | Re Crystal Temp 47 | Zone 36 (SM170 & SM177) | Rear 47
Crystal Temp 19 | 19.1 | 7.0 | Rear Crystal Temp Location 48 | Re Crystal Temp 48 | Zone 35/37 (SM173 & SM180) | Rear 48
| 19.2 | 7.1 | Rear Crystal Temp Location 49 | Re Crystal Temp 49 | Zone 36/37 (SM176 SM183) | Rear 49
| 19.3 | 7.2
| 19.4 | 7.3
| 19.5 | 7.4
| 19.6 | 7.5
| 19.7 | 7.6
| 19.8 | 7.7

## Light Guide Temps
Light Guide Thermocouple Monitoring
Cable # | TC extension pair | cRIO connection (slot.channel) | Detector Channel Name | Pair Label | Thermocouple sensor location Zone SM (row.col) | Light Guide Thermocouple
Light Guide Temp 20 | 20.1 | 1.0 | Light Guide Temp Location 1 | LG Temp 1 | Zone 2, SM3, LG (2, 7) | 1
| 20.2 | 1.1 | Light Guide Temp Location 2 | LG Temp 2 | Zone 2, SM5, LG (4, 2) | 2
| 20.3 | 1.2 | Light Guide Temp Location 3 | LG Temp 3 | Zone 3, SM8, LG (6, 12) | 3
| 20.4 | 1.3 | Light Guide Temp Location 4 | LG Temp 4 | Zone 4, SM12, LG (9, 4) | 4
| 20.5 | 1.4 | Light Guide Temp Location 5 | LG Temp 5 | Zone 5, SM15, LG (9, 15) | 5
| 20.6 | 1.5 | Light Guide Temp Location 6 | LG Temp 6 | Zone 8, SM25, LG (13, 3) | 6
| 20.7 | 1.6 | Light Guide Temp Location 7 | LG Temp 7 | Zone 9, SM28, LG (13, 11) | 7
| 20.8 | 1.7 | Light Guide Temp Location 8 | LG Temp 8 | Zone 6, SM31, LG (13, 19) | 8
Light Guide Temp 21 | 21.9 | 1.8 | Light Guide Temp Location 9 | LG Temp 9 | Zone 10, SM41, LG (19, 2) | 9
| 21.1 | 1.9 | Light Guide Temp Location 10 | LG Temp 10 | Zone 11, SM44, LG (19, 10) | 10
| 21.11 | 1.10 | Light Guide Temp Location 11 | LG Temp 11 | Zone 13, SM47, LG (19, 19) | 11
| 21.12 | 1.11 | Light Guide Temp Location 12 | LG Temp 12 | Zone 10, SM59, LG (25, 2) | 12
| 21.13 | 1.12 | Light Guide Temp Location 13 | LG Temp 13 | Zone 11, SM62, LG (25, 10) | 13
| 21.14 | 1.13 | Light Guide Temp Location 14 | LG Temp 14 | Zone 13, SM65, LG (25, 19) | 14
| 21.15 | 1.14 | Light Guide Temp Location 15 | LG Temp 15 | Zone 14, SM67, LG (25, 25) | 15
| 21.16 | 1.15 | Light Guide Temp Location 16 | LG Temp 16 | Zone 16, SM77, LG (31, 2) | 16
Light Guide Temp 22 | 22.1 | 2.0 | Light Guide Temp Location 17 | LG Temp 17 | Zone 17, SM80, LG (31, 10) | 17
| 22.2 | 2.1 | Light Guide Temp Location 18 | LG Temp 18 | Zone 19, SM83, LG (31, 19) | 18
| 22.3 | 2.2 | Light Guide Temp Location 19 | LG Temp 19 | Zone 14, SM85, LG (31, 25) | 19
| 22.4 | 2.3 | Light Guide Temp Location 20 | LG Temp 20 | Zone 21, SM95, LG (37, 2) | 20
| 22.5 | 2.4 | Light Guide Temp Location 21 | LG Temp 21 | Zone 22, SM98, LG (37, 10) | 21
| 22.6 | 2.5 | Light Guide Temp Location 22 | LG Temp 22 | Zone 24, SM101, LG (37, 19) | 22
| 22.7 | 2.6 | Light Guide Temp Location 23 | LG Temp 23 | Zone 25, SM103, LG (37, 25) | 23
| 22.8 | 2.7 | Light Guide Temp Location 24 | LG Temp 24 | Zone 21, SM113, LG (43, 2) | 24
Light Guide Temp 23 | 23.1 | 2.8 | Light Guide Temp Location 25 | LG Temp 25 | Zone 22, SM116, LG (43, 10) | 25
| 23.2 | 2.9 | Light Guide Temp Location 26 | LG Temp 26 | Zone 24, SM119, LG (43, 19) | 26
| 23.3 | 2.10 | Light Guide Temp Location 27 | LG Temp 27 | Zone 25, SM121, LG (43, 25) | 27
| 23.4 | 2.11 | Light Guide Temp Location 28 | LG Temp 28 | Zone 27, SM131, LG (49, 2) | 28
| 23.5 | 2.12 | Light Guide Temp Location 29 | LG Temp 29 | Zone 28, SM134, LG (49, 10) | 29
| 23.6 | 2.13 | Light Guide Temp Location 30 | LG Temp 30 | Zone 30, SM137, LG (49, 19) | 30
| 23.7 | 2.14 | Light Guide Temp Location 31 | LG Temp 31 | Zone 25, SM139, LG (49, 25) | 31
| 23.8 | 2.15 | Light Guide Temp Location 32 | LG Temp 32 | Zone 32, SM149, LG (55, 2) | 32
Light Guide Temp 24 | 24.1 | 3.0 | Light Guide Temp Location 33 | LG Temp 33 | Zone 33, SM152, LG (55, 10) | 33
| 24.2 | 3.1 | Light Guide Temp Location 34 | LG Temp 34 | Zone 34, SM155, LG (55, 19) | 34
| 24.3 | 3.2 | Light Guide Temp Location 35 | LG Temp 35 | Zone 35, SM165, LG (61, 2) | 35
| 24.4 | 3.3 | Light Guide Temp Location 36 | LG Temp 36 | Zone 36, SM168, LG (61, 10) | 36
| 24.5 | 3.4 | Light Guide Temp Location 37 | LG Temp 37 | Zone 34, SM171, LG (61, 19) | 37
| 24.6 | 3.5 | Light Guide Temp Location 38 | LG Temp 38 | Zone 37, SM180, LG (67, 4) | 38
| 24.7 | 3.6 | Light Guide Temp Location 39 | LG Temp 39 | Zone 37, SM183, LG (67, 13) | 39
| 24.8 | 3.7

## Omega Ambient Temps
Omega Thermalcouple Monitoring
Cable # | TC extension pair | cRIO connection (slot.channel) | Detector Channel Name | Pair Label | Thermocouple sensor location | Ambient Thermocouple
Ambient Temp 25 | 25.1 | 1.0 | Ambient Temp Location 1 | Amb Temp 1 | Front Top Area | 1
| 25.2 | 1.1 | Ambient Temp Location 2 | Amb Temp 2 | Front Mid Area | 2
| 25.3 | 1.2 | Ambient Temp Location 3 | Amb Temp 3 | Front Low Area | 3
| 25.4 | 1.3 | Ambient Temp Location 4 | Amb Temp 4 | Rear Top Area | 4
| 25.5 | 1.4 | Ambient Temp Location 5 | Amb Temp 5 | Rear Mid Area | 5
| 25.6 | 1.5 | Ambient Temp Location 6 | Amb Temp 6 | Rear Low Area | 6
| 25.7 | 1.6 | Ambient Temp Location 7 | Amb Temp 7
| 25.8 | 1.7 | Ambient Temp Location 8 | Amb Temp 8

## Thermocouple Mapping
Heater Controls
Cable # | TC extension pair | cRIO Con nection (slot.channel) | Detector Channel Name | Pair Label | Thermocouple sensor location | Map Controls Thermocouples (main) | Map Controls Thermocouple (spare)
Heat Con 1 | 1.1 | 1.0 | Controls Temp Zone 1 | Con Temp Zone 1 | Zone 1 (AL1/AL2) | 3 | 10
| 1.2 | 1.1 | Controls Temp Zone 2 | Con Temp Zone 2 | SM2/SM6 | 4 | 6
| 1.3 | 1.2 | Controls Temp Zone 3 | Con Temp Zone 3 | SM8/SM9 | 7 | 8
| 1.4 | 1.3 | Controls Temp Zone 4 | Con Temp Zone 4 | SM12/SM19 | 11 | 14
| 1.5 | 1.4 | Controls Temp Zone 5 | Con Temp Zone 5 | SM15/SM22 | 12 | 15
| 1.6 | 1.5 | Controls Temp Zone 6 | Con Temp Zone 6 | SM30/SM39 | 20 | 25
| 1.7 | 1.6 | Controls Temp Zone 7 | Con Temp Zone 7 | Zone 7 (AL1/AL2) | 17 | 22
| 1.8 | 1.7 | Controls Temp Zone 8 | Con Temp Zone 8 | SM26/SM34 | 18 | 23
Heat Con 2 | 2.1 | 1.8 | Controls Temp Zone 9 | Con Temp Zone 9 | SM28/SM37 | 19 | 24
| 2.2 | 1.9 | Controls Temp Zone 10 | Con Temp Zone 10 | SM50/SM51 | 29 | 30
| 2.3 | 1.10 | Controls Temp Zone 11 | Con Temp Zone 11 | SM52/SM53 | 31 | 32
| 2.4 | 1.11 | Controls Temp Zone 12 | Con Temp Zone 12 | SM54/SM55 | 33 | 34
| 2.5 | 1.12 | Controls Temp Zone 13 | Con Temp Zone 13 | SM56/SM57 | 35 | 36
| 2.6 | 1.13 | Controls Temp Zone 14 | Con Temp Zone 14 | SM67/SM76 | 37 | 39
| 2.7 | 1.14 | Controls Temp Zone 15 | Con Temp Zone 15 | Zone 15 (AL1/AL2) | 28 | 40
| 2.8 | 1.15 | Controls Temp Zone 16 | Con Temp Zone 16 | SM77/SM78 | 41 | 42
Heat Con 3 | 3.1 | 2.0 | Controls Temp Zone 17 | Con Temp Zone 17 | SM79/SM80 | 43 | 44
| 3.2 | 2.1 | Controls Temp Zone 18 | Con Temp Zone 18 | SM81/SM82 | 45 | 46
| 3.3 | 2.2 | Controls Temp Zone 19 | Con Temp Zone 19 | SM83/SM84 | 47 | 48
| 3.4 | 2.3 | Controls Temp Zone 20 | Con Temp Zone 20 | Zone 20 (AL1/AL2) | 50 | 52
| 3.5 | 2.4 | Controls Temp Zone 21 | Con Temp Zone 21 | SM105/SM106 | 53 | 54
| 3.6 | 2.5 | Controls Temp Zone 22 | Con Temp Zone 22 | SM107/SM108 | 55 | 56
| 3.7 | 2.6 | Controls Temp Zone 23 | Con Temp Zone 23 | SM109/SM110 | 57 | 58
| 3.8 | 2.7 | Controls Temp Zone 24 | Con Temp Zone 24 | SM111/SM112 | 59 | 60
Heat Con 4 | 4.1 | 2.8 | Controls Temp Zone 25 | Con Temp Zone 25 | SM113/SM114 | 61 | 64
| 4.2 | 2.9 | Controls Temp Zone 26 | Con Temp Zone 26 | Zone 26 (AL1/AL2) | 63 | 74
| 4.3 | 2.10 | Controls Temp Zone 27 | Con Temp Zone 27 | SM131/SM132 | 65 | 66
| 4.4 | 2.11 | Controls Temp Zone 28 | Con Temp Zone 28 | SM133/SM134 | 67 | 68
| 4.5 | 2.12 | Controls Temp Zone 29 | Con Temp Zone 29 | SM135/SM136 | 69 | 70
| 4.6 | 2.13 | Controls Temp Zone 30 | Con Temp Zone 30 | SM137/SM138 | 71 | 72
| 4.7 | 2.14 | Controls Temp Zone 31 | Con Temp Zone 31 | Zone 31 (AL1/AL2) | 79 | 87
| 4.8 | 2.15 | Controls Temp Zone 32 | Con Temp Zone 32 | SM150/SM158 | 75 | 80
Heat Con 5 | 5.1 | 3.0 | Controls Temp Zone 33 | Con Temp Zone 33 | SM133/SM161 | 76 | 81
| 5.2 | 3.1 | Controls Temp Zone 34 | Con Temp Zone 34 | SM155/SM163 | 77 | 82
| 5.3 | 3.2 | Controls Temp Zone 35 | Con Temp Zone 35 | SM166/SM173 | 84 | 88
| 5.4 | 3.3 | Controls Temp Zone 36 | Con Temp Zone 36 | SM169/SM176 | 85 | 89
| 5.5 | 3.4 | Controls Temp Zone 37 | Con Temp Zone 37 | SM180/SM182 | 92 | 93
| 5.6 | 3.5 | Controls Temp Zone 38 | Con Temp Zone 38 | Zone 38 (AL1/AL2) | 91 | 95
| 5.7 | 3.6 | Controls Temp Zone 39 | Con Temp Zone 39 | Zone 39 (AL1/AL2) | 94 | 96
| 5.8 | 3.7 | Controls Temp Zone 40 | Con Temp Zone 40 | Zone 40 (AL1/AL2) | 86 | 90
Heat Con 6 | 6.1 | 3.8 | Controls Temp Zone 41 | Con Temp Zone 41 | Zone 41 (AL1/AL2) | 78 | 83
| 6.2 | 3.9 | Controls Temp Zone 42 | Con Temp Zone 42 | Zone 42 (AL1/AL2) | 62 | 73
| 6.3 | 3.10 | Controls Temp Zone 43 | Con Temp Zone 43 | Zone 43 (AL1/AL2) | 49 | 51
| 6.4 | 3.11 | Controls Temp Zone 44 | Con Temp Zone 44 | Zone 44 (AL1/AL2) | 27 | 38
| 6.5 | 3.12 | Controls Temp Zone 45 | Con Temp Zone 45 | Zone 45 (AL1/AL2) | 21 | 26
| 6.6 | 3.13 | Controls Temp Zone 46 | Con Temp Zone 46 | Zone 46 (AL1/AL2) | 13 | 16
| 6.7 | 3.14 | Controls Temp Zone 47 | Con Temp Zone 47 | Zone 47 (AL1/AL2) | 5 | 9
| 6.8 | 3.15 | Controls Temp Zone 48 | Con Temp Zone 48 | Zone 48 (AL1/AL2) | 1 | 2
Front and Rear Crystal Thermocouple Monitoring
Cable # | TC extension pair | cRIO Con nection (slot.channel) | Detector Channel Name | Pair Label | Thermocouple sensor location [Zone (SM junction)] | Crystal Thermocouple
Crystal Temp 7 | 7.1 | 1.0 | Front Crystal Temp Location 1 | Fr Crystal Temp 1 | Zone 2 (SM1 & SM5) | Front 1
| 7.2 | 1.1 | Front Crystal Temp Location 2 | Fr Crystal Temp 2 | Zone 3 (SM4 & SM8) | Front 2
| 7.3 | 1.2 | Front Crystal Temp Location 3 | Fr Crystal Temp 3 | Zone 2/4 (SM6 & SM12) | Front 3
| 7.4 | 1.3 | Front Crystal Temp Location 4 | Fr Crystal Temp 4 | Zone 3/5 (SM9 & SM15) | Front 4
| 7.5 | 1.4 | Front Crystal Temp Location 5 | Fr Crystal Temp 5 | Zone 4 (SM12 & SM19) | Front 5
| 7.6 | 1.5 | Front Crystal Temp Location 6 | Fr Crystal Temp 6 | Zone 5 (SM16 & SM23) | Front 6
| 7.7 | 1.6 | Front Crystal Temp Location 7 | Fr Crystal Temp 7 | Zone 4/8 (SM19 & SM26) | Front 7
| 7.8 | 1.7 | Front Crystal Temp Location 8 | Fr Crystal Temp 8 | Zone 5/9 (SM21 & SM28) | Front 8
Crystal Temp 8 | 8.1 | 1.8 | Front Crystal Temp Location 9 | Fr Crystal Temp 9 | Zone 6 (SM24 & SM31) | Front 9
| 8.2 | 1.9 | Front Crystal Temp Location 10 | Fr Crystal Temp 10 | Zone 8/10 (SM33 & SM41) | Front 10
| 8.3 | 1.10 | Front Crystal Temp Location 11 | Fr Crystal Temp 11 | Zone 8/11 (SM36 & SM43) | Front 11
| 8.4 | 1.11 | Front Crystal Temp Location 12 | Fr Crystal Temp 12 | Zone 9/12 (SM37 & SM45) | Front 12
| 8.5 | 1.12 | Front Crystal Temp Location 13 | Fr Crystal Temp 13 | Zone 6/14 (SM39 & SM47) | Front 13
| 8.6 | 1.13 | Front Crystal Temp Location 14 | Fr Crystal Temp 14 | Zone 10 (SM50 & SM59) | Front 14
| 8.7 | 1.14 | Front Crystal Temp Location 15 | Fr Crystal Temp 15 | Zone 11 (SM52 & SM61) | Front 15
| 8.8 | 1.15 | Front Crystal Temp Location 16 | Fr Crystal Temp 16 | Zone 12 (SM54 & SM63) | Front 16
Crystal Temp 9 | 9.1 | 2.0 | Front Crystal Temp Location 17 | Fr Crystal Temp 17 | Zone 13 (SM56 & SM65) | Front 17
| 9.2 | 2.1 | Front Crystal Temp Location 18 | Fr Crystal Temp 18 | Zone 14 (SM58 & SM67) | Front 18
| 9.3 | 2.2 | Front Crystal Temp Location 19 | Fr Crystal Temp 19 | Zone 16 (SM68 & SM77) | Front 19
| 9.4 | 2.3 | Front Crystal Temp Location 20 | Fr Crystal Temp 20 | Zone 17 (SM70 & SM79) | Front 20
| 9.5 | 2.4 | Front Crystal Temp Location 21 | Fr Crystal Temp 21 | Zone 18 (SM72 & SM81) | Front 21
| 9.6 | 2.5 | Front Crystal Temp Location 22 | Fr Crystal Temp 22 | Zone 19 (SM74 & SM83) | Front 22
| 9.7 | 2.6 | Front Crystal Temp Location 23 | Fr Crystal Temp 23 | Zone 14 (SM76 & SM85) | Front 23
| 9.8 | 2.7 | Front Crystal Temp Location 24 | Fr Crystal Temp 24 | Zone 16/21 (SM86 & SM95) | Front 24
Crystal Temp 10 | 10.1 | 2.8 | Front Crystal Temp Location 25 | Fr Crystal Temp 25 | Zone 17/22 (SM88 & SM97) | Front 25
| 10.2 | 2.9 | Front Crystal Temp Location 26 | Fr Crystal Temp 26 | Zone 18/23 (SM90 & SM99) | Front 26
| 10.3 | 2.10 | Front Crystal Temp Location 27 | Fr Crystal Temp 27 | Zone 19/24 (SM92 & SM101) | Front 27
| 10.4 | 2.11 | Front Crystal Temp Location 28 | Fr Crystal Temp 28 | Zone 14/25 (SM94 & SM103) | Front 28
| 10.5 | 2.12 | Front Crystal Temp Location 29 | Fr Crystal Temp 29 | Zone 21 (SM104 & SM113) | Front 29
| 10.6 | 2.13 | Front Crystal Temp Location 30 | Fr Crystal Temp 30 | Zone 22 (SM106 & SM115) | Front 30
| 10.7 | 2.14 | Front Crystal Temp Location 31 | Fr Crystal Temp 31 | Zone 23 (SM108 & SM117) | Front 31
| 10.8 | 2.15 | Front Crystal Temp Location 32 | Fr Crystal Temp 32 | Zone 24 (SM110 & SM119) | Front 32
Crystal Temp 11 | 11.1 | 3.0 | Front Crystal Temp Location 33 | Fr Crystal Temp 33 | Zone 25 (SM112 & SM121) | Front 33
| 11.2 | 3.1 | Front Crystal Temp Location 34 | Fr Crystal Temp 34 | Zone 27 (SM122 & SM131) | Front 34
| 11.3 | 3.2 | Front Crystal Temp Location 35 | Fr Crystal Temp 35 | Zone 28 (SM124 & SM133) | Front 35
| 11.4 | 3.3 | Front Crystal Temp Location 36 | Fr Crystal Temp 36 | Zone 29 (SM126 & SM135) | Front 36
| 11.5 | 3.4 | Front Crystal Temp Location 37 | Fr Crystal Temp 37 | Zone 30 (SM128 & SM137) | Front 37
| 11.6 | 3.5 | Front Crystal Temp Location 38 | Fr Crystal Temp 38 | Zone 25 (SM130 & SM139) | Front 38
| 11.7 | 3.6 | Front Crystal Temp Location 39 | Fr Crystal Temp 39 | Zone 27/32 (SM140 & SM149) | Front 39
| 11.8 | 3.7 | Front Crystal Temp Location 40 | Fr Crystal Temp 40 | Zone 28/32 (SM142 & SM151) | Front 40
Crystal Temp 12 | 12.1 | 3.8 | Front Crystal Temp Location 41 | Fr Crystal Temp 41 | Zone 29/33 (SM144 & SM153) | Front 41
| 12.2 | 3.9 | Front Crystal Temp Location 42 | Fr Crystal Temp 42 | Zone 30/34 (SM146 & SM155) | Front 42
| 12.3 | 3.10 | Front Crystal Temp Location 43 | Fr Crystal Temp 43 | Zone 32/35 (SM157 & SM165) | Front 43
| 12.4 | 3.11 | Front Crystal Temp Location 44 | Fr Crystal Temp 44 | Zone 33/36 (SM160 & SM168) | Front 44
| 12.5 | 3.12 | Front Crystal Temp Location 45 | Fr Crystal Temp 45 | Zone 34 (SM163 & SM171) | Front 45
| 12.6 | 3.13 | Front Crystal Temp Location 46 | Fr Crystal Temp 46 | Zone 35 (SM166 & SM173) | Front 46
| 12.7 | 3.14 | Front Crystal Temp Location 47 | Fr Crystal Temp 47 | Zone 36 (SM170 & SM177) | Front 47
| 12.8 | 3.15 | Front Crystal Temp Location 48 | Fr Crystal Temp 48 | Zone 35/37 (SM173 & SM180) | Front 48
Crystal Temp 13 | 13.1 | 4.0 | Front Crystal Temp Location 49 | Fr Crystal Temp 49 | Zone 36/37 (SM176 SM183) | Front 49
| 13.2 | 4.1 | Rear Crystal Temp Location 1 | Re Crystal Temp 1 | Zone 2 (SM1 & SM5) | Rear 1
| 13.3 | 4.2 | Rear Crystal Temp Location 2 | Re Crystal Temp 2 | Zone 3 (SM4 & SM8) | Rear 2
| 13.4 | 4.3 | Rear Crystal Temp Location 3 | Re Crystal Temp 3 | Zone 2/4 (SM6 & SM12) | Rear 3
| 13.5 | 4.4 | Rear Crystal Temp Location 4 | Re Crystal Temp 4 | Zone 3/5 (SM9 & SM15) | Rear 4
| 13.6 | 4.5 | Rear Crystal Temp Location 5 | Re Crystal Temp 5 | Zone 4 (SM12 & SM19) | Rear 5
| 13.7 | 4.6 | Rear Crystal Temp Location 6 | Re Crystal Temp 6 | Zone 5 (SM16 & SM23) | Rear 6
| 13.8 | 4.7 | Rear Crystal Temp Location 7 | Re Crystal Temp 7 | Zone 4/8 (SM19 & SM26) | Rear 7
Crystal Temp 14 | 14.1 | 4.8 | Rear Crystal Temp Location 8 | Re Crystal Temp 8 | Zone 5/9 (SM21 & SM28) | Rear 8
| 14.2 | 4.9 | Rear Crystal Temp Location 9 | Re Crystal Temp 9 | Zone 6 (SM24 & SM31) | Rear 9
| 14.3 | 4.10 | Rear Crystal Temp Location 10 | Re Crystal Temp 10 | Zone 8/10 (SM33 & SM41) | Rear 10
| 14.4 | 4.11 | Rear Crystal Temp Location 11 | Re Crystal Temp 11 | Zone 8/11 (SM36 & SM43) | Rear 11
| 14.5 | 4.12 | Rear Crystal Temp Location 12 | Re Crystal Temp 12 | Zone 9/12 (SM37 & SM45) | Rear 12
| 14.6 | 4.13 | Rear Crystal Temp Location 13 | Re Crystal Temp 13 | Zone 6/14 (SM39 & SM47) | Rear 13
| 14.7 | 4.14 | Rear Crystal Temp Location 14 | Re Crystal Temp 14 | Zone 10 (SM50 & SM59) | Rear 14
| 14.8 | 4.15 | Rear Crystal Temp Location 15 | Re Crystal Temp 15 | Zone 11 (SM52 & SM61) | Rear 15
Crystal Temp 15 | 15.1 | 5.0 | Rear Crystal Temp Location 16 | Re Crystal Temp 16 | Zone 12 (SM54 & SM63) | Rear 16
| 15.2 | 5.1 | Rear Crystal Temp Location 17 | Re Crystal Temp 17 | Zone 13 (SM56 & SM65) | Rear 17
| 15.3 | 5.2 | Rear Crystal Temp Location 18 | Re Crystal Temp 18 | Zone 14 (SM58 & SM67) | Rear 18
| 15.4 | 5.3 | Rear Crystal Temp Location 19 | Re Crystal Temp 19 | Zone 16 (SM68 & SM77) | Rear 19
| 15.5 | 5.4 | Rear Crystal Temp Location 20 | Re Crystal Temp 20 | Zone 17 (SM70 & SM79) | Rear 20
| 15.6 | 5.5 | Rear Crystal Temp Location 21 | Re Crystal Temp 21 | Zone 18 (SM72 & SM81) | Rear 21
| 15.7 | 5.6 | Rear Crystal Temp Location 22 | Re Crystal Temp 22 | Zone 19 (SM74 & SM83) | Rear 22
| 15.8 | 5.7 | Rear Crystal Temp Location 23 | Re Crystal Temp 23 | Zone 14 (SM76 & SM85) | Rear 23
Crystal Temp 16 | 16.1 | 5.8 | Rear Crystal Temp Location 24 | Re Crystal Temp 24 | Zone 16/21 (SM86 & SM95) | Rear 24
| 16.2 | 5.9 | Rear Crystal Temp Location 25 | Re Crystal Temp 25 | Zone 17/22 (SM88 & SM97) | Rear 25
| 16.3 | 5.10 | Rear Crystal Temp Location 26 | Re Crystal Temp 26 | Zone 18/23 (SM90 & SM99) | Rear 26
| 16.4 | 5.11 | Rear Crystal Temp Location 27 | Re Crystal Temp 27 | Zone 19/24 (SM92 & SM101) | Rear 27
| 16.5 | 5.12 | Rear Crystal Temp Location 28 | Re Crystal Temp 28 | Zone 14/25 (SM94 & SM103) | Rear 28
| 16.6 | 5.13 | Rear Crystal Temp Location 29 | Re Crystal Temp 29 | Zone 21 (SM104 & SM113) | Rear 29
| 16.7 | 5.14 | Rear Crystal Temp Location 30 | Re Crystal Temp 30 | Zone 22 (SM106 & SM115) | Rear 30
| 16.8 | 5.15 | Rear Crystal Temp Location 31 | Re Crystal Temp 31 | Zone 23 (SM108 & SM117) | Rear 31
Crystal Temp 17 | 17.1 | 6.0 | Rear Crystal Temp Location 32 | Re Crystal Temp 32 | Zone 24 (SM110 & SM119) | Rear 32
| 17.2 | 6.1 | Rear Crystal Temp Location 33 | Re Crystal Temp 33 | Zone 25 (SM112 & SM121) | Rear 33
| 17.3 | 6.2 | Rear Crystal Temp Location 34 | Re Crystal Temp 34 | Zone 27 (SM122 & SM131) | Rear 34
| 17.4 | 6.3 | Rear Crystal Temp Location 35 | Re Crystal Temp 35 | Zone 28 (SM124 & SM133) | Rear 35
| 17.5 | 6.4 | Rear Crystal Temp Location 36 | Re Crystal Temp 36 | Zone 29 (SM126 & SM135) | Rear 36
| 17.6 | 6.5 | Rear Crystal Temp Location 37 | Re Crystal Temp 37 | Zone 30 (SM128 & SM137) | Rear 37
| 17.7 | 6.6 | Rear Crystal Temp Location 38 | Re Crystal Temp 38 | Zone 25 (SM130 & SM139) | Rear 38
| 17.8 | 6.7 | Rear Crystal Temp Location 39 | Re Crystal Temp 39 | Zone 27/32 (SM140 & SM149) | Rear 39
Crystal Temp 18 | 18.1 | 6.8 | Rear Crystal Temp Location 40 | Re Crystal Temp 40 | Zone 28/32 (SM142 & SM151) | Rear 40
| 18.2 | 6.9 | Rear Crystal Temp Location 41 | Re Crystal Temp 41 | Zone 29/33 (SM144 & SM153) | Rear 41
| 18.3 | 6.10 | Rear Crystal Temp Location 42 | Re Crystal Temp 42 | Zone 30/34 (SM146 & SM155) | Rear 42
| 18.4 | 6.11 | Rear Crystal Temp Location 43 | Re Crystal Temp 43 | Zone 32/35 (SM157 & SM165) | Rear 43
| 18.5 | 6.12 | Rear Crystal Temp Location 44 | Re Crystal Temp 44 | Zone 33/36 (SM160 & SM168) | Rear 44
| 18.6 | 6.13 | Rear Crystal Temp Location 45 | Re Crystal Temp 45 | Zone 34 (SM163 & SM171) | Rear 45
| 18.7 | 6.14 | Rear Crystal Temp Location 46 | Re Crystal Temp 46 | Zone 35 (SM166 & SM173) | Rear 46
| 18.8 | 6.15 | Rear Crystal Temp Location 47 | Re Crystal Temp 47 | Zone 36 (SM170 & SM177) | Rear 47
Crystal Temp 19 | 19.1 | 7.0 | Rear Crystal Temp Location 48 | Re Crystal Temp 48 | Zone 35/37 (SM173 & SM180) | Rear 48
| 19.2 | 7.1 | Rear Crystal Temp Location 49 | Re Crystal Temp 49 | Zone 36/37 (SM176 SM183) | Rear 49
| 19.3 | 7.2
| 19.4 | 7.3
| 19.5 | 7.4
| 19.6 | 7.5
| 19.7 | 7.6
| 19.8 | 7.7
Light Guide Thermocouple Monitoring
Cable # | TC extension pair | cRIO Con nection (slot.channel) | Detector Channel Name | Pair Label | Thermocouple sensor location Zone SM (row.col) | Light Guide Thermocouple
Light Guide Temp 20 | 20.1 | 1.0 | Light Guide Temp Location 1 | LG Temp 1 | Zone 2, SM3, LG (2, 7) | 1 |  | Thermocouple position # | Thermocouple row, col position | TC Label
| 20.2 | 1.1 | Light Guide Temp Location 2 | LG Temp 2 | Zone 2, SM5, LG (4, 2) | 2 |  | 1 | (2,7) | LG(2,7)
| 20.3 | 1.2 | Light Guide Temp Location 3 | LG Temp 3 | Zone 3, SM8, LG (6, 12) | 3 |  | 2 | (4,2) | LG(4,2)
| 20.4 | 1.3 | Light Guide Temp Location 4 | LG Temp 4 | Zone 4, SM12, LG (9, 4) | 4 |  | 3 | (6, 12) | LG(6, 12)
| 20.5 | 1.4 | Light Guide Temp Location 5 | LG Temp 5 | Zone 5, SM15, LG (9, 15) | 5 |  | 4 | (9, 4) | LG(9, 4)
| 20.6 | 1.5 | Light Guide Temp Location 6 | LG Temp 6 | Zone 8, SM25, LG (13, 3) | 6 |  | 5 | (9, 15) | LG(9, 15)
| 20.7 | 1.6 | Light Guide Temp Location 7 | LG Temp 7 | Zone 9, SM28, LG (13, 11) | 7 |  | 6 | (13, 3) | LG(13, 3)
| 20.8 | 1.7 | Light Guide Temp Location 8 | LG Temp 8 | Zone 6, SM31, LG (13, 19) | 8 |  | 7 | (13, 11) | LG(13, 11)
Light Guide Temp 21 | 21.9 | 1.8 | Light Guide Temp Location 9 | LG Temp 9 | Zone 10, SM41, LG (19, 2) | 9 |  | 8 | (13, 19) | LG(13, 19)
| 21.1 | 1.9 | Light Guide Temp Location 10 | LG Temp 10 | Zone 11, SM44, LG (19, 10) | 10 |  | 9 | (19, 2) | LG(19, 2)
| 21.11 | 1.10 | Light Guide Temp Location 11 | LG Temp 11 | Zone 13, SM47, LG (19, 19) | 11 |  | 10 | (19, 10) | LG(19, 10)
| 21.12 | 1.11 | Light Guide Temp Location 12 | LG Temp 12 | Zone 10, SM59, LG (25, 2) | 12 |  | 11 | (19, 19) | LG(19, 19)
| 21.13 | 1.12 | Light Guide Temp Location 13 | LG Temp 13 | Zone 11, SM62, LG (25, 10) | 13 |  | 12 | (25, 2) | LG(25, 2)
| 21.14 | 1.13 | Light Guide Temp Location 14 | LG Temp 14 | Zone 13, SM65, LG (25, 19) | 14 |  | 13 | (25, 10) | LG(25, 10)
| 21.15 | 1.14 | Light Guide Temp Location 15 | LG Temp 15 | Zone 14, SM67, LG (25, 25) | 15 |  | 14 | (25, 19) | LG(25, 19)
| 21.16 | 1.15 | Light Guide Temp Location 16 | LG Temp 16 | Zone 16, SM77, LG (31, 2) | 16 |  | 15 | (25, 25) | LG(25, 25)
Light Guide Temp 22 | 22.1 | 2.0 | Light Guide Temp Location 17 | LG Temp 17 | Zone 17, SM80, LG (31, 10) | 17 |  | 16 | (31, 2) | LG(31, 2)
| 22.2 | 2.1 | Light Guide Temp Location 18 | LG Temp 18 | Zone 19, SM83, LG (31, 19) | 18 |  | 17 | (31, 10) | LG(31, 10)
| 22.3 | 2.2 | Light Guide Temp Location 19 | LG Temp 19 | Zone 14, SM85, LG (31, 25) | 19 |  | 18 | (31, 19) | LG(31, 19)
| 22.4 | 2.3 | Light Guide Temp Location 20 | LG Temp 20 | Zone 21, SM95, LG (37, 2) | 20 |  | 19 | (31, 25) | LG(31, 25)
| 22.5 | 2.4 | Light Guide Temp Location 21 | LG Temp 21 | Zone 22, SM98, LG (37, 10) | 21 |  | 20 | (37, 2) | LG(37, 2)
| 22.6 | 2.5 | Light Guide Temp Location 22 | LG Temp 22 | Zone 24, SM101, LG (37, 19) | 22 |  | 21 | (37, 10) | LG(37, 10)
| 22.7 | 2.6 | Light Guide Temp Location 23 | LG Temp 23 | Zone 25, SM103, LG (37, 25) | 23 |  | 22 | (37, 19) | LG(37, 19)
| 22.8 | 2.7 | Light Guide Temp Location 24 | LG Temp 24 | Zone 21, SM113, LG (43, 2) | 24 |  | 23 | (37, 25) | LG(37, 25)
Light Guide Temp 23 | 23.1 | 2.8 | Light Guide Temp Location 25 | LG Temp 25 | Zone 22, SM116, LG (43, 10) | 25 |  | 24 | (43, 2) | LG(43, 2)
| 23.2 | 2.9 | Light Guide Temp Location 26 | LG Temp 26 | Zone 24, SM119, LG (43, 19) | 26 |  | 25 | (43, 10) | LG(43, 10)
| 23.3 | 2.10 | Light Guide Temp Location 27 | LG Temp 27 | Zone 25, SM121, LG (43, 25) | 27 |  | 26 | (43, 19) | LG(43, 19)
| 23.4 | 2.11 | Light Guide Temp Location 28 | LG Temp 28 | Zone 27, SM131, LG (49, 2) | 28 |  | 27 | (43, 25) | LG(43, 25)
| 23.5 | 2.12 | Light Guide Temp Location 29 | LG Temp 29 | Zone 28, SM134, LG (49, 10) | 29 |  | 28 | (49, 2) | LG(49, 2)
| 23.6 | 2.13 | Light Guide Temp Location 30 | LG Temp 30 | Zone 30, SM137, LG (49, 19) | 30 |  | 29 | (49, 10) | LG(49, 10)
| 23.7 | 2.14 | Light Guide Temp Location 31 | LG Temp 31 | Zone 25, SM139, LG (49, 25) | 31 |  | 30 | (49, 19) | LG(49, 19)
| 23.8 | 2.15 | Light Guide Temp Location 32 | LG Temp 32 | Zone 32, SM149, LG (55, 2) | 32 |  | 31 | (49, 25) | LG(49, 25)
Light Guide Temp 24 | 24.1 | 3.0 | Light Guide Temp Location 33 | LG Temp 33 | Zone 33, SM152, LG (55, 10) | 33 |  | 32 | (55, 2) | LG(55, 2)
| 24.2 | 3.1 | Light Guide Temp Location 34 | LG Temp 34 | Zone 34, SM155, LG (55, 19) | 34 |  | 33 | (55, 10) | LG(55, 10)
| 24.3 | 3.2 | Light Guide Temp Location 35 | LG Temp 35 | Zone 35, SM165, LG (61, 2) | 35 |  | 34 | (55, 19) | LG(55, 19)
| 24.4 | 3.3 | Light Guide Temp Location 36 | LG Temp 36 | Zone 36, SM168, LG (61, 10) | 36 |  | 35 | (61, 2) | LG(61, 2)
| 24.5 | 3.4 | Light Guide Temp Location 37 | LG Temp 37 | Zone 34, SM171, LG (61, 19) | 37 |  | 36 | (61, 10) | LG(61, 10)
| 24.6 | 3.5 | Light Guide Temp Location 38 | LG Temp 38 | Zone 37, SM180, LG (67, 4) | 38 |  | 37 | (61, 19) | LG(61, 19)
| 24.7 | 3.6 | Light Guide Temp Location 39 | LG Temp 39 | Zone 37, SM183, LG (67, 13) | 39 |  | 38 | (67, 4) | LG(67, 4)
| 24.8 | 3.7 | [5 empty] | 39 | (67, 13) | LG(67, 13)
Omega Thermalcouple Monitoring
Cable # | TC extension pair | cRIO Con nection (slot.channel) | Detector Channel Name | Pair Label | Thermocouple sensor location | Ambient Thermocouple
Ambient Temp 25 | 25.1 | 1.0 | Ambient Temp Location 1 | Amb Temp 1 | Front Top Area | 1
| 25.2 | 1.1 | Ambient Temp Location 2 | Amb Temp 2 | Front Mid Area | 2
| 25.3 | 1.2 | Ambient Temp Location 3 | Amb Temp 3 | Front Low Area | 3
| 25.4 | 1.3 | Ambient Temp Location 4 | Amb Temp 4 | Rear Top Area | 4
| 25.5 | 1.4 | Ambient Temp Location 5 | Amb Temp 5 | Rear Mid Area | 5
| 25.6 | 1.5 | Ambient Temp Location 6 | Amb Temp 6 | Rear Low Area | 6
| 25.7 | 1.6 | Ambient Temp Location 7 | Amb Temp 7
| 25.8 | 1.7 | Ambient Temp Location 8 | Amb Temp 8