**Hall A Gas Distribution Meeting**

**Date: 06/30/2020**

**Time: 10:30 – 11:30**

[**https://bluejeans.com/935501761?src=calendarLink**](https://bluejeans.com/935501761?src=calendarLink)

**1.888.240.2560 (US Toll Free)**

**Meeting ID: 935 501 761**

*Agenda*

1. Gas Distribution Panel (G. Jacobs, J. Segal, B. Sawatzky)
	1. George can give an update on the procurement and assembly of the mechanical components.
	2. Jack and Brad can provide updates on the installation schedule and location of the distribution panels so the DSG can adapt the current design to fit in the space/location.
2. Flow Readback (M. McMullen, B. Eng)
	1. Marc can provide an update on the status of the readout PCBs
		1. Gas Flow Sensor V1
		2. I2C Multiplexer
	2. Brian can provide information on preliminary testing of the GFS\_V1 boards and readout software development.
3. GEM detector progress for SBS/BB (K. Gnanvo, N. Liyanage, E. Cisbani)
	1. A general status update on the progress of the GEM detectors should be provided.
		1. Impact of detector progress and testing due to MEDCON and the path forward.
4. Open discussion items. (All)