## Slide 1: Hall A GEM Gas Distribution
George Jacobs
Detector Support Group
02/14/2020

## Slide 2: Hall A GEM Gas Distribution System Details
Two Rack Layout
  Front Panel Location For all Pressure and Flow Controls
  Rear Panel Location For all Gas Line Connections
  Layout Minimizes Tubing and Cable Lengths ( Minimizes Cost)
Provides 50 Total Gas Supply Channels
  6 High Flow (100-1000sccm) Channels
    4 on BB Panel and 2 on SBS
  44 Standard Flow (50-500sccm) Channels
    4 on BB Panel and 40 on SBS

## Slide 3: SBS GEM Gas Distro Rack

## Slide 4: BB GEM Gas Distro Rack

## Slide 5: GEM Gas Distro Rack Internal Tubing Runs

## Slide 6: GEM Gas Distro Rack Internals Unfolded

## Slide 7: GEM Gas Distro Rack Transducer Plumbing

## Slide 8: GEM Gas Distro System P&I Diagram

## Slide 9: Conclusion
Portable High Density Two Rack Layout
  Front Panel Location For all Pressure and Flow Controls
  Rear Panel Location For all Gas Line Connections
  High Density Layout Minimizes Cost
Provides 50 Total Gas Supply Channels
  6 High Flow (100-1000sccm) Channels
    4 on BB and 2 on SBS
  44 Standard Flow (50-500sccm) Channels
    4 on BB and 40 on SBS

## Slide 10: Mass Flow Transducer Installation

## Slide 11: Mass Flow Transducer Installation

## Slide 12: Honeywell Zephyr Digital Air Flow Sensors

## Slide 13: Digital Air Flow Sensors Specifications