Hall A GEM Gas Distribution Meeting

Date: January 05, 2021

Time: 03:45– 04:45

Agenda:

- The prototype Regulator and Flow meter panels were delivered on 10/30/2020 and recommended for a leak check by DSG

  - Were the results of the leak test documented

- The flow meter size for both types of GEM packages were based on flow demand of the operational system

  - Typical flow (225 sccm) is within the middle of the flow range for the standard flow meter valves selected

  - What is the idle flow (75 sccm) of purge gas based on

- What was the leak rate of the panel using Nylon vs. Polyethylene

  - Provide specifics of the leak locations

- Remote monitoring of the flow was initially setup to use remote desktop protocol (xrdp)

  - DSG is developing a WEDM interface  to allow remote monitoring from multiple staff while running the CSS screen locally