Hall A GEM Gas Distribution Meeting

Date: October 27, 2020

Time: 15:30 – 16:30

Agenda:

- Prototype gas distribution system update

  - The distribution system is supplying four channels of gas to a single UVA layer, the current flow is 80 to 85 sccm on all channels, feedback request?

  - Has the GEM team noted any leaks

  - Remote monitoring is being provided using WEDM

  - Exhaust prototypes have been partially received and should be ready for testing on a single channel to determine the effects on the system by 2/12/21

- When will the front layer installation begin

- SBS gas distribution panel work has started

  - George Jacobs has completed the regulator panel and has assembled some of the flow meter panels, internal gas connections may require strain relief to eliminate lateral stress on the push lock fittings

- Software development

  - Remote pressure monitoring is currently being developed, should be online by 2/12/21

  - Currently, the Raspberry Pi is running on the 86 s/n; while at the TEDF location this is sufficient but networking infrastructure should be looked into for Hall use