## Slide 1: Hall A GEM N2 Gas Maintenance Panel Concept
George Jacobs
Detector Support Group
02/25/2021

## Slide 2: Front Panel Concept

## Slide 3: 6 Channel N2 Panel P&I DIAGRAM

## Slide 4: Conclusion
Current design is for a portable chassis
  Four standard flow channels at 500 sccm
  Two high flow channels at 1000 sccm
  No remote monitoring capabilities
Discussing timeline

## Slide 5
Thank You