## Slide 1: Cleo
CCR and Current Lead stack figures

## Slide 2
Current Lead Stack
CCR
Heat Exchanger
CLEO-II Cryostat

## Slide 3: Section cut through CCR and Current Lead Pot

## Slide 4: CLEO-II CCR Cut Through
LN2 Tank Annulus surrounds He Tank
Has liquid level probe also
With Liquid level probe

## Slide 5: Current Lead stack
Current Lead Cooling and Reservoir Pot
JT Valve #7
For Controlling He to Current Lead Cooling/Reservoir Pot
No Liquid level probe here.

## Slide 6: HMI Cryo screen suggestions
JT1 LN2 Cooldown
JT2 LN2 Top Fill
JT3 He Cooldown
JT4 He Bottom Fill
JT5 He Top Fill
JT6 He Cold Return
Warm return Valve
JT7 He CL Pot

## Slide 7: SHMS Q1 HMI example
CLEO’s Current leads will be on another can.
Epic variables from Cryo Plant.
Magnet’s Average temperature
300K to 80K Heat exchanger