## DBX
Distribution Box - Temperatures
B_TORUS:LHe:TD8512 | 6.3118
B_TORUS:LHe:TP8523 | 196.294
B_TORUS:LHe:TD8522DR | 10.0983
B_TORUS:LHe:TD8522TR | 6.7627
B_TORUS:LHe:TD8522SR | 7.5084
B_TORUS:LHe:TD8513S | 5.7286
B_TORUS:LN2:TP8557S | 249.392
B_TORUS:LHe:TD8513T | 5.2894
B_TORUS:LN2:TP8557T | 79.7205
B_TORUS:LN2:TP8567 | 107.19
B_TORUS:LHe:TP8564 | 169.821
B_TORUS:LN2:TP8552 | 91.0054
B_TORUS:LN2:TP8555 | 80.8582
B_TORUS:LHe:TP8565 | 119.597
B_TORUS:LN2:TC8559F | 143.67
B_TORUS:LN2:TC8559M | 139.622
Distribution Box - Pressures
B_TORUS:LN2:TP8552 | 91.0054
B_TORUS:LN2:PT8554 | 1.381
B_TORUS:LN2:PT8555 | 3.78
B_TORUS:LHe:PT8565 | 1.0903
B_TORUS:LHe:PT8563 | 1.0925
B_TORUS:LHe:PT8561 | 1.2065
B_TORUS:LHe:PT8512 | 2.7624
B_TORUS:LHe:PT8513T | 2.7546
B_TORUS:LN2:PT8557T | 1.2969
B_TORUS:LN2:PT8557S | 1.4221
B_TORUS:LHe:PT8513S | 2.6903

## Solenoid
Solenoid Service Tower - Temperatures
B_SOL:LHe:TR8610 | 5.5935
B_SOL:LHe:TR8611 | 4.4888
B_SOL:LHe:TR8671 | 4.4155
B_SOL:LHe:TR8670 | 13.7619
B_SOL:LHe:TR8672 | 48.298
B_SOL:LHe:TR8673 | 44.9744
B_SOL:LHe:TR8674 | 60.314
B_SOL:LHe:TR8624A | 4.5297
B_SOL:LHe:TR8624B | 4.5323
B_SOL:LHe:TP8622A | 299.675
B_SOL:LHe:TP8622B | 300.181
B_SOL:LHe:TP8621A | 303.855
B_SOL:LHe:TP8621B | 300.247
B_SOL:LHe:TP8611 | 288.049
B_SOL:LHe:TP8620A | 288.332
B_SOL:LHe:TP8620B | 283.027
B_SOL:LHe:TP8675 | 294.473
B_SOL:LHe:TP8622A | 299.674
B_SOL:LHe:TP8622B | 300.182
Solenoid Service Tower - Pressures & Liquid Levels
B_SOL:LHe:PT8620 | 1.3081
B_SOL:LHe:PT8670 | 1.1989
B_SOL:LHe:PT8675A | 1.1871
B_SOL:LHe:PT8677 | 1.0019
B_SOL:LHe:LL8620DP | 103.252
B_SOL:LHe:LL8670DP | 75.7403
B_SOL:LHe:LL8620SC | 100.145
B_SOL:LHe:LL8670SC | 59.3526
Solenoid Temps - Coils
B_SOL:LHe:TR86105C1 | 4.669
B_SOL:LHe:TR86106C1 | 4.659
B_SOL:LHe:TR86107C2 | 4.671
B_SOL:LHe:TR86108C2 | 4.679
B_SOL:LHe:TR86109C3 | 4.723
B_SOL:LHe:TR86110C3 | 4.736
B_SOL:LHe:TR86111C4 | 4.792
B_SOL:LHe:TR86112C4 | 4.808
B_SOL:LHe:TR86113C5 | 4.834
B_SOL:LHe:TR86114C5 | 4.82
Solenoid Temps - Splices & Bobbin
B_SOL:LHe:TR86115SP_C1_C3 | 4.713
B_SOL:LHe:TR86117SP_C3_C5 | 4.781
B_SOL:LHe:TR86118SP_C3_C5 | 4.781
B_SOL:LHe:TR86119SP_C4_C5 | 4.791
B_SOL:LHe:TR86120SP_C4_C5 | 4.792
B_SOL:LHe:TR86121SP_C2_C4 | 4.129
B_SOL:LHe:TR86122SP_C2_C4 | 4.747
B_SOL:LHe:TR86132BOB_US | 4.663
B_SOL:LHe:TR86133BOB_DS | 4.652
Solenoid Temps - LHe Channels
B_SOL:LHe:TR86101CP_B | 4.6543
B_SOL:LHe:TR86102CP_B | 4.652
B_SOL:LHe:TR86103CP_T | 4.607
B_SOL:LHe:TR86104CP_T | 4.68
Solenoid Temps - Radiation Shields
B_SOL:LHe:TP86128HS_BO_B_BR | 83.818
B_SOL:LHe:TP86129HS_BO_B_BL | 86.044
B_SOL:LHe:TP86130HS_B_OD | 57.048
B_SOL:LHe:TP86131HS_B_OD | 49.737
B_SOL:LHe:TP86134HS_US_CO_LBR | 78.347
B_SOL:LHe:TP86135HS_DS_CO_LBR | 83.514
B_SOL:LHe:TP86136HS_US_CO_UBR | 94.33
B_SOL:LHe:TP86137HS_US_CO_UBR | 77.94
B_SOL:LHe:TP86138HS_US_CO_UBL | 95.228
B_SOL:LHe:TP86139HS_DS_CO_UBL | 89.088
B_SOL:LHe:TP86140HS_DS_CO_LBL | 83.318
B_SOL:LHe:TP86141HS_US_CO_LBL | 82.387
Solenoid Temps - Suspension
B_SOL:LHe:TP86125RS_US_T_BL_M | 73.678
B_SOL:LHe:TP86126RS_US_T_BL_M | 71.705
B_SOL:LHe:TR86124RS_DS_B_BL_C | 5.997
Solenoid Load Cells
B_SOL:FOR:RS86107DS_BL_B:EM_FORCE | 9825
B_SOL:FOR:ZS86107DS_BL_B:EM_FORCE | 480
B_SOL:FOR:RS86106DS_BL_T:EM_FORCE | 154
B_SOL:FOR:ZS86106DS_BL_T:EM_FORCE | 289
B_SOL:FOR:RS86103DS_BR_T:EM_FORCE | 0
B_SOL:FOR:ZS86103DS_BR_T:EM_FORCE | 145
B_SOL:FOR:RS86102DS_BR_B:EM_FORCE | 8731
B_SOL:FOR:ZS86102DS_BR_B:EM_FORCE | 183
B_SOL:FOR:RS86105US_BL_T:EM_FORCE | 365
B_SOL:FOR:ZS86105US_BL_T:EM_FORCE | 2
B_SOL:FOR:RS86108US_BL_B:EM_FORCE | 6923
B_SOL:FOR:ZS86108US_BL_B:EM_FORCE | 0
B_SOL:FOR:RS86104US_BR_T:EM_FORCE | 215
B_SOL:FOR:ZS86104US_BR_T:EM_FORCE | 274
B_SOL:FOR:RS86101US_BR_B:EM_FORCE | 10439
B_SOL:FOR:ZS86101US_BR_B:EM_FORCE | 123
Solenoid Hall Sensors
B_SOL:FOR:HallSensor2 | -1.9455
B_SOL:FOR:HallSensor3 | -14.9551

## Torus
Torus Service Tower - Temperatures
B_TORUS:LN2:TP8151 | 88.2354
B_TORUS:LN2:TP8152 | 83.0449
B_TORUS:LN2:TP815AR | 80.5159
B_TORUS:LN2:TP815BR | 77.0252
B_TORUS:LN2:TP815CR | 119.2
B_TORUS:LN2:TP815DR | 77.4337
B_TORUS:LN2:TP815ER | 84.0001
B_TORUS:LN2:TP815FR | 79.7824
B_TORUS:LN2:TP815DSHRS | 76.3371
B_TORUS:LN2:TP815DSHRN | 77.0524
B_TORUS:LHe:TD8120 | 4.6225
B_TORUS:LHe:TD8115 | 4.6229
B_TORUS:LHe:TD8111 | 5.1851
B_TORUS:LHe:TD8111SC | 4.8745
B_TORUS:LHe:TD8114DSHR | 4.9894
B_TORUS:LHe:TP8121A | 302.443
B_TORUS:LHe:TP8121B | 299.185
B_TORUS:LHe:TR8114S | 4.592
B_TORUS:LHe:TR8114R | 4.89
Torus Service Tower - Pressures
B_TORUS:LN2:PT8151 | 1.0755
B_TORUS:LN2:PT8152 | 1.0013
B_TORUS:LN2:LL8152DP | 99.3497
B_TORUS:LHe:PT8111 | 2.7076
B_TORUS:LHe:PT8115 | 2.469
B_TORUS:LHe:PT8120 | 1.3418
B_TORUS:LHe:LL8120DP | 60.8114
Torus CCM A
Temperatures
B_TORUS:LHe:TR817AR | 4.842
B_TORUS:LHe:TR817AS | 4.66
B_TORUS:LHe:TR817A1 | 4.726
B_TORUS:LHe:TR817A2 | 4.727
B_TORUS:LHe:TR817A3 | 4.749
B_TORUS:LHe:TR817A4 | 4.768
B_TORUS:LHe:TR817A5 | 5.818
B_TORUS:LHe:TR817A6 | 4.722
B_TORUS:LHe:TR817A7 | 4.684
B_TORUS:LHe:TR817A8 | 4.734
B_TORUS:LHe:TR817A9 | 4.768
B_TORUS:LN2:CCM_A:PT100_1 | 86.036
B_TORUS:LN2:CCM_A:PT100_2 | 81.811
B_TORUS:LN2:CCM_A:PT100_3 | 84.227
B_TORUS:LN2:CCM_A:PT100_4 | 84.79
B_TORUS:LN2:CCM_A:PT100_5 | 81.984
Strain Gages
B_TORUS:FOR:CCM_A:SG817A1:Total | -143.307
B_TORUS:FOR:CCM_A:SG817A2:Total | 367.407
B_TORUS:FOR:CCM_A:SG817A3:Total | 398.895
B_TORUS:FOR:CCM_A:SG817A4:Total | 107.828
Load Cells
B_TORUS:FOR:CCM_A:LC817A1 | 33
B_TORUS:FOR:CCM_A:LC817A2 | 0
B_TORUS:FOR:CCM_A:LC817A3 | 13
B_TORUS:FOR:CCM_A:LC817A4 | 0
Torus CCM B
Temperatures
B_TORUS:LHe:TR817BR | 4.723
B_TORUS:LHe:TR817BS | 4.64
B_TORUS:LHe:TR817B1 | 4.765
B_TORUS:LHe:TR817B2 | 4.739
B_TORUS:LHe:TR817B3 | 4.736
B_TORUS:LHe:TR817B4 | 4.675
B_TORUS:LHe:TR817B5 | 5.309
B_TORUS:LHe:TR817B6 | 4.77
B_TORUS:LHe:TR817B7 | 4.687
B_TORUS:LHe:TR817B8 | 4.676
B_TORUS:LHe:TR817B9 | 4.744
B_TORUS:LN2:CCM_B:PT100_1 | 89.322
B_TORUS:LN2:CCM_B:PT100_2 | 81.81
B_TORUS:LN2:CCM_B:PT100_3 | 85.217
B_TORUS:LN2:CCM_B:PT100_4 | 89.783
B_TORUS:LN2:CCM_B:PT100_5 | 81.821
Strain Gages
B_TORUS:FOR:CCM_B:SG817B1:Total | 213.269
B_TORUS:FOR:CCM_B:SG817B2:Total | 338.582
B_TORUS:FOR:CCM_B:SG817B3:Total | 85.8581
B_TORUS:FOR:CCM_B:SG817B4:Total | 347.824
B_TORUS:FOR:CCM_B_AS:SG817B5:Total | 333.155
B_TORUS:FOR:CCM_B_AS:SG817B6:Total | 373.154
Load Cells
B_TORUS:FOR:CCM_B:LC817B1 | 273
B_TORUS:FOR:CCM_B:LC817B2 | 478
B_TORUS:FOR:CCM_B:LC817B3 | 0
B_TORUS:FOR:CCM_B:LC817B4 | 97
Torus CCM C
Temperatures
B_TORUS:LHe:TR817CR | 4.835
B_TORUS:LHe:TR817CS | 4.793
B_TORUS:LHe:TR817C1 | 4.669
B_TORUS:LHe:TR817C2 | 4.85
B_TORUS:LHe:TR817C3 | 4.92
B_TORUS:LHe:TR817C4 | 4.971
B_TORUS:LHe:TR817C5 | 7.416
B_TORUS:LHe:TR817C6 | 5.268
B_TORUS:LHe:TR817C7 | 4.673
B_TORUS:LHe:TR817C8 | 5.265
B_TORUS:LHe:TR817C9 | 4.879
B_TORUS:LN2:CCM_C:PT100_1 | 102.959
B_TORUS:LN2:CCM_C:PT100_2 | 111.594
B_TORUS:LN2:CCM_C:PT100_3 | 136.252
B_TORUS:LN2:CCM_C:PT100_4 | 143.684
B_TORUS:LN2:CCM_C:PT100_5 | 111.451
Strain Gages
B_TORUS:FOR:CCM_C:SG817C1:Total | 110.118
B_TORUS:FOR:CCM_C:SG817C2:Total | 380.783
B_TORUS:FOR:CCM_C:SG817C3:Total | 330.283
B_TORUS:FOR:CCM_C:SG817C4:Total | 372.146
Load Cells
B_TORUS:FOR:CCM_C:LC817C1 | 386
B_TORUS:FOR:CCM_C:LC817C2 | 179
B_TORUS:FOR:CCM_C:LC817C3 | 0
B_TORUS:FOR:CCM_C:LC817C4 | 0
Torus CCM D
Temperatures
B_TORUS:LHe:TR817DR | 4.801
B_TORUS:LHe:TR817DS | 4.612
B_TORUS:LHe:TR817D1 | 4.882
B_TORUS:LHe:TR817D2 | 4.686
B_TORUS:LHe:TR817D3 | 4.658
B_TORUS:LHe:TR817D4 | 4.775
B_TORUS:LHe:TR817D5 | 5.93
B_TORUS:LHe:TR817D6 | 4.723
B_TORUS:LHe:TR817D7 | 4.722
B_TORUS:LHe:TR817D8 | 4.791
B_TORUS:LHe:TR817D9 | 4.758
B_TORUS:LN2:CCM_D:PT100_1 | 91.034
B_TORUS:LN2:CCM_D:PT100_2 | 85.689
B_TORUS:LN2:CCM_D:PT100_3 | 89.288
B_TORUS:LN2:CCM_D:PT100_4 | 89.272
B_TORUS:LN2:CCM_D:PT100_5 | 86.192
Strain Gages
B_TORUS:FOR:CCM_D:SG817D1:Total | 105.223
B_TORUS:FOR:CCM_D:SG817D2:Total | 365.506
B_TORUS:FOR:CCM_D:SG817D3:Total | 49.5444
B_TORUS:FOR:CCM_D:SG817D4:Total | 388.418
B_TORUS:FOR:CCM_D_AS:SG817D5:Total | 191.758
B_TORUS:FOR:CCM_D_AS:SG817D6:Total | 247.186
Load Cells
B_TORUS:FOR:CCM_D:LC817D1 | 0
B_TORUS:FOR:CCM_D:LC817D2 | 2
B_TORUS:FOR:CCM_D:LC817D3 | 45
B_TORUS:FOR:CCM_D:LC817D4 | 22
Torus CCM E
Temperatures
B_TORUS:LHe:TR817ER | 5.061
B_TORUS:LHe:TR817ES | 4.602
B_TORUS:LHe:TR817E1 | 4.803
B_TORUS:LHe:TR817E2 | 4.923
B_TORUS:LHe:TR817E3 | 4.742
B_TORUS:LHe:TR817E4 | 4.921
B_TORUS:LHe:TR817E5 | 6.36
B_TORUS:LHe:TR817E6 | 4.729
B_TORUS:LHe:TR817E7 | 4.648
B_TORUS:LHe:TR817E8 | 4.747
B_TORUS:LHe:TR817E9 | 4.763
B_TORUS:LN2:CCM_E:PT100_1 | 88.183
B_TORUS:LN2:CCM_E:PT100_2 | 86.289
B_TORUS:LN2:CCM_E:PT100_3 | 97.058
B_TORUS:LN2:CCM_E:PT100_4 | 112.849
B_TORUS:LN2:CCM_E:PT100_5 | 86.79
Strain Gages
B_TORUS:FOR:CCM_E:SG817E1:Total | 87.8619
B_TORUS:FOR:CCM_E:SG817E2:Total | -21101.7
B_TORUS:FOR:CCM_E:SG817E3:Total | 366.686
B_TORUS:FOR:CCM_E:SG817E4:Total | -66330.7
Load Cells
B_TORUS:FOR:CCM_E:LC817E1 | 0
B_TORUS:FOR:CCM_E:LC817E2 | 13
B_TORUS:FOR:CCM_E:LC817E3 | 741
B_TORUS:FOR:CCM_E:LC817E4 | 725
Torus CCM F
Temperatures
B_TORUS:LHe:TR817FR | 4.691
B_TORUS:LHe:TR817FS | 4.59
B_TORUS:LHe:TR817F1 | 4.727
B_TORUS:LHe:TR817F2 | 4.758
B_TORUS:LHe:TR817F3 | 5.66
B_TORUS:LHe:TR817F4 | 4.655
B_TORUS:LHe:TR817F5 | 5.859
B_TORUS:LHe:TR817F6 | 4.62
B_TORUS:LHe:TR817F7 | 4.832
B_TORUS:LHe:TR817F8 | 4.593
B_TORUS:LHe:TR817F9 | 4.851
B_TORUS:LN2:CCM_F:PT100_1 | 87.386
B_TORUS:LN2:CCM_F:PT100_2 | 82.616
B_TORUS:LN2:CCM_F:PT100_3 | 86.368
B_TORUS:LN2:CCM_F:PT100_4 | 94.501
B_TORUS:LN2:CCM_F:PT100_5 | 83.053
Strain Gages
B_TORUS:FOR:CCM_F:SG817F1:Total | -140.457
B_TORUS:FOR:CCM_F:SG817F2:Total | 150.28
B_TORUS:FOR:CCM_F:SG817F3:Total | -69.7284
B_TORUS:FOR:CCM_F:SG817F4:Total | 378.138
B_TORUS:FOR:CCM_F_AS:SG817F5:Total | 296.756
B_TORUS:FOR:CCM_F_AS:SG817F6:Total | 221.649
Load Cells
B_TORUS:FOR:CCM_F:LC817F1 | 0
B_TORUS:FOR:CCM_F:LC817F2 | 0
B_TORUS:FOR:CCM_F:LC817F3 | 800
B_TORUS:FOR:CCM_F:LC817F4 | 616
Hex Beam - Sector 1
Temperatures
B_TORUS:LHe:TR817U1HB1 | 4.756
B_TORUS:LHe:TR817U1HB2 | 6.187
B_TORUS:LHe:TR817D1HB1 | 6.4624
Strain Gages
B_TORUS:FOR:HB_US_S1:SG817U1HB1:Total | -208.737
B_TORUS:FOR:HB_US_S1:SG817U1HB2:Total | -275.337
B_TORUS:FOR:HB_US_S1_VS:SG817U1HB3:Total | 437.694
B_TORUS:FOR:HB_US_S1_VS:SG817U1HB4:Total | 401.072
B_TORUS:FOR:HB_DS_S1:SG817D1HB1:Total | -86.8503
B_TORUS:FOR:HB_DS_S1:SG817D1HB2:Total | -104.007
B_TORUS:FOR:HB_DS_S1_VS:SG817D1HB3:Total | 814.852
B_TORUS:FOR:HB_DS_S1_VS:SG817D1HB4:Total | 1216.99
Load Cell
B_TORUS:FOR:HUB:LC817H1 | 0
Hex Beam - Sector 2
Temperatures
B_TORUS:LHe:TR817U2HB1 | 4.808
B_TORUS:LHe:TR817U2HB2 | 5.577
B_TORUS:LHe:TR817D2HB1 | 6.39
Strain Gages
B_TORUS:FOR:HB_US_S2:SG817U2HB1:Total | -418.84
B_TORUS:FOR:HB_US_S2:SG817U2HB2:Total | -185.799
B_TORUS:FOR:HB_DS_S2:SG817D2HB1:Total | -160.961
B_TORUS:FOR:HB_DS_S2:SG817D2HB2:Total | -106.409
Hex Beam - Sector 3
Temperatures
B_TORUS:LHe:TR817U3HB1 | 4.773
B_TORUS:LHe:TR817U3HB2 | 5.197
B_TORUS:LHe:TR817D3HB1 | 6.466
Strain Gages
B_TORUS:FOR:HB_US_S3:SG817U3HB1:Total | -153.229
B_TORUS:FOR:HB_US_S3:SG817U3HB2:Total | -187.799
B_TORUS:FOR:HB_DS_S3:SG817D3HB1:Total | -50.3522
B_TORUS:FOR:HB_DS_S3:SG817D3HB2:Total | -145.173
Hex Beam - Sector 4
Temperatures
B_TORUS:LHe:TR817U4HB1 | 4.7
B_TORUS:LHe:TR817U4HB2 | 5.542
B_TORUS:LHe:TR817D4HB1 | 6.4508
Strain Gages
B_TORUS:FOR:HB_US_S4:SG817U4HB1:Total | -87.4425
B_TORUS:FOR:HB_US_S4:SG817U4HB2:Total | -196.368
B_TORUS:FOR:HB_US_S4_VS:SG817U4HB3:Total | 579.032
B_TORUS:FOR:HB_US_S4_VS:SG817U4HB4:Total | 499.328
B_TORUS:FOR:HB_DS_S4:SG817D4HB1:Total | -66.1401
B_TORUS:FOR:HB_DS_S4:SG817D4HB2:Total | -18.0423
B_TORUS:FOR:HB_DS_S4_VS:SG817D4HB3:Total | 1219.61
B_TORUS:FOR:HB_DS_S4_VS:SG817D4HB4:Total | 983.902
Load Cell
B_TORUS:FOR:HUB:LC817H4 | 35
Hex Beam - Sector 5
Temperatures
B_TORUS:LHe:TR817U5HB1 | 4.684
B_TORUS:LHe:TR817U5HB2 | 5.591
B_TORUS:LHe:TR817D5HB1 | 6.445
Strain Gages
B_TORUS:FOR:HB_US_S5:SG817U5HB1:Total | -101.549
B_TORUS:FOR:HB_US_S5:SG817U5HB2:Total | -132.75
B_TORUS:FOR:HB_DS_S5:SG817D5HB1:Total | 20.9626
B_TORUS:FOR:HB_DS_S5:SG817D5HB2:Total | -169.258
Hex Beam - Sector 6
Temperatures
B_TORUS:LHe:TR817U6HB1 | 4.727
B_TORUS:LHe:TR817U6HB2 | 5.535
B_TORUS:LHe:TR817D6HB1 | 6.403
Strain Gages
B_TORUS:FOR:HB_US_S6:SG817U6HB1:Total | -106.017
B_TORUS:FOR:HB_US_S6:SG817U6HB2:Total | -172.617
B_TORUS:FOR:HB_DS_S6:SG817D6HB1:Total | -90.2056
B_TORUS:FOR:HB_DS_S6:SG817D6HB2:Total | 64.7887
Torus - Hall Sensors
B_TORUS:FOR:CCM_A:HallSensor | -70.3954
B_TORUS:FOR:CCM_B:HallSensor | -29.2407
B_TORUS:FOR:CCM_C:HallSensor | 33.4148
B_TORUS:FOR:CCM_D:HallSensor | -20.6732
B_TORUS:FOR:CCM_E:HallSensor | -87.4484
B_TORUS:FOR:CCM_F:HallSensor | 63.2692