## Photodiode A Calibration
Photodiode A Calibration
Wavelength [nm] | Sample 1 [pA] | Sample 2 [pA] | Sample 3 [pA] | Sample 4 [pA] | Sample 5 [pA] | Sample 6 [pA] | Sample 7 [pA] | Sample 8 [pA] | Sample 9 [pA] | Sample 10 [pA] | Sample 11 [pA] | Sample 12 [pA] | Sample 13 [pA] | Sample 14 [pA] | Sample 15 [pA] | Sample 16 [pA] | Sample 17 [pA] | Sample 18 [pA] | Sample 19 [pA] | Sample 20 [pA] | Sample 21 [pA] | Sample 22 [pA] | Sample 23 [pA] | Sample 24 [pA] | Sample 25 [pA]
350 | 356.065 | 355.198 | 354.221 | 354.512 | 355.554 | 355.789 | 355.095 | 353.767 | 356.777 | 355.491 | 354.97 | 354.3 | 354.063 | 354.633 | 355.318 | 354.222 | 355.023 | 355.823 | 353.587 | 355.32 | 354.688 | 353.611 | 354.737 | 356.762 | 355.43
365 | 379.437 | 378.379 | 376.921 | 376.905 | 377.805 | 379.393 | 377.903 | 377.166 | 378.02 | 377.158 | 378.585 | 377.266 | 378.499 | 379.177 | 377.262 | 379.376 | 378.328 | 378.26 | 377.882 | 376.896 | 378.316 | 376.997 | 377.746 | 377.936 | 376.202
380 | 355.69 | 356.545 | 356.363 | 356.746 | 358.24 | 357.829 | 355.906 | 356.668 | 356.528 | 356.228 | 356.617 | 355.876 | 355.808 | 356.349 | 354.869 | 355.708 | 355.899 | 356.845 | 355.595 | 355.426 | 357.077 | 355.653 | 356.832 | 355.129 | 356.779
395 | 410.788 | 409.619 | 411.526 | 410.469 | 410.67 | 409.779 | 410.733 | 409.229 | 410.506 | 409.635 | 409.031 | 410.394 | 408.451 | 409.013 | 409.836 | 407.662 | 410.775 | 408.838 | 410.502 | 409.065 | 410.801 | 409.785 | 409.074 | 408.91 | 409.402
410 | 427.204 | 426.812 | 426.824 | 424.892 | 426.324 | 428.436 | 426.01 | 428.047 | 426.527 | 427.652 | 425.787 | 426.296 | 427.119 | 426.542 | 426.384 | 426.39 | 425.743 | 427.472 | 425.671 | 426.446 | 426.868 | 422.004 | 426.351 | 425.269 | 425.855
425 | 452.74 | 451.813 | 451.983 | 451.382 | 451.86 | 451.955 | 453.243 | 450.153 | 453.027 | 452.342 | 452.833 | 453.112 | 453.281 | 451.829 | 452.685 | 453.186 | 451.952 | 450.706 | 451.602 | 452.59 | 454.204 | 450.643 | 451.311 | 453.56 | 452.797
440 | 460.192 | 460.842 | 459.949 | 461.453 | 460.815 | 460.233 | 460.707 | 461.261 | 458.576 | 459.669 | 461.287 | 460.066 | 459.109 | 457.721 | 459.505 | 459.881 | 458.429 | 460.069 | 460.829 | 460.611 | 460.479 | 460.615 | 460.552 | 459.793 | 459.002
455 | 489.151 | 487.338 | 489.7 | 488.825 | 489.956 | 486.924 | 487.279 | 486.868 | 487.543 | 487.654 | 487.866 | 486.02 | 486.678 | 487.083 | 487.481 | 489.193 | 487.345 | 490.718 | 488.817 | 488.855 | 487.599 | 488.281 | 488.156 | 488.348 | 488.563
470 | 547.417 | 546.576 | 546.743 | 547.546 | 546.092 | 547.15 | 547.526 | 547.554 | 545.773 | 546.797 | 549.184 | 547.579 | 547.22 | 548.492 | 548.554 | 546.599 | 546.357 | 546.37 | 544.981 | 546.999 | 548.386 | 547.223 | 545.437 | 548.12 | 546.294
485 | 577.596 | 581.914 | 578.792 | 576.261 | 579.839 | 578.207 | 577.464 | 577.269 | 578.804 | 578.854 | 579.276 | 578.216 | 581.286 | 580.177 | 577.86 | 577.801 | 577.814 | 579.73 | 579.479 | 577.383 | 577.882 | 579.043 | 577.221 | 579.592 | 579.541
500 | 597.083 | 600.209 | 596.932 | 597.403 | 595.238 | 598.443 | 597.092 | 597.788 | 597.396 | 597.279 | 599.767 | 597.782 | 597.216 | 597.654 | 598.947 | 595.871 | 596.591 | 597.844 | 600.085 | 594.968 | 595.47 | 595.896 | 598.574 | 594.349 | 595.248
515 | 627.436 | 628.006 | 626.127 | 624.598 | 626.416 | 624.04 | 624.946 | 625.997 | 624.185 | 624.322 | 625.284 | 623.799 | 624.956 | 623.326 | 625.836 | 624.167 | 624.108 | 628.587 | 627.504 | 621.078 | 624.929 | 625.7 | 623.558 | 626.952 | 624.438
530 | 649.68 | 647.188 | 650.567 | 648.614 | 650.523 | 648.521 | 650.07 | 647.182 | 649.251 | 649.496 | 651.905 | 647.879 | 649.763 | 650.011 | 651.111 | 649.076 | 646.859 | 648.762 | 648.937 | 647.128 | 647.103 | 648.81 | 650.241 | 651.026 | 648.434
545 | 705.645 | 703.88 | 703.03 | 703.381 | 704.086 | 704.288 | 706.223 | 705.688 | 704.909 | 707.149 | 701.806 | 702.774 | 707.313 | 705.164 | 703.215 | 702.244 | 704.15 | 700.82 | 707.225 | 703.135 | 704.655 | 702.14 | 701.287 | 705.029 | 702.484
560 | 746.562 | 750.03 | 746.026 | 748.761 | 745.802 | 746.422 | 745.72 | 743.324 | 742.711 | 744.345 | 744.766 | 748.359 | 746.87 | 744.996 | 744.604 | 745.82 | 743.586 | 748.115 | 750.049 | 746.03 | 746.113 | 745.095 | 743.668 | 743.836 | 745.271
575 | 725.056 | 723.305 | 722.573 | 724.249 | 722.655 | 724.013 | 723.572 | 725.508 | 724.077 | 725.251 | 723.554 | 725.876 | 724.004 | 725.146 | 719.979 | 725.168 | 720.838 | 723.266 | 723.857 | 720.368 | 723.243 | 724.431 | 722.702 | 723.876 | 726.576
590 | 823.824 | 821.804 | 823.979 | 825.104 | 821.016 | 822.12 | 828.939 | 824.829 | 821.092 | 822.947 | 821.774 | 823.09 | 818.582 | 818.907 | 824.365 | 823.812 | 825.365 | 815.219 | 822.687 | 822.518 | 822.311 | 821.749 | 822.215 | 823.688 | 823.575
605 | 807.484 | 801.934 | 805.231 | 806.696 | 805.303 | 807.122 | 806.566 | 805.802 | 804.192 | 806.331 | 803.753 | 804.724 | 804.287 | 806.025 | 806.735 | 805.661 | 806.764 | 805.789 | 805.015 | 802.953 | 803.355 | 806.163 | 803.823 | 806.55 | 805.976
620 | 820.098 | 820.899 | 821.973 | 820.577 | 818.828 | 819.781 | 818.687 | 818.411 | 819.532 | 820.156 | 819.767 | 821.256 | 816.502 | 818.111 | 819.32 | 819.114 | 816.709 | 821.261 | 819.185 | 818.496 | 818.304 | 818.522 | 820.278 | 819.165 | 820.549
635 | 828.517 | 828.341 | 831.511 | 830.669 | 830.154 | 828.753 | 830.01 | 832.978 | 830.627 | 827.766 | 830.809 | 831.709 | 829.435 | 832.034 | 827.506 | 831.337 | 828.788 | 830.692 | 831.489 | 831.626 | 828.9 | 830.572 | 828.555 | 830.27 | 830.821
650 | 821.386 | 821.249 | 820.088 | 818.364 | 817.928 | 818.433 | 818.603 | 820.626 | 819.66 | 821.85 | 821.412 | 821.007 | 821.551 | 819.72 | 821.389 | 818.492 | 819.797 | 820.677 | 820.794 | 817.056 | 818.484 | 824.404 | 817.481 | 817.203 | 820.815

## Photodiode B Calibration
Photodiode B Calibration
Wavelength [nm] | Sample 1 [pA] | Sample 2 [pA] | Sample 3 [pA] | Sample 4 [pA] | Sample 5 [pA] | Sample 6 [pA] | Sample 7 [pA] | Sample 8 [pA] | Sample 9 [pA] | Sample 10 [pA] | Sample 11 [pA] | Sample 12 [pA] | Sample 13 [pA] | Sample 14 [pA] | Sample 15 [pA] | Sample 16 [pA] | Sample 17 [pA] | Sample 18 [pA] | Sample 19 [pA] | Sample 20 [pA] | Sample 21 [pA] | Sample 22 [pA] | Sample 23 [pA] | Sample 24 [pA] | Sample 25 [pA]
350 | 475.03 | 472.399 | 473.03 | 473.697 | 474.564 | 472.866 | 474.617 | 471.53 | 473.415 | 475.275 | 477.539 | 473.68 | 473.164 | 474.689 | 474.472 | 474.547 | 473.1 | 473.479 | 473.453 | 473.054 | 473.677 | 473.508 | 475.06 | 473.003 | 473.337
365 | 464.073 | 462.663 | 463.845 | 460.501 | 465.487 | 464.584 | 464.324 | 462.915 | 463.881 | 462.473 | 462.96 | 463.018 | 462.849 | 463.687 | 462.656 | 464.06 | 462.533 | 461.549 | 461.877 | 463.39 | 463.282 | 461.428 | 462.258 | 463.774 | 463.246
380 | 511.631 | 510.039 | 508.992 | 508.928 | 509.289 | 508.012 | 509.681 | 510.739 | 509.746 | 511.537 | 510.248 | 509.113 | 508.557 | 511.949 | 510.036 | 509.327 | 510.925 | 508.422 | 509.452 | 507.897 | 510.696 | 510.091 | 509.822 | 509.361 | 511.527
395 | 496.526 | 495.381 | 495.17 | 496.098 | 495.812 | 494.874 | 496.565 | 494.241 | 494.845 | 495.374 | 495.85 | 495.251 | 495.999 | 495.061 | 497.732 | 495.117 | 494.015 | 494.385 | 496.898 | 494.623 | 497.673 | 496.165 | 496.019 | 495.762 | 495.604
410 | 532.541 | 533.412 | 533.054 | 530.858 | 532.619 | 533.253 | 531.994 | 531.848 | 531.313 | 532.269 | 529.982 | 532.808 | 530.516 | 531.182 | 532.232 | 532.271 | 532.671 | 533.382 | 532.359 | 532.507 | 532.053 | 530.491 | 530.806 | 533.661 | 529.091
425 | 551.895 | 550.331 | 550.112 | 549.229 | 552.653 | 550.38 | 550.948 | 551.077 | 550.498 | 550.161 | 552.384 | 551.454 | 549.873 | 551.616 | 551.214 | 547.239 | 551.006 | 552.072 | 551.698 | 552.036 | 552.725 | 551.972 | 551.249 | 549.241 | 552.845
440 | 587.775 | 588.251 | 586.671 | 589.136 | 588.004 | 589.645 | 587.301 | 587.39 | 586.782 | 588.022 | 587.93 | 588.523 | 586.968 | 587.639 | 589.523 | 587.36 | 588.793 | 589.136 | 588.285 | 588.336 | 586.33 | 588.551 | 587.833 | 589.066 | 587.447
455 | 618.532 | 618.367 | 617.993 | 620.104 | 619.902 | 620.027 | 619.825 | 619.096 | 618.294 | 619.653 | 618.14 | 620.82 | 619.266 | 619.262 | 617.89 | 618.164 | 620.128 | 621.411 | 619.837 | 618.626 | 620.331 | 619 | 619.288 | 617.594 | 619.781
470 | 642.693 | 643.66 | 645.372 | 644.814 | 644.274 | 643.305 | 643.874 | 644.904 | 645.449 | 644.94 | 642.459 | 643.215 | 643.908 | 643.112 | 644.178 | 645.514 | 643.765 | 644.451 | 644.988 | 644.195 | 644.134 | 644.504 | 645.239 | 645.238 | 642.137
485 | 657.991 | 661.743 | 662.171 | 662.187 | 660.804 | 662.689 | 662.641 | 659.65 | 662.51 | 661.399 | 660.921 | 663.87 | 661.892 | 662.441 | 661.912 | 661.856 | 660.855 | 661.062 | 661.953 | 661.567 | 661.523 | 661.392 | 663.235 | 662.634 | 661.801
500 | 703.673 | 702.766 | 701.641 | 703.422 | 704.421 | 700.636 | 702.885 | 705.85 | 702.112 | 698.862 | 702.14 | 702.062 | 701.959 | 702.257 | 700.866 | 700.921 | 701.166 | 704.387 | 700.881 | 705.454 | 701.907 | 702.242 | 700.588 | 703.487 | 700.935
515 | 737.601 | 739.727 | 734.761 | 737.716 | 737.457 | 736.894 | 738.1 | 738.053 | 737.09 | 738.691 | 736.225 | 737.645 | 738.556 | 736.141 | 737.287 | 738.887 | 735.965 | 741.369 | 737.587 | 739.094 | 738.323 | 736.637 | 736.182 | 736.918 | 736.511
530 | 767.568 | 770.274 | 768.497 | 769.737 | 771.524 | 767.395 | 767.703 | 769.37 | 768.768 | 771.064 | 769.154 | 769.878 | 768.885 | 769.653 | 768.412 | 766.65 | 768.816 | 770.658 | 769.673 | 766.824 | 770.502 | 773.813 | 774.023 | 769.796 | 770.583
545 | 849.693 | 850.184 | 851.477 | 848.154 | 854.879 | 849.501 | 848.461 | 850.156 | 849.99 | 850.4 | 851.175 | 851.835 | 849.8 | 851.685 | 852.234 | 856.907 | 850.417 | 849.585 | 850.022 | 851.236 | 849.87 | 850.857 | 849.74 | 848.853 | 849.622
560 | 899.214 | 893.358 | 896.106 | 892.921 | 894.399 | 894.865 | 894.579 | 894.979 | 896.711 | 894.174 | 895.71 | 894.25 | 895.536 | 895.921 | 895.594 | 893.256 | 895.247 | 893.251 | 894.349 | 895.113 | 896.99 | 895.242 | 896.877 | 899.514 | 898.153
575 | 876.496 | 875.493 | 875.204 | 872.503 | 876.328 | 871.896 | 876.64 | 874.253 | 873.215 | 873.559 | 872.454 | 874.348 | 874.072 | 869.18 | 876.957 | 872.611 | 873.596 | 872.692 | 873.361 | 874.011 | 872.48 | 876.977 | 875.338 | 874.662 | 874.664
590 | 1033.695 | 1034.694 | 1039.05 | 1038.14 | 1037.086 | 1038.837 | 1034.296 | 1032.365 | 1034.578 | 1040.84 | 1027.447 | 1036.631 | 1035.252 | 1034.331 | 1035.666 | 1035.01 | 1033.594 | 1034.834 | 1032.515 | 1037.035 | 1035.805 | 1036.081 | 1031.429 | 1036.563 | 1035.676
605 | 958.848 | 948.241 | 956.127 | 960.94 | 948.083 | 955.09 | 952.421 | 951.358 | 951.93 | 951.396 | 951.821 | 952.299 | 954.475 | 950.774 | 952.611 | 956.532 | 954.947 | 956.077 | 951.956 | 948.636 | 949.971 | 951.452 | 952.718 | 953.073 | 952.442
620 | 921.515 | 919.108 | 920.511 | 924.473 | 920.938 | 925.316 | 916.127 | 925.648 | 921.801 | 919.1 | 915.419 | 917.779 | 923.883 | 919.588 | 919.465 | 915.991 | 919.968 | 921.013 | 922.535 | 917.82 | 921.791 | 918.683 | 919.843 | 919.718 | 918.735
635 | 913.385 | 912.106 | 912.164 | 917.986 | 914.137 | 918.316 | 914.12 | 914.643 | 915.258 | 915.206 | 916.708 | 912.922 | 914.113 | 915.358 | 917.285 | 912.245 | 911.659 | 914.514 | 913.786 | 916.862 | 913.932 | 916.788 | 912.752 | 914.394 | 914.273
650 | 930.36 | 931.854 | 930.081 | 925.979 | 929.87 | 928.019 | 927.809 | 930.24 | 931.289 | 923.851 | 925.045 | 931.319 | 926.362 | 929.628 | 929.114 | 926.332 | 928.903 | 928.625 | 930.168 | 927.262 | 928.692 | 927.866 | 930.932 | 928.004 | 934.16

## Photodiode A Measurement
Photodiode A Measurement
Wavelength [nm] | Sample 1 [pA] | Sample 2 [pA] | Sample 3 [pA] | Sample 4 [pA] | Sample 5 [pA] | Sample 6 [pA] | Sample 7 [pA] | Sample 8 [pA] | Sample 9 [pA] | Sample 10 [pA] | Sample 11 [pA] | Sample 12 [pA] | Sample 13 [pA] | Sample 14 [pA] | Sample 15 [pA] | Sample 16 [pA] | Sample 17 [pA] | Sample 18 [pA] | Sample 19 [pA] | Sample 20 [pA] | Sample 21 [pA] | Sample 22 [pA] | Sample 23 [pA] | Sample 24 [pA] | Sample 25 [pA]
350 | 336.661 | 335.092 | 338.218 | 336.26 | 335.958 | 333.884 | 334.318 | 334.789 | 335.474 | 334.381 | 334.247 | 335.615 | 335.783 | 334.61 | 334.831 | 333.626 | 334.337 | 334.672 | 334.843 | 334.338 | 333.57 | 333.611 | 334.924 | 334.395 | 334.724
365 | 359.612 | 357.05 | 358.544 | 359.678 | 357.898 | 357.224 | 359.502 | 358.883 | 358.544 | 357.843 | 358.842 | 359.138 | 357.747 | 360.555 | 357.561 | 357.376 | 357.772 | 358.036 | 359.069 | 357.993 | 359.413 | 357.528 | 357.286 | 356.468 | 357.959
380 | 338.564 | 339.476 | 338.032 | 338.721 | 337.947 | 336.168 | 337.367 | 335.099 | 336.631 | 336.412 | 336.863 | 337.397 | 334.781 | 337.926 | 336.497 | 336.973 | 337.339 | 337.284 | 338.38 | 338.146 | 335.74 | 336.073 | 337.126 | 336.453 | 335.409
395 | 389.834 | 390.562 | 390.604 | 390.115 | 389.922 | 390.857 | 390.049 | 390.189 | 388.764 | 390.058 | 390.27 | 389.342 | 388.224 | 389.241 | 389.086 | 388.708 | 390.463 | 389.35 | 390.168 | 389.759 | 390.275 | 390.119 | 390.023 | 389.57 | 390.73
410 | 408.3 | 406.73 | 407.775 | 406.952 | 408.597 | 407.905 | 405.773 | 407.336 | 406.099 | 410.704 | 406.749 | 407.146 | 406.762 | 406.674 | 407.025 | 406.791 | 407.549 | 407.343 | 407.906 | 408.088 | 407.524 | 406.605 | 406.986 | 406.453 | 406.514
425 | 433.37 | 433.946 | 433.55 | 434.294 | 434.274 | 433.437 | 433.154 | 432.343 | 431.356 | 432.143 | 434.247 | 433.046 | 431.731 | 433.28 | 431.553 | 432.453 | 431.944 | 432.784 | 432.333 | 432.71 | 434.01 | 433.747 | 433.491 | 433.508 | 433.715
440 | 441.914 | 441.949 | 441.672 | 440.553 | 441.301 | 441.421 | 440.773 | 442.745 | 442.507 | 441.522 | 440.948 | 440.624 | 442.015 | 440.627 | 443.054 | 442.262 | 441.136 | 441.338 | 442.074 | 441.823 | 443.09 | 441.838 | 440.293 | 441.718 | 441.918
455 | 468.232 | 468.811 | 470.904 | 470.175 | 468.918 | 471.251 | 469.786 | 470.392 | 468.78 | 471.553 | 469.501 | 469.115 | 466.464 | 469.251 | 468.425 | 469.371 | 469.119 | 468.638 | 471.028 | 469.046 | 468.709 | 469.292 | 467.673 | 468.775 | 470.202
470 | 529.807 | 529.414 | 530.363 | 529.474 | 530.907 | 531.054 | 529.16 | 529.437 | 529.212 | 529.06 | 529.253 | 531.808 | 530.504 | 527.784 | 528.414 | 530.327 | 528.768 | 532.228 | 531.484 | 528.915 | 527.157 | 528.709 | 528.756 | 530.586 | 531.09
485 | 560.962 | 561.859 | 561.964 | 564.365 | 561.026 | 559.588 | 559.642 | 563.435 | 563.269 | 562.154 | 559.94 | 561.846 | 562.561 | 562.746 | 561.413 | 562.899 | 560.41 | 560.11 | 562.846 | 561.4 | 562.506 | 562.921 | 562.839 | 561.964 | 560.467
500 | 579.95 | 581.474 | 580.179 | 579.701 | 580.405 | 577.709 | 578.851 | 579.171 | 582.559 | 579.373 | 579.63 | 580.033 | 578.931 | 580.06 | 581.037 | 579.588 | 579.536 | 577.658 | 579.312 | 581.155 | 579.808 | 580.794 | 580.897 | 578.861 | 578.189
515 | 610.057 | 608.098 | 609.254 | 607.428 | 609.541 | 610.082 | 608.594 | 609.728 | 607.381 | 609.766 | 608.247 | 608.723 | 608.065 | 606.949 | 607.354 | 608.52 | 609.762 | 607.199 | 608.727 | 606.615 | 607.586 | 607.662 | 605.83 | 606.979 | 608.62
530 | 631.341 | 629.757 | 631.499 | 632.036 | 631.49 | 630.013 | 630.612 | 630.924 | 629.39 | 630.837 | 632.051 | 631.84 | 630.167 | 633.57 | 630.403 | 634.496 | 630.21 | 634.336 | 632.236 | 630.171 | 632.488 | 629.409 | 629.82 | 632.23 | 633.277
545 | 685.844 | 686.272 | 687.636 | 689.304 | 686.361 | 686.261 | 686 | 687.363 | 685.542 | 687.442 | 684.524 | 684.603 | 686.962 | 685.625 | 687.556 | 686.074 | 687.632 | 687.442 | 686.83 | 686.994 | 684.288 | 686.147 | 687.543 | 687.927 | 690.847
560 | 728.536 | 727.555 | 728.147 | 727.662 | 726.304 | 724.227 | 728.135 | 730.707 | 727.101 | 724.468 | 726.049 | 726.383 | 726.125 | 724.793 | 726.558 | 723.875 | 726.834 | 728.887 | 727.817 | 729.837 | 727.794 | 728.04 | 729.43 | 726.061 | 727.334
575 | 706.637 | 704.659 | 706.833 | 704.289 | 706.448 | 710.037 | 705.941 | 706.47 | 706.994 | 706.649 | 706.674 | 705.926 | 704.357 | 703.873 | 704.73 | 707.268 | 708.675 | 703.643 | 704.404 | 704.526 | 707.455 | 705.024 | 702.345 | 704.127 | 704.799
590 | 801.402 | 803.355 | 804.98 | 801.136 | 805.581 | 803.278 | 806.444 | 802.186 | 799.997 | 805.348 | 802.345 | 804.113 | 801.659 | 805.625 | 804.504 | 804.486 | 803.443 | 804.298 | 802.289 | 804.108 | 800.911 | 804.815 | 804.475 | 805.292 | 802.986
605 | 786.594 | 790.512 | 784.675 | 787.215 | 785.182 | 788.867 | 785.356 | 787.41 | 786.646 | 786.67 | 788.923 | 785.243 | 783.953 | 786.768 | 785.592 | 786.841 | 786.971 | 786.967 | 788.708 | 784.682 | 788.274 | 781.915 | 784.44 | 784.652 | 786.606
620 | 803.779 | 800.573 | 802.591 | 799.671 | 796.677 | 799.35 | 798.778 | 803.231 | 798.688 | 799.421 | 797.971 | 799.754 | 801.738 | 801.467 | 800.643 | 798.032 | 798.372 | 796.878 | 798.02 | 801.682 | 801.858 | 802.209 | 799.229 | 801.3 | 800.012
635 | 809.04 | 806.917 | 810.023 | 812.303 | 809.926 | 809.563 | 807.403 | 808.234 | 808.971 | 809.453 | 807.596 | 808.498 | 808.26 | 807.913 | 811.137 | 809.054 | 806.606 | 811.931 | 809.041 | 804.895 | 810.929 | 811.786 | 810.171 | 808.319 | 810.426
650 | 799.741 | 798.209 | 796.883 | 798.07 | 800.071 | 800.23 | 800.001 | 800.478 | 798.487 | 799.183 | 800.73 | 798.438 | 797.018 | 799.998 | 800.21 | 798.123 | 798.855 | 800.114 | 800.471 | 800.095 | 797.693 | 800.62 | 797.383 | 800.023 | 801.548

## Photodiode B Measurement
Photodiode B Measurement
Wavelength [nm] | Sample 1 [pA] | Sample 2 [pA] | Sample 3 [pA] | Sample 4 [pA] | Sample 5 [pA] | Sample 6 [pA] | Sample 7 [pA] | Sample 8 [pA] | Sample 9 [pA] | Sample 10 [pA] | Sample 11 [pA] | Sample 12 [pA] | Sample 13 [pA] | Sample 14 [pA] | Sample 15 [pA] | Sample 16 [pA] | Sample 17 [pA] | Sample 18 [pA] | Sample 19 [pA] | Sample 20 [pA] | Sample 21 [pA] | Sample 22 [pA] | Sample 23 [pA] | Sample 24 [pA] | Sample 25 [pA]
350 | 367.518 | 369.245 | 367.999 | 367.635 | 367.767 | 369.556 | 367.648 | 368.285 | 368.883 | 367.054 | 367.718 | 367.065 | 367.46 | 367.076 | 368.129 | 366.611 | 368.331 | 367.104 | 368.261 | 366.367 | 368.549 | 367.897 | 367.901 | 367.667 | 365.194
365 | 360.964 | 360.298 | 358.815 | 362.127 | 358.517 | 360.508 | 360.572 | 360.006 | 361.629 | 361.871 | 361.408 | 360.278 | 360.447 | 362.839 | 362.358 | 360.473 | 360.961 | 361.464 | 359.606 | 361.121 | 362.336 | 360.669 | 360.855 | 359.77 | 362.158
380 | 399.658 | 399.839 | 400.791 | 399.26 | 398.103 | 402.313 | 400.141 | 400.964 | 398.559 | 400.117 | 398.387 | 402.764 | 401.118 | 400.651 | 400.033 | 400.616 | 400.273 | 399.64 | 401.626 | 401.393 | 400.542 | 399.092 | 399.013 | 400.929 | 399.493
395 | 389.4 | 388.016 | 387.751 | 389.301 | 390.689 | 390.2 | 389.481 | 389.249 | 388.692 | 388.451 | 390.178 | 390.315 | 388.491 | 388.726 | 388.886 | 389.746 | 389.732 | 390.663 | 389.95 | 388.179 | 390.123 | 390.37 | 389.078 | 390.554 | 388.753
410 | 421.114 | 421.967 | 420.288 | 420.97 | 420.088 | 421.469 | 421.134 | 421.041 | 421.681 | 421.284 | 419.556 | 422.301 | 421.204 | 421.968 | 422.335 | 422.033 | 422.153 | 421.109 | 419.866 | 420.767 | 421.031 | 420.69 | 422.836 | 423.483 | 420.642
425 | 439.386 | 440.85 | 441.152 | 440.252 | 438.558 | 440.475 | 441.433 | 438.368 | 440.714 | 439.633 | 439.312 | 439.193 | 441.042 | 439.944 | 438.724 | 438.588 | 440.071 | 438.445 | 439.199 | 439.985 | 440.66 | 440.103 | 439.514 | 442.058 | 438.696
440 | 472.941 | 472.979 | 471.665 | 472.154 | 470.64 | 471.637 | 471.67 | 472.074 | 474.242 | 472.47 | 473.741 | 471.885 | 472.616 | 471.339 | 472.619 | 472.411 | 474.16 | 471.945 | 471.736 | 473.922 | 472.083 | 471.462 | 469.541 | 473.013 | 472.734
455 | 500.069 | 501.844 | 500.159 | 501.411 | 502.737 | 501.105 | 502.566 | 500.348 | 498.254 | 501.686 | 502.227 | 500.399 | 500.851 | 500.779 | 500.477 | 500.521 | 501.304 | 498.879 | 499.999 | 503.049 | 500.87 | 500.774 | 503.222 | 499.263 | 499.77
470 | 521.684 | 523.022 | 521.782 | 521.478 | 522.856 | 523.729 | 523.009 | 523.886 | 523.633 | 525.898 | 523.04 | 525.551 | 522.73 | 524.148 | 523.097 | 524.013 | 525.856 | 525.185 | 525.78 | 523.238 | 523.746 | 523.725 | 523.884 | 524.356 | 522.794
485 | 539.93 | 538.802 | 538.885 | 540.407 | 538.676 | 536.969 | 538.981 | 539.403 | 540.31 | 541.054 | 538.844 | 540.379 | 538.589 | 537.995 | 537.252 | 537.674 | 538.691 | 537.149 | 539.412 | 536.158 | 539.408 | 539.423 | 538.236 | 537.584 | 537.319
500 | 575.251 | 573.354 | 572.33 | 573.6 | 574.174 | 573.694 | 573.491 | 573.596 | 574.387 | 575.331 | 572.531 | 575.253 | 574.603 | 573.307 | 574.093 | 573.732 | 574.087 | 573.617 | 573.592 | 575.916 | 574.096 | 573.8 | 575.724 | 575.253 | 575.554
515 | 605.629 | 604.72 | 605.954 | 605.433 | 606.213 | 605.231 | 604.215 | 605.175 | 604.99 | 604.904 | 603.838 | 602.216 | 602.902 | 606.939 | 604.306 | 605.085 | 604.379 | 605.205 | 605.986 | 603.814 | 605.422 | 605.668 | 606.706 | 603.602 | 605.69
530 | 631.455 | 629.349 | 630.774 | 629.496 | 627.752 | 629.085 | 630.741 | 631.815 | 629.251 | 630.493 | 630.344 | 630.268 | 629.77 | 631.992 | 631.264 | 631.495 | 631.237 | 629.696 | 630.357 | 630.667 | 630.983 | 630.088 | 631.621 | 632.015 | 629.896
545 | 702.661 | 697.945 | 697.939 | 698.812 | 699.167 | 698.441 | 698.326 | 698.716 | 698.826 | 696.263 | 697.636 | 701.685 | 700.508 | 697.922 | 699.055 | 698.552 | 699.683 | 699.498 | 699.5 | 698.322 | 701.714 | 699.694 | 699.431 | 701.158 | 700.497
560 | 734.21 | 739.609 | 735.782 | 737.087 | 736.986 | 735.996 | 734.85 | 733.607 | 734.795 | 731.736 | 733.806 | 736.618 | 733.62 | 730.813 | 738.44 | 736.396 | 733.683 | 730.289 | 734.508 | 737.604 | 738.225 | 735.291 | 737.164 | 735.422 | 736.205
575 | 710.264 | 714.36 | 712.118 | 712.754 | 715.374 | 713.772 | 714.885 | 716.119 | 712.455 | 714.157 | 714.766 | 716.118 | 715.87 | 712.285 | 714.85 | 712.954 | 712.425 | 713.378 | 714.056 | 713.006 | 714.038 | 712.504 | 713.577 | 714.078 | 714.714
590 | 844.532 | 843.862 | 846.192 | 846.862 | 845.913 | 847.492 | 844.745 | 843.047 | 848.211 | 845.878 | 850.146 | 848.176 | 848.043 | 849.96 | 846.749 | 847.254 | 844.037 | 844.468 | 851.263 | 844.763 | 845.409 | 846.013 | 845.206 | 848.831 | 849.558
605 | 773.529 | 772.653 | 773.261 | 769.449 | 775.479 | 772.041 | 772.797 | 773.226 | 771.275 | 772.193 | 770.84 | 776.176 | 773.624 | 770.142 | 769.887 | 772.756 | 769.86 | 770.861 | 771.911 | 769.828 | 770.785 | 769.356 | 770.773 | 773.28 | 772.494
620 | 739.362 | 736.709 | 740.917 | 742.195 | 742.422 | 738.996 | 737.417 | 740.074 | 740.257 | 742.851 | 740.307 | 747.385 | 740.709 | 742.051 | 741.866 | 742.524 | 738.032 | 740.28 | 749.235 | 739.272 | 740.57 | 741.232 | 739.636 | 736.747 | 741.755
635 | 727.663 | 732.382 | 730.838 | 733.577 | 733.147 | 733.849 | 730.775 | 731.848 | 735.545 | 731.04 | 733.179 | 729.791 | 732.84 | 728.117 | 732.079 | 733.519 | 731.261 | 731.456 | 731.031 | 733.374 | 732.186 | 731.449 | 733.667 | 736.411 | 731.598
650 | 739.823 | 739.201 | 738.424 | 738.61 | 736.873 | 739.93 | 739.784 | 738.785 | 740.847 | 739.995 | 735.528 | 739.897 | 738.088 | 737.749 | 739.243 | 741.028 | 740.92 | 738.413 | 739.703 | 742.249 | 742.377 | 737.378 | 743.555 | 740.984 | 740.256

## Results
Reflectivity From Averages of Calibration and Measurements
Calibration | [5 empty] | Reflectivity Measurement
Wavelength [nm] | Photodiode A Average [pA] | Photodiode A Std Dev [pA] | Photodiode B Average [pA] | Photodiode B Std Dev [pA] | Calibration Constant | Wavelength [nm] | Photodiode A Average [pA] | Photodiode A Std Dev [pA] | Photodiode B Average [pA] | Photodiode B Std Dev [pA] | Reflectivity
350 | 354.9982 | 0.87197 | 473.8474 | 1.1837 | 0.74918 | 350 | 334.9264 | 1.059 | 367.7168 | 0.91888 | 82.25%
365 | 377.9126 | 0.87897 | 463.0925 | 1.0946 | 0.81606 | 365 | 358.3008 | 0.99522 | 360.882 | 1.0871 | 82.19%
380 | 356.2882 | 0.78072 | 509.8407 | 1.1225 | 0.69882 | 380 | 337.0722 | 1.1763 | 400.2126 | 1.1632 | 82.97%
395 | 409.7797 | 0.91854 | 495.6416 | 0.96015 | 0.82677 | 395 | 389.8513 | 0.66927 | 389.399 | 0.87323 | 82.58%
410 | 426.357 | 1.2245 | 531.9669 | 1.1653 | 0.80147 | 410 | 407.2914 | 0.98833 | 421.3204 | 0.92543 | 82.91%
425 | 452.2716 | 0.98262 | 551.0363 | 1.297 | 0.82077 | 425 | 433.0568 | 0.87923 | 439.8542 | 1.0235 | 83.36%
440 | 460.0658 | 0.9374 | 588.0279 | 0.89164 | 0.78239 | 440 | 441.6446 | 0.7617 | 472.3072 | 1.0747 | 83.67%
455 | 488.0896 | 1.1252 | 619.2532 | 0.98365 | 0.78819 | 455 | 469.3364 | 1.1531 | 500.9025 | 1.2567 | 84.12%
470 | 547.0788 | 1.0114 | 644.1729 | 0.96158 | 0.84927 | 470 | 529.7468 | 1.2575 | 523.6848 | 1.2474 | 83.96%
485 | 578.692 | 1.3271 | 661.708 | 1.1614 | 0.87454 | 485 | 561.8053 | 1.2811 | 538.7012 | 1.2322 | 83.86%
500 | 597.245 | 1.5744 | 702.3008 | 1.6328 | 0.85041 | 500 | 579.7944 | 1.1491 | 574.1746 | 0.96364 | 84.22%
515 | 625.2118 | 1.684 | 737.5767 | 1.3832 | 0.84766 | 515 | 608.2707 | 1.17 | 604.9689 | 1.1227 | 84.31%
530 | 649.1255 | 1.3961 | 769.5688 | 1.8295 | 0.84349 | 530 | 631.3841 | 1.4688 | 630.4762 | 1.0443 | 84.23%
545 | 704.0688 | 1.8347 | 850.6693 | 1.8886 | 0.82766 | 545 | 686.7608 | 1.4455 | 699.278 | 1.4607 | 84.27%
560 | 745.8752 | 1.9771 | 895.4524 | 1.7328 | 0.83296 | 560 | 727.1464 | 1.7237 | 735.3097 | 2.3007 | 84.23%
575 | 723.7257 | 1.621 | 874.1196 | 1.8488 | 0.82795 | 575 | 705.7113 | 1.7271 | 713.7951 | 1.4124 | 83.74%
590 | 822.6204 | 2.5908 | 1035.258 | 2.7206 | 0.7946 | 590 | 803.5622 | 1.7016 | 846.6644 | 2.188 | 83.72%
605 | 805.3694 | 1.4225 | 952.9687 | 3.1087 | 0.84512 | 605 | 786.3865 | 1.8771 | 771.939 | 1.8021 | 82.96%
620 | 819.4192 | 1.3337 | 920.2707 | 2.7233 | 0.89041 | 620 | 800.077 | 1.938 | 740.912 | 2.8317 | 82.46%
635 | 830.1548 | 1.4453 | 914.5965 | 1.8732 | 0.90767 | 635 | 809.1358 | 1.7725 | 732.1049 | 1.9689 | 82.13%
650 | 819.9388 | 1.7645 | 928.8706 | 2.319 | 0.88273 | 650 | 799.3069 | 1.2892 | 739.5856 | 1.8015 | 81.68%