## summary
Over All Wavelengths
Spot # | Avg | Std Dev
1 | 88.32% | 2.915%
2 | 86.81% | 3.395%
3 | 87.47% | 2.672%
4 | 83.44% | 2.323%
5 | 84.4% | 2.29%

## 1
Reflectivity From Averages of Calibration and Measurements
Calibration | [5 empty] | Reflectivity Measurement
Wavelength [nm] | Photodiode A Average [pA] | Photodiode A Std Dev [pA] | Photodiode B Average [pA] | Photodiode B Std Dev [pA] | Calibration Constant | Wavelength [nm] | Photodiode A Average [pA] | Photodiode A Std Dev [pA] | Photodiode B Average [pA] | Photodiode B Std Dev [pA] | Reflectivity
635 | 809.964 | 1.8976 | 860.4254 | 2.1607 | 0.94135 | 635 | 802.9857 | 1.8913 | 785.9049 | 1.9356 | 92.13%
650 | 799.3533 | 1.7484 | 872.5406 | 2.2815 | 0.91612 | 650 | 793.0751 | 2.2123 | 793.0932 | 1.7119 | 91.61%
665 | 790.3751 | 2.1796 | 887.2121 | 2.2093 | 0.89085 | 665 | 785.4254 | 1.5589 | 802.6296 | 1.8765 | 91.04%
680 | 798.6341 | 1.6584 | 874.0435 | 2.2702 | 0.91372 | 680 | 794.6608 | 1.5678 | 787.1241 | 2.0475 | 90.51%
695 | 807.8965 | 2.026 | 856.8712 | 1.7652 | 0.94284 | 695 | 804.911 | 1.9924 | 770.6979 | 1.8432 | 90.28%
710 | 792.7213 | 1.6424 | 861.0796 | 2.1528 | 0.92061 | 710 | 789.95 | 1.8149 | 764.0243 | 2.8244 | 89.04%
725 | 752.3264 | 1.817 | 886.9314 | 2.6371 | 0.84824 | 725 | 747.8267 | 1.5494 | 777.3897 | 1.7306 | 88.18%
740 | 684.7457 | 1.4918 | 935.1581 | 2.1364 | 0.73222 | 740 | 673.9779 | 4.326 | 803.4548 | 17.4037 | 87.29%
755 | 596.2262 | 1.2674 | 995.9555 | 2.4631 | 0.59865 | 755 | 585.637 | 2.2802 | 836.5126 | 45.7913 | 85.51%
770 | 505.7986 | 1.0672 | 1053.361 | 3.3157 | 0.48018 | 770 | 494.4956 | 3.0086 | 889.6093 | 1.4689 | 86.38%
785 | 433.4499 | 0.94933 | 1100.0197 | 3.4386 | 0.39404 | 785 | 426.0624 | 1.0809 | 914.1062 | 3.1283 | 84.54%
800 | 403.4764 | 0.89746 | 1275.7993 | 4.0122 | 0.31625 | 800 | 396.5418 | 1.3146 | 1045.2724 | 2.4556 | 83.36%
88.32%
2.915%

## 2
Reflectivity From Averages of Calibration and Measurements
Calibration | [5 empty] | Reflectivity Measurement
Wavelength [nm] | Photodiode A Average [pA] | Photodiode A Std Dev [pA] | Photodiode B Average [pA] | Photodiode B Std Dev [pA] | Calibration Constant | Wavelength [nm] | Photodiode A Average [pA] | Photodiode A Std Dev [pA] | Photodiode B Average [pA] | Photodiode B Std Dev [pA] | Reflectivity
635 | 809.964 | 1.8976 | 860.4254 | 2.1607 | 0.94135 | 635 | 805.1244 | 1.884 | 778.2324 | 2.1701 | 90.99%
650 | 799.3533 | 1.7484 | 872.5406 | 2.2815 | 0.91612 | 650 | 796.5376 | 1.8051 | 783.5057 | 2.9072 | 90.11%
665 | 790.3751 | 2.1796 | 887.2121 | 2.2093 | 0.89085 | 665 | 786.7126 | 1.7579 | 793.4826 | 1.7846 | 89.85%
680 | 798.6341 | 1.6584 | 874.0435 | 2.2702 | 0.91372 | 680 | 791.8977 | 15.181 | 774.4891 | 3.6322 | 89.36%
695 | 807.8965 | 2.026 | 856.8712 | 1.7652 | 0.94284 | 695 | 808.4556 | 1.8385 | 762.163 | 1.4498 | 88.89%
710 | 792.7213 | 1.6424 | 861.0796 | 2.1528 | 0.92061 | 710 | 791.8477 | 2.703 | 738.9579 | 41.4789 | 85.91%
725 | 752.3264 | 1.817 | 886.9314 | 2.6371 | 0.84824 | 725 | 750.1927 | 1.8444 | 772.7278 | 2.1018 | 87.37%
740 | 684.7457 | 1.4918 | 935.1581 | 2.1364 | 0.73222 | 740 | 679.9338 | 1.989 | 796.2274 | 17.6778 | 85.75%
755 | 596.2262 | 1.2674 | 995.9555 | 2.4631 | 0.59865 | 755 | 584.8343 | 2.5338 | 841.8547 | 2.6843 | 86.17%
770 | 505.7986 | 1.0672 | 1053.361 | 3.3157 | 0.48018 | 770 | 498.4304 | 0.94858 | 878.7358 | 2.3413 | 84.66%
785 | 433.4499 | 0.94933 | 1100.0197 | 3.4386 | 0.39404 | 785 | 426.8701 | 1.0481 | 906.0056 | 1.9119 | 83.63%
800 | 403.4764 | 0.89746 | 1275.7993 | 4.0122 | 0.31625 | 800 | 395.8177 | 0.98395 | 988.8295 | 65.7042 | 79.01%
86.81%
3.395%

## 3
Reflectivity From Averages of Calibration and Measurements
Calibration | [5 empty] | Reflectivity Measurement
Wavelength [nm] | Photodiode A Average [pA] | Photodiode A Std Dev [pA] | Photodiode B Average [pA] | Photodiode B Std Dev [pA] | Calibration Constant | Wavelength [nm] | Photodiode A Average [pA] | Photodiode A Std Dev [pA] | Photodiode B Average [pA] | Photodiode B Std Dev [pA] | Reflectivity
635 | 809.964 | 1.8976 | 860.4254 | 2.1607 | 0.94135 | 635 | 802.9369 | 2.3525 | 773.4173 | 2.4339 | 90.67%
650 | 799.3533 | 1.7484 | 872.5406 | 2.2815 | 0.91612 | 650 | 780.0759 | 34.8197 | 780.3657 | 2.1148 | 91.65%
665 | 790.3751 | 2.1796 | 887.2121 | 2.2093 | 0.89085 | 665 | 785.611 | 1.8038 | 789.6154 | 2.3839 | 89.54%
680 | 798.6341 | 1.6584 | 874.0435 | 2.2702 | 0.91372 | 680 | 796.4738 | 1.8777 | 775.8655 | 2.2128 | 89.01%
695 | 807.8965 | 2.026 | 856.8712 | 1.7652 | 0.94284 | 695 | 806.743 | 2.337 | 761.5864 | 1.8845 | 89.01%
710 | 792.7213 | 1.6424 | 861.0796 | 2.1528 | 0.92061 | 710 | 793.2338 | 2.318 | 758.7403 | 1.774 | 88.06%
725 | 752.3264 | 1.817 | 886.9314 | 2.6371 | 0.84824 | 725 | 749.4549 | 1.4892 | 773.4824 | 1.6256 | 87.54%
740 | 684.7457 | 1.4918 | 935.1581 | 2.1364 | 0.73222 | 740 | 679.6586 | 1.5068 | 802.012 | 1.9429 | 86.4%
755 | 596.2262 | 1.2674 | 995.9555 | 2.4631 | 0.59865 | 755 | 587.4408 | 2.5164 | 839.2226 | 2.7558 | 85.52%
770 | 505.7986 | 1.0672 | 1053.361 | 3.3157 | 0.48018 | 770 | 497.3398 | 1.087 | 877.5956 | 2.9411 | 84.73%
785 | 433.4499 | 0.94933 | 1100.0197 | 3.4386 | 0.39404 | 785 | 424.2678 | 0.82215 | 910.1459 | 2.8654 | 84.53%
800 | 403.4764 | 0.89746 | 1275.7993 | 4.0122 | 0.31625 | 800 | 393.9833 | 0.87949 | 1033.4225 | 3.1292 | 82.95%
87.47%
2.672%

## 4
Reflectivity From Averages of Calibration and Measurements
Calibration | [5 empty] | Reflectivity Measurement
Wavelength [nm] | Photodiode A Average [pA] | Photodiode A Std Dev [pA] | Photodiode B Average [pA] | Photodiode B Std Dev [pA] | Calibration Constant | Wavelength [nm] | Photodiode A Average [pA] | Photodiode A Std Dev [pA] | Photodiode B Average [pA] | Photodiode B Std Dev [pA] | Reflectivity
635 | 809.964 | 1.8976 | 860.4254 | 2.1607 | 0.94135 | 635 | 806.8046 | 2.2267 | 743.0846 | 1.467 | 86.7%
650 | 799.3533 | 1.7484 | 872.5406 | 2.2815 | 0.91612 | 650 | 797.711 | 2.8917 | 749.5668 | 1.9426 | 86.08%
665 | 790.3751 | 2.1796 | 887.2121 | 2.2093 | 0.89085 | 665 | 789.3552 | 1.948 | 757.5432 | 1.9047 | 85.49%
680 | 798.6341 | 1.6584 | 874.0435 | 2.2702 | 0.91372 | 680 | 794.4372 | 3.0593 | 743.1907 | 2.1648 | 85.48%
695 | 807.8965 | 2.026 | 856.8712 | 1.7652 | 0.94284 | 695 | 808.7855 | 1.6966 | 724.4508 | 5.5176 | 84.45%
710 | 792.7213 | 1.6424 | 861.0796 | 2.1528 | 0.92061 | 710 | 793.4026 | 1.6188 | 723.7562 | 1.8718 | 83.98%
725 | 752.3264 | 1.817 | 886.9314 | 2.6371 | 0.84824 | 725 | 749.6842 | 1.6471 | 737.7572 | 1.7111 | 83.47%
740 | 684.7457 | 1.4918 | 935.1581 | 2.1364 | 0.73222 | 740 | 680.9355 | 1.2088 | 767.3641 | 1.5534 | 82.52%
755 | 596.2262 | 1.2674 | 995.9555 | 2.4631 | 0.59865 | 755 | 590.2753 | 1.5275 | 807.5722 | 1.7535 | 81.9%
770 | 505.7986 | 1.0672 | 1053.361 | 3.3157 | 0.48018 | 770 | 500.1842 | 1.3185 | 844.1877 | 1.9768 | 81.04%
785 | 433.4499 | 0.94933 | 1100.0197 | 3.4386 | 0.39404 | 785 | 427.3296 | 0.99213 | 873.8543 | 1.9507 | 80.58%
800 | 403.4764 | 0.89746 | 1275.7993 | 4.0122 | 0.31625 | 800 | 397.1604 | 1.0151 | 999.3773 | 3.0173 | 79.58%
83.44%
2.323%

## 5
Reflectivity From Averages of Calibration and Measurements
Calibration | [5 empty] | Reflectivity Measurement
Wavelength [nm] | Photodiode A Average [pA] | Photodiode A Std Dev [pA] | Photodiode B Average [pA] | Photodiode B Std Dev [pA] | Calibration Constant | Wavelength [nm] | Photodiode A Average [pA] | Photodiode A Std Dev [pA] | Photodiode B Average [pA] | Photodiode B Std Dev [pA] | Reflectivity
635 | 809.964 | 1.8976 | 860.4254 | 2.1607 | 0.94135 | 635 | 800.9638 | 2.0482 | 746.458 | 2.3433 | 87.73%
650 | 799.3533 | 1.7484 | 872.5406 | 2.2815 | 0.91612 | 650 | 793.1571 | 2.4416 | 754.2712 | 2.0004 | 87.12%
665 | 790.3751 | 2.1796 | 887.2121 | 2.2093 | 0.89085 | 665 | 784.6188 | 1.8574 | 759.7163 | 2.2442 | 86.26%
680 | 798.6341 | 1.6584 | 874.0435 | 2.2702 | 0.91372 | 680 | 794.1388 | 2.1014 | 747.0589 | 1.2582 | 85.96%
695 | 807.8965 | 2.026 | 856.8712 | 1.7652 | 0.94284 | 695 | 803.1008 | 1.965 | 729.6544 | 1.6613 | 85.66%
710 | 792.7213 | 1.6424 | 861.0796 | 2.1528 | 0.92061 | 710 | 788.2772 | 2.3352 | 728.3276 | 1.5363 | 85.06%
725 | 752.3264 | 1.817 | 886.9314 | 2.6371 | 0.84824 | 725 | 746.5981 | 1.8681 | 741.764 | 2.376 | 84.27%
740 | 684.7457 | 1.4918 | 935.1581 | 2.1364 | 0.73222 | 740 | 676.3994 | 1.6439 | 772.2004 | 2.0723 | 83.59%
755 | 596.2262 | 1.2674 | 995.9555 | 2.4631 | 0.59865 | 755 | 586.7833 | 1.2925 | 812.3565 | 2.0637 | 82.88%
770 | 505.7986 | 1.0672 | 1053.361 | 3.3157 | 0.48018 | 770 | 496.9049 | 1.2459 | 848.7245 | 2.1389 | 82.02%
785 | 433.4499 | 0.94933 | 1100.0197 | 3.4386 | 0.39404 | 785 | 423.6392 | 1.4071 | 879.639 | 2.2124 | 81.82%
800 | 403.4764 | 0.89746 | 1275.7993 | 4.0122 | 0.31625 | 800 | 394.9379 | 0.80921 | 1004.0627 | 2.5221 | 80.4%
84.4%
2.29%