**RTPC Detector Gas Controls**

**Date: February 28, 2019**

**Time: 11:00AM – 12:00AM**

*Attendees: (DSG)/(RTPC/BONuS12)*

Agenda:

1. Schedule
   1. Delivery to EEL
   2. D.A. mechanical inspection and pressure test
   3. Functionality testing of sensors and flow controller.
   4. Documentation
2. Controls Interface Chassis
   1. Hall B Panel location
   2. Parts Outstanding
      1. Chassis
      2. NI-9219



Figure . Parts list (green items received)

1. Relocation of PT3?
2. Open discussion