## Sheet1
Hardware Testing with LabVIEW and DMM | [6 empty] | Crate Serial # | Name | CPU A4528 serial # | Firmware | Comments
# | Serial # | Card Type | Firmware | Tested? | Pass/Fail | Test Status | N/A | hvcaentest1 | N/A | N/A | In use in Hall C.
1 | 0128 | A7030TN |  |  |  |  | 0400 | hvcaentest2 | 0760 | 2.0.2 | Starting to test with load connected using GECO for control and monitoring.
2 | 0173 | A7030TN |  | √ |  | Indeterminate | 0431 | hvcaentest3 | 0810 | 2.0.2 | Starting to test.
3 | 0184 | A7030TN
4 | 0256 | A7030TN |  | √ |  | Indeterminate
5 | 0262 | A7030TN |  | √ |  | Indeterminate
6 | 0299 | A7030TN
7 | 0301 | A7030TN |  | √ |  | Indeterminate
8 | 0302 | A7030TN
9 | 0304 | A7030TN |  | √ |  | Indeterminate
10 | 0324 | A7030TN |  | √ |  | Indeterminate
11 | 0325 | A7030TN
12 | 0326 | A7030TN |  | √ |  | Indeterminate
13 | 0337 | A7030TN
14 | 0338 | A7030TN
15 | 0347 | A7030TN
16 | 0349 | A7030TN
17 | 0064 | A7435SP
18 | 0070 | A7435SP