**CAEN A7030TN HV Module Testing Status Meeting - Agenda**

**Date:** 02/06/2020

**Time:** 10:00AM – 11:00AM

*Attendees:*

1. Testing game plan
	1. Two systems: GECO-2020 and EPICS
		1. Testing software to ensure proper function of modules
		2. Checking to see if known issues have been resolved
	2. Same tests for both systems
	3. Hardware testing for acceptance of modules
2. Testing progress
	1. GECO
		1. Stability Testing with and without load
		2. Ramp Testing with and without load
	2. EPICS
		1. Same tests as GECO
		2. Code is written to conduct EPICS testing
			1. Noticed issues while debugging test code
3. Known issues
	1. Communication with CAEN tech support
		1. Resolved issues: latency
		2. Unresolved issues: slot communication loss, random parameter changes, pins
4. Path forward
	1. Estimated time to testing completion: ~2 months