## hms
ecDI_ADC_MPS
ecDI_ADC_SET
ecDI_B_Set_NMR
ecDI_B_True_NMR
ecDI_cd_LHe_level
ecDI_cd_LN2_level
ecDI_Delta_T1_W
ecDI_Delta_T2_W
ecDI_Delta_T3_W
ecDI_F_L1
ecDI_F_L2
ecDI_F_L3
ecDI_F_L4
ecDI_F_R1
ecDI_F_R2
ecDI_F_R3
ecDI_F_R4
ecDI_h_LHe | y
ecDI_h_LN2
ecDI_I_coarse | y
ecDI_I_True | y
ecDI_M_flow_Lx | y
ecDI_M_flow_Rx | y
ecDI_P_He
ecDI_P_N2
ecDI_p_vac
ecDI_POLARITY | y
ecDI_S1_LVDT_true
ecDI_s11_LVDT_true | y
ecDI_s2_LVDT_true
ecDI_S3_LVDT_true
ecDI_S4_LVDT_true
ecDI_S5_LVDT_true | y
ecDI_S6_LVDT_true | y
ecDI_s7_LVDT_true
ecDI_s8_LVDT_true
ecDI_Set_Current
ecDI_T_He_L_CL_W
ecDI_T_He_R_CL_W
ecDI_T_LHe_1
ecDI_T_LHe_2
ecDI_T_LHe_3
ecDI_T_LHe_4
ecDI_T_LHe_av | y
ecDI_T_LHe_In
ecDI_T_LHe_L
ecDI_T_LHe_Out
ecDI_T_LHe_R
ecDI_T_LN2_1
ecDI_T_LN2_2
ecDI_T_LN2_3
ecDI_T_LN2_4
ecDI_T_LN2_av
ecDI_T_LN2_In
ecDI_T_LN2_Out
ecDI_T_pipe
ecDI_U1
ecDI_U2
ecDI_U3
ecDI_U4
ecDI_U5
ecDI_U6
ecDI_U7
ecDI_U8
ecDI_V_SW
ecDI_VL_SW
ecDI_VR_SW
ecDI_Weight
ecHMS_Angle | y
ecHMS_Angle_Offset
echmst1 | y
echmst2 | y
echmst3
echmst4
echmst5
echmst6
echmst7
echmst8
ecI_Q1
ecI_Q2
ecI_Q3
ecP_HMS
ecQ1_ADC_MPS
ecQ1_ADC_SET
ecQ1_CL_N_LVDT_true
ecQ1_CL_N_VE
ecQ1_CL_P_LVDT_true
ecQ1_CL_P_VE
ecQ1_Coil_1
ecQ1_Coil_2
ecQ1_Coil_3
ecQ1_Coil_4
ecQ1_Coils_Left
ecQ1_Coils_Right
ecQ1_h_LHe | y
ecQ1_h_LN2
ecQ1_I_coarse | y
ecQ1_I_True | y
ecQ1_m_flow_CL_N | y
ecQ1_m_flow_CL_P | y
ecQ1_m_flow_neck
ecQ1_P_He
ecQ1_P_N2
ecQ1_p_vac
ecQ1_Penning_vac
ecQ1_Pirani_vac
ecQ1_POLARITY | y
ecQ1_Set_Current
ecQ1_T_cls_end_coil
ecQ1_T_cls_end_yoke
ecQ1_T_He_av | y
ecQ1_T_He_Delta
ecQ1_T_He_res
ecQ1_T_He_ret
ecQ1_T_He_Sup
ecQ1_T_mag_cen_coil
ecQ1_T_N2_av
ecQ1_T_N2_Inner
ecQ1_T_N2_outer
ecQ1_T_N2_Resv
ecQ1_T_N2_Ret
ecQ1_T_N2_Sup
ecQ1_T_tur_end_yoke
ecQ1_T1_CG
ecQ1_T2_CG
ecQ1_T3_CG
ecQ1_T4_CG
ecQ1_V1_LVDT_true
ecQ1_V13_LVDT_true | y
ecQ1_V19_LVDT_true
ecQ1_V3_LVDT_true
ecQ1_V4_LVDT_true
ecQ1_V6_LVDT_true
ecQ1_V8_LVDT_true | y
ecQ1_vWR_LVDT_true | y
ecQ2_ADC_MPS
ecQ2_ADC_SET
ecQ2_CL_N_LVDT_true
ecQ2_CL_N_VE
ecQ2_CL_P_LVDT_true
ecQ2_CL_P_VE
ecQ2_Coil_1
ecQ2_Coil_2
ecQ2_Coil_3
ecQ2_Coil_4
ecQ2_Coils_Left
ecQ2_Coils_Right
ecQ2_h_LHe | y
ecQ2_h_LN2
ecQ2_I_coarse | y
ecQ2_I_True | y
ecQ2_m_flow_CL_N | y
ecQ2_m_flow_CL_P | y
ecQ2_m_flow_neck
ecQ2_P_He
ecQ2_P_N2
ecQ2_p_vac
ecQ2_Penning_vac
ecQ2_Pirani_vac
ecQ2_POLARITY | y
ecQ2_Set_Current
ecQ2_T_cls_end_coil
ecQ2_T_cls_end_yoke
ecQ2_T_He_av | y
ecQ2_T_He_Delta
ecQ2_T_He_res
ecQ2_T_He_ret
ecQ2_T_He_Sup
ecQ2_T_mag_cen_coil
ecQ2_T_N2_av
ecQ2_T_N2_Inner
ecQ2_T_N2_outer
ecQ2_T_N2_Resv
ecQ2_T_N2_Ret
ecQ2_T_N2_Sup
ecQ2_T_tur_end_yoke
ecQ2_T1_CG
ecQ2_T2_CG
ecQ2_T3_CG
ecQ2_T4_CG
ecQ2_V1_LVDT_true
ecQ2_V13_LVDT_true | y
ecQ2_V19_LVDT_true
ecQ2_V3_LVDT_true
ecQ2_V4_LVDT_true
ecQ2_V6_LVDT_true
ecQ2_V8_LVDT_true | y
ecQ2_vWR_LVDT_true | y
ecQ3_ADC_MPS
ecQ3_ADC_SET
ecQ3_CL_N_LVDT_true
ecQ3_CL_N_VE
ecQ3_CL_P_LVDT_true
ecQ3_CL_P_VE
ecQ3_Coil_1
ecQ3_Coil_2
ecQ3_Coil_3
ecQ3_Coil_4
ecQ3_Coils_Left
ecQ3_Coils_Right
ecQ3_h_LHe | y
ecQ3_h_LN2
ecQ3_I_coarse | y
ecQ3_I_True | y
ecQ3_m_flow_CL_N | y
ecQ3_m_flow_CL_P | y
ecQ3_m_flow_neck
ecQ3_P_He
ecQ3_P_N2
ecQ3_p_vac
ecQ3_Penning_vac
ecQ3_Pirani_vac
ecQ3_POLARITY | y
ecQ3_Set_Current
ecQ3_T_cls_end_coil
ecQ3_T_cls_end_yoke
ecQ3_T_He_av | y
ecQ3_T_He_Delta
ecQ3_T_He_res
ecQ3_T_He_ret
ecQ3_T_He_Sup
ecQ3_T_mag_cen_coil
ecQ3_T_N2_av
ecQ3_T_N2_Inner
ecQ3_T_N2_outer
ecQ3_T_N2_Resv
ecQ3_T_N2_Ret
ecQ3_T_N2_Sup
ecQ3_T_tur_end_yoke
ecQ3_T1_CG
ecQ3_T2_CG
ecQ3_T3_CG
ecQ3_T4_CG
ecQ3_V1_LVDT_true
ecQ3_V13_LVDT_true | y
ecQ3_V19_LVDT_true
ecQ3_V3_LVDT_true
ecQ3_V4_LVDT_true
ecQ3_V6_LVDT_true
ecQ3_V8_LVDT_true | y
ecQ3_vWR_LVDT_true | y
ecS10_LVDT_true
ecS9_LVDT_true
ecT_HX
ecT_HX_LN2
HCHMS_Q1_LS450:FLD_DATA | y
HCHMS_Q2_LS450:FLD_DATA | y
HCHMS_Q3_LS450:FLD_DATA | y

## shms
ecSDI_ADC_readback_MPS
ecSDI_B_True_NMR
ecSDI_CH2_SW
ecSDI_CH3_SW
ecSDI_CL_L
ecSDI_CL_R
ecSDI_F1
ecSDI_F2
ecSDI_F3
ecSDI_F4
ecSDI_F5
ecSDI_F6
ecSDI_F7
ecSDI_F8
ecSDI_h_LHe | y
ecSDI_h_LN2
ecSDI_I_coarse | y
ecSDI_I_True | y
ecSDI_Left_CL_Valve
ecSDI_m_flow_CL_L | y
ecSDI_m_flow_CL_R | y
ecSDI_P_He
ecSDI_P_N2
ecSDI_Pancake_1
ecSDI_Pancake_2
ecSDI_Pancake_3
ecSDI_Pancake_4
ecSDI_Pancake_5
ecSDI_Pancake_6
ecSDI_Polarity | y
ecSDI_PSU_Output_voltage
ecSDI_Right_CL_Valve
ecSDI_Set_Current
ecSDI_T_He_av | y
ecSDI_T_He_CD
ecSDI_T_He_Delta
ecSDI_T_He_LCLC
ecSDI_T_He_RCLC
ecSDI_T_He_Resv
ecSDI_T_He_ret
ecSDI_T_He_Sup
ecSDI_T_He_WR
ecSDI_T_LC_DS
ecSDI_T_LC_US
ecSDI_T_N2_av
ecSDI_T_N2_BB
ecSDI_T_N2_BT
ecSDI_T_N2_OB
ecSDI_T_N2_OT
ecSDI_T_N2_Ret
ecSDI_T_N2_Sup
ecSDI_T_RC_DS
ecSDI_T_RC_US
ecSDI_T_Yoke_1
ecSDI_T_Yoke_2
ecSDI_T_Yoke_3
ecSDI_T_Yoke_4
ecSDI_V1_LVDT_true
ecSDI_V2_LVDT_true
ecSDI_V3_LVDT_true
ecSDI_V4_LVDT_true
ecSDI_V5_LVDT_true | y
ecSDI_V6_LVDT_true | y
ecSDI_Vacuum
ecSDI_vWR_LVDT_true | y
ecSHB_ADC_readback_MPS
ecSHB_CH2_SW
ecSHB_CL_L
ecSHB_CL_R
ecSHB_Coil_1
ecSHB_Coil_2
ecSHB_F1
ecSHB_F10
ecSHB_F11
ecSHB_F12
ecSHB_F13
ecSHB_F14
ecSHB_F3
ecSHB_F4
ecSHB_F5
ecSHB_F6
ecSHB_F7
ecSHB_F9
ecSHB_h_LHe | y
ecSHB_h_LN2
ecSHB_HallP
ecSHB_I_coarse | y
ecSHB_I_True | y
ecSHB_Interlock
ecSHB_m_flow_CL_L | y
ecSHB_m_flow_CL_R | y
ecSHB_P_He
ecSHB_P_N2
ecSHB_Polarity | y
ecSHB_PT_He_1
ecSHB_PT_He_2
ecSHB_PT_He_3
ecSHB_PT_He_4
ecSHB_Set_Current
ecSHB_T_Coil_1
ecSHB_T_Coil_2
ecSHB_T_Coil_3
ecSHB_T_Coil_4
ecSHB_T_He_av | y
ecSHB_T_He_CD
ecSHB_T_He_Delta
ecSHB_T_He_LCLC
ecSHB_T_He_RCLC
ecSHB_T_He_Resv
ecSHB_T_He_ret
ecSHB_T_He_Sup
ecSHB_T_He_WR
ecSHB_T_N2_10
ecSHB_T_N2_11
ecSHB_T_N2_12
ecSHB_T_N2_6
ecSHB_T_N2_7
ecSHB_T_N2_8
ecSHB_T_N2_9
ecSHB_T_N2_av
ecSHB_T_N2_Ret
ecSHB_T_N2_Sup
ecSHB_V1_LVDT_true
ecSHB_V2_LVDT_true
ecSHB_V3_LVDT_true
ecSHB_V4_LVDT_true
ecSHB_V5_LVDT_true | y
ecSHB_V6_LVDT_true | y
ecSHB_Vacuum
ecSHB_vWR_LVDT_true | y
ecSHMS_Angle | y
ecSHMS_Angle_Offset
ecSP_SHMS
ecSQ1_ADC_readback_MPS
ecSQ1_CH2_SW
ecSQ1_CH3_SW
ecSQ1_CL_L
ecSQ1_CL_R
ecSQ1_Coil_1
ecSQ1_Coil_2
ecSQ1_Coil_3
ecSQ1_Coil_4
ecSQ1_Coils_Left
ecSQ1_Coils_Right
ecSQ1_F1
ecSQ1_F2
ecSQ1_F3
ecSQ1_F4
ecSQ1_F5
ecSQ1_F6
ecSQ1_F7
ecSQ1_F8
ecSQ1_Flow_inc_factor
ecSQ1_h_LHe | y
ecSQ1_h_LN2
ecSQ1_HallP
ecSQ1_Hw_QD_interlock
ecSQ1_I_coarse | y
ecSQ1_I_True | y
ecSQ1_Interlock
ecSQ1_m_flow_CL_L | y
ecSQ1_m_flow_CL_R | y
ecSQ1_P_He
ecSQ1_P_N2
ecSQ1_Polarity | y
ecSQ1_PSU_Control_Pwr
ecSQ1_PSU_Main_Pwr
ecSQ1_PSU_Output_voltage
ecSQ1_Set_Current
ecSQ1_T_Coil_1
ecSQ1_T_Coil_2
ecSQ1_T_Coil_3
ecSQ1_T_Coil_4
ecSQ1_T_He_av | y
ecSQ1_T_He_CD
ecSQ1_T_He_Delta
ecSQ1_T_He_LCLC
ecSQ1_T_He_LCLW
ecSQ1_T_He_PT102_av
ecSQ1_T_He_RCLC
ecSQ1_T_He_RCLW
ecSQ1_T_He_Resv
ecSQ1_T_He_ret
ecSQ1_T_He_Sup
ecSQ1_T_He_WR
ecSQ1_T_N2_av
ecSQ1_T_N2_BB
ecSQ1_T_N2_BT
ecSQ1_T_N2_OB
ecSQ1_T_N2_OT
ecSQ1_T_N2_Ret
ecSQ1_T_N2_Sup
ecSQ1_T_Yoke_1
ecSQ1_T_Yoke_2
ecSQ1_T_Yoke_3
ecSQ1_T_Yoke_4
ecSQ1_V1_LVDT_true
ecSQ1_V2_LVDT_true
ecSQ1_V3_LVDT_true
ecSQ1_V4_LVDT_true
ecSQ1_V5_LVDT_true | y
ecSQ1_V6_LVDT_true | y
ecSQ1_Vacuum
ecSQ1_vWR_LVDT_true | y
ecSQ2_ADC_readback_MPS
ecSQ2_CH2_SW
ecSQ2_CH3_SW
ecSQ2_CL_L
ecSQ2_CL_R
ecSQ2_Coil_1
ecSQ2_Coil_2
ecSQ2_Coil_3
ecSQ2_Coil_4
ecSQ2_Coils_Left
ecSQ2_Coils_Right
ecSQ2_F1
ecSQ2_F2
ecSQ2_F3
ecSQ2_F4
ecSQ2_F5
ecSQ2_F6
ecSQ2_F7
ecSQ2_F8
ecSQ2_h_LHe | y
ecSQ2_h_LN2
ecSQ2_HallP
ecSQ2_Hw_QD_interlock
ecSQ2_I_coarse | y
ecSQ2_I_True | y
ecSQ2_Interlock
ecSQ2_Left_CL_Valve
ecSQ2_m_flow_CL_L | y
ecSQ2_m_flow_CL_R | y
ecSQ2_P_He
ecSQ2_P_N2
ecSQ2_Polarity | y
ecSQ2_PSU_Control_Pwr
ecSQ2_PSU_Main_Pwr
ecSQ2_PSU_Output_voltage
ecSQ2_Right_CL_Valve
ecSQ2_Set_Current
ecSQ2_T_Coil_1
ecSQ2_T_Coil_2
ecSQ2_T_Coil_3
ecSQ2_T_Coil_4
ecSQ2_T_He_av | y
ecSQ2_T_He_CD
ecSQ2_T_He_Delta
ecSQ2_T_He_LCLC
ecSQ2_T_He_PT102_av
ecSQ2_T_He_RCLC
ecSQ2_T_He_Resv
ecSQ2_T_He_ret
ecSQ2_T_He_Sup
ecSQ2_T_He_WR
ecSQ2_T_N2_av
ecSQ2_T_N2_BB
ecSQ2_T_N2_BT
ecSQ2_T_N2_OB
ecSQ2_T_N2_OT
ecSQ2_T_N2_Ret
ecSQ2_T_N2_Sup
ecSQ2_T_Yoke_1
ecSQ2_T_Yoke_2
ecSQ2_T_Yoke_3
ecSQ2_T_Yoke_4
ecSQ2_V1_LVDT_true
ecSQ2_V2_LVDT_true
ecSQ2_V3_LVDT_true
ecSQ2_V4_LVDT_true
ecSQ2_V5_LVDT_true | y
ecSQ2_V6_LVDT_true | y
ecSQ2_Vacuum
ecSQ2_vWR_LVDT_true | y
ecSQ3_ADC_readback_MPS
ecSQ3_CH2_SW
ecSQ3_CH3_SW
ecSQ3_CL_L
ecSQ3_CL_R
ecSQ3_Coil_1
ecSQ3_Coil_2
ecSQ3_Coil_3
ecSQ3_Coil_4
ecSQ3_Coils_Left
ecSQ3_Coils_Right
ecSQ3_F1
ecSQ3_F2
ecSQ3_F3
ecSQ3_F4
ecSQ3_F5
ecSQ3_F6
ecSQ3_F7
ecSQ3_F8
ecSQ3_h_LHe | y
ecSQ3_h_LN2
ecSQ3_HallP
ecSQ3_Hw_QD_interlock
ecSQ3_I_coarse | y
ecSQ3_I_True | y
ecSQ3_Interlock
ecSQ3_Left_CL_Valve
ecSQ3_m_flow_CL_L | y
ecSQ3_m_flow_CL_R | y
ecSQ3_P_He
ecSQ3_P_N2
ecSQ3_Polarity | y
ecSQ3_PSU_Control_Pwr
ecSQ3_PSU_Main_Pwr
ecSQ3_PSU_Output_voltage
ecSQ3_Right_CL_Valve
ecSQ3_Set_Current
ecSQ3_T_Coil_1
ecSQ3_T_Coil_2
ecSQ3_T_Coil_3
ecSQ3_T_Coil_4
ecSQ3_T_He_av | y
ecSQ3_T_He_CD
ecSQ3_T_He_Delta
ecSQ3_T_He_LCLC
ecSQ3_T_He_PT102_av
ecSQ3_T_He_RCLC
ecSQ3_T_He_Resv
ecSQ3_T_He_ret
ecSQ3_T_He_Sup
ecSQ3_T_He_WR
ecSQ3_T_N2_av
ecSQ3_T_N2_BB
ecSQ3_T_N2_BT
ecSQ3_T_N2_OB
ecSQ3_T_N2_OT
ecSQ3_T_N2_Ret
ecSQ3_T_N2_Sup
ecSQ3_T_Yoke_1
ecSQ3_T_Yoke_2
ecSQ3_T_Yoke_3
ecSQ3_T_Yoke_4
ecSQ3_V1_LVDT_true
ecSQ3_V2_LVDT_true
ecSQ3_V3_LVDT_true
ecSQ3_V4_LVDT_true
ecSQ3_V5_LVDT_true | y
ecSQ3_V6_LVDT_true | y
ecSQ3_Vacuum
ecSQ3_vWR_LVDT_true | y
ecSTL_T_He_Return_Can3
ecSTL_T_He_Return_TL | y
ecSTL_T_He_Supply_Can3
ecSTL_T_He_Supply_Gas
ecSTL_T_He_Supply_TL | y
ecSTL_T_N2_Supply_Can3
ecSTL_T_N2_Supply_TL
ecSTL_T_N2_Vent
ecSTL_V10_LVDT_true
ecSTL_v9_LVDT_true
ecSTL_Vacuum