**DSG NPS Work Status Meeting**

**Date:** July 22, 2020

**Time:** 10:00AM – 10:30AM

*Attendees:*

1. CAEN System Testing Status (Aaron Brown, George Jacobs)
   1. Module Testing Update
      1. 32 of 34 modules tested using GECO 2020
      2. 7 of 34 modules tested using EPICS
   2. Resolved Issues – latency, random parameter changes
   3. Unresolved Issues - Pins
2. High Voltage Divider Cable Fabrication
   1. 440 cables fabricated
      1. Tested for continuity
3. EPICS Monitoring Screens Development (Peter Bonneau, Aaron Brown)
   1. Overview and Voltage/Current Readback screens
   2. Environmental Monitoring screens
4. Miscellaneous