## Slide 1: DSG NPS Status
Aaron Brown and the
Detector Support Group
October 17, 2022

## Slide 2: Contents
Priority Lists
  Brad’s Email 09/13/2022
  Brad’s Email 10/13/2022
HV Controls & Monitoring – Phoebus
Chiller Controls
Thermal Readback
LV Controls & Monitoring
LED Controls & Monitoring
Summary

## Slide 3: Priority List 1
Brad’s email from 09/13/2022
Priority 1: HV and LV controls
Priority 2: LED controls
Priority 3: Keysight readback

## Slide 4: Priority List 2
What account? Cdsg was given by Brad; once we have the account we can provide startup instructions (would need access to other accounts)
Adding instructions developed by Mary Ann to the wiki
Peter and Pablo will look at the instructions
Brian will make a tarball
Independent VI controls work, will be installed on Brian’s spare cRIO
Instructions will be provided once installed
Pablo is installing a bridge between LabVIEW PVs and EPICS PVs for Phoebus
  Aaron is revising LabVIEW program to reflect new channel connections
  Aaron will finish testing the humidity sensors
  Marc will fabricate power distribution box
  Pablo will test the EPICS controls Phoebus screen
  Peter will proof the documentation
  SNMP iseg controls & monitoring (programmed in QT)
  Brian has code from the halls, but Hall A only uses HV modules (yes this can be adapted), Tyler will setup the database
  HV modules have different parameters
  Need to know what to monitor for the low voltage cards
  Need to know what account
  Mary Ann will generate Phoebus screen
  Brian has a testbed for LED controls
  Missing software drivers between the VME LED Drivers and the Phoebus screen (most complex part)
  Phoebus screen in development by Mary Ann
  ETC unknown
Brad’s email from 10/14/2022

## Slide 5: Summary
To deal with requests in 10/14/2022 email
  DSG needs 3 weeks at least (without time contingency)
Unknown amount of time required for developing missing software drivers between the VME LED Drivers and the Phoebus screen (most complex part)