## Slide 1: NPS Controls & Monitoring System

## Slide 2: High Voltage Controls & Monitoring System
Adding instructions to wiki
Startup instructions on cdsg
  Will be available on other accounts
  once DSG has access to them
Controls & Monitoring System ready
GUI to set high voltage parameters for all channels and modules
Value inputs are saved to a timestamped text file
Changes to individual channels handled with HV EPICS pop-up screens
Phoebus overview screen
Each LED is clickable – opens the PMT status screen
Phoebus detailed screen
Each rectangle is clickable – opens the PMT status screen
PMT status screen

## Slide 3: LV and LED Controls & Monitoring System
  LV controls software
  SNMP iseg controls & monitoring (programmed in QT)
  Hall A uses code for HV modules
  Code can be adapted
  Setting up database
  HV modules have different parameters
  Generating Phoebus screens
  Estimated date of completion (EDC) 12/02/2022
  LED controls software
  Missing software drivers between the VME LED Drivers and the Phoebus screen (most complex part)
  Installing EPICS drivers onto the VME LED module
  Procuring LEDs to use for testing.
  Developing Phoebus screen
  EDC unknown
  Trying for 12/02/22
Weiner MPOD crate with low voltage modules
Weiner MPOD crate with VME LED module controllers

## Slide 4: Thermal Readbacks
  Revising LabVIEW program to reflect new channel connections for the Keysight readback
  Completed testing 12 of 12 relative humidity sensors Developed Phoebus screens
  Tested 4 of 12 of the temperature and humidity readback Phoebus screens.
  Fabricating power distribution box
  Adding documentation
  EDC 12/02/22
Temperature & humidity sensor readback (Keysight) LabVIEW screen
  Displays averages, std. deviations, dew point, alarm limits, and trip delays
EPICS server
  PVs used in Phoebus screens
Phoebus screens
Independent VI chiller controls work
  Configuration , run, and control Instructions will be provided once chiller controls are installed
Installing bridge between LabVIEW PVs and EPICS PVs for Phoebus

## Slide 5: Summary
DSG needs 3 weeks (without time contingency) to address the items mentioned in the previous slides
Unknown amount of time required for developing missing software drivers between the VME LED Drivers and the Phoebus screen (most complex part)