|  |  | TITLE: | ES&H Manual |
| --- | --- | --- | --- |
| DOCUMENT ID: | 1400 Appendix T1 Visitor Safety Briefing Topics |  |  |

DRAFT #2

- Purpose

Jefferson Lab requires that Visitor(s) entering non-public areas be accompanied by an Escort.  Before entering non-public areas, Escorts are responsible for ensuring their Visitor(s) has a basic understanding of the hazards that may be encountered during the visit.  This document provides safety topics to be discussed and actions to be performed prior to entering a non-public area with the Visitor(s)

At a minimum, topics from Section 4.0 Basic Safety Information are to be provided to all Visitors.  Additional topics from Section 5.0 Additional Safety Information are selected if relevant to the hazards of the area to be visited.  Not all hazards are relevant to every visit; in the interest of time, focus on topics relevant to the particular visit.

Topics include:

Basic Safety Information - Emergency Response (fire alarms and other audible/visible warnings) - Equipment - Slips and Trips - General Medical/First Aid Response

| Additional Safety Information |  |
| --- | --- |
| - Personal Protective Equipment (PPE) - Material Handling Equipment (Forklifts, Cranes, Hoists, Aerial Lift Platforms) - Chemicals - Lasers | - Oxygen Deficiency Hazard (ODH) - Cryogens - Magnetic Fields and Radio Frequency (RF) Radiation - Ionizing Radiation |

- Scope

This appendix provides information to be included in a Visitor’s safety briefing.  Additional information can be provided as necessary at the discretion of the Escort.  Review the ES&H Manual for additional, or more detailed, processes and procedures.

The process steps for this procedure are performed in coordination with ES&H Manual Chapter 1400 Communicating Safety to Visitors (Link to be established upon approval of document.)

- Responsibilities

  - Escort

- The Visitor’s safety is your priority.

- Be familiar with and appropriately qualified, trained, and authorized to access the area(s) to be visited.

- Ensure the route avoids hazards whenever possible.

- Walk the route prior to the visit to ensure conditions.

- Ensure a safety briefing has been provided to your Visitor which includes the basic safety information and any additional information relevant to the hazard issues to be encountered.

- Abide by designated Escort Ratios (see Oxygen Deficiency Hazard (ODH) and Radiologically Controlled Areas).

- Basic Safety Information

Jefferson Lab considers no activity to be so urgent or important that we will compromise our standards for environmental protection, safety, or health.  An initial safety briefing provides Visitor(s) with the minimal expectations to achieve this goal.

In all situations the first response of a Visitor is to follow their Escort’s instructions.

  - Emergency Response (Fire Alarms other audible/visible warnings)

At Jefferson Lab there are a variety of built-in safeguards to alert individuals to a potentially dangerous situation.  Evacuation is the most common activity performed when an alarm is activated.  Visitor(s) are to follow their Escort’s directions and proceed to the designated muster point.

Escort Actions:

- Review the emergency exit locations and appropriate muster point with your Visitor(s).  (Exits are clearly marked by lighted signs in hallways and above exit doors.  Evacuation floor plans are posted conspicuously in buildings.)

- When an alarm activates, tell your Visitor(s) to remain calm and follow you out of the building.  (In accordance with ES&H Manual Chapter 3510 Appendix T1 Building Evacuation Procedure.)

- If your Visitor loses sight of you, they are to follow the posted evacuation floor plan.

- Gather at the designated muster point and await further instructions.

  - Equipment

Visitors are asked to resist the urge to touch…anything.  Aside from the fact that an experiment may be jeopardized, or equipment damaged – specific hazards to people include: pinch, cuts, shock, and blindness.

Escort Actions:

- Do not allow your Visitor(s) to touch or handle any apparatus, equipment, or material unless you have given them specific permission to do so.

  - Slips and Trips

Though Jefferson Lab has unusual equipment and complex activities, the most likely hazards are slips and trips.  Uneven walking surfaces are generally the major culprit.

Escort Actions:

- Tell Visitors to watch their step.

- Point out trip/slip hazards when encountered.

- Use designated walkways.

- Hold hand railings wherever possible.

- Tell your Visitor(s) to ask for assistance, if they need it, to maneuver around obstacles.

- Adjust your route to accommodate inappropriate footwear.  (High heels and sandals are not recommended anywhere on site, and are not allowed in some areas.  (Communicate this to your Visitor prior to their arrival.))

  - General Medical/First aid Response

If you, the Escort, are hurt, the Visitor should call 911 (preferably from a land-line).

Escort Actions:

- Become familiar with Jefferson Lab’s injury and illness protocols outlined in ES&H Manual Chapter 6800 Appendix T2 Injuries and Illnesses Requiring First Aid or Emergency Medical Response.

- If your Visitor(s) is seriously hurt or unable to get to Occupational Medicine call 911.

- Additional Safety Information

Everyone at Jefferson Lab has the right to know the hazards which they may be exposed.  Escorts are required to describe the foreseeable hazards their Visitor(s) may encounter and perform the associated actions to facilitate their safety.

  - Personal Protective Equipment (PPE)

There are areas at Jefferson Lab where basic and/or specialized PPE is required: hard hats, safety glasses, steel-toed shoes, hearing protection, face shields, gloves, knee pads, and proper work clothes are most common.  Areas are generally posted with their requirements.

Escort Actions:

- Review the requirements of the area to be visited.  (Review ES&H Manual Chapter 6620 Personal Protective Equipment Program and its associated appendices for additional information.)

- Tell your Visitor(s), prior to arrival, to wear appropriate attire.

- Provide your Visitor(s) with required PPE.  (Jefferson Lab has a limited amount of basic and/or specialized PPE available for Visitor(s) use.  To reserve these items call Industrial Hygiene.)

- Don the appropriate PPE before entering the area.

  - Material Handling Equipment (Forklifts, Cranes, Hoists, Aerial Lift Platforms)

Only those who have been trained, certified, and authorized by Jefferson Lab may operate material handling equipment.  Appropriate PPE is to be worn in and around areas where this equipment is in use.

Escort Actions:

- If material handling equipment is allowed in the area to be visited contact the Area Work Coordinator and coordinate your route to their schedule.

- Provide and don appropriate PPE prior to entering the area.

- Stay clear of material handling equipment (whether in operation or stationary).

- Do not walk under lifted or suspended loads.

- Observe posted warnings.

- Follow the directions of those conducting the work.

- Stay on the marked paths.

  - Chemicals

Visitors are not authorized to handle or use hazardous chemicals at Jefferson Lab.

Escort Actions:

- Review the requirements outlined in ES&H Manual Chapter 6610 Chemical Hygiene Program and its associated appendices prior to the visit.

  - Lasers

The greatest concern related to lasers is eye injury.  Only individuals who are trained, qualified, and authorized by Jefferson Lab are allowed to work with laser equipment.

Escort Actions:

- Follow the directions as posted on the area warning signs.

- Do not point a laser at yourself or your Visitor(s).

  - Oxygen Deficiency Hazard (ODH)

ODH means not having an adequate amount of oxygen to breathe and could occur if cryogens, or other chemicals or gases, are released.  Such a release could quickly reduce oxygen levels in an area.  Only trained, certified, and qualified individuals are allowed to enter ODH-rated areas without an Escort.

Escort Requirements:

- Must be a Qualified ODH Worker.  (See ES&H Manual Chapter 6500 Cryogenic and ODH Safety for qualifying criteria.)

Escort Ratios:

| ODH-Rating | Escort Ratio |
| --- | --- |
| ODH 0 | 1 Escort to 5 Visitors |
| ODH 1 | 1 Escort to 1 Visitor |
| ODH 2 or higher | No Visitors are allowed |

Escort Actions:

- Provide Visitor(s) with an ODH briefing before entering the area. Include a description of:

  - The alarm system and

  - Associated escape procedure.

- Tell them never to breath or enter a vapor cloud.  Instruct your Visitor(s) to hold their breath or use an alternate route to avoid contact.

For further information regarding ODH 0, ODH 1, ODH 2, ODH 3 and ODH 4 requirements see ES&H Manual Chapter 6500 Cryogenic and ODH Safety

  - Cryogens

Cryogens are used at Jefferson Lab.  Hazard issues include thermal cold (immediate tissue damage) and Oxygen Deficiency Hazards (ODH).  Buildings and work areas where cryogens are used are posted with warning signs.  Only individuals who are trained, qualified, and authorized are allowed to work with cryogens at Jefferson Lab.  Appropriate PPE is worn when working with these materials.

Escort Actions:

- Don appropriate PPE.

- Tell your visitor to remain clear of cryogenic liquids during handling or dispensing.

  - Magnetic Fields and Radio Frequency (RF) Radiation

Jefferson Lab has a few areas where magnetic fields or RF radiation could interfere with instruments and electronic apparatus, including bioelectronic devices such as cardiac pacemakers.

Posted signs and flashing red warning lights indicate the presence of high magnetic fields in specific areas.  In most cases, tape/rope or blockades indicate the potential “reach” of these magnetic fields.

Escort Actions:

- Ask your Visitor(s) if they are affected by these limitations and alter your route to accommodate them.

  - Ionizing Radiation

Jefferson Lab’s accelerators and some components produce ionizing radiation, mostly x-rays, during operation.  Radiologically controlled areas are posted with signs and, in some cases, warning lights.  People under age 18 are not allowed to enter these areas.  Jefferson Lab does not recommend that women who are pregnant enter these areas.

Escort Requirements:

- Must be a Qualified Radiation Worker (See ES&H Manual Chapter 6310 Radiation Protection Program (Link to be established upon approval of document) for qualifying criteria.)

Escort Ratios:

| Hazard Level | Escort Ratio |
| --- | --- |
| Radiologically Controlled Area | 1 Escort to 5 Visitors |

Escort Actions:

- Contact the Radiation Control – Dosimetry Office prior to your visit.  Follow their instructions regarding before, during, and after visit activities.

- You, or a member of your group, will be asked to wear a supplemental radiation dosimeter (a device that records any radiation exposures).

Self Reading Pocket Dosimeters (SRPDs) are used in a ratio of one dosimeter

for every five Visitors during tours of Jefferson Lab radiologically controlled areas.

- Revision Summary

Revision 1: Updated to reflect current laboratory operations.

|  | ISSUING AUTHORITY | TECHNICAL POINT-OF-CONTACT | APPROVAL DATE | EFFECTIVE DATE | EXPIRATION DATE | REV. |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ESH&Q Division | Bob May |  |  |  | 1 |  |  |

This document is controlled as an on line file.  It may be printed but the print copy is not a controlled document.  It is the user’s responsibility to ensure that the document is the same revision as the current on line file.  This copy was printed on 7/28/2026.

Jefferson Lab Public Area Designation:  CEBAF Center’s (Building 12) common areas, common rooms, and hallways are designated as Public Areas during core business hours Monday – Friday under the DOE Foreign Visits Program.