|  |  | TITLE: | ES&H Manual |
| --- | --- | --- | --- |
| DOCUMENT ID: | 6132 Ladder and Scaffold Safety |  |  |

DRAFT

- Purpose

Jefferson Lab recognizes that working at elevation on ladders and scaffolding is a hazard issue.  Employee training, routine inspections, and maintenance requirements are used to reduce the risks.

Jefferson Lab bases its safety requirements for ladders and scaffolds on the laws, regulations, and references outlined in ES&H Manual Chapter 2410 Appendix T1 Hazard Issues List.

- Scope

This document addresses the the following categories of ladders and scaffolding offered for use at Jefferson Lab:

| Ladders | Scaffolds |
| --- | --- |
| - Fixed – Permanently attached to a building or structure. - Portable: - Step – Self Supporting - Extension - a ladder having two or more sections joined by a sliding mechanism that allows the ladder to be extended to the total length. - Mobile Ladder Stand - A fixed height self-supporting ladder consisting of wide flat treads in the form of steps accessing a top step. The assembly may include handrails, and is intended for use by one person. - Mobile Ladder Stand Platform - A fixed height self-supporting unit having one or more standing levels, provided with means of access or egress to the platform or platforms. The assembly may include handrails and/or guardrails. | - Fabricated Frame Scaffold (tubular welded frame scaffold): A scaffold consisting of a platform(s) supported on fabricated end frames with integral posts, horizontal bearers, and intermediate members. - Mobile or Baker’s Scaffold (Manually propelled mobile scaffolds): A powered or unpowered, portable, caster, or wheel-mounted supported scaffold. - Tube and Coupler Scaffold: A supported or suspended scaffold consisting of a platform(s) supported by tubing, erected with coupling devices connecting uprights, braces, bearers, and runners. |

Jefferson Lab only authorizes the use of ANSI Type I (heavy duty – 250 pounds) ladders (or greater). All ladders and are to meet the following current ANSI standard as applicable: - ANSI A14.2 – Portable Metal Ladders - ANSI 14.3 – Fixed Ladders - ANSI 14.5 – Portable Reinforced Ladders - ANSI 14.7 – Mobile Ladder Stands and Mobile Ladder Stand Platforms Jefferson Lab does not authorize the use of step stools (or any other portable, non-motorized, equipment). See ES&H Manual Chapter 2410 Appendix T1 Hazard Issues List for other applicable federal, state, and local requirements.

Jefferson Lab requires that all ladders and scaffolding components used on its behalf be in good working order.  Equipment is inspected prior to use, or daily if in continual use.  Items found to be in need of repair are taken out of service until the appropriate repairs have been made; or they are removed from site if owned by a subcontractor.

- Responsibilities

NOTE:	Management authority may be delegated at the discretion of the responsible manager.

  - Ladder/Scaffold Worker

- Notify your supervisor if you have any health or physical condition that would affect your safety when working at an elevated height.

- Request guidance from your supervisor for ladders/scaffolds with which you are unfamiliar.

- Complete SAF 307 Ladder Safety training before using a ladder.

- Complete scaffold training (SAF 303 – Scaffold Safety) before using a scaffold.

- Inspect, set-up/assemble, use, and store ladders/scaffolds in accordance with the manufacturer’s instructions and Jefferson Lab’s requirements.

- If repair/maintenance is necessary tag the ladder out of service and contact your ESH&Q Liaison or your Safety Warden.

  - Competent Person - Scaffold

- Complete scaffold training (SAF 303 – Scaffold Safety) or equivalent.

- Plan, select, inspect, and maintain scaffold equipment in accordance with manufacture’s specifications and Jefferson Lab requirements.

    - ESH&Q Liaison/Safety Wardens

- Inspect fixed and portable ladders in your area of responsibility during routine safety observations /monthly inspections.

- Facilitate repairs/maintenance as required.

  - Supervisor/Subcontracting Officer’s Technical Representative (SOTR)

- Only purchase and authorize the use of ladders that meet or exceed ANSI Type I (heavy duty – 250 pounds) ladders (or greater).

- Ensure ladders/scaffolds are inspected, set-up, used, and stored in accordance with manufacturer’s instructions and Jefferson Lab’s requirements.

- Only assign ladder/scaffold work to those who are appropriately trained and qualified.  (Provide appropriate training to those requesting assistance.)

- Only authorize the use of equipment that is in good working order.

- Assign a Competent Person – Scaffold for the duration of the scaffold work. (See ES&H Manual Chapter 6132 Appendix T2 Scaffold for further information).

    - SOTR also:

- Ensure subcontractor is adequately trained and qualified, minimally to Jefferson Lab requirements (see ES&H Manual Chapter 6132 Appendix T1 Ladders, and T2 Scaffolds) or equivalent.  Submit equivalency documentation of Industrial Safety for approval.

  - Industrial Safety

- Provide ladder (SAF 307 Ladder Safety) training and scaffold training.

- Serve as the technical point of contact for ladders and scaffolds.

- Expectations

  - There are two basic categories of ladders available for use at Jefferson Lab; fixed and portable.  Fixed ladders are permanently attached to buildings or other structures. Portable ladders offer four distinct types: Step (self-supporting), Extension, Mobile-Ladder Stands, and Mobile-Ladder Platforms.  ES&H Manual Chapter 6132 Appendix T1 Ladders provides appropriate actions for inspection, set-up, use, and storage of ladders available at Jefferson Lab.

  - Scaffolding is a temporary, engineered structure used to support people and material during construction or repair work.  It is usually a modular system made up of metal tubing although it can be made out of other materials.  The most common types of scaffolding used at Jefferson Lab are: fabricated tubular frame scaffolds, tube and coupler scaffolds, and manually propelled mobile scaffolds.  Other types may be used as determined by the Industrial Safety. See ES&H Manual Chapter 6123 Appendix T2 Scaffolds for Jefferson Lab’s requirements for the use of this equipment.

  - Scaffolding is inspected after assembly, prior to first use and daily thereafter by the Scaffold Competent Person.  ES&H Manual Chapter 6132 Appendix T3 Scaffold Inspection Checklist is used to perform these inspections.  Completed inspection checklist forms are signed and dated by the Competent Scaffold Person and attached to the scaffold structure.  (When the scaffold is disassembled the checklist forms may be removed and disposed of in accordance with department procedures.)

- Revision Summary

Revision 2 - ______ – Only ANSI Type I (heavy duty – 250 pounds) ladders (or greater) are authorized for use.

Revision 1 – 06/07/10 – Updated to reflect current laboratory operations.

|  | ISSUING AUTHORITY | TECHNICAL POINT-OF-CONTACT | APPROVAL DATE | EFFECTIVE DATE | EXPIRATION DATE | REV. |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ESH&Q Division | Ned Walker | 06/07/10 | 06/07/10 | 06/07/15 | 2 |  |  |

This document is controlled as an on line file.  It may be printed but the print copy is not a controlled document.  It is the user’s responsibility to ensure that the document is the same revision as the current on line file.  This copy was printed on 7/28/2026.