|  | Oxygen Deficiency (ODH) Safety Review Form (See ES&H Manual Chapter 6540 Appendix T1 ODH Safety Review for instructions) |
| --- | --- |

PART 1 - PRELIMINARY ANALYSIS:

| - INTRODUCTION |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Task/Title: |  |  |  |  |  |  | Task # (If applicable) |  |  |  |  |
| Location of Use: Bldg/Room/Area |  |  |  |  | Effective Date: |  |  | Expiration Date: (Not to exceed three years.) |  |  |  |
| Document Owner: |  |  |  | Owner Division: |  |  |  | Owner Department: |  |  |  |

| - PRELIMINARY INFORMATION |  |  |  |  |  if YES |
| --- | --- | --- | --- | --- | --- |
| Gas to be Introduced: (List Name(s) and Concentration(s)) |  |  |  | Flammable |  |
|  |  |  |  | Corrosive |  |
| Is gas self-contained? (In a Dewar or similar?) | Yes | No | Size | Toxic |  |
|  |  |  |  | Other |  |
| Attach copies of any related “Oxygen Deficiency Hazard Risk Assessments” for the building and any additional supporting documents/calculations. |  |  |  |  |  |

ATTACH A ROOM FLOOR PLAN (Show location of ODH):

| - PRELIMINARY ODH Calculation: |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Container is Inside Proposed ODH Area (e.g. dewar, tank, etc.) |  |  |  | OR |  | Container is outside Proposed ODH Area (e.g. from a compressor, pump, etc.) |  |  |  |  |  |  |
| Total volume of room: | VR (ft3) = |  |  |  |  |  | Total volume of room: | VR (ft3) = |  |  |  |  |
| Volume of gas at room temperature and pressure | VG (ft3) = |  |  |  |  |  | Volumetric flow rate of gas into room at room temperature and pressure (Contact Engineering) | Q = (ft3/hour) = |  |  |  |  |
| 21(VR – VG) VR | = |  |  |  |  |  | 21(VR – Q) * VR | = |  |  |  |  |

* Assuming minimum one fresh air change per hour (ACH).  If more than one ACH is needed additional review may be required.

| If Resulting % Oxygen is: | Then: |
| --- | --- |
| <19.5 | Continue to Part Two – Additional Information. |
| >19.5 | Submit form to ODH Safety. |

| The above referenced hazard has been determined to be: |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| APPROVALS |  |  |  |  |  |  |  |  |
|  |  | Print Signature |  |  |  | Date: |  |  |
| ODH SafetyReviewer |  |  |  |  |  |  |  |  |

| Additional Approvals per Department Procedures |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Department or Group Head: |  |  |  |  |  |  |  |  |  |  |  |
|  | Division Safety Officer: |  |  |  |  |  |  |  |  |  |  |  |
|  | Other: |  |  |  |  |  |  |  |  |  |  |  |
|  | Other: |  |  |  |  |  |  |  |  |  |  |  |
| Review per Department Procedures |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | Print Signature |  |  |  |  | Date |  |
|  | Area Safety Warden: |  |  |  |  |  |  |  |  |  |  |  |
|  | Other: |  |  |  |  |  |  |  |  |  |  |  |

PART 2 – ADDITIONAL INFORMATION:

| - Engineering and Administrative Controls (be as specific as possible, provide existing and planned) |  |
| --- | --- |
| Engineering Controls: Example: Fume hoods, valves, critical orifice, etc. |  |
| Administrative Controls: including, but not limited to: (list names, types, and document numbers) - Training Required - Standard Protecting Measures - Work Control Documents |  |
| Attachments - list all that apply: (e.g.: Confirmation Communications, Risk Assessment, Task Hazard Analysis etc) |  |

Submit: Completed form to ODH Safety for review and approval

After Approval Distribution:

Original: Document Author; Copies: affected area, all approvers, all reviewers, and ESH&Q Document Control.

|  | ISSUING AUTHORITY | FORM TECHNICAL POINT-OF-CONTACT | APPROVAL DATE | EXPIRATION DATE | REV. |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | ESH&Q Division | Dick Owen |  |  |  |  |