|  |  | TITLE: | ES&H Manual |
| --- | --- | --- | --- |
| DOCUMENT ID: | 6683 Silica Safety Program |  |  |

Jefferson Lab has determined that working with silica carries an unmitigated Risk Code >2. At a minimum all tasks involving silica are discussed with the supervisor prior to commencement. An Operational Safety Procedure (OSP) is written for any work considered to be Risk Code >2 in accordance with ES&H Manual Chapter 3210 Work Planning, Control, and Authorization Process.

DRAFT

- Purpose

Silica, when it becomes airborne (dust particulates), poses a serious health hazard.  This program addresses techniques for mitigating silica exposure for activities that occurs at Jefferson Lab including, but not limited to: sandblasting, grinding, cutting, mixing, and drilling of concrete, brick, grout, and rock; miscellaneous sand and gravel operations; and removal of furnace insulation.

This program satisfies applicable federal, state, and local requirements as outlined in ES&H Manual Chapter 2410 Appendix T1 Hazard Issues List.

- Scope

For the purposes of this program “silica” refers to crystalline, quartz, cristobalite, and Tridymite.  Contact Industrial Hygiene for guidance when using other forms.

Other silica mitigation techniques, utilized for larger projects, may be considered during a Jefferson Lab facility design or modification review (see ES&H Manual Chapter 3110 Facility Design and Modification Review).  This program applies to activities at Jefferson Lab that would commonly occur during day-to-day operations.

- Responsibilities

NOTE:	Management authority may be delegated at the discretion of the responsible manager.

  - Qualified Silica Worker

- Complete and maintain appropriate training

- SAF138 Silica Dust Hazards in Construction, and

- Medical monitoring, as appropriate.

- Perform work activities within hazard controls.

  - Supervisor/Subcontracting Officer’s Technical Representative (SOTR)/Sponsor:

- Provide a complete Work Plan in accordance with process steps.

- Assign only Qualified Silica Workers to silica work.

    - SOTR also:

- Inform subcontractors that a written Silica Program is required to be submitted prior to commencement of silica work. (Subcontractor may use and abide by Jefferson Lab’s or submits one for approval.)  Program must include subcontractor’s training and qualifications, minimally to Jefferson Lab requirements.

  - If provided, submit subcontractor’s Silica Program to Jefferson Lab’s Silica Subject Matter Expert (see ES&H Manual Chapter 2410 Appendix T1 Hazard Issues List – Silica) for approval prior to commencement of work.

  - Industrial Hygiene

- Perform silica work/area hazard evaluation, as requested.

  - Silica Subject Matter Expert

- Oversee the on-site silica training program.

- Make silica equivalent training determination.

- Maintain listing of Qualified Silica Workers in accordance with ES&H Manual Chapter 4200 ES&H Training Overview.

- Technical Appendices

  - Silica Work Requirements

ES&H Manual Chapter 6683 Appendix T1 Silica Work Requirements (Link to be established upon approval of document) provides Jefferson Lab’s minimum requirements when working with silica including: planning, actual activities, and clean-up.

  - Silica Training

No one at Jefferson Lab, including subcontractors, may authorize or perform work involving silica unless they are properly trained.  ES&H Manual Chapter 6683 Appendix T2 Silica Training (Link to be established upon approval of document) presents the process steps used to obtain and record the training required for work involving silica.

- Revision Summary

Revision 0 – ##/##/## – This is new content.

|  | ISSUING AUTHORITY | TECHNICAL POINT-OF-CONTACT | APPROVAL DATE | EXPIRATION DATE | REV. |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | ESH&Q Division | Richard Owen |  |  | 0 |  |

This document is controlled as an on-line file.  It may be printed but the print copy is not a controlled document.  It is the user’s responsibility to ensure that the document is the same revision as the current on line file.  This copy was printed on 7/28/2026.

Furnace insulation (refractory ceramic fibers/synthetic vitreous fibers (RCF/SVF)) when exposed for long periods at high temperatures (1100C/1900F) convert to a form of silica and must be properly controlled.  Contact Industrial Hygiene for detailed mitigation requirements.