|  |  | TITLE: | ES&H Manual |
| --- | --- | --- | --- |
| DOCUMENT ID: | 6160 Appendix T1 Listing of Permit-Required Confined Space (PRCS) Locations |  |  |

DRAFT

At Jefferson Lab a Confined Space Entry (CSE) Permit is considered to be a Work Control Document and thus a Standard Protecting Measure. Only when all hazard issues associated with the PRCS and the work activity are acknowledged and mitigated, in accordance with this program, can the area’s associated Risk Code be considered < 2. At a minimum, all work requiring entry into a PRCS is discussed with the entry supervisor prior to commencement. A formal Task Hazard Analysis and Operational Safety Procedure is required for work considered to be Risk Code >2 in accordance with ES&H Manual Chapter 3210 Work Planning, Control, and Authorization Process.

- Purpose

This appendix provides a listing of Jefferson Lab’s currently known Permit-Required Confined Spaces (PRCSs).  They are generally located underground and entered through manholes.  Entry is infrequent and normally made by a Jefferson Lab authorized subcontractor.

- Scope

This appendix is reviewed annually however, it does not guarantee that all PRCSs are listed.  Contact the Confined Space Coordinator if you have questions, concerns, or to request a hazard evaluation of an area.

Jefferson Lab defines a “PRCS” to be any area that meets all of the following criteria:

- Sufficient space for a person to enter and perform work;

- Limited/restricted means for entering/exiting;

- Not designed for continuous occupancy.

AND one or more of the following criteria:

- Contains, or has the potential to contain, a hazardous atmosphere;

- Contains a material with the potential for engulfing a person or hindering quick escape;

- Internal configuration can trap a person or lead to asphyxiation;

- Entails a safety or health risk that has been determined to be >2 and requires a formal Task Hazard Analysis and associated work control document.

The process steps for this procedure are performed in coordination with ES&H Manual Chapter 6160 Permit-Required Confined Space Entry.

- Responsibilities

NOTE:	Management authority may be delegated at the discretion of the responsible manager.

  - Entry Supervisor/Subcontracting Officer’s Technical Representative (SOTR)/ Sponsor

- Know the PRCSs under your authority.  Ensure they are appropriately identified and secured.

  - Confined Space Coordinator

- Maintain the listing of PRCSs.

- Locations (Click map for file version)

Non-Accelerator Site Locations

Accelerator Site Locations

- Table Listing of PRCSs

Each PRCS is assigned a unique alphanumeric designation.  The assignment is based on the PRCS’s determined category and the next consecutive number.

| Table 1: Building PRCSs (B#-#) |  |  |
| --- | --- | --- |
| Space Designation | Nearest Permanent Building/Location | Type of Space |
| B4-1 | Exit Stair #4 | Sump Pit |
| B7-1 | Exit Stair #1 | Sump Pit |
| B8-1 | CHL | Cold Box Pit |
| B8-2 | CHL | Cold Box Vessel |
| B8-3 | CHL | Cold Box Horizontal Chamber |
| B31-1 | Acid Storage | Sump Pit |
| B37-1 | Exit Stair #2 | Sump Pit |
| B38-1 | South Access | Sump Pit (east) |
| B38-2 | South Access | Sump Pit (west) |
| B38-3 | South Access | LCW Trench |
| B38-4 | South Access | Staircase Sump Pit |
| B53-1 | Injector Service Building | Temporary Storage Tank |
| B53-2 | Injector Service Building | Temporary Storage Tank |
| B42-1 | Exit Stair #6 | Sump Pit |
| B58-1 | Test Lab | Cooling Basin Underground Tank |
| B58-2 | Test Lab | Basement Tunnel |
| B58-3 | Test Lab | Shield Block Motor Space |
| B58-4 | Test lab | Shaft under Grating in VTA |
| B58-5 | Test Lab | VTA Dewar |
| B58-6 | Test Lab | VTA Dewar |
| B58-7 | Test Lab | VTA Dewar |
| B58-8 | Test Lab | VTA Dewar |
| B58-9 | Test Lab | VTA Dewar |
| B58-10 | Test Lab | VTA Dewar |
| B61-1 | Exit Stair #3 | Sump Pit |
| B67-1 | North Access | Sump Pit (east) |
| B67-2 | North Access | Sump Pit (west) |
| B67-3 | North Access | LCW Trench |
| B67-4 | North Access | Staircase Sump Pit |
| B67-5 | North Access | Waste Water Tank (west) |
| B70-1 | Exit Stair #5 | Sump Pit |
| B85-1 | Accelerator Tunnel | Beam Dump |
| B91-1 | Cooling Building, Hall A | Sump Pit |
| B91-2 | Cooling Building, Hall A | Entire Building |
| B92-1 | Service Building #1 | North Piping Pit |
| B92-2 | Service Building #1 | South Piping Pit |
| B92-3 | Service Building #1 | East Piping Pit |
| B94-1 | Hall B | Beam Dump |
| B95-1 | Cooling Building, Hall C | Sump Pit |
| B95-2 | Cooling Building, Hall C | Entire Building |
| B96-1 | Hall C | Beam Dump |
| B96-2 | Hall C | High Momentum Spectrometer Carriage |
| B99-1 | Exit Stairs-BSY | Sump Pit |
| B101-1 | Hall A | Beam Dump |
| B101-2 | Hall A | Spectrometer Carriage 1 |
| B101-3 | Hall A | Spectrometer Carriage 2 |
| B102-1 | End Station Refrigerator | Cold Box Pit |

| Table 2: Telecommunications Manholes (EMHC#) |  |  |
| --- | --- | --- |
| Space Designation | Nearest Permanent Building/Location | Type of Space |
| EMHC1 | 28 | Utility Manhole/Vault |
| EMHC2 | 19 (Unverified) | Utility Manhole/Vault |
| EMHC3 | 12 | Utility Manhole/Vault |
| EMHC4 | on Jefferson Ave. near Onnes Rd. intersection | Utility Manhole/Vault |
| EMHC5 | 90 | Utility Manhole/Vault |
| EMHC6 | 58 | Utility Manhole/Vault |
| EMHC7 | 34 | Utility Manhole/Vault |
| EMHC8 | 34 | Utility Manhole/Vault |
| EMHC9 | 53 | Utility Manhole/Vault |
| EMHC10 | 67 | Utility Manhole/Vault |
| EMHC11 | 85 | Utility Manhole/Vault |
| EMHC12 | 85 | Utility Manhole/Vault |
| EMHC13 | 7 | Utility Manhole/Vault |
| EMHC14 | 8 | Utility Manhole/Vault |
| EMHC15 | 40 | Utility Manhole/Vault |
| EMHC16 | 98 | Utility Manhole/Vault |
| EMHC17 | 18 (Unverified) | Utility Manhole/Vault |

| Table 3: Electrical Power Manholes (EMH#) |  |  |
| --- | --- | --- |
| Space Designation | Nearest Permanent Building/Location | Type of Space |
| EMH1 | 58 | Utility Manhole/Vault |
| EMH2 | 34 | Utility Manhole/Vault |
| EMH3 | 34 | Utility Manhole/Vault |
| EMH4 | 41 | Utility Manhole/Vault |
| EMH5 | 45 | Utility Manhole/Vault |
| EMH6 | 85 | Utility Manhole/Vault |
| EMH7 | 8 | Utility Manhole/Vault |
| EMH8 | 14 | Utility Manhole/Vault |
| EMH9 | 21 | Utility Manhole/Vault |
| EMH10 | 85 | Utility Manhole/Vault |
| EMH11 | 82 | Utility Manhole/Vault |
| EMH12 | 2 | Utility Manhole/Vault |
| EMH13 | 2 | Utility Manhole/Vault |
| EMH13C | 89 | Utility Manhole/Vault |
| EMH14 | 2 | Utility Manhole/Vault |
| EMH15 | 98 | Utility Manhole/Vault |
| EMH16 | 89 (Unverified) | Utility Manhole/Vault |

| Table 4: Lift Station-Sanitary Sewer (LS#) |  |  |
| --- | --- | --- |
| Space Designation | Nearest Permanent Building/Location | Type of Space |
| LS1 | near Jefferson & Onnes (Unverified) | Utility Manhole/Vault |
| LS2 | 16 | Utility Manhole/Vault |
| LS3 | 6 | Utility Manhole/Vault |
| LS4 | 45 | Utility Manhole/Vault |

| Table 5: Lift station-Storm Water (LW#) |  |  |
| --- | --- | --- |
| Space Designation | Nearest Permanent Building/Location | Type of Space |
| LW1 | 58 | Utility Manhole/Vault |
| LW2 | 8 | Utility Manhole/Vault |

| Table 6: Mechanical Equipment Manholes (MMH#) |  |  |
| --- | --- | --- |
| Space Designation | Nearest Permanent Building/Locations | Type of Space |
| MMH1 | near Jefferson/Onnes | Utility Manhole/Vault |
| MMH2 | 11 | Utility Manhole/Vault |
| MMH2B | 40 | Utility Manhole/Vault |
| MMH3 | 90 | Utility Manhole/Vault |
| MMH3B | 101 | Utility Manhole/Vault |
| MMH4 | 59 (Unverified) | Utility Manhole/Vault |
| MMH4B | 101 | Utility Manhole/Vault |
| MMH5 | 52 (Unverified) | Utility Manhole/Vault |
| MMH5B | 93 | Utility Manhole/Vault |
| MMH6 | 53 | Utility Manhole/Vault |
| MMH6B | 93 | Utility Manhole/Vault |
| MMH7 | 53 | Utility Manhole/Vault |
| MMH7B | 97 | Utility Manhole/Vault |
| MMH8 | 45 | Utility Manhole/Vault |
| MMH8B | Unverified | Utility Manhole/Vault |
| MMH9 | 85 | Utility Manhole/Vault |
| MMH9B | 98 | Utility Manhole/Vault |
| MMH10 | 85 | Utility Manhole/Vault |
| MMH11 | 67 | Utility Manhole/Vault |
| MMH12 | 70 | Utility Manhole/Vault |
| MMH13 | 70 | Utility Manhole/Vault |
| MMH14 | 70 | Utility Manhole/Vault |
| MMH15 | 85 | Utility Manhole/Vault |
| MMH16 | 85 | Utility Manhole/Vault |
| MMH17 | 7 | Utility Manhole/Vault |
| MMH18 | 8 | Utility Manhole/Vault |
| MMH19 | 7 | Utility Manhole/Vault |
| MMH20 | 1 | Utility Manhole/Vault |
| MMH21 | 14 | Utility Manhole/Vault |
| MMH22 | 14 | Utility Manhole/Vault |
| MMH23 | 2 | Utility Manhole/Vault |
| MMH24 | 4 | Utility Manhole/Vault |
| MMH25 | 37 | Utility Manhole/Vault |
| MMH26 | 21 | Utility Manhole/Vault |
| MMH27 | 37 | Utility Manhole/Vault |
| MMH30 | 38 | Utility Manhole/Vault |
| MMH30A | 18 (Unverified) | Utility Manhole/Vault |
| MMH30B | 18 (Unverified) | Utility Manhole/Vault |
| MMH30C | 18 (Unverified) | Utility Manhole/Vault |
| MMH30D | 18 (Unverified) | Utility Manhole/Vault |
| MMH31 | 38 | Utility Manhole/Vault |
| MMH32 | 38 | Utility Manhole/Vault |
| MMH33 | 18 | Utility Manhole/Vault |
| MMH34 | 53 | Utility Manhole/Vault |
| MMH35 | 53 | Utility Manhole/Vault |
| MMH36 | 39 | Utility Manhole/Vault |
| MMH37 | 63 | Utility Manhole/Vault |
| MMH38 | 38 | Utility Manhole/Vault |
| MMH39 | 2 | Utility Manhole/Vault |
| MMH40 | 2 | Utility Manhole/Vault |
| MMH41 | 56 | Utility Manhole/Vault |

| Table 7: Sanitary Sewer Manholes (SSMH#) |  |  |
| --- | --- | --- |
| Space Designation | Nearest Permanent Building/Locations | Type of Space |
| SSMH1 | 28 | Utility Manhole/Vault |
| SSMH1A | ARC | Utility Manhole/Vault |
| SSMH1B | VARC | Utility Manhole/Vault |
| SSMH1C | 19 | Utility Manhole/Vault |
| SSMH2 | near Jefferson & Hofstadter | Utility Manhole/Vault |
| SSMH3 | near Jefferson Avenue | Utility Manhole/Vault |
| SSMH4 | 12 | Utility Manhole/Vault |
| SSMH5 | near Jefferson Avenue | Utility Manhole/Vault |
| SSMH6 | near Jefferson Avenue | Utility Manhole/Vault |
| SSMH7 | 58 (Unverified) | Utility Manhole/Vault |

| Table 8: Water Meter Vault (W) |  |  |
| --- | --- | --- |
| Space Designation | Nearest Permanent Building/Locations | Type of Space |
| W1 | near CEBAF Blvd. & Canon Blvd. | Utility Manhole/Vault |
| W2 | 28 | Utility Manhole/Vault |
| W3 | near Jefferson & Onnes | Utility Manhole/Vault |

- Designations

| Type of Space | Designator |
| --- | --- |
| Buildings | B - followed by the building number, hyphen, and then consecutive numbers starting with 1 |
| Communications Manholes | EMHC - followed by consecutive numbers starting with 1 |
| Electrical Power Manholes | EMH - followed by consecutive numbers starting with 1 |
| Lift Station-Sanitary Sewer | LS - followed by consecutive numbers starting with 1 |
| Lift Station-Storm Water | LW - followed by consecutive numbers starting with 1 |
| Mechanical Manholes | MMH - followed by consecutive numbers starting with 1 |
| Sanitary Sewer Manholes | SSMH - followed by consecutive numbers starting with 1 |
| Water Meter Vault | W - followed by consecutive numbers starting with 1 |
| Other Kinds of Vault | V - followed by consecutive numbers starting with 1 |
| Unverified means precise location or hazard potential has not been fully verified by Laboratory ESH&Q staff. |  |

- Revision Summary

Revision 1 - ##/##/## - Update to reflect current laboratory operations; annual review to maintain content

Revision 0 – 08/30/06 – Update to Web Version

|  | ISSUING AUTHORITY | TECHNICAL POINT-OF-CONTACT | APPROVAL DATE | EXPIRATION DATE | REV. |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | ESH&Q Division | John Kelly | 08/30/06 | Annual Review | 1 |  |

This document is controlled as an on line file.  It may be printed but the print copy is not a controlled document.  It is the user’s responsibility to ensure that the document is the same revision as the current on line file.  This copy was printed on 7/28/2026.