	[image: image7.png]


[image: image7.png]
	TITLE:
	ES&H Manual

	

	DOCUMENT ID:
	6160 Appendix T5
Confined Space Identification and Signage

	



	[image: image1.png]



	TITLE:
	ES&H Manual

	

	DOCUMENT ID:
	6160 Appendix T5
Permit-Required Confined Space (PRCS) Identification and Signage

	


DRAFT

	At Jefferson Lab a Confined Space Entry (CSE) Permit is considered to be a Work Control Document and thus a Standard Protecting Measure.  Only when all hazard issues associated with the PRCS and the work activity are acknowledged and mitigated, in accordance with this program, can the area’s associated Risk Code be considered < 2.  At a minimum, all work requiring entry into a PRCS is discussed with the entry supervisor prior to commencement.  

A formal Task Hazard Analysis and Operational Safety Procedure is required for work considered to be Risk Code >2 in accordance with ES&H Manual Chapter 3210 Work Planning, Control, and Authorization Process.


1.0 Purpose
Jefferson Lab identifies areas that qualify as Permit-Required Confined Space (PRCS) using the Facility Design and Modification Review (see ES&H Manual Chapter 3110 Facility Design and Modification Review).  This appendix describes: 
· Typical area signage; and 
· How to update, repair and maintain signage. 

2.0 Scope
This appendix does not apply to sewer manholes, wastewater pump pits, or similar areas.  For information on posting and entry requirements for these areas contact the Confined Space Coordinator.
The process steps for this procedure are performed in coordination with ES&H Manual Chapter 6160 Confined Space Entry Program (Link to be established upon approval of document.)
3.0 Responsibilities

NOTE:
Management authority may be delegated at the discretion of the responsible manager.
3.1 Anyone at Jefferson Lab
· Request an area hazard evaluation from Industrial Hygiene for areas that meet or exceed the criteria of PRCS and is not properly identified.  
3.2 Supervisor/Subcontracting Officer’s Technical Representative (SOTR)/Sponsor
· Know the PRCSs under your authority ensure they are appropriately identified and secured.
3.3 Industrial Hygiene
· Perform a hazard evaluation and provide appropriate signage as required.

· Provide OSHA-prescribed confined space danger signs as requested.

4.0 Process Steps 
Unless otherwise stated, anyone at Jefferson Lab may perform the process steps outlined below.

4.1 Area Posting Requirements:

4.1.1 PRCSs 

The following signage or similar is posted at the entrances to all PRCSs:

[image: image2.png]Signs - 1998 Compliant.

Category Search on... | search...
Header <Pictograph> ..Message...

Sign [DANGER  <[None)> Permit Required. Confined Space. Do not enter. | A=
Language

1 English ~!

Size (Inches)

Letter |

Sign Format

PERMIT-REQUIRED
CONFINED SPACE
DO NOT ENTER.

(e)1968 MaxiSoft

Unresd 11 Totak 92
woLAM |

=N DR

1/11/2011




Entry into an area so labeled requires an approved Confined Space Entry Permit.  (See ES&H Manual Chapter 6160 Appendix T3 Confined Space Entry Permit) (Link to be established upon approval of document) 
4.2 Update, Repair, or Maintenance to Postings  

Anyone at Jefferson Lab may request new, update, repair, or maintenance to a posting for a PRCS, or confined space. 

· Contact Industrial Hygiene and state the posting or area needing review.

· If it is determined that the label is defective, the Industrial Hygiene will rectify the situation.

· If no hazard is found – Industrial Hygiene informs the concerned party(s) of the determination.

5.0 Revision Summary

Revision 0 – ##/##/## – This is new content.

[image: image4.png]Click
For Word Doc |






	
	ISSUING AUTHORITY
	TECHNICAL

POINT-OF-CONTACT
	APPROVAL DATE
	EXPIRATION DATE
	REV.
	

	
	ESH&Q Division
	John Kelly
	
	
	0
	


This document is controlled as an on-line file.  It may be printed but the print copy is not a controlled document.  It is the user’s responsibility to ensure that the document is the same revision as the current on line file.  This copy was printed on 5/9/2012.





















	
	ISSUING AUTHORITY
	TECHNICAL

POINT-OF-CONTACT
	APPROVAL DATE
	EXPIRATION DATE
	REV.
	Page 

1 of 4
	

	
	ESH&Q Division
	John Kelly
	
	
	0
	
	


This document is controlled as an on-line file.  It may be printed but the print copy is not a controlled document.  It is the user’s responsibility to ensure that the document is the same revision as the current on line file.  This copy was printed on 5/9/2012.
	
	ISSUING AUTHORITY
	TECHNICAL

POINT-OF-CONTACT
	APPROVAL DATE
	EXPIRATION DATE
	REV.
	Page 

2 of 4
	

	
	ESH&Q Division
	John Kelly
	
	
	0
	
	


This document is controlled as an on-line file.  It may be printed but the print copy is not a controlled document.  It is the user’s responsibility to ensure that the document is the same revision as the current on line file.  This copy was printed on 5/9/2012.

