|  | Electrical Equipment Safety Inspection (See ES&H Manual Chapter 6200 Appendix T1 Electrical Safety Inspection Procedure for Instructions) |  |
| --- | --- | --- |

| - Equipment/Installation Identification |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Equipment Description |  |  |  |  |  |  |  |  |  |
|  | Unique Identifier #: |  |  |  |  | Manufacturer: |  |  |  |  |
|  | Equipment Location: |  |  |  |  | Model Number: |  |  |  |  |
|  | Division: |  |  |  |  | Serial Number: |  |  |  |  |
|  | Equipment Owner: |  |  |  |  | JLAB Property #: |  |  |  |  |

IF THIS EQUIPMENT IS MODIFIED, DAMAGED, OR UTILIZED FOR OTHER THAN ITS INTENDED USE, AFTER THE INSPECTION DATE, APPROVAL IS VOID, PENDING RE-INSPECTION.

|  | *** To Be Completed by the Qualified Electrical Inspector*** |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | Equipment is: |  |  | Equipment requires: |  |  |  |
|  | Under Warranty: Yes No | AND | Approved Rejected | No Action | OR | Corrective Actions See 4.0 Equipment Inspection Summary Code Equivalency* |  |
|  |  |  |  | * Contact Jefferson Lab’s Electrical Authority Having Jurisdiction |  |  |  |
|  | Inspection Date: | Inspector Name: Inspector Signature: |  |  |  |  |  |

| - STANDARDS OR CODES used for the Inspection |  |  |
| --- | --- | --- |

| - INSPECTION CRITERIA |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Enclosure |  |  |  |  |  |  | Approve | N/A |  |
|  | Operator not exposed to any hazard |  |  |  |  |  |  |  |  |  |
|  | Not damaged |  |  |  |  |  |  |  |  |  |
|  | Appropriate material used |  |  |  |  |  |  |  |  |  |
|  | Protects contents from operating environment |  |  |  |  |  |  |  |  |  |
|  | Adequate shock protection (components well secured) |  |  |  |  |  |  |  |  |  |
|  | Will contain any arcs, sparks and electrical explosions |  |  |  |  |  |  |  |  |  |

|  | Power Source – Cord and Plug |  |  |  |  |  |  | Approve | N/A |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Proper voltage and ampacity for plug and cord |  |  |  |  |  |  |  |  |  |
|  | Grounding conductor included |  |  |  |  |  |  |  |  |  |
|  | Not frayed or damaged |  |  |  |  |  |  |  |  |  |
|  | Proper wiring of plug |  |  |  |  |  |  |  |  |  |
|  | Strain relief on cord |  |  |  |  |  |  |  |  |  |

|  | Power Source – Direct Wired |  |  |  |  |  |  | Approve | N/A |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Proper voltage and ampacity rating for wiring method |  |  |  |  |  |  |  |  |  |
|  | Installation according to the NEC |  |  |  |  |  |  |  |  |  |
|  | Proper loading and overcurrent protection in branch circuit |  |  |  |  |  |  |  |  |  |

|  | Foreign Power Supplies and Equipment |  |  |  |  |  |  | Approve | N/A |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Connected to facility power with appropriate adapters |  |  |  |  |  |  |  |  |  |
|  | Correct voltage, frequency and phasing |  |  |  |  |  |  |  |  |  |
|  | Correct wire ampacity for United States use |  |  |  |  |  |  |  |  |  |

|  | Grounding |  |  |  |  |  |  | Approve | N/A |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Ground is properly connected |  |  |  |  |  |  |  |  |  |
|  | All non-current carrying exposed metal is properly bonded |  |  |  |  |  |  |  |  |  |
|  | All non-current carrying internal subsystems are properly bonded |  |  |  |  |  |  |  |  |  |
|  | Equipment ground is run with circuit conductors |  |  |  |  |  |  |  |  |  |
|  | Auxiliary ground is permitted |  |  |  |  |  |  |  |  |  |

|  | Internal Wiring | Approve | N/A |  |
| --- | --- | --- | --- | --- |
|  | Polarity correct |  |  |  |
|  | Phasing correct |  |  |  |
|  | Landing of ground correct |  |  |  |
|  | Separate line / high voltage from low voltage |  |  |  |
|  | Wiring terminals and leads ok (no tension on terminals) |  |  |  |
|  | Proper wire size |  |  |  |
|  | No loose parts (mechanical bracing) |  |  |  |
|  | Proper overcurrent protection |  |  |  |

|  | Marking Requirements |  |  |  |  |  |  | Approve | N/A |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Power requirements (voltage, current, frequency) |  |  |  |  |  |  |  |  |  |
|  | Restrictions and limitations of use |  |  |  |  |  |  |  |  |  |
|  | Make, model and serial number |  |  |  |  |  |  |  |  |  |
|  | Hazards, including stored energy |  |  |  |  |  |  |  |  |  |
|  | Requirements for access (LTT, stored energy, PPE) |  |  |  |  |  |  |  |  |  |

|  | Test Performed |  |  |  |  |  |  | Approve | N/A |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Ground continuity |  |  |  |  |  |  |  |  |  |
|  | Leakage current to ground |  |  |  |  |  |  |  |  |  |
|  | Polarization of cord and plug |  |  |  |  |  |  |  |  |  |
|  | Functional tests (GFCI, Emergency shutoff) |  |  |  |  |  |  |  |  |  |
|  | Automatic discharge of high voltage capacitor |  |  |  |  |  |  |  |  |  |

|  | Other Issues |  |  |  |  |  |  | Approve | N/A |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Neat workmanship |  |  |  |  |  |  |  |  |  |
|  | Proper management of conductors |  |  |  |  |  |  |  |  |  |
|  | Free from sharp edges |  |  |  |  |  |  |  |  |  |
|  | Proper cooling (review equipment owner’s tests or analysis) |  |  |  |  |  |  |  |  |  |
|  | Switches and controls readily accessible |  |  |  |  |  |  |  |  |  |
|  | Any safety issues with access and maintenance |  |  |  |  |  |  |  |  |  |

|  | Secondary Hazards |  |  |  |  |  |  | Approve | N/A |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | RF hazards |  |  |  |  |  |  |  |  |  |
|  | DC electric or magnetic fields |  |  |  |  |  |  |  |  |  |
|  | IR, visible or UV |  |  |  |  |  |  |  |  |  |
|  | X-Rays |  |  |  |  |  |  |  |  |  |
|  | Fire or electrical explosion |  |  |  |  |  |  |  |  |  |

|  | Documentation |  |  |  |  |  |  | Approve | N/A |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Documentation adequate |  |  |  |  |  |  |  |  |  |
|  | Operating procedures |  |  |  |  |  |  |  |  |  |
|  | Training and qualifications requirements |  |  |  |  |  |  |  |  |  |

| - EQUIPMENT INSPECTION SUMMARY If rejected, include any corrective actions that need to be satisfied before rescheduling an inspection. |  |  |
| --- | --- | --- |

Distribution:  System Owner, Department Head

Form Revision Summary Revision 1.0  ##/##/## – Update to reflect current laboratory operations. Most notable: Department retain records of inspections. Revision 0 – 10/01/09 – Update to reflect current laboratory requirements. ISSUING AUTHORITY; TECHNICAL POINT-OF-CONTACT; APPROVAL DATE; REVIEW REQUIRED DATE; REV.. ESH&Q Division; Todd Kujawa; 10/01/09; 1.0. This document is controlled as an on line file. It may be printed but the print copy is not a controlled document. It is the user’s responsibility to ensure that the document is the same revision as the current on line file. This copy was printed on 7/28/2026.