- PURPOSE

The Jefferson Lab Electrical Safety Committee (ESC) is a technical resource used to identify and resolve electrical safety issues.

- MEMBERSHIP

ESC members represent all divisions at Jefferson Lab.  Division Safety Officers nominate representatives to the Laboratory Director who authorizes membership.  Members have the following minimum qualifications:

- Electrical engineering, electrical safety, or electrical research and development functions within their job descriptions.

- Possess knowledge of electrical safety through education or experience.

- Commitment to the broad electrical safety concerns of the laboratory and its employees.

Standing member of the ESC Include:

- The Jefferson Lab Electrical Authority Having Jurisdiction (EAHJ)

- The Jefferson Lab Electrical Safety Engineer

The ESC may invite advisors to attend and participate in committee discussions and activities, but these individuals do not have voting authority.

- RESPONSIBILITIES

  - Electrical Safety Committee (ESC) members

- Acting members nominate a Chair.

- When requested by the Electrical Safety Engineer, review draft occurrence reports relating to electrical issues.  Provide comments to facilitate the “root cause analysis” process.

- Monitor electrical codes and requirements.  Provide recommendations to the Electrical Safety Engineer to revise or renew electrical safety initiatives and programs.  Assist in developing, reviewing, and approving these programs and subsequent training.

  - National Fire Protection Association (NFPA) 70E,

  - NFPA 70 National Electric Code (NEC),

  - Occupational Safety and Health Administration (OSHA),

  - National Electrical Safety Code (NESC)

- Provide electrical safety incidents and lessons learned, whether from outside sources or within the laboratory, to the committee for review.  Offer determinations to the Jefferson Lab Lessons Learned Coordinator for appropriate distribution.

- Assist in the dissemination of Electrical Safety Committee business germane to individuals within their organization (e.g., Electrical Safety Code Equivalencies determinations).

  - ESC CHAIR

- Schedules regular meeting for acting members and guests.

- Represents the ESC at the Director’s Safety Council’s request.

- In case of absence, appoints a member of the committee to serve as Chair.

- Determines whether an issue requires a vote.

- OPERATIONAL GUIDELINES

  - AUTHORITY

The Laboratory Director authorizes the ESC to perform the responsibilities outlined within this charter.  The ESC reports to the Associate Director - ESH&Q.

  - VOTING

Each committee member has one vote.  A simple majority of acting members dictates a decision.

  - MEETINGS

A qualifying meeting of the ESC includes:

- Minimum attendance of a simple majority of acting members.

- EAHJ provides a report on electrical code clarification and equivalency requests for documentation into the ESC meeting minutes.

- Recorded meeting minutes.  These are made available to the committee members, the Associate Director – ESH&Q, invitees, and any others as deemed appropriate.

- APPROVAL

| Approved By: |  | Date: |  |
| --- | --- | --- | --- |
|  | Hugh Montgomery, Director |  |  |