Response to the second round of comments to g12 note. The comments are in bold, and answers are not.

- Monte Carlo simulation and efficiency.

1.1 Drift chamber wire efficiency map. It is not a good idea to keep data in 	private directory particularly if the owner is not around any longer. Please 	move it to some appropriate place, preferably under clasg12 account and also 	would be good idea to back them up to the silo.

The wire efficiency map is in the calibration database, and can be viewed interactively:https://userweb.jlab.org/~ungaro/maureepage/proj/dceff/dc_periods/g12.html. For bookkeeping purpose, the files are now located under the clasg12 directory.

1.2 The smearing parameters fro drift chambers seem to reproduce residuals. 	Show how simulated resolution matches resolution from the data. Compare 	simulated and experimental invariant mass and width of Ks. φ -meson is not 	a good choice because its mass is very close to sum of masses of 2 kaons.

In Figure 1, the mean and width of the Ks from g12 data (Left) and 	simulation (Right) are compared. The simulation reproduces the mass position 	of Ks exactly, and the width (resolution) is within 1MeV. Note that this particular 	simulation does not simulate the detached vertex. We think its fair to say that g12 	simulation procedures are sufficient to reproduce the data.

Figure 1: The mean and width of Kshort from g12 data (left) and simulation (right). The mass positions are dead on. The width from data is 5.4MeV, and the simulation 4.4MeV.

1.3 Dead area removal and efficiency. Fig. 2 of the response shows that there are 	differences between the simulation and the data. Compare 2D angular 	distributions θ − φ for γ p → pπ +π − from the simulation and the data of all 	three particles. Compare occupancies of DC and TOF as well.

The 2D angular distributions for proton, pi+ and pi-, are shown in Fig. 2, comparing the data (left) and simulation (right). The simulated employed both the g12 wire efficiency map, and TOF knockout (dead paddles and those that are unstable). The combined TOF knockout removes about 7% data for each track. The relative statistical uncertainty increase is small compared with the other systematic uncertainties. Overall, g12 simulation reproduces the dead regions faithfully. It should be noted that the simulation shown below is based on phase space, and as a result the particles populate the detectors differently. Any inefficiency in the data that is  not reproduced by the data, will be addressed by the efficiency correction map that has been derived by g12. A new map, with the TOF knockout applied, was already derived.

Figure 2: The  VS  angular distributions for  and proton, are shown in Fig. 2, comparing the data (left) and simulation (right), using the exlusive reaction of . The simulation was based on phase space.

2. Normalization

2.1 Flux. At the end of the flux section include final numbers for systematics       	associated with differences of tagging ratio and with the normalized yield 	stability. This number should be considered as the lower limit for 	normalization systematic uncertainty of any g12 analysis. We don’t 	understand the first paragraph of 4.3 what is 0.5% and what is 10%

2.2 Table 26 shows Normalization uncertainty of 1.8%. Where is this number 		 came from?? It is too good to be true.

Comments 2.1 and 2.2 are related. The 1.8% normalization uncertainty shown in 	Table 26 is incorrect and indeed too good to be true as pointed out. The g12 	overall normalization uncertainty is about 5.7%, derived from the difference 	between the normalized yields of omega using two current settings (60nA 	and 	65nA) the had the bulk of the g12 data. All g12 cross section measurement 	need to use this as the lower limit of the normalization uncertainty. (The 0.5% and 	10% in the first paragraph of 4.3 is simply based on the fitting results of Fig. 81 in 	the note. That graph shows, within uncertainty, g12 did not have high inefficiency 	we need to correct for at production current. ) The note is modified accordingly.

2.3  Target. You did not answer question about target length and thermal 	contraction. You only discuss density. In addition to the target density you 	also need the target length. You still list it as 40 cm. 40 cm is the length 	measured at room temp. When it is filled with liquid hydrogen it contracts 	by something around 0.6%. You must account for this contraction unless you 	apply cuts smaller than the actual length. Take a look at eg2 note: 	https://userweb.jlab.org/~xiaochao/eg2/main_072503.ps  Also, if your vertex 	cut is larger than the size of the cell do you subtract a background from the 	target cell walls?

The eg2 study is obviously very well done. We will adopt their overall results 	of 1% uncertainty related to target (density, length, contraction, etc.) We do 	not see that there is any statistical significant data from the target cell walls, 	and do not subtract a background from the target cell walls.

2.4 ω cross sections. Show angular distributions in log scale. Also show  	comparison between g12 and g11 as a ratio of cross sections.

The angular distrubtions for are shown in Fig. 3 and Fig. 4, in log scale.  It is 	clear that g12 is consistently higher than g11 at the last four energy bins. We 	compared the results from the two experiments separately (in Fig. 5). It is 	clear 	that the g11 results had a suddent drop at 3.4 GeV and above, by about 	a 	factor of two or more. At the same time, the decrease of the cross sections 	in g11 	is more smooth and there is not sudden drop, at the same higher 	energy bins. 	This would suggest that the g12 results should be more credible at the higher 	energy bins. In addition, the g12 efficiency correction map that is dependent 	on vertex, momentum and angles are a dynamic correction, that resulted in an 	overall correction on the order of 15% similar to what g11 had. However, it is 	energy and kinematics dependent. That there would be certain disagreement 	between g11 	andg12 should be expected. Noting that all plots in Fig 3 to Fig 8 	only included statistical uncertainty, it is safe to conclude that the overall 	procedure in g12 cross sections measurements are sound and adequate. We 	suggest that the finer details of each analysis be left for the individual review, 	instead of the overall g12 group review. The ratio of the results from g12 and g11 	are shown in Fig. 6 and 7. All of the ratios are plotted in Fig. 8 (excluding the last 	four energy bins from E 3.6 to 3.8 GeV)

Figure 3: Angular distributions (CM frame) for  cross sections, for E range of 1.55 to 2.7GeV. g12 results are in black compared with g11 (red). Only statistical uncertainties are included.

Figure 4: Angular distributions (CM frame) for  cross sections, for E range of 2.75 to 3.8 GeV. g12 results are in black compared with g11 (red). Only statistical uncertainties are included.

Figure 5: Angular distributions (CM frame) for  cross sections, for E range of 3.35 to 3.8 GeV. Results from g12 are shown on the left, showing smooth transitions. Results from g11 are on the right, showing a sudden drop at 3.6GeV.

Figure 6: The ratios of the cross sections from g12 to g11, shown as a function of CM angles, for E range of 1.55 to 2.7 GeV.

Figure 7: The ratios of the cross sections from g12 to g11, shown as a function of CM angles, for E range of 2.75 to 3.8 GeV.

Figure 8: The ratios of the cross sections from g12 to g11, excluding the higher  energy bins (3.6-3.8GeV). The mean of the ratio is 1.06, indicating a 6% difference, without including any systematic uncertainties.

3. Lepton ID. We can approve the procedure applicable only to lepton pairs. For single lepton the ID cuts should be more strict.

We agree. 
4. Momentum correction. The section is still somewhat ambiguous. Needs clarification.

Need Johann on this