Flow Instrument Service Request

804 Newcombe Ave

Hampton, VA 23669      Tel: 757-723-6531          www.teledyne_service.com

COMPANY NAME:     JSA Jefferson Lab

NAME REQUIRED ON DATA SHEET:

| Billing address: 628 Hofstadter Rd. Suite 5 Newport News, VA 23606 Taxable: YES ( ) NO ( X ) (If “NO” submit tax exemption form) | Shipping address: 12000 Jefferson Ave. Newport News, VA 23606 Will Drop-off & Pick-up locally Preferred shipping method: Local Drop-Off Acct. #: |  |
| --- | --- | --- |

Will this equipment be exported out of the U.S.A.?   YES (  )    NO (  )   (If “YES” request the required HASTINGS “End Use Certification” Form 193)

Tech. Contact:         Scot Spiegel

E-Mail:		     spiegel@jlab.org

Fax:                           N/A

Purch. Contact:       Barbara Rice           Original P.O.# 15-P1418-0     Dated:18-Aug-2015

Tel:                            757-269-7238

Fax:

E-Mail:                      brice@jlab.org

Model Number:       HFC-203(H)

Serial Number:       0153627001

Flow Rate**:          150 SLPM

Gas:                              Helium

Ref Temp (STP):     25 Deg. C

Upstream Pressure:              1.3 Atm.       (19.11 psia)

Downstream Pressure:        1.2 Atm.       (17.64 psia)

Warranty Claim? NO (   )  YES ( X ) Explain:

Service Options (QUOTE WILL BE BASED UPON MODEL NUMBER AND SERVICE OPTIONS  CHECKED BELOW) :

( X )  Repair

( X )  Calibrate (5 points/ NIST traceable)

(    )  Calibrate (10 points/ NIST traceable)

(    )  As Found Data   (data sheet with readings taken before any adjustments are made)

(    )  Calibrate (manual w/specified data points). List data points:

(    )  Evaluate and Advise

(    )  Re-range to a new/different flow range (note the new/required flow range in “Flow Rate**” fields above)

(    )  Return for credit (restocking fee may apply)

(    )  Clean for oxygen service (O2 Clean)

(    )  NIST backup documentation (NIST traceable calibration certificates for all test equipment used)

(    )  1000 PSIG working pressure/proof pressure test to 1500 psig.

Any additional details or specifics:     Flow controller did not work upon initial start-up. Will not flow GHe for any selected flow

range up to 150 SLPM.  Read-back output not reading correctly.  Configured for Normally

Open upon power loss.

ANY HAZARDOUS SUBSTANCES must be purged, cleaned and deemed safe to handle. In view of the toxic/hazardous nature of some of the gases and vapors handled by the equipment we sell, a customer/user’s statement is required advising us that the equipment returned for service is deemed safe.  Any equipment arriving at Teledyne Hastings, which does not have a signed statement on file, will not be accepted and may be returned to sender “as is”.

The following statement MUST be signed and dated AND the “Yes” or “No” block checked or your equipment will not be received for service and may be returned to sender “as is”).

Has this equipment been used with hazardous material?  NO ( X  )   or    YES (    )

If yes, please provide complete details:

I declare that this equipment is clean and is safe to handle.

Signature:   Scot Spiegel

Date:   08-21-2017

Products exposed to radioactive material will not be accepted by Teledyne Hastings Instruments under ANY circumstances.

PAYMENT INFORMATION:     VISA

Purchase Order Number:  Credit Card Order

Credit Card:

Credit Card number:

Exp. Date:

Name as it appears on the card:

Security code:

New Customer:

If you are a new customer, and you would like to set up an “open terms” account (domestic only), please e-mail or fax your bank information, 3 trade references, accounting contact, and tax status (exemption certificate if applicable).

NOTE: All Repaired / Recalibrated or evaluated equipment will be serviced according to Teledyne Hastings Terms and conditions.  These terms and conditions are listed at Website http://www.teledyne-hi.com/terms&conditions.htm These Terms and Conditions are noted as part of our acknowledgement.  Receipt of your equipment for service will indicate your acceptance of Teledyne Hastings Terms and Conditions.    Non-repairable equipment that is scrapped (per customer request) or returned “as is”, will be subject to $95.00 evaluation fee.

Return completed form to:

Email: Hastings_service@teledyne.com

Fax:  757- 723-3925

Once processed you will receive a RMA number, a price quote, shipping instructions, and estimated turnaround time.