| QUOTATION Quote Reference Number: # WBH15-03-23-06 |  |  |
| --- | --- | --- |
| Teledyne Hastings Instruments Phone: 1-800-950-2468 or 757-723-6531 www.teledyne-hi.com Fax: 757-723-3925 hastings_instruments@teledyne.com |  | Date: 03/23/2015 |
| Remit To Address: 12497 Collections Center Drive Chicago, Il 60693 | Shipping Address: 804 Newcombe Ave. Hampton, VA 23669-4539 | Mailing Address: 804 Newcombe Ave. Hampton, VA 23669-4539 |

| ## To: | Joshua Ballard Jefferson Lab 12000 Jefferson Ave. Newport News Virginia 23606 Phone: 757-269-7489 Fax: Email: ballard@jlab.org | Local Manufacturers Representative: Factory Domestic |
| --- | --- | --- |

| - salesperson | - Account Number | shipping method | - Validity | - shipping | payment terms | - F.O.B. |
| --- | --- | --- | --- | --- | --- | --- |
| Will Harrison |  | Federal Express | 60 days | 25 business days AOA | 60 days net | Ex-factory Hampton, VA USA |

| - qty | - Stock # | - Model Number | - DESCRIPTION | - Unit price | - line total |
| --- | --- | --- | --- | --- | --- |
| 2 | HFC-203 | HFC-203(H) Circuit Board Output HFC-203(H) Fittings HFC-203 O-Rings Valve Bonnet Valve Seat Working Pressure Calibration Type | Mass Flow Controller Range: 0 to 150 slm of helium Reference: STP at 0°C and 760 Torr Upstream Pressure: 1.3 ATM absolute (19.11 psia) Downstream Pressure: 1.2 ATM absolute ( 17.64 psia) (03) 24 VDC Input Power (03) 4 -20 mA I/O (10) ¾”" VCO (01) Viton (Standard) (01) Standard (HFC-203 only) (01) Viton & Teflon (Standard) (01) 500 psig (Standard) (01) 5 Point NIST Calibration Note: The control valve will be configured for normally open with loss of power. | $2,756.00 | $5,512.00 |
|  |  | - Tax** |  |  |  |
|  |  | - Total |  |  | $5,512.00 |

This is a quotation on the goods named, subject to the conditions noted below: - Seller’s Offer, and any order issued by Buyer to Seller for the goods and/or services specified herein, is strictly limited to Seller’s Terms and Conditions of Sale, which can be found at http://www.teledyne-hi.com/pdfs/terms&conditions_of_sale.pdf All orders should meet the minimum of $250.00 - **All orders are subject to applicable sales tax unless you provide or have on file, a valid Tax Exempt Certificate **

Thank you for your business!