## Rel to Acc
LINE/HALL D Primex 2022 SURVEY REPORT
Note: The as set offsets are relative to the machine coordinate used for alignment. A +X is to the beam left, +Z is downstream, +Y is above. A + yaw angle is ccw looking from above, a + pitch angle is ccw looking from the beam right side, and a + roll angle is cw looking from upstream.
DISCRIPTION | COMPONENT | DWG IDEAL | Measured MACHINE COORDINATE(M) |  |  |  |  | DELTA ANGLE (DEG) |  | ENCODER/STEP COUNT
|  | Z | Z | X |  | Y | YAW | PITCH | ROLL | V WIRE | H WIRE | TGT1 | TGT2 | TGT3
BPMBOX US TAGGER SHIELD WALL | PM5C11A |  | 283.514 | 80.5999 | 0.000184 | 104.7002 | -0.00344 | -0.00802 | 0.02005
BPMBOX DS TAGGER SHIELD WALL | PM5C11C |  | 297.819 | 80.6 | -9e-06 | 104.7 | 0.00372 | 0.00201 | -0.01003
TAGGER GONIOMETER FOIL | TAGGON |  | 299.0824 | See "Goni Foils-Diamonds" sheet in this file | -8.9e-05 |  |  |  |  | Hovanes has data for each diamond and foil
GONIOMETER DIAMONDS |  |  | 299.1071 | [6 empty] | see "Goni Foils-Diamonds" Sheet
AMORPHOUS RADIATOR | TAGRAD |  | 299.7141 | 80.6003 | 6.34 | 104.6995 | -0.1378 | -0.00888 | 0.00888 | 5565.55 | 10259.55 | 17143.525 | 20945.125 | 24749.35
TAGGER QUAD (MQPAD00) |  |  | 300.1649 | 80.6 |  | 104.6996 | 0.01003 | 0.02636 | -0.01003
TAGGER MAGNET - pole center | HDTAGG |  | 305.3884 | 80.3023 | -0.57007 | 104.6994 | -6.4992 | 0.0034 | -0.0003
TAGGER MAGNET - Pole entrance |  |  | 302.2865
HODOSCOPE PLT1 US BR TOP | HODPL1 |  | 303.0992 | 79.7182 | -0.000275 | 104.7711 | -8.0347 | -0.00044517 | level
HODOSCOPE PLT2 US BR TOP | HODPL2 |  | 304.3873 | 79.5361 | -0.000175 | 104.7711 | -8.0322 | 0.0013437 | level
HODOSCOPE PLT3 US BR TOP | HODPL3 |  | 305.6706 | 79.3546 | 0 | 104.7713 | -8.0555 | -0.015098 | level
HODOSCOPE PLT4 US BR TOP | HODPL4 |  | 306.6631 | 79.2136 | 7.5e-05 | 104.7709 | -8.0528 | -0.011033 | level
HODOSCOPE PLT5 US BR TOP | HODPL5 |  | 307.7065 | 79.0672 | -0.000225 | 104.7707 | -8.0896 | -0.026098 | level
HODOSCOPE PLT6 US BR TOP | HODPL6 |  | 308.8995 | 78.8978 | -0.0005 | 104.7707 | -8.0664 | -0.026525 | level
HODOSCOPE PLT7 US BR TOP | HODPL7 |  | 310.1435 | 78.7218 | 0.00045 | 104.7699 | -8.0432 | -0.0066372 | level
HODOSCOPE PLT8 US BR TOP | HODPL8 |  | 311.5637 | 78.5259 | 0.000125 | 104.7703 | -8.0436 | -0.016094 | level
TAGGER MICROSCOPE US CENTER | HDMICR |  | 306.5237 | 79.4337 | -0.91004 | 104.6979 | -8.0687 | -0.0244 | -0.0954
COLLIMATOR CAVE PROFILER |  |  | 374.286 | 80.5999 | 0.000476 | 104.6999 | -0.1755 | -0.0228 | -0.005
COLLIMATOR CAVE 5mm HOLE COLLIMATOR | MCOAD01 |  | 374.4854 | 80.6 | 104.7 | 104.7001 | 0 | -0.0052 | -0.0063
COLLIMATOR CAVE 2ND COLLIMATOR | MCOAD02 |  | 380.3724 | 80.6 | -0.88995 | 104.7 | -0.00917 | 0.01833 | 0.01146
COLLIMATOR CAVE SWEEPER MAGNET 1 | MSWAD01 |  | 376.7837 | 80.5999 | -9e-06 | 104.7 | 0.00057 | 0.00487 | -0.02951
COLLIMATOR CAVE SWEEPER MAGNET 2 | MSWAD02 |  | 381.1392 | 80.6 | 3.2e-05 | 104.7 | 0.01003 | 0.02607 | 0.02722
POLARIMETER | HDPOLR |  | 383.0625 | 80.6 |  | 104.7 | 0.02722 | 0.00716 | 0.01146
PHOTON BEAM HARP | HDPBHA |  | 385.2307 | 80.6 | -0.12002 | 104.7 | -0.01261 | -0.02263 | 0.00745 | 5270 | 10002 | 16845 | 20638 | 24431
PAIR SPECTROMETER MAGNET | HDPRSP |  | 386.7675 | 80.5999 | 0.17991 | 104.7 | 0.00315 | 0.01719 | -0.00029
RIGHT HIGH GRANULARITY DETECTOR | HGDETR |  | 389.6951 | 80.3613 | 104.7 | 104.7005 | -4.6883 | -0.00229 | 0.0149
LEFT HIGH GRANULARITY DETECTOR | HGDETL |  | 389.6948 | 80.8384 | 104.7002 | 104.7005 | 4.678 | -0.0063 | 0.01203
RIGHT LOW GRANULARITY DET USBR | LGDETR |  | 390.1848 | 80.325 | 0.18168 | 104.7033 | -4.8093 | 0.00859 | 0.08193
LEFT LOW GRANULARITY DET USBL | LGDETL |  | 390.1841 | 80.8748 | 0.18208 | 104.7013 | 4.6688 | -0.05185 | -0.08394
SOLENOID (GEOMETRIC CENTER) | HDSOL_ |  | 400.0282 | 80.6 | 6.0599 | 104.7 | 0.02063 | 0.01432 | 0.00344 | [6 empty] | 400.0286 | 0.000385
Solenoid US steel face |  |  | 397.631 | 80.5992 |  | 104.6994 | [8 empty] | -2.3972 | 397.6306 | -0.0004 | 2.398
Solenoid DS steel face |  |  | 402.4254 | 80.6009 |  | 104.7006 | [8 empty] | 2.3972 | 402.4265 | 0.00117 | 2.398
BARREL CALORIMETER (Sept 2013) | HDBCAL |  | 400.2565 | 80.601 | 6.109 | 104.699 | 0.01633 | 0.0424 | 0.00458
N/A
Hydrogen Target | HDLH(warm) |  | 398.7894 | 80.5999 | 0.17992 | 104.7 | 0.00344 | 0.00573 | -0.02521
N/A
Scattering chamber DS window |  |  | 398.9836 | 80.6013 |  | 104.702 | 0.09584 | 0.08323 | -0.0155
START COUNTER US FACE US FLANGE | HDSTRT |  | 398.4372 |  | 0.00123
START COUNTER US FACE SCINTILLATOR |  |  | 398.5245 | 80.5999 | 0.00123 | 104.699 | 0.16084 | 0.22433
START COUNTER DS FACE SCINTILLATOR |  |  | 399.1096 | 80.6015 | -0.00044 | 104.7013
FDC centerline of detector | HDFDC |  | 400.7394 | 80.5991 |  | 104.6992 | 0.0375 | 0.0192 | -0.0126
FDC Package 1 center | HDFDC-CL1 |  | 399.9602 | 80.599 |  | 104.6993 | 0.0401 | 0.0126 | -0.0126
FDC Package 2 center | HDFDC-CL2 |  | 400.546 | 80.5994 |  | 104.6993 | 0.0458 | -0.0501 | -0.0312
FDC Package 3 center | HDFDC-CL3 |  | 401.1317 | 80.6 |  | 104.6997 | 0.0309 | -0.0456 | -0.0106
FDC Package 4 center | HDFDC-CL4 |  | 401.5186 | 80.6003 |  | 104.6996 | 0.006 | 0.1169 | 0.0083
CENTRAL DRIFT CHAMBER (active center) | HD_CDC |  | 399.0648 | 80.6 | 6.4097 | 104.6992 | 0.014 | -0.004 | 0.0556
CDC projected US active area |  |  | 398.3148 | 80.5998 |  | 104.6992
CDC projected DS active area |  |  | 399.8148 | 80.6002 |  | 104.6991
FORWARD CALORIMETER FCAL2 | HDFCAL |  | 404.3889 | 80.6021 | 0.17998 | 104.6998 | -0.03151 | 0.02979 | 0.02578
TIME OF FLIGHT | HDFTOF |  | 404.1923 | 80.5983 | 0.17998 | 104.6989 | -0.08537 | 0.41368 | -0.10829
GEM Cathode Frame Upper and inner edges |  |  | 403.4319 | 80.52 |  | 104.3887 | -0.086 | 0.3266 | -0.0044
N/A
TAC (crystal blocks US face) | HDTAC |  | 414.4326 | 80.6 |  | 104.7 |  | level
Lower DIRC Bottom Bbox | LDIRC1 |  | 403.9818 | 80.6069 |  | 103.8834 | -0.12319 | -0.08308 | 0.03667
Lower DIRC Top Bbox | LDIRC2 |  | 403.9826 | 80.6058 |  | 104.3981 | -0.11431 | -0.24179 | 0.03008
Lower DIRC Mirror box BR | DIRCBRMB |  | 403.9438 | 77.5863 |  | 104.3965 | -0.20398 | -0.2882 | 0.07105
Upper DIRC Bottom Bbox | DIRC3 |  | 403.9837 | 80.6023 |  | 105.0014 | -0.08766 | -0.17561 | -0.00831
Upper DIRC Top Bbox | DIRC4 |  | 403.9853 | 80.6051 |  | 105.5162 | -0.0997 | -0.19108 | -0.01576
Upper DIRC Mirror Box BL | DIRCBLMB |  | 403.9592 | 83.623 |  | 105.5147 | -0.07993 | -0.20082 | -0.12319
Hall D 0,0 point |  |  | 398.139 | 80.6 |  | 104.7
1/4 GEM istalled as to not interfere with eCAL
FDC/CDC re-surveyed after 2023 run
Items surveyed prior to run: FDC, CDC, ALL Hodo plates, Microscope ( 2mm low on purpose), DIRC, New TAC, Target (SC by known offsets), Profiler, Primary collimator, Pair Spec High and Low gran, Goniometer,FCAL2, TOF
New Profiler installed

## Rel to Goni
LINE/HALL D Primex 2022 SURVEY REPORT
Note: The as set offsets are relative to the machine coordinate used for alignment. A +X is to the beam left, +Z is downstream, +Y is above. A + yaw angle is ccw looking from above, a + pitch angle is ccw looking from the beam right side, and a + roll angle is cw looking from upstream.
All Z points relative to the current as found foil Z position
X and Y points are relative to the theoretical beam centerline
DISCRIPTION | COMPONENT | MACHINE COORDINATE(M) |  |  |  |  | DELTA ANGLE (DEG) |  | ENCODER/STEP COUNT
|  | Z | X |  | Y | YAW | PITCH | ROLL | V WIRE | H WIRE | TGT1 | TGT2 | TGT3
BPMBOX US TAGGER SHIELD WALL | PM5C11A | -15.5931 | -9e-05 | 0.000184 | 0.000184 | -0.00344 | -0.00802 | 0.02005
BPMBOX DS TAGGER SHIELD WALL | PM5C11C | -1.2881 | 2e-05 | -9e-06 | -9e-06 | 0.00372 | 0.00201 | -0.01003
TAGGER GONIOMETER FOIL | TAGGON | -0.02471 |  | -8.9e-05
GONIOMETER DIAMONDS |  | 0
AMORPHOUS RADIATOR | TAGRAD | 0.60701 | 0.00026 | 6.34 | -0.00047 | 0.0043 | 0.02836 | -0.00602 | 5565.55 | 10259.55 | 17143.525 | 20945.125 | 24749.35
TAGGER QUAD (MQPAD00) |  | 1.0578
TAGGER MAGNET | HDTAGG | 6.2813 | -0.29767 | -0.57007 | -0.00063 | -6.5004 | 0.00344 | -0.00086
TAGGER MAGNET - Pole entrance |  | 3.1794
HODOSCOPE PLT1 US BR TOP | HODPL1 | 3.9921 | -0.88183 | -0.000275 | 0.07113 | -8.0347 | -0.00044517 | level
HODOSCOPE PLT2 US BR TOP | HODPL2 | 5.2802 | -1.0639 | -0.000175 | 0.07108 | -8.0322 | 0.0013437 | level
HODOSCOPE PLT3 US BR TOP | HODPL3 | 6.5635 | -1.2454 | 0 | 0.07128 | -8.0555 | -0.015098 | level
HODOSCOPE PLT4 US BR TOP | HODPL4 | 7.556 | -1.3864 | 7.5e-05 | 0.07086 | -8.0528 | -0.011033 | level
HODOSCOPE PLT5 US BR TOP | HODPL5 | 8.5994 | -1.5328 | -0.000225 | 0.07069 | -8.0896 | -0.026098 | level
HODOSCOPE PLT6 US BR TOP | HODPL6 | 9.7923 | -1.7022 | -0.0005 | 0.07073 | -8.0664 | -0.026525 | level
HODOSCOPE PLT7 US BR TOP | HODPL7 | 11.0364 | -1.8782 | 0.00045 | 0.06995 | -8.0432 | -0.0066372 | level
HODOSCOPE PLT8 US BR TOP | HODPL8 | 12.4566 | -2.0741 | 0.000125 | 0.0703 | -8.0436 | -0.016094 | level
TAGGER MICROSCOPE US CENTER | HDMICR | 7.4166 | -1.1663 | -0.91004 | -0.00206 | -8.0687 | -0.0244 | -0.0954
COLLIMATOR CAVE PROFILER |  | 75.1789 | -0.00013 | 0.000476 | -6e-05 | -0.1755 | -0.0228 | -0.005
COLLIMATOR CAVE 5mm HOLE COLLIMATOR | MCOAD01 | 75.3783 | -1e-05 | -0.89004 | 9e-05 | 0 | -0.0052 | -0.0063
COLLIMATOR CAVE 2ND COLLIMATOR | MCOAD02 | 81.2653 | 3e-05 | -0.88995 | -1e-05 | -0.02063 | 0.01375 | 0.01547
COLLIMATOR CAVE SWEEPER MAGNET 1 | MSWAD01 | 77.6765 | -9e-05 | -9e-06 | -5e-05 | -0.00086 | 0.00315 | 0.02865
COLLIMATOR CAVE SWEEPER MAGNET 2 | MSWAD02 | 82.0321 | 3e-05 | 3.2e-05 | 1e-05 | -0.00773 | 0.02034 | -0.00544
POLARIMETER |  | 83.9554 | 5e-05 | -0.12002 | 1e-05
PHOTON BEAM HARP | HDPBHA | 86.1236 | 4e-05 | -0.12002 | -2.4e-05 | -0.01261 | -0.02263 | 0.00745 | 5270 | 10002 | 16845 | 20638 | 24431
PAIR SPECTROMETER MAGNET | HDPRSP | 87.6604 | -0.00014 | 0.17991 | 1e-05 | -0.00115 | 0.00859 | 0.00057
RIGHT HIGH GRANULARITY DETECTOR | HGDETR | 90.588 | -0.23873 | 0.18153 | 0.00052 | -4.6883 | -0.00229 | 0.0149
LEFT HIGH GRANULARITY DETECTOR | HGDETL | 90.5877 | 0.23839 | 0.18081 | 0.00053 | 4.678 | -0.0063 | 0.01203
RIGHT LOW GRANULARITY DET USBL | LGDETR | 91.0777 | -0.27498 | 0.18168 | 0.0033 | -4.8093 | 0.00859 | 0.08193
LEFT LOW GRANULARITY DET USBR | LGDETL | 91.077 | 0.27478 | 0.18208 | 0.00134 | 4.6688 | -0.05185 | -0.08394
SOLENOID (GEOMETRIC CENTER) | HDSOL_ | 100.9211 | 2e-05 | 6.0599 | 0
Solenoid US steel face |  | 98.5239 | -0.0008431 | 6.109 | -0.00059911
Solenoid DS steel face |  | 103.3182 | 0.0008831 | 0.17992 | 0.00059911
BARREL CALORIMETER (Sept 2013) | HDBCAL | 101.1494 | 0.00103 | 6.109 | -0.00098 | 0.01633 | 0.0424 | 0.00458
N/A |  | #VALUE! | #VALUE! | 0 | #VALUE!
Hydrogen Target | HTAR | 99.6823 | -9e-05 | 0.17992 | 0 | 0.00344 | 0.00573 | -0.02521
N/A |  | #VALUE! | #VALUE! | 0 | #VALUE!
Scattering chamber DS window |  | 99.8765 | 0.0012783 | 0 | 0.0020251
START COUNTER US FACE US FLANGE | HDSTRT | 99.33 |  | 0.00123 |  |  | 0.10639 | -11.25
START COUNTER US FACE SCINTILLATOR |  | 99.4173 | -0.00011386 | 0.00123 | -0.0010375
START COUNTER DS FACESCINTILLATOR |  | 100.0024 | 0.0015286 | -0.00044 | 0.0012533
FDC centerline of detector | HDFDC | 101.6322 | -0.00085 | #REF! | -0.0008 | 0.0375 | 0.0192 | -0.0126
FDC Package 1 center |  | 100.8531 | -0.00098 | #REF! | -0.00069 | 0.0401 | 0.0126 | -0.0126
FDC Package 2 center |  | 101.4389 | -0.00063 | 6.4097 | -0.0007 | 0.0458 | -0.0501 | -0.0312
FDC Package 3 center |  | 102.0246 | -5e-05 | 0.17998 | -0.0003 | 0.0309 | -0.0456 | -0.0106
FDC Package 4 center |  | 102.4115 | 0.0003 | 0.18225 | -0.00041 | 0.006 | 0.1169 | 0.0083
CENTRAL DRIFT CHAMBER | HD_CDC | 99.9576 | -1e-05 | 6.4097 | -0.00085 | 0.014 | -0.004 | 0.0556
CDC US active area |  | 99.2076 | -0.00019325 | 0.17998 | -0.00079764
CDC DS active area |  | 100.7076 | 0.00017325 | 0.18225 | -0.00090236
FORWARD CALORIMETER | HDFCAL | 105.2818 | 0.00212 | 0.17998 | -0.00021 | -0.03151 | 0.02979 | 0.02578
FORWARD TIME OF FLIGHT | HDFTOF | 105.0851 | -0.00168 | 0.18225 | -0.00105 | -0.08537 | 0.41368 | -0.10829
GEM Cathode Frame Upper and inner edges |  | 104.3248 | -0.08 | 0 | -0.3113 | -0.086 | 0.3266 | -0.0044
N/A |  | #VALUE! | #VALUE! | 0 | #VALUE! | 0 | 0 | 0
TAC (crystal blocks US face) | HDTAC | 115.3255 | 4e-05 | 0 | -1e-05 |  | level
Lower DIRC Bottom Bbox 1 | LDIRC1 | 104.8747 | 0.00695 | 0 | -0.81662 | -0.12319 | -0.08308 | 0.03667
Lower DIRC Top Bbox 2 | LDIRC2 | 104.8755 | 0.00583 | 0 | -0.30188 | -0.11431 | -0.24179 | 0.03008
Lower DIRC Optical box | DIRCBRMB | 104.8367 | -3.0137 | 0 | -0.30352 | -0.20398 | -0.2882 | 0.07105
Upper DIRC Bottom Bbox | DIRC3 | 104.8766 | 0.00229 | 0 | 0.30136 | -0.08766 | -0.17561 | -0.00831
Upper DIRC Top Bbox | DIRC4 | 104.8781 | 0.00506 | 0 | 0.81623 | -0.0997 | -0.19108 | -0.01576
Upper DIRC Mirror Box | DIRCBLMB | 104.8521 | 3.023 | 0 | 0.81467 | -0.07993 | -0.20082 | -0.12319
Hall D 0,0 point |  | 398.139 | 80.6 |  | 104.7
1/4 GEM istalled as to not interfere with eCAL
FDC/CDC re-surveyed after 2023 run | Goni Z | 299.1071
Items surveyed prior to run: FDC, CDC, ALL Hodo plates, Microscope ( 2mm low on purpose), DIRC, New TAC, Target (SC by known offsets), Profiler, Primary collimator, Pair Spec High and Low gran, Goniometer,FCAL2, TOF
New Profiler installed

## Rel to HD 0,0
LINE/HALL D Primex 2022 SURVEY REPORT
Note: The as set offsets are relative to the machine coordinate used for alignment. A +X is to the beam left, +Z is downstream, +Y is above. A + yaw angle is ccw looking from above, a + pitch angle is ccw looking from the beam right side, and a + roll angle is cw looking from upstream. All coordinates are to the component center unless otherwise specified.
DISCRIPTION | COMPONENT | MACHINE COORDINATE(M) |  |  |  |  | DELTA ANGLE (DEG) |  | ENCODER/STEP COUNT
|  | Z | X |  | Y | YAW | PITCH | ROLL | V WIRE | H WIRE | TGT1 | TGT2 | TGT3
BPMBOX US TAGGER SHIELD WALL | PM5C11A | -114.625 | -9e-05 | 0.000184 | 0.000184 | -0.00344 | -0.00802 | 0.02005
BPMBOX DS TAGGER SHIELD WALL | PM5C11C | -100.32 | 2e-05 | -9e-06 | -9e-06 | 0.00372 | 0.00201 | -0.01003
TAGGER GONIOMETER FOIL | TAGGON | -99.0566 |  | -8.9e-05
GONIOMETER DIAMONDS |  | -99.0319
AMORPHOUS RADIATOR | TAGRAD | -98.4249 | 0.00026 | 6.34 | -0.00047 | 0.0043 | 0.02836 | -0.00602 | 5565.55 | 10259.55 | 17143.525 | 20945.125 | 24749.35
TAGGER QUAD (MQPAD00) |  | -97.9741
TAGGER MAGNET (pole center) | HDTAGG | -92.7506 | -0.29767 | -0.57007 | -0.00063 | -6.5004 | 0.00344 | -0.00086
TAGGER MAGNET - Pole entrance |  | -95.8525
HODOSCOPE PLT1 US BR TOP | HODPL1 | -95.0398 | -0.88183 | -0.000275 | 0.07113 | -8.0347 | -0.00044517 | level
HODOSCOPE PLT2 US BR TOP | HODPL2 | -93.7517 | -1.0639 | -0.000175 | 0.07108 | -8.0322 | 0.0013437 | level
HODOSCOPE PLT3 US BR TOP | HODPL3 | -92.4684 | -1.2454 | 0 | 0.07128 | -8.0555 | -0.015098 | level
HODOSCOPE PLT4 US BR TOP | HODPL4 | -91.4759 | -1.3864 | 7.5e-05 | 0.07086 | -8.0528 | -0.011033 | level
HODOSCOPE PLT5 US BR TOP | HODPL5 | -90.4325 | -1.5328 | -0.000225 | 0.07069 | -8.0896 | -0.026098 | level
HODOSCOPE PLT6 US BR TOP | HODPL6 | -89.2396 | -1.7022 | -0.0005 | 0.07073 | -8.0664 | -0.026525 | level
HODOSCOPE PLT7 US BR TOP | HODPL7 | -87.9955 | -1.8782 | 0.00045 | 0.06995 | -8.0432 | -0.0066372 | level
HODOSCOPE PLT8 US BR TOP | HODPL8 | -86.5753 | -2.0741 | 0.000125 | 0.0703 | -8.0436 | -0.016094 | level
TAGGER MICROSCOPE US CENTER | HDMICR | -91.6153 | -1.1663 | -0.91004 | -0.00206 | -8.0687 | -0.0244 | -0.0954
COLLIMATOR CAVE PROFILER |  | -23.853 | -0.00013 | 0.000476 | -6e-05 | -0.1755 | -0.0228 | -0.005
COLLIMATOR CAVE PIN HOLE COLLIMATOR | MCOAD01 | -23.6536 | -1e-05 | -0.89004 | 9e-05 | 0 | -0.0052 | -0.0063
COLLIMATOR CAVE 2ND COLLIMATOR | MCOAD02 | -17.7666 | 3e-05 | -0.88995 | -1e-05 | -0.02063 | 0.01375 | 0.01547
COLLIMATOR CAVE SWEEPER MAGNET 1 | MSWAD01 | -21.3554 | -9e-05 | -9e-06 | -5e-05 | -0.00086 | 0.00315 | 0.02865
COLLIMATOR CAVE SWEEPER MAGNET 2 | MSWAD02 | -16.9998 | 3e-05 | 3.2e-05 | 1e-05 | -0.00773 | 0.02034 | -0.00544
POLARIMETER |  | -15.0765 | 5e-05 | -0.12002 | 1e-05
PHOTON BEAM HARP | HDPBHA | -12.9083 | 4e-05 | -0.12002 | -2.4e-05 | -0.01261 | -0.02263 | 0.00745 | 5270 | 10002 | 16845 | 20638 | 24431
PAIR SPECTROMETER MAGNET | HDPRSP | -11.3715 | -0.00014 | 0.17991 | 1e-05 | -0.00115 | 0.00859 | 0.00057
RIGHT HIGH GRANULARITY DETECTOR | HGDETR | -8.4439 | -0.23873 | 0.18153 | 0.00052 | -4.6883 | -0.00229 | 0.0149
LEFT HIGH GRANULARITY DETECTOR | HGDETL | -8.4442 | 0.23839 | 0.18081 | 0.00053 | 4.678 | -0.0063 | 0.01203
RIGHT LOW GRANULARITY DET USBL | LGDETR | -7.9542 | -0.27498 | 0.18168 | 0.0033 | -4.8093 | 0.00859 | 0.08193
LEFT LOW GRANULARITY DET USBR | LGDETL | -7.9549 | 0.27478 | 0.18208 | 0.00134 | 4.6688 | -0.05185 | -0.08394
SOLENOID (GEOMETRIC CENTER) | HDSOL_ | 1.8892 | 2e-05 | 6.0599 | 0
Solenoid US steel face |  | -0.508 | -0.0008431 | 6.109 | -0.00059911
Solenoid DS steel face |  | 4.2864 | 0.0008831 | 0.17992 | 0.00059911
BARREL CALORIMETER (Sept 2013) | HDBCAL | 2.1175 | 0.00103 | 6.109 | -0.00098 | 0.01633 | 0.0424 | 0.00458
N/A |  | #VALUE! | #VALUE! | 0 | #VALUE!
Hydrogen Target | HTAR | 0.65043 | -9e-05 | 0.17992 | 0 | 0.00344 | 0.00573 | -0.02521
N/A |  | #VALUE! | #VALUE! | 0 | #VALUE!
Scattering chamber DS window |  | 0.84461 | 0.0012783 | 0 | 0.0020251
START COUNTER US FACE US FLANGE | HDSTRT | 0.29814 |  | 0.00123 |  |  | 0.22068 | -11.25
START COUNTER US FACE SCINTILLATOR |  | 0.38544 | -0.00011386 | 0.00123 | -0.0010375
START COUNTER DS FACESCINTILLATOR |  | 0.97054 | 0.0015286 | -0.00044 | 0.0012533
FDC centerline of detector | HDFDC | 2.6003 | -0.00085 |  | -0.0008 | 0.0375 | 0.0192 | -0.0126
FDC Package 1 center | HDFDC-CL1 | 1.8212 | -0.00098 | #REF! | -0.00069 | 0.0401 | 0.0126 | -0.0126 |  | 1.8225 | -0.00136
FDC Package 2 center | HDFDC-CL2 | 2.407 | -0.00063 | 6.4097 | -0.0007 | 0.0458 | -0.0501 | -0.0312 |  | 2.4082 | -0.00127
FDC Package 3 center | HDFDC-CL3 | 2.9927 | -5e-05 | 0.17998 | -0.0003 | 0.0309 | -0.0456 | -0.0106 |  | 2.9941 | -0.00145
FDC Package 4 center | HDFDC-CL4 | 3.3796 | 0.0003 | 0.18225 | -0.00041 | 0.006 | 0.1169 | 0.0083 |  | 3.3809 | -0.00126
CENTRAL DRIFT CHAMBER | HD_CDC | 0.92573 | -1e-05 | 6.4097 | -0.00085 | 0.014 | -0.004 | 0.0556
CDC US active area |  | 0.17573 | -0.00019325 | 0.17998 | -0.00079764
CDC DS active area |  | 1.6757 | 0.00017325 | 0.18225 | -0.00090236
FORWARD CALORIMETER | HDFCAL | 6.2499 | 0.00212 | 0.17998 | -0.00021 | -0.07019 | 0.04183 | -0.0149
FORWARD TIME OF FLIGHT | HDFTOF | 6.0533 | -0.00168 | 0.18225 | -0.00105 | -0.08537 | 0.41368 | -0.10829
GEM Cathode Frame Upper and inner edges |  | 5.2929 | -0.08 | 0 | -0.3113 | -0.086 | 0.3266 | -0.0044
N/A |  | #VALUE! | #VALUE! |  | #VALUE!
TAC | HDTAC | 16.2936 | 4e-05 |  | -1e-05 |  | level
Lower DIRC bottom Bbox | LDIRC1 | 5.8428 | 0.00695 |  | -0.81662 | -0.12319 | -0.08308 | 0.03667
Lower DIRC Top Bbox | LDIRC2 | 5.8436 | 0.00583 |  | -0.30188 | -0.11431 | -0.24179 | 0.03008
Lower DIRC Optical box |  | 5.8048 | -3.0137 |  | -0.30352 | -0.20398 | -0.2882 | 0.07105
Upper DIRC Bottom Bbox | DIRC3 | 5.8447 | 0.00229 |  | 0.30136 | -0.08766 | -0.17561 | -0.00831
Upper DIRC Top Bbox | DIRC4 | 5.8462 | 0.00506 |  | 0.81623 | -0.0997 | -0.19108 | -0.01576
Upper DIRC Mirror Box |  | 5.8202 | 3.023 |  | 0.81467 | -0.07993 | -0.20082 | -0.12319
|  | -398.139 | -80.6 |  | -104.7 | 0 | 0 | 0
|  | -398.139 | -80.6 |  | -104.7 | 0 | 0 | 0
|  | -398.139 | -80.6 |  | -104.7 | 0 | 0 | 0
|  | -398.139 | -80.6 |  | -104.7 | 0 | 0 | 0
|  | -398.139 | -80.6 |  | -104.7 | 0 | 0 | 0
|  | -398.139 | -80.6 |  | -104.7 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hall D 0,0 point (as currently measured) |  | 398.139 | 80.6 |  | 104.7
1/4 GEM istalled as to not interfere with eCAL
FDC/CDC re-surveyed after 2023 run
Items surveyed prior to run: FDC, CDC, ALL Hodo plates, Microscope ( 2mm low on purpose), DIRC, New TAC, Target (SC by known offsets), Profiler, Primary collimator, Pair Spec High and Low gran, Goniometer,FCAL2, TOF
New Profiler installed

## Rel to measured sol center
LINE/HALL D Primex 2022 SURVEY REPORT
Note: The as set offsets are relative to the machine coordinate used for alignment. A +X is to the beam left, +Z is downstream, +Y is above. A + yaw angle is ccw looking from above, a + pitch angle is ccw looking from the beam right side, and a + roll angle is cw looking from upstream.
DISCRIPTION | COMPONENT | MACHINE COORDINATE(M) |  |  |  |  | DELTA ANGLE (DEG) |  | ENCODER/STEP COUNT
|  | Z | X |  | Y | YAW | PITCH | ROLL | V WIRE | H WIRE | TGT1 | TGT2 | TGT3
BPMBOX US TAGGER SHIELD WALL | PM5C11A | -116.5142 | -0.00011 | 0.000184 | 0.000184 | -0.00344 | -0.00802 | 0.02005
BPMBOX DS TAGGER SHIELD WALL | PM5C11C | -102.2092 | 0 | -9e-06 | -9e-06 | 0.00372 | 0.00201 | -0.01003
TAGGER GONIOMETER FOIL | TAGGON | -100.9458
GONIOMETER DIAMONDS |  | -100.9211
AMORPHOUS RADIATOR | TAGRAD | -100.3141 | 0.00024 | 6.34 | -0.00047 | 0.0043 | 0.02836 | -0.00602 | 5565.55 | 10259.55 | 17143.525 | 20945.125 | 24749.35
TAGGER QUAD (MQPAD00) |  | -99.8633
TAGGER MAGNET | HDTAGG | -94.6398 | -0.29769 | -0.57007 | -0.00063 | -6.5004 | 0.00344 | -0.00086
TAGGER MAGNET - Pole entrance |  | -97.7417
HODOSCOPE PLT1 US BR TOP | HODPL1 | -96.9289 | -0.88185 | -0.000275 | 0.07113 | -8.0347 | -0.00044517 | level
HODOSCOPE PLT2 US BR TOP | HODPL2 | -95.6409 | -1.0639 | -0.000175 | 0.07108 | -8.0322 | 0.0013437 | level
HODOSCOPE PLT3 US BR TOP | HODPL3 | -94.3576 | -1.2454 | 0 | 0.07128 | -8.0555 | -0.015098 | level
HODOSCOPE PLT4 US BR TOP | HODPL4 | -93.3651 | -1.3865 | 7.5e-05 | 0.07086 | -8.0528 | -0.011033 | level
HODOSCOPE PLT5 US BR TOP | HODPL5 | -92.3216 | -1.5328 | -0.000225 | 0.07069 | -8.0896 | -0.026098 | level
HODOSCOPE PLT6 US BR TOP | HODPL6 | -91.1287 | -1.7022 | -0.0005 | 0.07073 | -8.0664 | -0.026525 | level
HODOSCOPE PLT7 US BR TOP | HODPL7 | -89.8847 | -1.8782 | 0.00045 | 0.06995 | -8.0432 | -0.0066372 | level
HODOSCOPE PLT8 US BR TOP | HODPL8 | -88.4645 | -2.0741 | 0.000125 | 0.0703 | -8.0436 | -0.016094 | level
TAGGER MICROSCOPE US CENTER | HDMICR | -93.5045 | -1.1664 | -0.91004 | -0.00206 | -8.0687 | -0.0244 | -0.0954
COLLIMATOR CAVE PROFILER |  | -25.7422 | -0.00015 | 0.000476 | -6e-05 | -0.1755 | -0.0228 | -0.005
COLLIMATOR CAVE 5mm HOLE COLLIMATOR | MCOAD01 | -25.5428 | -3e-05 | -0.89004 | 9e-05 | 0 | -0.0052 | -0.0063
COLLIMATOR CAVE 2ND COLLIMATOR | MCOAD02 | -19.6558 | 1e-05 | -0.88995 | -1e-05 | -0.02063 | 0.01375 | 0.01547
COLLIMATOR CAVE SWEEPER MAGNET 1 | MSWAD01 | -23.2445 | -0.00011 | -9e-06 | -5e-05 | -0.00086 | 0.00315 | 0.02865
COLLIMATOR CAVE SWEEPER MAGNET 2 | MSWAD02 | -18.889 | 1e-05 | 3.2e-05 | 1e-05 | -0.00773 | 0.02034 | -0.00544
POLARIMETER |  | -16.9657 | 3e-05 | -0.12002 | 1e-05
PHOTON BEAM HARP | HDPBHA | -14.7975 | 2e-05 | 0.17991 | -2.4e-05 | -0.01261 | -0.02263 | 0.00745 | 5270 | 10002 | 16845 | 20638 | 24431
PAIR SPECTROMETER MAGNET | HDPRSP | -13.2607 | -0.00016 | 0.18153 | 1e-05 | -0.00115 | 0.00859 | 0.00057
RIGHT HIGH GRANULARITY DETECTOR | HGDETR | -10.3331 | -0.23875 | 0.18081 | 0.00052 | -4.6883 | -0.00229 | 0.0149
LEFT HIGH GRANULARITY DETECTOR | HGDETL | -10.3334 | 0.23837 | 0.18168 | 0.00053 | 4.678 | -0.0063 | 0.01203
RIGHT LOW GRANULARITY DET USBL | LGDETR | -9.8434 | -0.275 | 0.18208 | 0.0033 | -4.8093 | 0.00859 | 0.08193
LEFT LOW GRANULARITY DET USBR | LGDETL | -9.844 | 0.27476 | 6.0599 | 0.00134 | 4.6688 | -0.05185 | -0.08394
SOLENOID (GEOMETRIC CENTER) | HDSOL_ | 0 | 0 | 6.109 | 0 | 0.02063 | 0.01432 | 0.00344
Solenoid US steel face |  | -2.3972 | -0.0008631 | 0.17992 | -0.00059911
Solenoid DS steel face |  | 2.3972 | 0.0008631 | 0 | 0.00059911
BARREL CALORIMETER (Sept 2013) | HDBCAL | 0.22831 | 0.00101 | 0.00123 | -0.00098 | 0.01633 | 0.0424 | 0.00458
N/A |  | #VALUE! | #VALUE! | 0.00123 | #VALUE!
Hydrogen Target | HTAR | -1.2387 | -0.00011 | 0.00123 | 0 | 0.00344 | 0.00573 | -0.02521
N/A |  | #VALUE! | #VALUE! | 9.3203 | #VALUE!
Scattering chamber DS window |  | -1.0446 | 0.0012583 | -0.00044 | 0.0020251 | 0.09584 | 0.08323 | -0.0155
START COUNTER US FACE US FLANGE | HDSTRT | -1.591 |  | 9.3203
START COUNTER US FACE SCINTILLATOR |  | -1.5037 | -0.00013386 | -5.8e-05 | -0.0010375
START COUNTER DS FACESCINTILLATOR |  | -0.91863 | 0.0015086 | -0.000325 | 0.0012533
FDC centerline of detector | HDFDC | 0.71117 | -0.00087 | -0.000325 | -0.0008 | 0.0375 | 0.0192 | -0.0126
FDC Package 1 center | HDFDC-CL1 | -0.068015 | -0.001 | 8.4502 | -0.00069 | 0.0401 | 0.0126 | -0.0126
FDC Package 2 center | HDFDC-CL2 | 0.51778 | -0.00065 | 6.4097 | -0.0007 | 0.0458 | -0.0501 | -0.0312
FDC Package 3 center | HDFDC-CL3 | 1.1035 | -7e-05 | 0.17998 | -0.0003 | 0.0309 | -0.0456 | -0.0106
FDC Package 4 center | HDFDC-CL4 | 1.4904 | 0.00028 | 0.18225 | -0.00041 | 0.006 | 0.1169 | 0.0083
CENTRAL DRIFT CHAMBER | HD_CDC | -0.96344 | -3e-05 | 0 | -0.00085 | 0.014 | -0.004 | 0.0556
CDC US active area |  | -1.7134 | -0.00021325 | 0 | -0.00079764
CDC DS active area |  | -0.21344 | 0.00015325 | 0 | -0.00090236
FORWARD CALORIMETER | HDFCAL | 4.3607 | 0.0021 | 0 | -0.00021 | -0.03151 | 0.02979 | 0.02578
FORWARD TIME OF FLIGHT | HDFTOF | 4.1641 | -0.0017 | 0 | -0.00105 | -0.08537 | 0.41368 | -0.10829
GEM Cathode Frame Upper and inner edges |  | 3.4037 | -0.08002 | 0 | -0.3113 | -0.086 | 0.3266 | -0.0044
N/A |  | #VALUE! | #VALUE! | 0 | #VALUE!
TAC (crystal blocks US face) | HDTAC | 14.4044 | 2e-05 | 0 | -1e-05 |  | level
Lower DIRC Bbox 1 | LDIRC1 | 3.9536 | 0.00693 | 0 | -0.81662 | -0.12319 | -0.08308 | 0.03667
Lower DIRC Bbox 2 | LDIRC2 | 3.9544 | 0.00581 | 0 | -0.30188 | -0.11431 | -0.24179 | 0.03008
Lower DIRC Optical Box | DIRCBRMB | 3.9156 | -3.0137 | 0 | -0.30352 | -0.20398 | -0.2882 | 0.07105
Upper DIRC Bottom Bbox | DIRC3 | 3.9555 | 0.00227 | 0 | 0.30136 | -0.08766 | -0.17561 | -0.00831
Upper DIRC Top Bbox | DIRC4 | 3.9571 | 0.00504 | 0 | 0.81623 | -0.0997 | -0.19108 | -0.01576
Upper DIRC Mirror Box | DIRCBLMB | 3.931 | 3.023 | 0 | 0.81467 | -0.07993 | -0.20082 | -0.12319
|  | -400.0282 | -80.6 | 0 | -104.7 | 0 | 0 | 0
0 |  | -400.0282 | -80.6 | 0 | -104.7 | 0 | 0 | 0
0 |  | -400.0282 | -80.6 | 0 | -104.7 | 0 | 0 | 0
0 |  | -400.0282 | -80.6 | 0 | -104.7 | 0 | 0 | 0
0 |  | -400.0282 | -80.6 | 0 | -104.7 | 0 | 0 | 0
0 |  | -400.0282 | -80.6 | 0 | -104.7 | 0 | 0 | 0
0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hall D 0,0 point |  | 398.139 | 80.6 |  | 104.7
1/4 GEM istalled as to not interfere with eCAL | Sol center | 400.0282 | 80.6 | 6.0599 | 104.7
FDC/CDC re-surveyed after 2023 run
Items surveyed prior to run: FDC, CDC, ALL Hodo plates, Microscope ( 2mm low on purpose), DIRC, New TAC, Target (SC by known offsets), Profiler, Primary collimator, Pair Spec High and Low gran, Goniometer,FCAL2, TOF
New Profiler installed |  | length of solenoid | 4.7944

## data from JD
This is original data from Feb 2015
Note: The as set offsets are relative to the machine coordinate used for alignment. A +X is to the beam left, +Z is downstream, +Y is above. A + yaw angle is ccw looking from above, a + pitch angle is ccw looking from the beam right side, and a + roll angle is cw looking from upstream.
-0.001487
398.4338
DISCRIPTION | COMPONENT | MACHINE COORDINATE USED FOR IDEAL(M) | [8 empty] | AS SET OFFSETS BEAM FOLLOWING |  |  | DELTA ANGLE (DEG) |  |  | ENCODER/STEP COUNT
|  | Z | dwg dim Z | delta(mm) | X |  |  |  | Y | YAW | Z mm | X mm | Y mm | YAW | PITCH | ROLL | V WIRE | H WIRE | TGT1 | TGT2 | TGT3
BPMBOX US TAGGER SHIELD WALL | PM5C11A | 283.5043 |  |  | 80.6 |  |  |  | 104.7 | 0 | 9.69 | -0.09 | 0.184 | -0.00344 | -0.00802 | 0.02005
BPMBOX DS TAGGER SHIELD WALL | PM5C11C | 297.8191 |  |  | 80.6 |  |  |  | 104.7 | 0 | -0.01 | 0.02 | -0.009 | 0.00372 | 0.00201 | -0.01003
TAGGER GONIOMETER FOIL | TAGGON | 299.0927 | 299.0927 | 0 | 80.6 |  |  |  | 104.7 | 0 | -0.16 | 0.02 | -0.089 | 0.02722 | 0.00258 | 0.00372 |  |  | Hovanes has info
GONIOMETER DIAMONDS
AMORPHOUS RADIATOR | TAGRAD | 299.7143 | 299.708 | 6.34 | 80.6 |  |  |  | 104.7 | 0 | 0.12 | 0.05 | -0.048 | 0.0043 | 0.02836 | -0.00602 | 5565.55 | 10259.55 | 17143.525 | 20945.125 | 24749.35
TAGGER MAGNET | HDTAGG | 305.3886 | 305.3892 | -0.57 | 80.302 |  | 80.3021 | -6e-05 | 104.7 | -6.5 | -0.114 | 0.055 | -0.074 | -0.0004 | 0.00344 | -0.00086
HODOSCOPE PLT1 US BR TOP | HODPL1 | 303.0996 |  |  | 79.7182 |  |  |  | 104.7708 | -8.05 | 0.1 | 0 | -0.275 | 0.013263 | -0.0066315 | -0.056
HODOSCOPE PLT2 US BR TOP | HODPL2 | 304.3885 |  |  | 79.5359 |  |  |  | 104.7708 | -8.05 | -0.2 | 0.2 | -0.175 | 0.0088762 | -0.0066571 | -0.093334
HODOSCOPE PLT3 US BR TOP | HODPL3 | 305.6696 |  |  | 79.3547 |  |  |  | 104.7708 | -8.05 | 0.4 | -0.2 | 0 | 0 | 0.01724 | -0.037334
HODOSCOPE PLT4 US BR TOP | HODPL4 | 306.6605 |  |  | 79.2146 |  |  |  | 104.7708 | -8.05 | -0.1 | 0.2 | 0.075 | 0 | -0.013616 | -0.093334
HODOSCOPE PLT5 US BR TOP | HODPL5 | 307.7042 |  |  | 79.0669 |  |  |  | 104.7708 | -8.05 | 0.4 | 0.1 | -0.225 | 0.0054986 | 0.013747 | -0.13067
HODOSCOPE PLT6 US BR TOP | HODPL6 | 308.8991 |  |  | 78.898 |  |  |  | 104.7708 | -8.05 | 0.3 | -0.1 | -0.5 | -0.014324 | 0.033423 | -0.112
HODOSCOPE PLT7 US BR TOP | HODPL7 | 310.1438 |  |  | 78.7219 |  |  |  | 104.7708 | -8.05 | -0.3 | -0.1 | 0.45 | -0.0093851 | -0.023463 | 0.112
HODOSCOPE PLT8 US BR TOP | HODPL8 | 311.5647 |  |  | 78.526 |  |  |  | 104.7708 | -8.05 | -0.2 | 0.1 | 0.125 | 0.0064377 | -0.016094 | 0.018667
TAGGER MICROSCOPE US CENTER | HDMICR | 306.5236 | 306.5245 | -0.91 | 79.4332 |  |  |  | 104.7 | -8.05 | -0.378 | -0.114 | -0.037 | 0.00737 | 0.00286 | -0.00401
COLLIMATOR CAVE PROFILER |  | 374.27 |  |  | 80.6 |  |  |  | 104.7 | 0 |  | 0.715 | 0.476
COLLIMATOR CAVE PIN HOLE COLLIMATOR | MCOAD01 | 374.4853 | 374.4862 | -0.89 | 80.6 |  |  |  | 104.7 | 0 | -0.2 | 0 | -0.044 | -0.00258 | 0.0149 | 0.00688
COLLIMATOR CAVE 2ND COLLIMATOR | MCOAD02 | 380.3728 | 380.3737 | -0.89 | 80.6 |  |  |  | 104.7 | 0 | -0.136 | 0.06 | 0.048 | -0.02063 | 0.01375 | 0.01547
COLLIMATOR CAVE SWEEPER MAGNET 1 | MSWAD01 | 376.784 |  |  | 80.6 |  |  |  | 104.7 | 0 | -0.02 | 0.11 | -0.009 | -0.00086 | 0.00315 | 0.02865
COLLIMATOR CAVE SWEEPER MAGNET 2 | MSWAD02 | 381.1391 |  |  | 80.6 |  |  |  | 104.7 | 0 | 0.226 | 0.01 | 0.032 | -0.00773 | 0.02034 | -0.00544
PHOTON BEAM HARP | HDPBHA | 385.2308 | 385.2309 | -0.12 | 80.6 |  |  |  | 104.7 | 0 | -0.07 | 0.04 | -0.024 | -0.01261 | -0.02263 | 0.00745 | 5270 | 10002 | 16845 | 20638 | 24431
PAIR SPECTROMETER MAGNET | HDPRSP | 386.7616 | 386.7615 | 0.18 | 80.6 |  |  |  | 104.7 | 0 | 5.61 | -0.04 | -0.087 | -0.00115 | 0.00859 | 0.00057
RIGHT HIGH GRANULARITY DETECTOR | HGDETR | 389.6411 | 389.6409 | 0.182 | 80.2381 | 80.365 | 80.365 | -126.92 | 104.7 | -4.7 | 46.735 | 0.511 | -0.468 | 0.04042 | 0.0805 | -0.15642
LEFT HIGH GRANULARITY DETECTOR | HGDETL | 389.6411 | 389.6409 | 0.182 | 80.9619 |  |  |  | 104.7 | 4.7 | 46.072 | -1.741 | -1.187 | -0.12923 | -0.13465 | 0.03094
RIGHT LOW GRANULARITY DET USBL | 390.0165 | 390.1506 | 390.0163 | 0.182 | 80.6 |  | 80.334 | 266 | 104.7 | -4.7 | 5.44 | -272.4 | -0.32
LEFT LOW GRANULARITY DET USBR | 390.0165 | 390.1506 | 390.0163 | 0.182 | 80.6 |  | 80.866 | -266 | 104.7 | 4.7 | 5.64 | 272.3 | 0.08
SOLENOID (GEOMETRIC CENTER) | HDSOL_ | 400.0297 | 400.0236 | 6.06 | 80.6 |  |  |  | 104.7 | 0 | -1.1 | -0.15 | -0.12 | 0.01776 | 0.01289 | 0.0043
BARREL CALORIMETER (Sept 2013) | HDBCAL | 400.2597 | 400.2536 | 6.11 | 80.6 |  |  |  | 104.7 | 0 | -3.23 | 1.03 | -0.98 | 0.01633 | 0.0424 | 0.00458
Hydrogen TARGET | HTAR | 398.7838 | 398.7836 | 0.18 | 80.6 |  |  |  | 104.7 | 0 | -12.02 | 0.08 | -0.08 | -0.0076 | -0.0038
Scattering chamber DS window
START COUNTER US FACE US FLANGE | HDSTRT | 398.4338 | 398.4338 | 0 | 80.6 |  |  |  | 104.7 | 0 | -11.93 | 0.3 | 1.23
START COUNTER US SCINTILLATOR |  | 398.5211 |  |  | 80.6 |  |  |  | 104.7 | 0 | -11.93 | 0.3 | 1.23
START COUNTER DS SCINTILLATOR |  | 399.108 |  |  | 80.6 |  |  |  | 104.7 | 0 | -13.07 | 1.38 | -0.44
FDC Package 1 center |  | 399.9557 | 399.9464 | 9.32 | 80.6 |  |  |  | 104.7 |  | 5.41 | -0.9 | 0.329 | 0.016 | -0.049 | 0.088 | 144.26
FDC Package 2 center |  | 400.5414 |  |  | 80.6 |  |  |  | 104.7 |  | 5.4 | -0.69 | -0.058 | 0.023 | -0.035 | 0.009 | 144.92
FDC Package 3 center |  | 401.1273 |  |  | 80.6 |  |  |  | 104.7 |  | 5.4 | 0.01 | -0.325 | 0.029 | -0.068 | 0.03 | 144.46
FDC Package 4 center |  | 401.5141 | 401.5056 | 8.45 | 80.6 |  |  |  | 104.7 |  | 5.4 | 0.18 | 0.231 | -0.002 | 0.11 | 0.007 | 144.44
CENTRAL DRIFT CHAMBER | HD_CDC | 399.06 | 399.0536 | 6.41 | 80.6 |  |  |  | 104.7 | 0 | -0.24 | 0.03 | -0.32
FORWARD CALORIMETER | HDFCAL | 404.3868 | 404.3866 | 0.18 | 80.6 |  |  |  | 104.7 | 0 | 0.88 | 5.29 | -0.021 | -0.07019 | 0.04183 | -0.0149
FORWARD TIME OF FLIGHT | HDFTOF | 404.1898 | 404.1896 | 0.18 | 80.6 |  |  |  | 104.7 | 0 | 6.75 | 3.08 | 2.251 | 0.04612 | 0.04269 | -0.18134
[17 empty] | 144.52 | ave FDC package length
|  | Hall D 0,0 point | [14 empty] | 137.58 | nominal per dwg
[17 empty] | 6.94 | mm longer per package
|  | 398.1336 |  |  | 80.6 |  |  |  | 104.7
This data represents data from Feb 2015 - updates since then are done on the individual sheets in machine coordinates

## Reference frames
Note: The as set offsets are relative to the machine coordinate used for alignment. A +X is to the beam left, +Z is downstream, +Y is above. A + yaw angle is ccw looking from above, a + pitch angle is ccw looking from the beam right side, and a + roll angle is cw looking from upstream. All coordinates are to the component center unless otherwise specified.
See drawing D000000000-4002 for Ideal Detector Locations
TAGGER GONIOMETER fOILS and wire - 3 mm US of Goni Ring face
GONIOMETER DIAMONDS - 2mm UPSTREAM OF RING FACE
AMORPHOUS RADIATOR - center of wire and targets
TAGGER QUAD - center of quad (MPQAD00)
TAGGER MAGNET - center of pole
TAGGER MAGNET - pole entrance - intersection between base of Rogowski and beam centerline
HODOSCOPE PLT1 US BR TOP corner of plate - see dwgs D00000-19-01-2003 - 2010 for scint. Locations
TAGGER MICROSCOPE US CENTER face of 1st scintillator 1/2 bundle (15 fibers, 3x5 array)
COLLIMATOR CAVE PROFILER center of DS face
COLLIMATOR CAVE PIN HOLE COLLIMATOR - center of block in X,Y and Z
COLLIMATOR CAVE 2ND COLLIMATOR - center of block in X,Y and Z
POLARIMETER - center of detector portion
PHOTON BEAM HARP - center of wire and targets in Pair convertor
PAIR SPECTROMETER MAGNET - center of magnet steel
RIGHT HIGH GRANULARITY DETECTOR - inner upstream edge of 1st counter at vertical center | nom yaw angle is -4.7 degrees
LEFT HIGH GRANULARITY DETECTOR - inner upstream edge of 1st counter at vertical center | nom yaw angle is +4.7 degrees
RIGHT LOW GRANULARITY DET USBL - inner upstream edge of 1st counter at vertical center
LEFT LOW GRANULARITY DET USBR - inner upstream edge of 1st counter at vertical center (see dwg D000000000-1002)
CENTER HALL PROFILER (TEMP) - center of ustream face
SOLENOID (GEOMETRIC CENTER) and US and DS faces of steel
BARREL CALORIMETER (Sept 2013) - geometric center of barrel
Hydrogen TARGET - center of target (Target length measured 29.55 cm)
START COUNTER US FACE US FLANGE - just a reference
START COUNTER US FACE SCINTILLATOR - center of upstream edge of scintillator
START COUNTER DS FACESCINTILLATOR - center of downstream edge of scintillator
FDC Package 1 center based on bisect of US and DS stiffening ring on each package with 0A in solenoid
FDC Package 2 center based on bisect of US and DS stiffening ring on each package with 0A in solenoid
FDC Package 3 center based on bisect of US and DS stiffening ring on each package with 0A in solenoid
FDC Package 4 center based on bisect of US and DS stiffening ring on each package with 0A in solenoid
CENTRAL DRIFT CHAMBER - center of active area of detector
FORWARD CALORIMETER - upstream face of lead/glass blocks and center based on beam tube
FORWARD TIME OF FLIGHT - center of upstream face of scintillator
DS HALL PROFILER - center of upstream face
TAC - center of upstream face
HALL D 0,0 point is 20 inches downstream of the as measured US face of the solenoid.
ComCal - center of US face of crystal plane
DIRC Bar Box - Center of aluminum module in Z and Y, 3018.6 mm from beamline side face of the end flange
DIRC Optical Box - center of beamline side face of Top barbox attachment flange (which lines up with beamline side face of the barbox flange nominally)
this is nominally 33mm US for Bbox center line
GEM - based on cathode edges

## Solenoid
Email 10/18/2021 from Kelly Tremblay
So the final coordinates for the upstream and downstream are as follows: (ref geonet\adjust\srv18 data)
| x | y | z
HSOLU01 | 82.4265 | 104.6983 | 397.6055
HSOLU02 | 81.902 | 106.0098 | 397.6051
HSOLU03 | 80.5985 | 106.5268 | 397.6052
HSOLU04 | 79.3734 | 106.0808 | 397.6057
HSOLU05 | 78.7708 | 104.7001 | 397.6066
HSOLU06 | 81.5521 | 104.6904 | 397.6056
HSOLU07 | 81.2699 | 105.3828 | 397.6053
HSOLU08 | 80.6001 | 105.6568 | 397.6054
HSOLU09 | 79.9988 | 105.4466 | 397.6056
HSOLU10 | 79.6451 | 104.7028 | 397.6061
average z face upstream = 397.60562 [m] ; std dev 0.4mm
face plus 1" = 397.63102 m |  | Average plane of US steel face
| x | y | z
HSOLD01 | 80.5887 | 106.5269 | 402.4508
HSOLD02 | 82.4055 | 104.7138 | 402.4503
HSOLD03 | 80.6079 | 102.8737 | 402.4498
HSOLD04 | 78.797 | 104.6899 | 402.4515
HSOLD05 | 80.5921 | 105.7288 | 402.4515
HSOLD06 | 81.6296 | 104.7096 | 402.4506
HSOLD07 | 80.6073 | 103.6704 | 402.4504
HSOLD08 | 79.5728 | 104.6927 | 402.4513
average z face downstream = 402.45077 [m] ; std dev 0.6mm
face minus 1" = 402.42537 M |  | Average plane of DS steel face
delta between faces = 4.8451 M

## FDC Packages
FDC Packages |  | data for outside surface of aluminum flange
| x (m) | y | z
1US | 0.000158 | 0.000228 | 0 |  |  |  | half width | rel center | center relative to prev pack | center relative to pack 1
1DS | 6.6e-05 | -0.000158 | 0.14426 |  |  | width of package 1 | 0.07213 | 0.07213
2US | -0.000276 | -3.7e-05 | 0.58529 |  | 0.14492 | width of package 2 | 0.07246 | 0.65775 | 0.58562 | 0.58562
2DS | -0.000113 | 4.3e-05 | 0.73021
3US | -2e-06 | -0.000306 | 1.1715
3DS | 7.1e-05 | 0.000113 | 1.3159 |  | 0.14446 | width of package 3 | 0.072232 | 1.2437 | 0.58595 | 1.1716
4US | 0.00014 | -0.000171 | 1.5582
4DS | -4.4e-05 | 0.000288 | 1.7026 |  | 0.14444 | width of package 4 | 0.072218 | 1.6304 | 0.3867 | 1.5583
[5 empty] | 0.00612 | longer than dwg
spreadsheet values from 2023 |  |  | US flange
|  | center | Z D2073 | delta |  | center based on orig fid | Z D2090
1US |  | 399.9603 | 399.8882 |  |  | 399.9603 | 399.9602
1DS |  |  |  | 0.58533
2US |  | 400.5461 | 400.4735 |  |  | 400.546 | 400.546
2DS |  |  |  | 0.58598
3US |  | 401.132 | 401.0595 |  |  | 401.1317 | 401.1317
3DS |  |  |  | 0.38705
4US |  | 401.5187 | 401.4465 |  |  | 401.5188 | 401.5186
4DS

## Goni Foils-Diamonds
18.54mm
6.35mm
3.18mm

## Target location
| Survey as found warm | Simon's vertex cold | delta | cold/vac change calc | mod delta | Info from Target group warm | Info from Target group cold-vac | New delta
Hydrogen TARGET center | 0.65043 | 0.6274 | -0.02303 | 0.001 | -0.02203 | 0.6531 | 0.001 | -0.0247
Scattering chamber DS window | 0.84461 | 0.8221 | -0.02251 | 0.0015 | -0.02101 | 0.84461 | 0.0015 | -0.02101
Target US window | 0.49913 | 0.4808 | -0.01833 | 0.0005 | -0.01783 | 0.50447 | 0.0005 | -0.02317
Target DS window | 0.80173 | 0.774 | -0.02773 | 0.002 | -0.02573 | 0.80173 | 0.002 | -0.02573
Target Length | 0.3026 | 0.2932 | -0.0094 | 0.0015 | -0.0079 | 0.29726 | 0.0015 | -0.00256

## HODO
Hodo measure
OFFSET FROM IDEAL ALONG THE 8.05 DEG BEAM LINE |  |  |  | AS FOUND MACHINE COORDS |  |  | IDEALS (MACHINE) |  |  |  | As Found |  |  |  | IDEAL relative to goni | [5 empty] | delta from previous
LOCATION | Z mm | X mm | Y mm | Z M | X M | Y M | Z M | X M | Y M |  | YAW | Pitch | roll |  | ZG | ZG metric | Delta | XG | XG metric | delta | Z | X | Y
MICROSCOPE | 0.173 | 0.136 | -0.087 | 306.5238 | 79.4333 | 104.6999 | 306.5236 | 79.4332 | 104.7 | YawPitchRoll | -8.051 | 0.00516 | -0.03839 | (set)
REPEAT | 0.185 | 0.046 | -0.077 | 306.5238 | 79.4333 | 104.6999 | 306.5236 | 79.4332 | 104.7 | YawPitchRoll | -8.0522 | 0.00659 | -0.02378 | (repeat) | 51.1756
HODOSCOPES | Z mm | X mm | Y mm | Z M | X M | Y M | Z M | X M | Y M
H1USBR |  |  |  | 303.0992 | 79.7182 | 104.7711 | 303.0996 | 79.7182 | 104.7708 |  | -8.0347 | -0.00044517 | -0.03787 |  | 157.74 | 4.0066 | 0.014466 | -34.717 | -0.88181 | 1.82e-05 | 0 | 0 | 0
H1USBL |  |  |  | 303.1209 | 79.8695 | 104.7712
H1DSBR |  |  |  | 304.3863 | 79.5365 | 104.7711 | [8 empty] | 208.238 | 5.2892 | 0.010015 | -41.859 | -1.0632 | 0.0002914
H1DSBL |  |  |  | 304.4047 | 79.6881 | 104.7712
H2USBR |  |  |  | 304.3873 | 79.5361 | 104.7711 | 304.3885 | 79.5359 | 104.7708 |  | -8.0322 | 0.0013437 | -0.20438 |  | 208.485 | 5.2955 | 0.015319 | -41.894 | -1.0641 | -0.0002276 | 0 | 0 | 0
H2USBL |  |  |  | 304.4088 | 79.6875 | 104.7716
H2DSBR |  |  |  | 305.6666 | 79.3556 | 104.7711 | [8 empty] | 258.735 | 6.5719 | 0.012389 | -49.001 | -1.2446 | -0.0002254
H2DSBL |  |  |  | 305.6876 | 79.5066 | 104.7715
H3USBR |  |  |  | 305.6706 | 79.3546 | 104.7713 | 305.6696 | 79.3547 | 104.7708 |  | -8.0555 | -0.015098 | 0.26056 |  | 258.922 | 6.5766 | 0.013129 | -49.028 | -1.2453 | 6.88e-05 | 0 | 0 | 0
H3USBL |  |  |  | 305.6931 | 79.5063 | 104.7706
H3DSBR |  |  |  | 306.6573 | 79.215 | 104.771 | [8 empty] | 297.786 | 7.5638 | 0.013584 | -54.524 | -1.3849 | 0.0001104
H3DSBL |  |  |  | 306.6764 | 79.3667 | 104.7708
H4USBR |  |  |  | 306.6631 | 79.2136 | 104.7709 | 306.6605 | 79.2146 | 104.7708 |  | -8.0528 | -0.011033 | -0.55569 |  | 297.934 | 7.5675 | 0.011544 | -54.545 | -1.3854 | 0.000997 | 0 | 0 | 0
H4USBL |  |  |  | 306.6815 | 79.3662 | 104.7723 |  |  |  |  | -8.0644
H4DSBR |  |  |  | 307.7017 | 79.0666 | 104.7707 | [8 empty] | 338.902 | 8.6081 | 0.013511 | -60.339 | -1.5326 | 0.0007694
H4DSBL |  |  |  | 307.7239 | 79.2185 | 104.772
H5USBR |  |  |  | 307.7065 | 79.0672 | 104.7707 | 307.7042 | 79.0669 | 104.7708 |  | -8.0896 | -0.026098 | -0.23489 |  | 339.025 | 8.6112 | 0.011805 | -60.357 | -1.5331 | -0.0002578 | 0 | 0 | 0
H5USBL |  |  |  | 307.7261 | 79.2184 | 104.7713
H5DSBR |  |  |  | 308.7384 | 78.9205 | 104.7702 | [8 empty] | 379.621 | 9.6424 | 0.011083 | -66.098 | -1.6789 | 0.0005808
H5DSBL |  |  |  | 308.7705 | 79.0702 | 104.7714
H6USBR |  |  |  | 308.8995 | 78.8978 | 104.7707 | 308.8991 | 78.898 | 104.7708 |  | -8.0664 | -0.026525 | -0.045202 |  | 386.057 | 9.8058 | 0.013518 | -67.009 | -1.702 | 0.0001814 | 0 | 0 | 0
H6USBL |  |  |  | 308.9209 | 79.0499 | 104.7708
H6DSBR |  |  |  | 310.0875 | 78.7294 | 104.7702 | [8 empty] | 432.842 | 10.9942 | 0.013797 | -73.625 | -1.8701 | 0.000505
H6DSBL |  |  |  | 310.1215 | 78.8798 | 104.7703
H7USBR |  |  |  | 310.1435 | 78.7218 | 104.7699 | 310.1438 | 78.7219 | 104.7708 |  | -8.0432 | -0.0066372 | -0.28404 |  | 435.069 | 11.0508 | 0.014333 | -73.94 | -1.8781 | 8.4e-05 | 0 | 0 | 0
H7USBL |  |  |  | 310.1648 | 78.8731 | 104.7707
H7DSBR |  |  |  | 311.3521 | 78.5511 | 104.7698 | [8 empty] | 482.596 | 12.2579 | 0.012928 | -80.662 | -2.0488 | 0.0001252
H7DSBL |  |  |  | 311.373 | 78.702 | 104.7708
H8USBR |  |  |  | 311.5637 | 78.5259 | 104.7703 | 311.5647 | 78.526 | 104.7708 |  | -8.3822 | 0.022121 | 0 |  | 491.013 | 12.4717 | 0.01514 | -81.652 | -2.074 | 0.0001292 | 0 | 0 | 0
H8USBL |  |  |  | 311.5848 | 78.6726 | 104.7703
H8DSBR |  |  |  | 312.4444 | 78.3962 | 104.7706 | [8 empty] | 525.668 | 13.352 | 0.014727 | -86.754 | -2.2036 | 0.0002984
H8DSBL |  |  |  | 312.4679 | 78.5467 | 104.7704

## DIRC
DIRC