**LLRF Weekly Report**

**Week of April 18, 2018**

**Issues: None**

**Accomplishments this week:**

**JLAB**

* Resonance/Interlock Chassis:
  + Ongoing: Chassis assembly is complete. Testing status???.
  + We ordered up a sample board of the C1635 (Res/Int Power distribution board). STATUs.

* Interlock Board/Chassis:
  + Work at this time is on hold until needed for 3.9 GHz.
* Common Power Supply/Chassis/Boards:
  + Stickers for each of the fuse locations have been produced and mailed out.
* LERF
  + LERF LLRF instrumentation cables: Ready for installation.
  + HOM Heliax STATUS
  + Reference system and LO: STATUS

* CMTF
  + HOM: Putting together a similar automated HOM measurement for the CMTF. Sent it to Larry King for review.
  + CMTF Resonance Automation

**Upcoming Activities:**

* LERF RF cable installation: This may take place before racks arrive.