**LLRF Weekly Report**

**Week of April 18, 2018**

**Issues: None**

**Accomplishments this week:**

**JLAB**

* Resonance/Interlock Chassis:
	+ Ongoing: Chassis assembly is complete. Testing status???.
	+ We ordered up a sample board of the C1635 (Res/Int Power distribution board). STATUs.

* Interlock Board/Chassis:
	+ Work at this time is on hold until needed for 3.9 GHz.
	+
* Common Power Supply/Chassis/Boards:
	+ Stickers for each of the fuse locations have been produced and mailed out.
* LERF
	+ LERF LLRF instrumentation cables: Ready for installation.
	+ HOM Heliax STATUS
	+ Reference system and LO: STATUS
	+

* CMTF
	+ HOM: Putting together a similar automated HOM measurement for the CMTF. Sent it to Larry King for review.
	+ CMTF Resonance Automation

**Upcoming Activities:**

* LERF RF cable installation: This may take place before racks arrive.