|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| Traveler Title | SNS PPU Tophat Leak Testing Traveler | | | |
| Traveler Abstract | Traveler defines the leak testing process for the SNS PPU Tophats. | | | |
| Traveler ID | SNSPPU-CM-LEAK-TPHT | | | |
| Traveler Revision | R1 | | | |
| Traveler Author | Matt Marchlik | | | |
| Traveler Date | 12-Mar-20 | | | |
| NCR Informative Emails | edaly | | | |
| NCR Dispositioners | marchlik,kwilson | | | |
| D3 Emails | Marchlik,kwilson,edaly | | | |
| Approval Names | M. Marchlik | K. M. Wilson | C. Wilcox | E.F. Daly |
| Approval Signatures |  |  |  |  |
| Approval Dates |  |  |  |  |
| Approval Title | Author | Reviewer |  | Project Manager |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| References | List and Hyperlink all documents related to this traveler. This includes, but is not limited to: safety (THAs, SOPs, etc), drawings, procedures, and facility related documents. | | | |
| [104110000-M8U-8200-A262](file:///X:\Facilities\SRF%20Institute\01%20-%20SRF%20Projects\01%20-%20Open\1.21.02.XXX%20-%20SNS%20PPU%20Design%20&%20Construction%20of%207%20High%20Beta%20Cryomodules%20for%20ORNL%20-%20Ed%20Daly\06%20-%20Process%20Documents%5eTravelers%20(SNSPPU)\Travelers%20Included%20Files%20-%20XXXX\TPHT\104110000-M8U-8200-A262-R01.pdf) (TOPHAT WELDMENT) |  |  |  |  |
|  |  |  |  |  |

|  |  |
| --- | --- |
| Revision Note |  |
| R1 | Initial release of this Traveler. |

|  |  |  |
| --- | --- | --- |
| Step No. | Instructions | Data Input |
| **General handling guidelines:** The tophats contain two o-ring grooves that must be protected during handling. Care shall be taken to not drop the tophats. The tophats should be handled according to standard cleaning and handling practices. | | |
| 1 | **Leak Check:** | |
| Leak check the tophat per JLAB spec 11141-S-0033. Only tophats with serial numbers ending in 001, 014 and 028 require leak testing. Use the leak testing chamber provided by the tophat manufacturer. | [[TPHTSN]] <<TPHTSN>>  [[LeakCheckTech]] <<SRF>>  [[LeakCheckDate]] <<TIMESTAMP>>  [[LeakcheckOk]] <<YESNO>>  [[LeakcheckComment]] <<COMMENT>> |
| 2 | **Storage:** | |
| Each tophat shall be re-packaged in it’s original protective packaging after leak testing. | [[StorageTech]] <<SRF>>  [[StorageDate]] <<TIMESTAMP>> |