PPUP-200-TA0001 R00

PROTON POWER UPGRADE (PPU) PROJECT

Acceptance Criteria

PPU SRF CAVITY INCOMING INSPECTION

Date: 4/15/2019

This report was prepared as an account of work sponsored by an agency of the United States Government. Neither the United States Government nor any agency thereof, nor any of their employees, makes any warranty, express or implied, or assumes any legal liability or responsibility for the accuracy, completeness, or usefulness of any information, apparatus, product, or process disclosed, or represents that its use would not infringe privately owned rights. Reference herein to any specific commercial product, process, or service by trade name, trademark, manufacturer, or otherwise, does not necessarily constitute or imply its endorsement, recommendation, or favoring by the United States Government or any agency thereof. The views and opinions of authors expressed herein do not necessarily state or reflect those of the United States Government or any agency thereof.

PROTON POWER UPGRADE (PPU) PROJECT

Acceptance Criteria – PPUP-200-TA0001

Date : 4/15/2019

Prepared by: 							 Date

Level 3 Manager

Approved by: 							Date

Project Level 2 Manager

Approved by: 							Date

SCL Group Leader

Approved by: 							Date

PPU Project Manager

Revision History

| Revision | Date Released | Description of Change |
| --- | --- | --- |
| R0 |  |  |

Prepared by

OAK RIDGE NATIONAL LABORATORY, P.O. Box 2008, Oak Ridge, Tennessee  37831-6285

managed by UT-Battelle, LLC for the U.S. DEPARTMENT OF ENERGY

under contract DE-AC05-00OR22725

TABLE OF CONTENTS

Page

1	Scope	1

2	Related Production Procedures	1

3	Incoming Inspection Acceptance Criteria	1

# Scope

PPU cavities will be fabricated, processed and assembled at Research Instruments in Germany and shipped to Jefferson Lab for qualification.  This document outlines the criteria for acceptance of these cavities as received at Jefferson Lab.

# Related Production Procedures

The procedure for PPU SRF Cavity Incoming Inspection are identified in the following procedures:

CRYO-xxxxxxx

# Incoming Inspection Acceptance Criteria

| Visual Inspection Shipping Container | Tests to be Conducted | Nominal Value | Pass/Fail | Inspector / Date |
| --- | --- | --- | --- | --- |
| - Visual Inspection - shipping box and packaging | Inspect Shipping container for damage | No significant damage to shipping box |  |  |
| Inspection of Cavity and Hardware | Tests to be Conducted | Nominal Value | Pass/Fail | Inspector / Date |
| - Visual Inspection – assembled cavity | Visual Inspection of the assembled cavity for physical damage. | Any Identifying abnormality |  |  |
| - Position of Hardware | Are flanges in the right location on assembled cavity | Do they meet assembly qualification drawing 104211800-M8U-8330-A001 |  |  |
| - Position of Valve | Should be fully closed | Fully Closed |  |  |
| - OAL measurement | Measure cavity flange to flange length (rough measurement) | 50.83 ± 0.12 inches |  |  |
| - Torque Value on Screws | A286 5/16 – 30 ft-lb A286 8-32 – 40 in-lb | Meet minimal torque specifications all bolts |  |  |
| Inspection of Cavity Data and records | Tests to be Conducted | Inspection Data | Pass/Fail | Inspector / Date |
| - Cavity Serial No. | Record Cavity Serial # |  |  |  |
| - Vacuum Leak Check | Review leak check data was cavity leak rate ≤ 1e-9 Torr L /s |  |  |  |
| - Frequency Tuning Data | Check Tuning data Pi (803.95 to 804.06) MHz |  |  |  |
| - Chemistry Data | EP etch data recorded Bulk Removal ≥ 200µm Final Removal ≥100µm |  |  |  |
| - Cell Serialization | Material serialized for tracking |  |  |  |
| Inspection of RF Tuning and Calibration | Tests to be Conducted | Inspection Data | Pass/Fail | Inspector / Date |
| - Measured RF Through Loss | Measured Range: -90.2 ~ -96.7dB (with 48dB gain on field probe) |  |  |  |
| - Frequency Pass Band | Pi (803.95 to 804.06) MHz 5/6pi (803.15 to 803.25) MHz 4/6pi (800.98 to 801.08) MHz 3/6pi (797.97 to 798.07) MHz 2/6pi (794.90 to 795.00) MHz 1/6pi (792.59 to 792.69) MHz |  |  |  |
| Inspection of Cavity Vacuum | Test to be Conducted | Inspection Data | Pass/Fail | Inspector / Date |
| - Vacuum Check | Measure cavity pressure upon valve opening (cleanroom) ≤ 1e-4 Torr |  |  |  |
| - Vacuum Leak Check | Pump cavity and perform leak check ≤ 1e-9 Torr L/s |  |  |  |
| - SME Signoff | Pass | Fail | NCR# |  |