## SRFPJS- ActiveEquip Cal-List
Candidate for Pansophy Data Base | Status | Count In cal | Count Due for Cal | Out for cal /repair | Owner / Property Mgr | Division | Department | Group | Location | Date Received (reference) | Manufacturer | Type (Long Description) | Model | Serial No | JLAB Asset Tag | Frequency of use | Periodic Calibration req'd per Manuf | SRF Re-Cal Interval (Days) | Internally verified date (for reference) | Date shipped | Date Returned | Certificatation (external) Calibration date | Certificate Next Cal due | Where to find Certificate ? | Verification records available ? | Comments , Repaired amount out of cal and for how long etc. | ESH&Q Cal Supplier Serial No (if applicable) | Calibration Supplier | Calibration Certificate - see ESH&Q Docushare | Pansophy Type (description) | Pansophy (Model) | (Pansophy ) Serial | (Pansophy ) JLAB Asset Tag | (Pansophy) Location -2011 | Ref Pansophy Last Cal. | Ref Pansophy Next Cal.
Yes | Good | 1 |  |  | GEORGED | Accelerator | SRFOPS | SRFPJS | TL 58 / 1012 | 03/01/2004 | Hexagon | CMM (PROBEHEAD HEXAGON 2.5 PN:HH-AS8-T2.5 ) | Global FX 9156 (HHAS8T2.5) | 0204-6206 (8R001500 ) | F214193 (F225397) | Daily | Yes | 365 | June & December 2020 |  |  | 2021-03-24 | 2022-03-24 | See ESH Records https://jlabdoc.jlab.org/docushare/dsweb/View/Collection-21851 | See SRFQC- M\cmm\calibration\verification (Jun2020, Nov2020) |  |  | Hexagon |  | C.M.M. | Global FX 9156 | 0204-6206 | F214193 |  | 01-Mar-2005 | 01-Mar-2006
?? | Good | 1 |  |  | GEORGED | [5 empty] | Hexagon | Certified Length Bar -Long (for CMM Verifications) | 32379 | 32379-8112 |  | quarterly |  | 365 |  |  |  | 2020-11-02 | 2021-11-02 | See SRFQC- M\cmm\calibration
?? | Good | 1 |  |  | GEORGED | [5 empty] | Mitutoyo | Absolute Digamatic Height Gage | HDS-H18" | 16101080 |  |  |  | 365 |  | 2020-11-25 | 2020-12-21 | 2020-12-16 | 2021-12-16 |  |  |  | 5035-1080 | Trescal
?? | Good | 1 |  |  | GEORGED | [5 empty] | Mitutoyo | Absolute Digamatic Height Gage - NEW | HDS-H18", SR44SW, 93882 | 30075-SR4 ? | F225034 | weekly |  | 365 |  | 2020-12-21 | 2021-01-14 | 2021-01-11 | 2022-01-11 | NEW November 2020 (came withy no cert - has been certified by Trescal) |  | New - arrived at JLAB 23Nov2020, but no Cal Cert |  | Mitutoyo
?? | Good | 1 |  |  | GEORGED | Accelerator | SRFOPS | SRFPJS | TL 58 / 1012 |  | Mitutoyo | Caliper 40" | CD-40" C | 00010426 | n/a | Annually |  | 365 |  | 2020-11-11 | 2020-11-25 | 2020-11-13 | 2021-11-13 | See ESH Records https://jlabdoc.jlab.org/docushare/dsweb/View/Collection-21851 |  |  | 5035-01347 | Trescal |  | Caliper | CD-40" C | 0001347 | n/a | Test Lab, Room 146B | 13-Jul-2011 | 12-Jul-2012
?? | Good | 1 |  |  | GEORGED | Accelerator | SRFOPS | SRFPJS | TL58 / 1012 |  | Mitutoyo | Caliper 24" | CD-24"C | 0010035 | n/a | Annually |  | 365 |  | 2020-11-11 | 2020-11-25 | 2020-11-13 | 2021-11-13 | See ESH Records https://jlabdoc.jlab.org/docushare/dsweb/View/Collection-21851 |  |  | 5035-10035 |  |  | Caliper | CD-24"C | 0010035 | n/a | Test Lab, Room 146B | 13-Jul-2011 | 12-Jul-2012
?? | Good | 1 |  |  | GEORGED | Accelerator | SRFOPS | SRFPJS | TL 58 / 1012 |  | Mitutoyo | Caliper 12" | CD-12c | 0050109 | n/a | Daily |  | 365 |  | 2020-11-11 | 2020-11-25 | 2020-11-13 | 2021-11-13 | See ESH Records https://jlabdoc.jlab.org/docushare/dsweb/View/Collection-21851 |  |  | 5035-50109 | Trescal |  | Caliper | CD-12C | 0050109 | 0050109 | Test Lab, Room 146B | 13-Jul-2011 | 12-Jul-2012
No?? | Good | 1 |  |  | GEORGED | [5 empty] | Mitutoyo | 0-12 INCH Dial Calipers | 76367127-068 | 418629 |  | infrequent |  | 365 |  | 2020-12-22 | 2021-01-14 | 2021-01-11 | 2022-01-11 | See ESH Records https://jlabdoc.jlab.org/docushare/dsweb/View/Collection-21851 |  | 0-12 inch Dial Calipers - we may decide later to make them for reference only
No?? | Good | 1 |  |  | GEORGED | [5 empty] | Mitutoyo | 0-12 INCH Dial Calipers | 505-645-50 |  |  | infrequent |  | 365 |  | 2020-12-22 | 2021-01-14 | 2021-01-11 | 2022-01-11 | See ESH Records https://jlabdoc.jlab.org/docushare/dsweb/View/Collection-21851 |  | 0-12 inch Dial Calipers - we may decide later to make them for reference only
?? | Out for Cal |  |  | 1 | GEORGED | [5 empty] | Mitutoyo | 0-6 inch Depth Micrometers | 329-350-30 (DMC4-6"MX) | 60013879 |  | infrequent |  | 365 |  | 2020-12-22 | 2021-01-09 | 2021-01-08 | 2022-01-08
?? | Out for Cal |  |  | 1 | GEORGED | Accelerator | SRFOPS | SRFPJS | TL 58 / 1012 |  | Mitutoyo | 6 inch Caliper #2 | 5035-90575 Mitutoyo Digital Caliper 6" | 15190575 |  | Daily |  | 365 |  | 2021-01-26 | 2021-02-17 | 2021-02-16 | 2022-02-16 | See ESH Records https://jlabdoc.jlab.org/docushare/dsweb/View/Collection-21851 |  |  | 5035-90575 | Trescal
?? | Out for Cal |  |  | 1 | GEORGED | Accelerator | SRFOPS | SRFPJS | TL 58 / 1012 |  | Mitutoyo | 6 inch Caliper #1 | 5035-58749 Mitutoyo Digital Caliper 6" | B16058749 |  | Daily |  | 365 |  | 2021-01-26 | 2021-02-17 | 2021-02-16 | 2022-02-16 | See ESH Records https://jlabdoc.jlab.org/docushare/dsweb/View/Collection-21851 |  |  | 5035-58749 | Trescal
?? | Good | 1 |  |  | GEORGED | Accelerator | SRFOPS | SRFPJS | TL58 / 1012 |  | Mitutoyo | Depth Micrometers | DMC4-6" , Model 129-132 | 115575 | n/a |  |  | 365 |  | 2020-11-11 | 2020-12-21 | 2020-11-13 | 2021-11-13 | See ESH Records https://jlabdoc.jlab.org/docushare/dsweb/View/Collection-21851 |  |  | 5035-15575 | Trescal |  | Depth Micrometers | DMC4-6" | 129-132 | n/a | Test Lab, Room 146B | 13-Sep-2011 | 12-Sep-2012
?? | Good | 1 |  |  | GEORGED | Accelerator | SRFOPS | SRFPJS | TL 58 / 1012 |  | Mitutoyo | Micrometer M820-6"st (Box set 193-925) | 193-211 | SN 00011 |  |  |  | 365 |  | 2020-11-11 | 2020-11-25 | 2020-11-13 | 2021-11-13 | See ESH Records https://jlabdoc.jlab.org/docushare/dsweb/View/Collection-21851 |  |  | 5035-00011 | Trescal |  | Micrometers | M820-6"st | 193-211 | 193-211 | Test Lab, Room 146B | [n/a] | [n/a]
?? | Good | 1 |  |  | GEORGED | Accelerator | SRFOPS | SRFPJS | TL 58 / 1012 |  | Mitutoyo | Micrometer M820-6"st (Box set 193-925) | 193-212 | SN 00012 |  |  |  | 365 |  | 2020-11-11 | 2020-11-25 | 2020-11-13 | 2021-11-13 | See ESH Records https://jlabdoc.jlab.org/docushare/dsweb/View/Collection-21851 |  |  | 5035-00012 | Trescal |  | Micrometers | M820-6"st | 193-212 | 193-212 | Test Lab, Room 146B | [n/a] | [n/a]
?? | Good | 1 |  |  | GEORGED | Accelerator | SRFOPS | SRFPJS | TL 58 / 1012 |  | Mitutoyo | Micrometer M820-6"st (Box set 193-925) | 193-213 | SN 00013 |  |  |  | 365 |  | 2020-11-11 | 2020-11-25 | 2020-11-13 | 2021-11-13 | See ESH Records https://jlabdoc.jlab.org/docushare/dsweb/View/Collection-21851 | [5 empty] | Micrometers | M820-6st | 193-213 | 193-213 | Test Lab, Room 146B | [n/a] | [n/a]
?? | Good | 1 |  |  | GEORGED | Accelerator | SRFOPS | SRFPJS | TL 58 / 1012 |  | Mitutoyo | Micrometer M820-6"st (Box set 193-925) | 193-214 | SN 00014 |  |  |  | 365 |  | 2020-11-11 | 2020-11-25 | 2020-11-13 | 2021-11-13 | See ESH Records https://jlabdoc.jlab.org/docushare/dsweb/View/Collection-21851 |  |  | 5035-00014 | Trescal |  | Micrometers | M820-6st | 193-214 | 193-214 | Test Lab, Room 146B | [n/a] | [n/a]
?? | Good | 1 |  |  | GEORGED | Accelerator | SRFOPS | SRFPJS | TL 58 / 1012 |  | Mitutoyo | Micrometer M820-6"st (Box set 193-925) | 193-215 | SN 00015 |  |  |  | 365 |  | 2020-11-11 | 2020-11-25 | 2020-11-13 | 2021-11-13 | See ESH Records https://jlabdoc.jlab.org/docushare/dsweb/View/Collection-21851 |  |  | 5035-00015 | Trescal |  | Micrometers | M820-6"st | 193-215 | 193-215 | Test Lab, Room 146B | [n/a] | [n/a]
?? | Good | 1 |  |  | GEORGED | Accelerator | SRFOPS | SRFPJS | TL 58 / 1012 |  | Mitutoyo | Micrometer M820-6"st (Box set 193-925) | 193-216 | SN 00016 |  |  |  | 365 |  | 2020-11-11 | 2020-11-25 | 2020-11-13 | 2021-11-13 | See ESH Records https://jlabdoc.jlab.org/docushare/dsweb/View/Collection-21851 |  |  | 5035-00016 | Trescal |  | Micrometers | M820-6"st | 193-216 | 193-216 | Test Lab, Room 146B | [n/a] | [n/a]
?? | Good | 1 |  |  | GEORGED | Accelerator | SRFOPS | SRFPJS | TL 58 / 1012 |  | China | Micrometers 0"-1 inch | ID 5035-00023 | SN00023 |  | infrequent |  | 365 |  | 2020-12-21 | 2021-01-14 | 2021-01-12 | 2022-01-12 | See ESH Records https://jlabdoc.jlab.org/docushare/dsweb/View/Collection-21851 |  |  | 5035-00016 | Trescal |  | Micrometers | M820-6"st | 193-216 | 193-216 | Test Lab, Room 146B | [n/a] | [n/a]
No?? | Good - on 3yr cal schedule | 1 |  |  | GEORGED | Accelerator | SRFOPS | SRFPJS | TL 58/1012 |  | Vermont | Pin Gage Set | n/a | n/a | n/a | infrequent |  | 1825 |  |  |  | 2019-06-27 | 2024-06-25 | See ESH Records https://jlabdoc.jlab.org/docushare/dsweb/View/Collection-21851 | [5 empty] | Pin Gage Set | n/a | n/a | n/a | Test Lab, Room 146B | 01-Aug-2011 | 01-Aug-2012
No?? | Good - on 3yr cal schedule | 1 |  |  | GEORGED | [5 empty] | HDI | One Inch Gage Blocks (set of 80, grade B) | n/a | 62584 | none | infrequent |  | 1825 |  |  |  | 2020-08-13 | 2025-08-12 | See ESH Records https://jlabdoc.jlab.org/docushare/dsweb/View/Collection-21851
No?? | Good - on 3yr cal schedule | 1 |  |  | GEORGED | [5 empty] | HDI | One Inch Gage Blocks (set of 80, grade B) | n/a | 50985 | F2- 4669 | infrequent |  | 1825 |  | 2020-11-11 | 2021-01-27 | 2021-01-18 | 2026-01-17 | See ESH Records https://jlabdoc.jlab.org/docushare/dsweb/View/Collection-21851 |  | Never used - no cal cert , sent to calibration on 10Nov2020
No?? | Good - on 3yr cal schedule | 1 |  |  | GEORGED | Accelerator | SRFOPS | SRFPJS | TL 58 / 1012 |  |  | 5035-62584 HDT Gage Block Set | Grade B | 62584 |  | infrequent |  | 1825 |  |  |  | 2020-08-13 | 2025-08-12 | See ESH Records https://jlabdoc.jlab.org/docushare/dsweb/View/Collection-21851 |  |  | 5035-62584 | Trescal
No?? | Good - on 3yr cal schedule | 1 |  |  | GEORGED | [6 empty] | Gage Pins .061-250 | ID 5035-0006 |  |  | infrequent |  | 1825 |  |  |  | 2020-08-03 | 2025-08-02 | See ESH Records https://jlabdoc.jlab.org/docushare/dsweb/View/Collection-21851
No?? | Good - on 3yr cal schedule | 1 |  |  | GEORGED | [6 empty] | Gage Pins 60-110 | ID 5035-91223 |  |  | infrequent |  | 1825 |  |  |  | 2020-08-31 | 2025-08-30 | See ESH Records https://jlabdoc.jlab.org/docushare/dsweb/View/Collection-21851
No?? | Good - on 3yr cal schedule | 1 |  |  | GEORGED | [6 empty] | Gage Blocks 62584 |  |  |  | infrequent |  | 1825 |  |  |  | 2020-08-13 | 2025-08-12 | See ESH Records https://jlabdoc.jlab.org/docushare/dsweb/View/Collection-21851
?? | Good | 1 |  |  | GEORGED | Accelerator | SRFOPS | SRFPJS | TL 58 / 1012 |  | Snap-On | Electronic Torque Wrench Tester | QC2ETT1000 | 0203800004 | n/a | Monthly |  | 365 |  | 2020-11-11 | 2020-11-25 | 2020-11-16 | 2021-11-16 | See ESH Records https://jlabdoc.jlab.org/docushare/dsweb/View/Collection-21851 |  |  | 5035-004ap | Trescal |  | Torque Wrench Tester | QC2ETT1000 | 0203800004 | n/a | Test Lab, Room 146B | 22-Sep-2011 | 21-Sep-2013
?? | Good | 1 |  |  | GEORGED | Accelerator | SRFOPS | SRFPJS | TL 58 / 1012 |  | Snap-On | 5035-0012ap- Electronic Torque Tester | QC2ETT250 | 699800012 | F218714 | Monthly |  | 365 |  | 2020-11-11 | 2020-11-25 | 2020-11-16 | 2021-11-16 | See ESH Records https://jlabdoc.jlab.org/docushare/dsweb/View/Collection-21851 |  |  | 5035-0012ap | Trescal
?? | Good | 1 |  |  | GEORGED | Accelerator | SRFOPS | SRFPJS | TL 58 / 1012 |  | Snap-On | 5035-01041ap-On Torque Wrench (10-50 in.lb) | QD1R50 | 0305301041 |  | Monthly |  | 365 |  | 2021-01-15 | 2021-01-27 | 2021-01-25 | 2022-01-25 | See ESH Records https://jlabdoc.jlab.org/docushare/dsweb/View/Collection-21851 |  | duplicate torque wrench ordered on 23Dec2020 | 5035-01041 | Trescal
?? | Good | 1 |  |  | GEORGED | Accelerator | SRFOPS | SRFPJS | TL 58 / 1012 |  | Snap-On | Snap on Torque Wrench (15-75 in lb) | QD2R200 | 216803197 |  | weekly |  | 365 |  | 2021-01-15 | 2021-01-27 | 2021-01-25 | 2022-01-25 | See ESH Records https://jlabdoc.jlab.org/docushare/dsweb/View/Collection-21851
?? | Good | 1 |  |  | GEORGED | Accelerator | SRFOPS | SRFPJS | TL 58 / 1012 |  | Snap-On | 5035-01201ap-On Torque Wrench (50-200in.Lb) | QD275 | 0602601201 |  | Monthly |  | 365 |  | 2021-01-15 | 2021-01-27 | 2021-01-25 | 2022-01-25 | See ESH Records https://jlabdoc.jlab.org/docushare/dsweb/View/Collection-21851 |  | duplicate torque wrench ordered on 23Dec2020 | 5035-01201ap | Trescal
?? | Good | 1 |  |  | GEORGED | Accelerator | SRFOPS | SRFPJS | TL 58 / 1012 |  | Snap-On | Snap on Torque Wrench (10-50 in.lb) | QD1R50 | 420503177 |  | weekly |  | 365 |  |  |  | 2021-01-15 | 2022-01-15 | See ESH Records https://jlabdoc.jlab.org/docushare/dsweb/View/Collection-21851 |  | new - arrived 15Jan2021
?? | Good | 1 |  |  | GEORGED | Accelerator | SRFOPS | SRFPJS | TL 58 / 1012 |  | Snap-On | Snap on Torque Wrench (15-75 in lb) | QD2R200 | 219500767 |  | weekly |  | 365 |  |  |  | 2021-01-15 | 2022-01-15 | See ESH Records https://jlabdoc.jlab.org/docushare/dsweb/View/Collection-21851 |  | new - arrived 15Jan2021
?? | Good | 1 |  |  | GEORGED | Accelerator | SRFOPS | SRFPJS | TL 58 / 1012 |  | Snap-On | Snap on Torque Wrench 50-200 Lb | QD275A | 320123955 |  | weekly |  | 365 |  |  |  | 2021-01-15 | 2022-01-15 | See ESH Records https://jlabdoc.jlab.org/docushare/dsweb/View/Collection-21851 |  | new - arrived 15Jan2021
?? | Good | 1 |  |  | GEORGED | Accelerator | SRFOPS | SRFPJS | TL 58 / 1012 | 06/29/2017 | ALPHALAB INC | GAUSSMETER VECTOR/MAGNITUDE | VGM | 1169 | F225361 | infrequent |  | 365 |  | 2020-12-23 | 2021-01-14 | 2021-01-11 | 2022-01-11 | See ESH Records https://jlabdoc.jlab.org/docushare/dsweb/View/Collection-21851 |  | DO NOT USE - Tagged, will need to go out to be cerified before next use Per Larry King Gausmeter could be calibrated by the manufacturer for $180, if TruCal can’t do it. https://www.alphalabinc.com/product/cal-vgm/ |  | alphalabinc.com
?? | Good | 1 |  |  | GEORGED | Accelerator | SRFOPS | SRFPJS | TL 58 / 1012 | 2019-01-30 | Phase II | Portable hardness tester | PHT-2100 | PHO116021815 | F224752 | infrequent |  | 365 |  | 2020-11-11 | 2020-11-25 | 2020-11-17 | 2021-11-17 | See ESH Records https://jlabdoc.jlab.org/docushare/dsweb/View/Collection-21851 |  | New tester- Jan2019 (note that the last time hardness was tested might have been for 12 GEV, in 2012)
?? | Good | 1 |  |  | Liang Zhao | Accelerator | SRFOPS | SRFPJS | TL 58 / 1012 | Nov2020 | Mitutoyo | Prolfilometer | 178-561-02A | 601901901 | F225023 | weekly |  | 365 |  | 2021-01-06 | 2021-01-14 | 2021-01-12 | 2022-01-12 | See ESH Records https://jlabdoc.jlab.org/docushare/dsweb/View/Collection-21851 |  | New - arrived at JLAB 09Nov2020 but no CAL Cert ? |  | Mitutoyo
?? | Good | 1 |  |  | Liang Zhao | Accelerator | SRFOPS | SRFPJS | TL 58 / 1012 |  | Mitutoyo | Prolilometer - QC | 178-561-02A | 517391507 | P225059 | weekly |  | 365 |  | 2020-11-05 | 2021-01-25 | 2021-01-15 | 2022-01-15 | See ESH Records https://jlabdoc.jlab.org/docushare/dsweb/View/Collection-21851 |  | sent for Estimate on repair/Cal to Mitutoyo 05Nov2020 |  | Mitutoyo
?? | Good | 1 |  |  | Liang Zhao | Accelerator | SRFOPS | SRFPJS | TL 58 / 1012 |  | Mitutoyo | Prolilometer - QC | 178.561.02A | 615701908 | F224895 | weekly |  | 365 |  | 2021-01-15 | 2021-02-05 | 2021-01-28 | 2022-01-28 | See ESH Records https://jlabdoc.jlab.org/docushare/dsweb/View/Collection-21851 |  | Date Received at JLAB 2/7/2020, according tp Property mgmt system however no cert |  | Mitutoyo
[8 empty] | Z |  |  | 92.5% | << Percent Total Assets with up to date Cal Cert (includes assets that are out for cal, or pulled from service )
[11 empty] | 100% | << Available on site with up to date Cal Cert (removes any taken out of service or out for calibration)
| Number on list | [9 empty] | 40
| Number out for cal | [9 empty] | 3
| Removed from service or Ref | [9 empty] | 0
| Number overdue for calibration | [9 empty] | 0
| Number with up to date Cert | [9 empty] | 37 | 40
Notes :
1. Test & Dial gages indicators are "zero " instruments and are to be used for reference only
2. Unlabelled instruements or instruements not on this list are not under calibration control, and are for reference only
| TBD (belongs to SRFR&D) |  | 1 |  | R. Geng | Accelerator | SRFOPS | SRFPJS | Structures Lab |  | FARRO | FARRO - Edge Manufactured June 30, 2017 | FARRO - Edge Rev 4.3 | E09-05-15179 | F225389 |  |  | 365 |  | 2021-01-26 |  | 2017-08-30 | 2018-08-30 | see Gigi (current owner)
| returned from repair in Jan/21 | 1 | [8 empty] | Mitutoyo | Prolilometer- Lapping | 178.561.02A | 6000381902 | F227690 | weekly |  | 365 |  | 2020-11-05 |  | about Jan2021 |  | see Alex |  | sent for Estimate on repair/Cal to Mitutoyo 05Nov2020 |  | Mitutoyo
Formulas:
Certificate Next Cal due = X2+[SRF Re-Cal Interval (Days)]
Note on G1: E. Anne McEwen: Owner as defined by JLAB Property Mgmt.
Note on Q1: E. Anne McEwen: JLAB CFO requires property tags when an item meets the following criteria : - > $10K Durable Goods , and if maintenance is required - > $300 - anything sensitive, pilferable etc.
Note on R1: E. Anne McEwen: Frequency of use used to determine frequency for calibration check
Note on T1: E. Anne McEwen: 1 yr., 2 yr., 3 yr. 5 yr. , or not required (infrequently used, user responsible )
Note on U1: see M dirve CMM
Note on Y1: E. Anne McEwen: Rules set as follows : Yellow : 30 days before due date RED : if overdue Can be changed if we want earlier
Note on Z1: E. Anne McEwen: Was instrument found out of calibration? If so by how much ? This can be used as a criteria to increase frequency of calibration
Note on AB1: E. Anne McEwen: Was instrument found out of calibration? If so by how much ? This can be used as a criteria to increase frequency of calibration
Note on AM1: E. Anne McEwen:
Note on AD6: was Accucal
Note on B22: 3 yr interval based on profesional jusdgement of CMM/QC Technicians
Note on T22: E. Anne McEwen: based on professional jusdgement of CMM Technicians (E. Mosby)
Note on B23: 3 yr interval based on profesional jusdgement of CMM/QC Technicians
Note on T23: E. Anne McEwen: based on professional jusdgement of CMM Technicians (E. Mosby)
Note on B24: 3 yr interval based on profesional jusdgement of CMM/QC Technicians
Note on T24: E. Anne McEwen: based on professional jusdgement of CMM Technicians (E. Mosby)
Note on B25: 3 yr interval based on profesional jusdgement of CMM/QC Technicians
Note on T25: E. Anne McEwen: based on professional jusdgement of CMM Technicians (E. Mosby)
Note on B26: 3 yr interval based on profesional jusdgement of CMM/QC Technicians
Note on T26: E. Anne McEwen: based on professional jusdgement of CMM Technicians (E. Mosby)
Note on B27: 3 yr interval based on profesional jusdgement of CMM/QC Technicians
Note on T27: E. Anne McEwen: based on professional jusdgement of CMM Technicians (E. Mosby)
Note on B28: 3 yr interval based on profesional jusdgement of CMM/QC Technicians
Note on T28: E. Anne McEwen: based on professional jusdgement of CMM Technicians (E. Mosby)
Note on X34: E. Anne McEwen: Date on cert 24 Apr2020, first day of use 15 Jan2021
Note on X35: E. Anne McEwen: 2/7/2019 on cert, first day of use Jan 15, 2021
Note on X36: E. Anne McEwen: Date on Cert 20Mar2020, first day of use 15Jan2021
Note on B42: E. Anne McEwen: percent in Cal
Note on M42: E. Anne McEwen: percent in Cal
Note on M43: E. Anne McEwen: percent in Cal
Note on B57: E. Anne McEwen: remove from CMM/Inspection Reguister, to be mainatined by Lapping Room in future

## Verification Traveler Fields
Proposed fields for SRF Inspection Group verification Traveler
[5 empty] | Hard code into traveler | [6 empty] | User entries
Project (for Traveler) | Work center | Manufacturer | Instrument | Optional - Type (Long Description) | Model | Serial No | JLAB Asset Tag | SRF Acceptance Crietria (+/-) | Units for accetance crieteria | Pass Fail radio Button | Date | SRF USER | Comments | Upload field (reports & photos
Verify | INSP | Hexagon | CMM | C.M.M. | Global FX 9156 | 0204-6206 | F214193 | 0.001 | inches
Verify | INSP | Hexagon | CMM | PROBEHEAD HEXAGON 2.5 PN:HH-AS8-T2.5 | HHAS8T2.5 | 8R001500 | F225397 | 0.001 | inches
Verify | INSP | Snap-On | Torque Wrench | 5035-01041ap-On Torque Wrench (no sparre) | QD1R50 | 0305301041
Verify | INSP | Snap-On | Torque Wrench | 5035-03197ap-On Torque Wrench (no spare) | 40-200 IN/LB | 0216803197
Verify | INSP | Snap-On | Torque Wrench | 5035-01201ap-On Torque Wrench (no spare) | QD275 | 0602601201
Verify | INSP | Snap-On | Torque Wrench | Snap on Torque Wrench 50-200 Lb (no spare) | QD2R-200
Verify | INSP | Mitutoyo | Prolfilometer | Prolfilometer | 178-561-02A | 601901901 | F225023
Verify | INSP | Mitutoyo | Prolfilometer | Prolilometer - QC | 178-561-02A | 517391507
Verify | Chem | Mitutoyo | Prolfilometer | Prolilometer- Lapping | 178.561.02A | 6000381902 | F227690
Verify | INSP | Mitutoyo | Prolfilometer | Prolilometer - QC | 178.561.02A | 615701908 | F224895
Note on H5: E. Anne McEwen: JLAB CFO requires property tags when an item meets the following criteria : - > $10K Durable Goods , and if maintenance is required - > $300 - anything sensitive, pilferable etc.

## SRFPJS-Property NoCal Req'd Ref
Status |  | Count In cal | Count Due for Cal | Out for cal /repair | Owner / Property Mgr | Division | Department | Group | Location | Date Received (reference) | Manufacturer | Type (Long Description) | Model | Serial No | JLAB Asset Tag | Frequency of use | Periodic Calibration req'd per Manuf | SRF Re-Cal Interval (Days) | Internally verified date (for reference) | Date shipped | Date Returned | Certificatation (external) Calibration date | Certificate Next Cal due | Where to find Certificate ? | Verification records available ? | Comments , Repaired amount out of cal and for how long etc. | ESH&Q Cal Supplier Serial No (if applicable) | Calibration Supplier | Calibration Certificate - see ESH&Q Docushare | Pansophy Type (description) | Pansophy (Model) | (Pansophy ) Serial | (Pansophy ) JLAB Asset Tag | (Pansophy) Location -2011 | Ref Pansophy Last Cal. | Ref Pansophy Next Cal.
N/A | In Use - 11Feb2019 |  |  | GEORGED | GEORGED | Accelerator | SRFOPS | SRFPJS |  | TL 58 / 1012 |  |  | GRANITE SURFACE PLATE W/STAND | 670185 | F22741 |  | N/A | not req'd - for ref. only |  |  |  |  | not req'd - for ref. only | not req'd - for ref. only
N/A | In Use - 11Feb2019 |  |  | GEORGED | GEORGED | Accelerator | SRFOPS | SRFPJS |  | TL 58 / 1012 | 2004-03-01 | CANNON | CAMERA CANON EOS 50D 15.1MP DIGITAL | 211620718452 | F18073 |  | N/A | No
Note on F1: E. Anne McEwen: Owner as defined by JLAB Property Mgmt.
Note on P1: E. Anne McEwen: JLAB CFO requires property tags when an item meets the following criteria : - > $10K Durable Goods , and if maintenance is required - > $300 - anything sensitive, pilferable etc.
Note on Q1: E. Anne McEwen: Frequency of use used to determine frequency for calibration check
Note on S1: E. Anne McEwen: 1 yr., 2 yr., 3 yr. 5 yr. , or not required (infrequently used, user responsible )
Note on T1: see M dirve CMM
Note on X1: E. Anne McEwen: Rules set as follows : Yellow : 30 days before due date RED : if overdue Can be changed if we want earlier
Note on Y1: E. Anne McEwen: Was instrument found out of calibration? If so by how much ? This can be used as a criteria to increase frequency of calibration
Note on AA1: E. Anne McEwen: Was instrument found out of calibration? If so by how much ? This can be used as a criteria to increase frequency of calibration
Note on AL1: E. Anne McEwen:

## SRFPJS Obsolete-Lost-Excess
Status | Date deleted and/or Removed from PM System | Count In cal | Count Due for Cal | Out for cal | Owner | Custodian | Division | Department | Group | Location | Date Received (reference) | Manufacturer | Type (Long Description) | Model | Serial No | JLAB Asset Tag | Frequency of use | Periodic Calibration req'd per Manuf | SRF Re-Cal Interval (Days) | Internally Recalibrated date (for reference) | Date shipped (Debbie) | Date Returned (Debbie) | Certificatation (external) Calibration date | Certificate Next Cal due | Comments , Repaired amount out of cal and for how long etc. | date recalibrated | ESH&Q Cal Supplier No (if applicable) | Calibration Supplier | Calibration Certificate | ESH&Q Cal Supplier No (if applicable) | ESH&Q Item/ Link to cert from ESH&Q | ESH&Q Model | EHS&Q Serial | EHS&Q JLAB Tag | EHS&Q Last Cal. | EHS&Q Next Cal - is always assumed to be the next year | Pansophy Type (description) | Pansophy (Model) | (Pansophy ) Serial | (Pansophy ) JLAB Asset Tag | (Pansophy) Location -2011 | Ref Pansophy Last Cal. | Ref Pansophy Next Cal.
Reported Missing to Property Mgmt- to be written off 25Jan2019 | Reported Lost 1/25/2019 |  |  |  | McEwen | GEORGED | Accelerator | SRFOPS | SRFPJS |  | 1994-11-08 |  | DIGITAL ANEMOMETER | DA4000 | 4000-94-097397 | F25683 |  |  | 365
Broken | Reported broken 7/29/2015 |  |  |  | GEORGED | GEORGED | Accelerator | SRFOPS | SRFPJS | EXCESS to property |  |  | Mitutoyo Caliper 40" Repair expensive. Cheaper to replace. | CD-40" | 0001347 | n/a | [6 empty] | 2014-07-29 |  |  | 5035-01347 | AcuCal | AcuCal | 5035-01347 Mitutoyo Digital Caliper
Broken | Reported broken 3/13/2018 |  |  |  | N/A | GEORGED | Accelerator | SRFOPS | SRFPJS | EXCESS to property |  |  | Snap-On Electronic Torque Tester. $1,000 repair estimate | QC2ETT1000 | 105800004 | n/a | [11 empty] | AcuCal
Broken | Reported broken 1/5/2015 |  |  |  | N/A | GEORGED | Accelerator | SRFOPS | SRFPJS | TL 58 / Rm 1012 |  |  | Mitutoyo 6" Caliper. AcuCal SN 5035-43668 | 500-351 | 7043668 | n/a | [11 empty] | AcuCal
Inoperative | 2019-04-11 |  |  |  | N/A | GEORGED | Accelerator | SRFOPS | SRFPJS | Unknown |  |  | 5035-00046 Micro-Lite Light Source | FL3000 | 46 | F220987 | [13 empty] | 5035-00046 | 5035-00046 Micro-Lite Light Source | FL3000 | 46 |  | 2017
Lost | 2019-04-11 |  |  |  | N/A | N/A | Accelerator | SRFOPS | SRFPJS | Unknown |  |  | Micrometers | 436RL-1
Transferred | 2019-07-09 |  |  |  | Fischer | N/A | Accelerator | SRFOPS | SRFPJS |  |  |  | Calibrated Helium Leak Rate transferred to John Fischer | SC10-100 | 8728
Lost | 2019-07-09 |  |  |  | N/A | N/A | Accelerator | SRFOPS | SRFPJS | Unknown |  |  | Micrometers | GAGE-0505-1 | 12891
Lost | 2020-02-25 |  |  |  | N/A | GEORGED | Accelerator | SRFOPS | SRFPJS | Unknown |  | Mitutoyo | Micrometers | CPM30-1"K | 142-225 |  |  |  | 365 |  |  |  | 2015-10-16 | 2016-10-15 |  |  | 5035-00022 | AcuCal | 5035-00022 Mitutoyo Micrometer | 5035-00022 | 5035-00022 Mitutoyo Micrometer | 142-225 | 00022 |  | 2015 |  | Micrometers | CPM30-1"K | 142-225 | 142-225 | Test Lab, Room 146B | 13-Sep-2011 | 12-Sep-2012
Lost | 2020-02-25 |  |  |  | N/A | GEORGED | Accelerator | SRFOPS | SRFPJS | Unknown |  | Keithley | 5035-62447 Keithley Auto ranging Pico ammeter | 485 | 462447 |  |  |  | 365 |  |  |  | 2017-04-18 | 2018-04-18 |  |  | 5035-62447 | AcuCal | 5035-62447 Keithley Auto ranging Pico ammeter | 5035-62447 | 5035-62447 Keithley Auto ranging Pico ammeter | 485 | 462447 |  | 2017
Lost | 2020-02-25 |  |  |  | N/A | GEORGED | Accelerator | SRFOPS | SRFPJS |  |  | Agilent | 5035-00433 Agilent/HP/Deysight Spectrum Analyzer | 8595E | 3337A00433 | F215564 |  |  | 365 |  |  |  | 2018-04-13 | 2019-04-13 |  |  | 5035-00433 | AcuCal | 5035-00433 Agilent/HP/Deysight Spectrum Analyzer | 5035-00433 | 5035-00433 Agilent/HP/Deysight Spectrum Analyzer | 8595E | 3337A00433 | F215564 | 2018
Transferred to lapping | In Use -11Feb2019 |  |  |  | N/A | GEORGED | Accelerator | SRFOPS | SRFPJS | TL 58 / 1012 |  | Mitutoyo | SURFACE ROUGHNESS TESTER ELEC | SJ-201P | 110726 | SNS00004 |  |  | 365 |  |  |  | 2017-08-28 | 2018-08-28 |  |  | 5035-01004 | AcuCal | 5035-01004 Mitutoyo Surface Roughness Tester | 5035-01004 | 5035-01004 Mitutoyo Surface Roughness Tester | SJ-210 | 103201004 |  | 2017 |  | Surface Roughness Tester | SJ-210 | 103201004 | n/a | Test Lab, Room 146B | 22-Aug-2011 | 22-Aug-2012
Broken | Reported Broken (TRESCAL) 07Jan2021 |  |  | 1 | [7 empty] | Mitutoyo | 0-6 inch Digimatic Calipers | 500-351 | 7043668 |  | infrequent |  |  |  | 2020-12-22 | [5 empty] | 07Jan2021- TRESCAL reported Calipers are beyond economical repari and should be disposed of
Formulas:
Certificate Next Cal due = X10+[SRF Re-Cal Interval (Days)]
Note on F1: E. Anne McEwen: Owner as defined by JLAB Property Mgmt.
Note on R1: E. Anne McEwen: Frequency of use used to determine frequency for calibration check
Note on T1: E. Anne McEwen: 1 yr., 2 yr., 3 yr. 5 yr. , or not required (infrequently used, user responsible )
Note on Y1: E. Anne McEwen: Rules set as follows : Yellow : 30 days before due date RED : if overdue Can be changed if we want earlier
Note on Z1: E. Anne McEwen: Was instrument found out of calibration? If so by how much ? This can be used as a criteria to increase frequency of calibration
Note on AK1: E. Anne McEwen:
Note on AL1: E. Anne McEwen:
Note on AS1: E. Anne McEwen:
Note on AK6: E. Anne McEwen: based on date when MJ Bailey up loaded Cal file to Docushare, not based on Cal Certificate
Note on AK10: E. Anne McEwen: based on date when MJ Bailey up loaded Cal file to Docushare, not based on Cal Certificate
Note on AK11: E. Anne McEwen: based on date when MJ Bailey up loaded Cal file to Docushare, not based on Cal Certificate
Note on AK12: E. Anne McEwen: based on date when MJ Bailey up loaded Cal file to Docushare, not based on Cal Certificate
Note on AK13: E. Anne McEwen: based on date when MJ Bailey up loaded Cal file to Docushare, not based on Cal Certificate

## Suppliers for Calibration
JLAB ESH preferred Supplier for most Calibrations (Blanket order set up - notify Debbie Griffitth to have instruements sent for calibration, then during covid, take instruements to shipping | Trescal USA
Tracey McFadden
Tel: +01 252 337 9975 EXT: 2705 ¦ Mobile: +01 540 905 5678
Email : tracey.mcfadden@trescal.us
Address : 108 ENTERPRISE DRIVE - Elizabeth City NC 27909 - United States
ALPHA LAB Inc (Gaussmeter) | Per Larry King Gausmeter could be calibrated by the manufacturer for $180, if TruCal can’t do it. https://www.alphalabinc.com/product/cal-vgm/
https://www.alphalabinc.com/product/cal-vgm/
Mitutoyo - Proilometers | Mitutoyo

## ISO Requirement for Calibration
Requirements for ISO 9001:2015 Calibration requires Procedure and records
7.1.5.2 Measurement traceability
When measurement traceability is a requirement, or is considered by the organization to be an essential part of providing confidence in the validity of measurement results, measuring equipment shall be:
a) calibrated or verified, or both, at specified intervals, or prior to use, against measurement standards traceable to international or national measurement standards; when no such standards exist, the basis used for calibration or verification shall be retained as documented information;
b) Identified in order to determine their status;
c) Safeguarded from adjustments, damage or deterioration that would invalidate the calibration status and subsequent measurement results.
The organization shall determine if the validity of previous measurement results has been adversely affected when measuring equipment is found to be unfit for its intended purpose, and shall take appropriate action as necessary.
Documents (Procedure) and Record (records corresponding to the procedure)
Typcial questions from an auditor
7.1.5.2 Measurement traceability
(1) When measurement traceability is a requirement or essential for providing confidence in measurements, is measuring equipment:
(1a) calibrated, verified or both, at specified intervals or prior to use against measurement standards traceable to international or national measurement standards? When no such standards exist, the basis used for calibration or verification shall be retained as DI.(1b) identified in order to determine its status?
(1c) safeguarded from adjustments, damage or deterioration that would invalidate the calibration status and subsequent measurement results?
(2) Has the organization determined if the validity of previous measurement results has been adversely affected when measuring equipment is found to be unfit for its intended purpose, and taken appropriate action as necessary?

## EHS&Q Docushare SRF
List of Calibrated Equipment having SRF Staff as Owners (converted by V.Bookwalter from Word Doc file of MJBailey 4Feb2019)
Owner | Item | Model | Serial | JlabTag | Last Cert | NOTES
Fischer, John | NONE
Worland, Ken | NONE
Legg, Bob | NONE
Reilly, Anthony | NONE
Cheng, Gary | NONE
Clemens, Bill | NONE
Davis, Kirk | 5035-00440 Agilent/HP/Keysight Multimeter | 34410A | MY47000440 | F222520 | 2018
Davis, Kirk | 5035-08854 Agilent Frequency Counter | 53181A | MY400088545 | F222333 | 2017 | ENG
Anderson Mitchell, Ashley | NONE
Forehand, Danny | 5035-0031 Agilent/HP/Keysight Network ENA Series Analyzer | E5061B | SG49200031 | F223615 | 2018
Forehand, Danny | 5035-10364 LDS Vacuum Products Calibrated Gas Leak Standard | SC-100 | 10364 |  | 2018
Forehand, Danny | 5035-01628ap-On Tools | QD2FR75 | 602401628 |  | 2018
Forehand, Danny | 5035-11115 LDS Vacuum Products Calibrated Gas Leak Standard | SC-10D | 11115 |  | 2016
Forehand, Danny | 5035-10498 LDS Vacuum Products Calibrated Gas Leak Standard | SC-10D | 10498 |  | 2016
Forehand, Danny | 5035-11082 LDS Vacuum Products Calibrated Gas Leak Standard | SC-10D | 11082 |  | 2016
Forehand, Danny | 5035-11117 LDS Vacuum Products Calibrated Gas Leak Standard | SC-10D | 11117 |  | 2016
Forehand, Danny | 5035-10099 LDS Vacuum Products Calibrated Gas Leak Standard | SC-100 | 10099 |  | 2016
Forehand, Danny | 5035-11118 LDS Calibrated Gas Leak Standard | SC-10D | 11118 |  | 2016
Forehand, Danny | 5035-01626ap On Torque Wrench | QD2FR75 | 602401626 |  | 2016
Forehand, Danny | 5035-00067 Agilent/HP/Keysight Network ENA Series Analyzer | E5061B | SG49400067 | F223903 | 2016
Forehand, Danny | 5035-04011 Lighthouse Particle Counter | Solair 3100 | 121004011 | F223624 | 2014
Forehand, Danny | Agilent 2-Port Vector Network Analyzer US38431754 | 8753ES | US38431754 | F46525 | 2014
Goodman, Tom | NONE
King, Larry | 5035-20044 Agilent/HP/Keysight | 3644A | MY50220044 |  | 2018
King, Larry | 5035-40008 Agilent/HP/Keysight Power Supply | E3642A | MY51040008 | F223346 | 2018
King, Larry | 5035-03779 Agilent H/P Frequency Counter | 53181A | 3736A03779 | F220347 | 2018
King, Larry | 5035-0540 Agilent HP Multimter | 34410A | MY53000540 |  | 2018
King, Larry | 5035-02924 Agilent HP Frequency Counter | 53181A | SG40002924 |  | 2018
King, Larry | 5035-3258 Druck Pressure Module | MCX-PM | JSA-10-C2946 |  | 2012
King, Larry | 5035-1486 Druck Calibrator Unomat | MCX | 1486 | F221069 | 2012
King, Larry | 5035-0944 Druck Pressure Module | MCX-PM | 944 |  | 2012
King, Larry | 5035-06577 HP Multimeter | 34401A | 3146A06577 |  | 2016
King, Larry | 5035-0943 Druck Pressure Module | MCX-PM | 943 |  | 2012
King, Larry | 5035-06213 HP Power Meter | 438A | 3008A06213 | F26988 | 2011
King, Larry | 5035-00030 McDaniel Pressure Gage | 0-3000 PSI |  |  | 2012
King, Larry | 5035-00031 McDaniel Pressure Gage | 0-1000 PSI |  |  | 2012
King, Larry | 5035-00029 McDaniel Pressure Gage | 0-5000 PSI |  |  | 2012
King, Larry | 5035-00027 Ashcroft Pressure Gage | 0-1000PSI | 00027 |  | 2012
King, Larry | 5035-00036 Swagelock Pressure Gage | 0-30 PSI |  |  | 2012
King, Larry | 5035-00034 Ashcroft Test Gage | 0-200 PSI |  |  | 2012
King, Larry | 5035-00008 Ashcroft Pressure Gage | 0-1000PSI | 00008 |  | 2012
King, Larry | 5035-63601 Boonton Power Meter | 4532 | 163601 | F221149 | 2016
King, Larry | 5035-04202 Agilent Frequency Counter | 53181A | 3736A04202 | F220368 | 2016
King, Larry | 5035-2322 Boonton Power Sensor | 57518 | 2322 |  | 2016
King, Larry | 5035-20201 Boonton Power Meter | 4532 | 120201 | F218678 | 2016
King, Larry | 5035-3101 Boonton Peak Power Sensor | 57518 | 3101 |  | 2016
King, Larry | 5035-1034 Boonton Power Sensor | 57518 | 1034 |  | 2016
King, Larry | 5035-5753 Boonton Peak Power Sensor | 57518 | 5753 |  | 2016
King, Larry | 5035-09265 Agilent HP Function Generator | 3314A | 2734A09265 | F23330 | 2015
King, Larry | 5035-11230 Boonton Electronics Power Meter (ENG) | 4532 | 11230 | F222571 | 2015
King, Larry | 5035-11231 Boonton Power Meter (ENG) | 4532 | 11231 | F222569 | 2015
King, Larry | 5035-5792 Boonton Electronics Peak Power Sensor (ENG) | 57518 | 5792 |  | 2015
King, Larry | 5035-30801 Boonton Electronics Power Meter | 4532 | 130801 | F218781 | 2015
King, Larry | 5035-00438 Agilent/HP 6 1/2 Digit Multimeter | 34410A | SG47000438 |  | 2015
King, Larry | 5035-3238 Boonton Electronics Peak Power Sensor | 57518 | 3238 |  | 2015
King, Larry | 5035-5752 Boonton Electronics Peak Power Sensor | 57518 | 5752 |  | 2015
King, Larry | 5035-2367 Boonton Electronics Peak Power Sensor | 57518 | 2367 |  | 2015
King, Larry | 5035-2332 Boonton Electronics Peak Power Sensor | 57518 | 2332 |  | 2015
King, Larry | 5035-3893 Boonton Electronics Peak Power Sensor | 57518 | 3893 |  | 2015
King, Larry | 5035-10684 HP Multimeter | 3458A | 2823A10684 | F2-15595 | 2015
King, Larry | 5035-00532 Giga-Tronics Hanheld Power Meter | 3410A | 3100532 | F214866 | 2015
King, Larry | 5035-2319 Boonton Peak Power Sensor ENG | 57518 | 2319 |  | 2015
King, Larry | 5035-7045 Boonton Electronics Peak Power Sensor | 57516 | 7045 |  | 2015
King, Larry | 5035-2511 Boonton Peak Power Sensor | 57518 | 2511 |  | 2015
King, Larry | 5035-11236 Boonton RF Pwer Meter | 4532 | 111236 |  | 2015
King, Larry | 5035-2806 Boonton Peak Power Sensor | 57518 | 2806 |  | 2015
King, Larry | 035-14301 Boonton Power Meter | 4532 | 114301 |  | 2015
King, Larry | 5035-2807 Boonton Peak Power Meter (ENG) | 57518 | 2807 |  | 2015
King, Larry | 5035-33701 Boonton RF Power Meter |  |  |  | 2015
King, Larry | 5035-2827Boonton Peak Power Sensor (ENG) | 57518 | 2827 |  | 2015
King, Larry | 5035-63501 Boonton RF Power Meter | 4532 | 163501 | F2-21150 | 2015
King, Larry | 5035-3891 Boonton Peak Power Sensor |  |  |  | 2015
King, Larry | 5035-3892 Boonton Power Meter ENG | 57518 | 3892 |  | 2015
King, Larry | 5035-00579 Agilent/HP Multimeter | 34410A | MY53000579 |  | 2015
King, Larry | 5035-02960 HP Agilent Frequency Counter | 53181A | MY40002960 | F218723 | 2015
King, Larry | 5035-00437 Agilent 6 1/2 Digit Multimeter | 34401A | SG4700037 |  | 2015
King, Larry | 5035-Q8608 Ashcroft Pressure Gage | 0-400 PSI | Q-8608 |  | 2014
King, Larry | 5035-98333 HP Agilent Power Sensor | 8481A |  |  | 2014
King, Larry | 5035-60298 HP Agilent ESG-AP Series Signal Generator | E4424B |  | F218683 | 2014
King, Larry | 5035-5791 Boonton Electronics - Peak Power Sensor | Failed |  |  | 2014
King, Larry | 5035-13059 Boontown Electronics, RF Power Meter | 4532 F |  | F223156 | 2014
King, Larry | 5035-11235 Boonton Electronics RF Power Meter | 4532 |  | F222568 | 2014
King, Larry | 5035-02768 HP Agilent Power Meter | 437B |  | F208893 | 2014
King, Larry | 5035-00026 Ashcroft Pressure Gage | 0-100PSI | 00026 |  | 2014
Kushnick, Pete | 5035-01386 Agilent.HP EPM Series Power Meter | E4418B | SG45101386 | F222709 | 2018
Kushnick, Pete | 5035-07882 Agilent Power Meter | E4418B | GB40207882 | F220949 | 2018 | Cal 7/12/13
Kushnick, Pete | 5035-24000 Agilent/HP/Keysight | N8482H | MY5424000 |  | 2018
Kushnick, Pete | 5035-56041 Agilent/HP/Keysight EPM Series Power Meter | N1913A | MY54256041 | F223889 | 2018
Kushnick, Pete | 5035-04776 Agilent EPM Series Power Meter | E4418B | MY45104776 | F222339 | 2017
Kushnick, Pete | 5035-00296 Agilent Power E-Series CW Sensor | E4412A | SG41500296 |  | 2017 | ENG
Kushnick, Pete | 5035-04777 Agilent EMP Series Power Meter | E4418B | MY45104777 |  | 2017
Kushnick, Pete | 5035-01302 Agilent Power E-Series CW Sensor | E4412A | MY41501302 |  | 2017 | ENG
Kushnick, Pete | 5035-01304 Agilent E-Series CW Power Sensor | E4412A | MY41501304 |  | 2017
Kushnick, Pete | 5035-04775 Agilent EPM Series Power Meter | E4418B | MY45104775 |  | 2017 | ENG
Kushnick, Pete | 5035-87817 Agilent E Series CW Power Sensor | E4412A | US38487817 | JSA-10-C2946 | 2014
Kushnick, Pete | 5035-86590 Hewlett Packard E Series CW Power Sensor | E4412A | US38486590 |  | 2014
Kushnick, Pete | 5035-00137 Agilent E Series CW Power Sensor | E4412A | MY49000137 | JSA-10-C2946 | 2014
Kushnick, Pete | 5035-00005 Agilent Power Sensor | N8482H | MY5020005 | JSA-10-C2946 | 2014
Kushnick, Pete | Ametek Power Supply J00411511 | Sorensen XPH18-10 | J00411511 |  | 2014
Kushnick, Pete | Ametek Power Supply J00411512 | Sorensen XPH18-10 | J00411512 |  | 2014
Owen, Peter | NONE
Stirbet, Mircea | 5035-03902 Various Torque Wrench | 1501MRPH | 1216803902 |  | 2018
Stirbet, Mircea | 5035-03920 Various Torque Wrench | 1501MRPH | 1216803920 |  | 2018
Wilson, Christiana | NONE
Zhao, Liang | NONE
Denny, Philip | NONE
Barnes, Calvin | NONE
Castagnola, Steve | 035-22739 Climet Laser Particle Counter | C1-400-0-1-1 | 033739 |  | 2012
Dail, Derrick | NONE
Dickey, Mike | NONE
Drury, Mike | 5035-06616 HP Power Meter 438A | 438A | 3008A06616 | F26207 | 2011
Drury, Mike | 5035-1026 HP Power Sensor | 8481A | 2702A71026 | F209011 | 2012
Drury, Mike | 5035-06618 Agilent/HP Power Meter | 438A |  | F2-6206 | 2014
Dutton, Stephen | NONE
Humphry, Frank | 5035-11408 Biotest AG Airborne Particle Counter | 942300 | B1201-1408 |  | 2016
Solopova, Anna | NONE
Follkie, Jim | NONE
Henry, James | NONE
Huque, Naeem | NONE
Legg, Bob | NONE
Fischer, John | NONE
Macha, Kurt | 5035-04025 Lighthouse Particle Counter | Solair 3100T |  | F218810 | 2011
McEwen, E. Anne | NONE
Bookwalter, Valerie | NONE
McDonald, Megan | NONE
DeKerlegand, George | 5035-01347 Mitutoyo Digital Caliper | CD-40"C | 0001347 |  | 2015
DeKerlegand, George | 5035-90575 Mitutoyo Digital Caliper | 0-6IN | 15190575 |  | 2018
DeKerlegand, George | 5035-58749 Mitutoyo Digital Caliper | 0-6IN | B16058749 |  | 2018
DeKerlegand, George | 5035-01041ap-On Torque Wrench | QD1R50 | 0305301041 |  | 2018
DeKerlegand, George | 5035-03197ap-On Torque Wrench | 40-200 IN/LB | 0216803197 |  | 2018
DeKerlegand, George | 5035-0004ap-On Tools Corp Electronic Torque Tester | QC2ETT1000 | 0105800004 |  | 2018
DeKerlegand, George | 5035-004ap-On Tools Corp Electronic Torque Tester | QC2ETT1000 | 0203800004 |  | 2018
DeKerlegand, George | 5035-0012ap-On Tools Corp Electronic Torque Tester | QC2ETT250 | 699800012 | F218714 | 2018
DeKerlegand, George | 5035-01004 Mitutoyo Surface Roughness Tester | SJ-210 | 103201004 |  | 2017
DeKerlegand, George | 5035-01201ap-On Torque Wrench | QD275 | 0602601201 |  | 2015
DeKerlegand, George | 5035-00011 Mitutoyo Micrometer | 193-211 | 00011 |  | 2015
DeKerlegand, George | 5035-00012 Mitutoyo Micrometer | 193-212 | 00012 |  | 2015
DeKerlegand, George | 5035-00014 Mitutoyo Micrometer | 193-214 | 00014 |  | 2015
DeKerlegand, George | 5035-00015 Mitutoyo Micrometer | 193-215 | 00015 |  | 2015
DeKerlegand, George | 5035-00016 Mitutoyo Micrometer | 193-216 | 00016 |  | 2015
DeKerlegand, George | 5035-00022 Mitutoyo Micrometer | 142-225 | 00022 |  | 2015
DeKerlegand, George | 5035-50109 Mitutoyo Digital Caliper | CD-12"C | 0050109 |  | 2015
DeKerlegand, George | 5035-15575 Mitutoyo Depth Micrometer | 129-132 | 115575 |  | 2015
DeKerlegand, George | 5035-10035 Mitutoyo Digital Caliper | CD-24"C | 0010035 |  | 2015
DeKerlegand, George | 5035-62584 HDT Gage Block Set | Grade B | 62584 |  | 2014
DeKerlegand, George | 5035-00433 Agilent/HP/Deysight Spectrum Analyzer | 8595E | 3337A00433 | F215564 | 2018
DeKerlegand, George | 5035-00046 Micro-Lite Light Source | FL3000 | 46 | F220987 | 2017
DeKerlegand, George | 5035-62447 Keithley Autoranging Picoammeter | 485 | 462447 |  | 2017
Ogle, John | NONE
Park, HyeKyoung | NONE
Turlington, Larry | NONE
Williams, Scott | 5035-10000 Noshok Pressure Gage | 0-5 PSI | 10000 |  | 2015
Wilson, Katherine | NONE
Powers, Tom | 5035-5791 Boonton Electronics - Peak Power Sensor | Failed |  |  | 2014
Powers, Tom | 5035-15057 Fluke Dual Display Multimeter | 45 | 5515057 | F216880 | 2011
Powers, Tom | 5035-11361 Hewlett Packard Synthesizer Function Generator | 3325A | 1748A11361 | F2-3050 | 2011
Powers, Tom | Ametek Power Supply J00411511 | Sorensen XPH18-10 | J00411511 |  | 2014
Powers, Tom | Ametek Power Supply J00411512 | Sorensen XPH18-10 | J00411512 |  | 2014
Powers, Tom | 5035-28655 GigaTronics Universal Power Meter | 8542B | 1828655 | F219637 | 2018
Powers, Tom | 5035-72787 HP Power Sensor | 8481A | 2702A7287 |  | 2012
Powers, Tom | 5035-69265 HP Power Sensor | 8481A | 2702A69265 | F2-8058 | 2012
Powers, Tom | 5035-64448 HP Power Sensor | 8481A | 2702A64448 |  | 2012
Powers, Tom | 5035-30002 Agilent/HP/Keysight Average Power Sensor | N8482H | SG55130002 |  | 2018
Powers, Tom | 5035-50042 Agilent E-Series CW Power | E4412A |  |  | 2012
Powers, Tom | 5035-50040 Agilent E-Series CW Power Sensor | E4412A |  |  | 2012
Powers, Tom | 5035-50033 Agilent E-Series CW Power Sensor | E4412A |  |  | 2012
Powers, Tom | 5035-1026 HP Power Sensor | 8481A | 2702A71026 | F209011 | 2012
Powers, Tom | 5035-3101 Boonton Peak Power Sensor | 57518 | 3101 |  | 2016
Powers, Tom | 5035-1034 Boonton Power Sensor | 57518 | 1034 |  | 2016
Powers, Tom | 5035-5753 Boonton Peak Power Sensor | 57518 | 5753 |  | 2016
Powers, Tom | 5035-2319 Boonton Peak Power Sensor ENG | 57518 | 2319 |  | 2015
Powers, Tom | 5035-7045 Boonton Electronics Peak Power Sensor | 57516 | 7045 |  | 2015
Powers, Tom | 5035-2511 Boonton Peak Power Sensor | 57518 | 2511 |  | 2015
Powers, Tom | 5035-2806 Boonton Peak Power Sensor | 57518 | 2806 |  | 2015
Powers, Tom | 5035-2807 Boonton Peak Power Meter (ENG) | 57518 | 2807 |  | 2015
Powers, Tom | 5035-2827Boonton Peak Power Sensor (ENG) | 57518 | 2827 |  | 2015
Powers, Tom | 5035-3891 Boonton Peak Power Sensor |  |  |  | 2015
Powers, Tom | 5035-3892 Boonton Power Meter ENG | 57518 | 3892 |  | 2015
Powers, Tom | 5035-7047 Boonton Electronics Peek Power Sensor | 57518 | 7047 |  | 2014
Powers, Tom | 5035-3237 Boonton Electronics Peak Power Sensor | 57518 |  |  | 2014
Powers, Tom | 5035-2826 Boonton Electronics Peak power Sensor | 57518 |  |  | 2014
Powers, Tom | 5035-86590 Hewlett Packard E Series CW Power Sensor | E4412A | US38486590 |  | 2014
Powers, Tom | 5035-5790 Boonton Electronics Peak Power Sensor | 57518 |  |  | 2014
Powers, Tom | 5035-00005 Agilent Power Sensor | N8482H | MY5020005 | JSA-10-C2946 | 2014
Powers, Tom | 5035-90002 Agilent/HP/Keysight USB Power Sensor | U2001A | SG53490002 |  | 2018
Powers, Tom | 5035-92859 Agilent Power Sensor | 8481A | SG41092859 |  | 2012
Powers, Tom | 5035-92816 Agilent Power Sensor | 8481A | SG41092816 |  | 2011
Powers, Tom | 5035-92616 Agilent Power Sensor | 8481A | SG41092616 |  | 2011
Powers, Tom | 5035-85444 Agilent E Series CW Power Sensor | E4412A | US38485444 |  | 2011
Powers, Tom | 5035-72770 HP Power Sensor | 8481A | 2702A72770 |  | 2012
Powers, Tom | 5035-71025 HP Power Sensor | 8481A | 2702A71025 | F2-09006 | 2012
Powers, Tom | 5035-69264 Hewlett Packard Power Sensor | 8481A | 2702A69264 | F2-8057 | 2011
Powers, Tom | 5035-68889 Hewlett Packard Power Sensor | 8481A | 2702A68889 |  | 2011
Powers, Tom | 5035-64418 Hewlett Packard Power Sensor | 8481A | 2702A64418 | F2-4134 | 2011
Powers, Tom | 5035-37964 Giga-Tronics Universal Power Meter | 8541C |  |  | 2012
Powers, Tom | 5035-37694 Giga Tronics Universal Power | 8541C |  |  | 2012
Powers, Tom | 5035-01630 Agilent Network Analyzer | 8751A | 3315J01630 | F213538 | 2016
Powers, Tom | 5035-70177 HP Power Sensor | 8481A | 2702A70177 |  | 2011
Powers, Tom | 5035-2322 Boonton Power Sensor | 57518 | 2322 |  | 2016
Powers, Tom | 5035-25055 Agilent Power Sensor | 8482A | 3318A25055 |  | 2010
Powers, Tom | 5035-06616 HP Power Meter 438A |  | 3008A066126 | F26207 | 2011
Powers, Tom | 5035-26190 Giga-Tronics Universal Power Meter | 8541 | 1826190 | F219144 | 2018
Powers, Tom | 5035-64380 HP Power Sensor | 8481A | 2702A64380 | F2-4134 | 2011
Powers, Tom | 5035-07882 Agilent Power Meter | E4418B | GB40207882 | F220949 | 2018 | Cal 7/12/13
Powers, Tom | 5035-24000 Agilent/HP/Keysight | N8482H | MY5424000 |  | 2018
Powers, Tom | 5035-04776 Agilent EPM Series Power Meter | E4418B | MY45104776 | F222339 | 2017
Powers, Tom | 5035-00296 Agilent Power E-Series CW Sensor | E4412A | SG41500296 |  | 2017 | ENG
Powers, Tom | 5035-04777 Agilent EMP Series Power Meter | E4418B | MY45104777 |  | 2017
Powers, Tom | 5035-01302 Agilent Power E-Series CW Sensor | E4412A | MY41501302 |  | 2017 | ENG
Powers, Tom | 5035-01304 Agilent E-Series CW Power Sensor | E4412A | MY41501304 |  | 2017
Powers, Tom | 5035-04775 Agilent EPM Series Power Meter | E4418B | MY45104775 |  | 2017 | ENG
Powers, Tom | 5035-38702 Gigatronics Universal Power | 8541C |  |  | 2012
Powers, Tom | 5035-38269 Giga-Tronics Power Sensor | 80301A |  |  | 2012
Powers, Tom | 5035-39494 Giga-Tronics Universal Power | 8541C |  |  | 2012
Powers, Tom | 5035-37821 Giga-Tronics Power Sensor | 80301A | 1837821 | JSA-10-C2946 | 2011
Powers, Tom | 5035-37822 Giga-Tronics Power Sensor | 80301A | #1837822 | JSA-10-C2946 | 2011
Powers, Tom | 5035-37150 Giga-Tronics Power Sensor | 80301A | #1837150 | JSA-10-C2946 | 2011
Powers, Tom | 5035-37128 GigaTronics Power Sensor | 80301A |  |  | 2012
Powers, Tom | 5035-36039 Giga-Tronics Power Sensor | 80301A |  |  | 2012
Powers, Tom | 5035-05302 HP Power Meter | 438A | 2822A05302 | F24094 | 2012
Powers, Tom | 5035-01451 HP Power Meter | 437B |  |  | 2012
Powers, Tom | 5035-01266 HP Power Meter | 437B |  |  | 2012
Powers, Tom | 5035-00691 Agilent EPM Series Power Meter | E4418B | MY50000691 |  | 2013
Powers, Tom | 5035-00581 Agilent EPM Series Power Meter | E4418B |  |  | 2012
Powers, Tom | 5035-00690 Agilent EPM Power Series Meter | E4418B |  |  | 2012
Powers, Tom | 5035-63601 Boonton Power Meter | 4532 | 163601 | F221149 | 2016
Powers, Tom | 5035-20201 Boonton Power Meter | 4532 | 120201 | F218678 | 2016
Powers, Tom | 5035-30158 Giga-Tronics Power Sensor | 80321A |  |  | 2016 | ENG
Powers, Tom | 5035-30029 Gigatronics Power Sensor | 80321A | 1830029 |  | 2016
Powers, Tom | 5035-37317 Gigatronics Universal Power Meter | 8542C | 1837317 | F218566 | 2016
Powers, Tom | 5035-11230 Boonton Electronics Power Meter (ENG) | 4532 | 11230 | F222571 | 2015
Powers, Tom | 5035-11231 Boonton Power Meter (ENG) | 4532 | 11231 | F222569 | 2015
Powers, Tom | 5035-5792 Boonton Electronics Peak Power Sensor (ENG) | 57518 | 5792 |  | 2015
Powers, Tom | 5035-30801 Boonton Electronics Power Meter | 4532 | 130801 | F218781 | 2015
Powers, Tom | 5035-3238 Boonton Electronics Peak Power Sensor | 57518 | 3238 |  | 2015
Powers, Tom | 5035-5752 Boonton Electronics Peak Power Sensor | 57518 | 5752 |  | 2015
Powers, Tom | 5035-2367 Boonton Electronics Peak Power Sensor | 57518 | 2367 |  | 2015
Powers, Tom | 5035-2332 Boonton Electronics Peak Power Sensor | 57518 | 2332 |  | 2015
Powers, Tom | 5035-3893 Boonton Electronics Peak Power Sensor | 57518 | 3893 |  | 2015
Powers, Tom | 5035-00532 Giga-Tronics Hanheld Power Meter | 3410A | 3100532 | F214866 | 2015
Powers, Tom | 5035-03124 Agilent Power Meter | 437B |  | F2-09278 | 2014
Powers, Tom | 5035-02768 HP Agilent Power Meter | 437B |  | F208893 | 2014
Powers, Tom | 5035-02575 Agilent Power Meter | 437B |  | F2-8153 | 2014
Powers, Tom | 5035-01218 Agilent Power Meter | Midel 437B |  |  | 2014
Powers, Tom | 5035-80002 Agilent/HP/Keysight Power Sensor | U2021XA | SG54080002 |  | 2018
Powers, Tom | 5035-02389 Stanford Research Systems Signal Generator | SG384 | 2389 | F225406 | 2018
Powers, Tom | 5035-71639 Agilent Power Sensor | 8481A |  |  | 2014
Powers, Tom | 5035-01386 Agilent.HP EPM Series Power Meter | E4418B | SG45101386 | F222709 | 2018
Powers, Tom | 5035-03779 Agilent H/P Frequency Counter | 53181A | 3736A03779 | F220347 | 2018
Powers, Tom | 5035-56041 Agilent/HP/Keysight EPM Series Power Meter | N1913A | MY54256041 | F223889 | 2018
Powers, Tom | 5035-02924 Agilent HP Frequency Counter | 53181A | SG40002924 |  | 2018
Powers, Tom | 5035-00250 Agilent Spectrum Analyzer | 8595E | 3351U00250 | F224056 | 2018
Powers, Tom | 5035-08854 Agilent Frequency Counter | 53181A | MY400088545 | F222333 | 2017 | ENG
Campbell, Jeff | 5035-00040 Ashcroft Pressure Gage | 0-60 PSI | 40 |  | 2015
Campbell, Jeff | 5035-61725 Ashcroft Pressure Gage | 0-200 PSI | E061725 |  | 2016
Campbell, Jeff | 5035-61727 Ashcroft Pressure Gage | 0-100 PSI | E061727 |  | 2016
Campbell, Jeff | 5035-61747 Ashcroft Pressure Gage | 0-300PSI | E061747 |  | 2016
Campbell, Jeff | 5035-61752 Ashcroft Pressure Gage | 0-60 PSI | E061752 |  | 2016
Campbell, Jeff | 5035-61755 Ashcroft Pressure Gage | 0-600 PSI | E061755 |  | 2015
Campbell, Jeff | 5035-98530 Ashcroft Pressure Gage | 0-600 PSI | 298530; |  | 2015
Page, Leonard | 5035-01001 Wiki Pressure Gage | 0-100PSI | JLAB0-100-1 |  | 2019
Page, Leonard | 5035-13477 Snap On Torque Wrench | QD2FR75 | 310013477 |  | 2018
Page, Leonard | 5035-81692 CDI Torque Products Torque Wrench | 1502MRMH | 613081692 |  | 2018
Page, Leonard | 5035-03350 Snap-on Torque Wrench | QD1R50 | 903603350 |  | 2018
Page, Leonard | 5035-43691 Proto Torque Wrench | 6062C, | DMH43691 |  | 2018
Page, Leonard | 5035-03570 Snap-On Torque Wrench | QD1R200, | 608303570 |  | 2018
Page, Leonard | 5035-03054 Snap-on Torque Wrench
Page, Leonard | 5035-01141 Snap-On Torque Wrench | QD1R200, | 206601141 |  | 2018
Page, Leonard | 5035-12345 Westward Torque Wrench | 4DA94, | 12345 |  | 2018
Page, Leonard | 5035-00056 Westward Torque Wrench | ADA94, | 56 |  | 2018
Page, Leonard | 5035-48588 Pronto Torque Wrench | 6064C, | DSJ48588 |  | 2018
Page, Leonard | 5035-72239 Sturtevant Richmont Torque Wrench
Page, Leonard | 5035-19726 Snap On Torque Wrench | QJR117E, | 3890019726 |  | 2018
Page, Leonard | 5035-01913 Snap On Torque Wrench | 0-50 IN/LB | 1110101913 |  | 2018
Page, Leonard | 5035-00055 Westward Torque Wrench | 4DA94, | 55 |  | 2018
Page, Leonard | 5035-34046 Pronto Torque Wrench | 6012C, | DRG34046 |  | 2018
Page, Leonard | 5035-48527 Pronto Torque Wrench | 6064C, | DSJ48527 |  | 2018
Page, Leonard | 5035-D0457 Narda Broadband Meter (SRF) | 2403/01 | D-0457 | 223595 | 2018
Page, Leonard | 5035-D0407 Narda Electric Field Probe (SRF) | 2402/01B | D-0407 |  | 2018
Note on F2: E. Anne McEwen: based on date when MJ Bailey up loaded Cal file to Docushare, not based on Cal Certificate

## Pansophy - 2011
Owner | Type (description) | Model | Serial | JLAB Asset Tag | Location | Last Cal. | Next Cal.
BAGGETT | Caliper | Brown/Sharpe | 3P62102 | N/A | Test Lab, Room 128 | 21-Oct-2009 | 21-Oct-2011
BAGGETT | Caliper | Mitutoyo 8" | 505-644-50 | 88-317-325 | Test Lab, Room 128 | 21-Oct-2009 | 21-Oct-2011
BAGGETT | Caliper | Mitutoyo 20" | 7000234 | N/A | Test Lab, Room 128 | 21-Oct-2009 | 21-Oct-2011
BAGGETT | Capacitor-Inductor Analyzer | LC76 | 6014362M | F24186 | Test Lab, Room 128 | 01-Jan-1995 | [n/a]
BAGGETT | Current Transducer | 88041 | 8906015 | F27082 | Test Lab, Room 128 | 01-Jan-1995 | [n/a]
BAGGETT | Data Acquisition/Switch Unit | 34970A | 000000 | F2000 | Test Lab, Room 128 | 14-Apr-2008 | 14-Apr-2012
BAGGETT | Digital Clamp Meter | 380922 | N074428 | F220755 | GPB Bldg36 | 01-Nov-2011 | 31-Oct-2012
BAGGETT | Digital Integrator | 5025 | 80084 | F2000 | Test Lab, Room 128 | 24-Feb-2009 | 24-Feb-2011
BAGGETT | Digital Megohmmeter | CATIII 1,000V | 380260 | 0000 | GPB Bldg36 | 14-Dec-2011 | 13-Dec-2012
BAGGETT | Digital Multimeter | 29 II | 0000 | 0000 | GPB Bldg36 | 14-Dec-2011 | 13-Dec-2012
BAGGETT | Digital Multimeter | Fluke 77 | 51760183 | 0000 | GPB Bldg36 | 14-Dec-2011 | 13-Dec-2012
BAGGETT | Digital Multimeter | Fluke73 III | 87520191 | F2-13194 | GPB Bldg36 | 01-Nov-2011 | 31-Oct-2013
BAGGETT | Digital Multimeter | Fluke73 III | 87520192 | F2-13195 | GPB Bldg36 | 01-Nov-2011 | 31-Oct-2013
BAGGETT | Digital Multimeter | Fluke73 III | 87520193 | F213196 | GPB Bldg36 | 13-Dec-2011 | 12-Dec-2012
BAGGETT | Digital Multimeter | Fluke 73 III | 87520195 | F2-13198 | GPB Bldg36 | 01-Nov-2011 | 31-Oct-2013
BAGGETT | Digital Multimeter | 34401A | US36121963 | F220995 | Test Lab, Room 128 | 18-Dec-2007 | 17-Dec-2012
BAGGETT | Digital Multimeter | 34401A | US36122112 | F220994 | Test Lab, Room 128 | 14-Apr-2008 | 14-Apr-2012
BAGGETT | Digital Multimeter | 34401A | US36122116 | F220993 | Test Lab, Room 128 | 14-Apr-2008 | 14-Apr-2012
BAGGETT | Digital Multiplexer | 7001 | 000000 | F2000 | Test Lab, Room 128 | 01-Jan-1995 | [n/a]
BAGGETT | Digital Teslameter | DTM-141D | 01040019 | F24599 | Test Lab, Room 128 | 01-Jan-1995 | [n/a]
BAGGETT | Digital Teslameter | DTM-141 | 01340212 | F218999 | Test Lab, Room 128 | 01-Jan-1995 | [n/a]
BAGGETT | Digital Teslameter | DTM-151 | 01350010 | F220672 | Test Lab, Room 128 | 01-Jan-1995 | [n/a]
BAGGETT | Digital Teslameter | DTM-151 | 01350111 | F2000 | Test Lab, Room 128 | 01-Jan-1995 | [n/a]
BAGGETT | Digital Teslameter | DTM-151 | 01351118 | F221668 | Test Lab, Room 128 | 01-Jan-1995 | [n/a]
BAGGETT | Flow Rate Indicator | FTB4605 | 10015993 | F2000 | Test Lab, Room 128 | 01-Jan-1995 | [n/a]
BAGGETT | HIPOT | ST112E | 1164E | F26296 | Test Lab, Room 128 | 24-Mar-2009 | 23-Mar-2012
BAGGETT | HIPOT | 5220A | 2887 | F2-16126 | GPB Bldg36 | 01-Nov-2011 | 31-Oct-2014
BAGGETT | Height Gauge | Starrett 755 | N/A | F2-7776 | Test Lab, Room 128 | 21-Oct-2009 | 21-Oct-2011
BAGGETT | Megger | 2426A | 61SH0334 | F212880 | GPB Bldg36 | 14-Dec-2011 | 13-Dec-2012
BAGGETT | Micrometers | Number 224 | QC6-12M | N/A | Test Lab, Room 128 | 21-Oct-2009 | 21-Oct-2011
BAGGETT | Multimeter | 3458A | 2823A10362 | F216431 | GPB Bldg36 | 14-Dec-2011 | 13-Dec-2012
BAGGETT | NMR Teslameter | PT2025 | 000000 | F27000 | GPB Bldg36 | 01-Jan-1995 | 01-Jan-1996
BAGGETT | NMR Teslameter | PT2025 | 2676 | F219102 | GPB Bldg36 | 01-Nov-2011 | 31-Oct-2012
BAGGETT | NMR Teslameter | PT2025 | 3513 | F223132 | GPB Bldg36 | 13-Dec-2011 | 12-Dec-2012
BAGGETT | Oscilloscope | 2230 | B031310 | F24463 | Test Lab, Room 128 | 01-Jan-1995 | [n/a]
BAGGETT | Oscilloscope | TDS 220 | BO69644 | F218552 | Test Lab, Room 128 | 18-Sep-2000 | [n/a]
BAGGETT | Permeability Indicator | Permeability (LOW-MU) Indicator | Number 5071 | F2-3195 | Test Lab, Room 128 | 21-Oct-2009 | 20-Oct-2012
BAGGETT | Pole Gap Gauge | Pole Gap Gauge | 2654768 | N/A | Test Lab, Room 128 | 21-Oct-2009 | 21-Oct-2011
BAGGETT | Power Supply | 000000 | 000000 | F2061 | Test Lab, Room 128 | 01-Jan-1995 | [n/a]
BAGGETT | Power Supply | E3620A | 000000 | F221598 | Test Lab, Room 128 | 01-Jan-1995 | [n/a]
BAGGETT | Power Supply | 8963 | 0208397 | F2000 | Test Lab, Room 128 | 05-Jun-2009 | 04-Jun-2012
BAGGETT | Power Supply | XHR 20-50 | 36830 | F220649 | Test Lab, Room 128 | 01-Jan-1995 | [n/a]
BAGGETT | Power Supply | BOS/S 36-12-1-3-3 | 9207029 | F216987 | Test Lab, Room 128 | 14-Apr-2009 | 13-Apr-2012
BAGGETT | Power Supply | BOS/S 36-12-1-D-2-3 | 99A-2665 | F20 | Test Lab, Room 128 | 08-Jun-2009 | 07-Jun-2012
BAGGETT | Pressure Gauge | E11-K-N515D | 000000 | F20000 | Test Lab, Room 128 | 01-Jan-1995 | [n/a]
BAGGETT | Pressure Gauge | DPG1000L-3006 | 1695208001 | F2000 | Test Lab, Room 128 | 01-Jan-1995 | [n/a]
BAGGETT | Process Meter/Indicator | DPF75 | 040958 | F2000 | Test Lab, Room 128 | 01-Jan-1995 | [n/a]
BAGGETT | Process Meter/Indicator | DP25BEA | 4445023 | F2000 | Test Lab, Room 128 | 21-Oct-2004 | [n/a]
BAGGETT | Process Meter/Indicator | DPF701 | 9205257 | F2000 | Test Lab, Room 128 | 01-Jan-1995 | [n/a]
BAGGETT | Signal Analyzer | 3561A | 000000 | F26112 | Test Lab, Room 128 | 01-Jan-1995 | [n/a]
BAGGETT | Torque Wrench | 64-086-1/2" | 4050604265 | N/A | Test Lab, Room 128 | 21-Oct-2009 | 21-Oct-2011
BAGGETT | Torque Wrench | 64-046-3/8" | 4050604792 | N/A | Test Lab, Room 128 | 21-Oct-2009 | 21-Oct-2011
BAGGETT | Torque Wrench | 64-032-1/4" | 5097493 | N/A | Test Lab, Room 128 | 21-Oct-2009 | 21-Oct-2011
BAGGETT | Torque Wrench | 64-355-3/8" | GQKCI-1 | F2-5272 | Test Lab, Room 128 | 21-Oct-2009 | 21-Oct-2011
BAGGETT | Torque Wrench Tester | WE | 1331 | F2-5272 | Test Lab, Room 128 | 04-Mar-2009 | 03-Mar-2012
BAGGETT | Universal Counter | 53131A | 3736A22550 | F220648 | GPB Bldg36 | 14-Dec-2011 | 13-Dec-2012
BAGGETT | Voltmeter | 3456A | 2201A14354 | F2-2276 | GPB Bldg36 | 01-Nov-2011 | 31-Oct-2013
BAGGETT | Voltmeter | 3456A | 2825A21146 | F24489 | Test Lab, Room 128 | 23-Feb-2009 | 23-Feb-2011
BAGGETT | Waveform Generator | 33120A | US36027907 | F220647 | Test Lab, Room 128 | 01-Jan-1995 | [n/a]
BAGGETT | Wheatstone Bridge | 1052 | B-1679 | F2000 | Test Lab, Room 128 | 07-Oct-1998 | [n/a]
BOOKWALT | dumb meter | tresdud | 23456 | F02-23456789 | Test Lab, Room 223 | [n/a] | [n/a]
BOOKWALT | dumb meter | 2468 | 2468ABC | F6-2468 | Test Lab, Room 223 | 20-Jun-2013 | 06-Jan-2014
BOOKWALT | dumb meter | twodud | 987123 | F02-987123 | Test Lab, Room 223 | [n/a] | [n/a]
BOOKWALT | val bolt | ABC123 | ABC123 | ABC123 | TED 2252 | 05-Jun-2012 | 05-Jun-2013
BOOKWALT | val bolt | 789 | v789 | c789 | Test Lab, Room 223 | [n/a] | [n/a]
BOOKWALT | val screwdriver | 456 | v456 | c456 | Test Lab, Room 223 | [n/a] | [n/a]
BOOKWALT | val wrench | 123 | v123 | c123 | Test Lab, Room 223 | 11-Jul-2011 | 10-Jul-2012
BOOKWALT | val wrench | 2468 | v2468 | c2468 | Test Lab, Room 223 | 28-Apr-2014 | 28-Apr-2015
CARPENTE | C.M.M. | Global FX 9156 | 0204-6206 | F214193 | Test Lab, Room 146B | 01-Mar-2005 | 01-Mar-2006
ELTONN | Chart Recorder | 1234 | 2345 | 3456 | Unknown | 10-Aug-2001 | 10-Feb-2002
ELTONN | Oscilloscope | 5587-TX2 | 2114-56987-8 | J558-T | Test Lab, Room 311 | 08-Aug-2001 | 08-Aug-2002
FOLSOM | Dual Differential Amplifier | 5A26 | B011100 | F2-4391 | Unknown | 16-Oct-2002 | 15-Oct-2004
FOLSOM | Dual Differential Amplifier | 5A26 | H700151 | F2-3770 | Unknown | 16-Oct-2002 | 15-Oct-2004
FOLSOM | Dual Time Base Plug-In | 5B25N | B022450 | F2-3654 | Unknown | 16-Oct-2002 | 15-Oct-2004
FOLSOM | Network Analyzer | 8753B | 2828A04700 | F26106 | Unknown | 15-Oct-2002 | 15-Oct-2003
FOLSOM | S Parameter Test Set | 85047A | 2936A00850 | F26137 | Unknown | 15-Oct-2002 | 15-Oct-2003
GCIOVATI | Oscilloscope | 5223 | NA | F2-3658 | Test Lab, Room 151 | 15-Oct-2002 | 14-Oct-2004
GCIOVATI | Power Meter | HP 436A | na | F2-3448 | Test Lab, Room 151 | 15-Oct-2002 | 14-Oct-2004
GCIOVATI | Power Meter | HP 436A | na | F2-665 | Test Lab, Room 151 | 15-Oct-2002 | 14-Oct-2004
GCIOVATI | Power Sensor | HP 8481A | 2702A79285 | F2-16868 | Test Lab, Room 151 | 15-Oct-2002 | 15-Oct-2003
GCIOVATI | Power Sensor | HP 8482A | US37294207 | na | Test Lab, Room 151 | 15-Oct-2002 | 15-Oct-2003
GEORGED | Calibrated Helium Leak Rate | SC10-100 | 8728 | n/a | Test Lab, Room 146B | 19-May-2005 | 19-May-2006
GEORGED | Caliper | CD-40" C | 0001347 | n/a | Test Lab, Room 146B | 13-Jul-2011 | 12-Jul-2012
GEORGED | Caliper | CD-24"C | 0010035 | n/a | Test Lab, Room 146B | 13-Jul-2011 | 12-Jul-2012
GEORGED | Caliper | CD-12C | 0050109 | 0050109 | Test Lab, Room 146B | 13-Jul-2011 | 12-Jul-2012
GEORGED | Caliper | 500-351 | 7043668 | 7043668 | Test Lab, Room 146B | 01-Aug-2011 | 01-Aug-2012
GEORGED | Depth Micrometers | DMC4-6" | 129-132 | n/a | Test Lab, Room 146B | 13-Sep-2011 | 12-Sep-2012
GEORGED | Gauge Blocks | Gage Block Set, Work 1U | 62584 | n/a | Test Lab, Room 146B | 04-Aug-2011 | 04-Aug-2012
GEORGED | Micrometers | GAGE-0505-1 | 0012891 | n/a | Test Lab, Room 146B | 13-Sep-2011 | 12-Sep-2012
GEORGED | Micrometers | CPM30-1"K | 142-225 | 142-225 | Test Lab, Room 146B | 13-Sep-2011 | 12-Sep-2012
GEORGED | Micrometers | M820-6"st | 193-211 | 193-211 | Test Lab, Room 146B | [n/a] | [n/a]
GEORGED | Micrometers | M820-6"st | 193-212 | 193-212 | Test Lab, Room 146B | [n/a] | [n/a]
GEORGED | Micrometers | M820-6st | 193-213 | 193-213 | Test Lab, Room 146B | [n/a] | [n/a]
GEORGED | Micrometers | M820-6st | 193-214 | 193-214 | Test Lab, Room 146B | [n/a] | [n/a]
GEORGED | Micrometers | M820-6"st | 193-215 | 193-215 | Test Lab, Room 146B | [n/a] | [n/a]
GEORGED | Micrometers | M820-6"st | 193-216 | 193-216 | Test Lab, Room 146B | [n/a] | [n/a]
GEORGED | Micrometers | 436RL-1 | n/a | n/a | Unknown | 13-Sep-2011 | 12-Sep-2012
GEORGED | Pin Gage Set | n/a | n/a | n/a | Test Lab, Room 146B | 01-Aug-2011 | 01-Aug-2012
GEORGED | Surface Roughness Tester | SJ-210 | 103201004 | n/a | Test Lab, Room 146B | 22-Aug-2011 | 22-Aug-2012
GEORGED | Torque Wrench Tester | QC2ETT1000 | 0203800004 | n/a | Test Lab, Room 146B | 22-Sep-2011 | 21-Sep-2013
GEORGED | Torque Wrench Tester | QC2ETT250 | 069980012 | n/a | Test Lab, Room 146B | 22-Sep-2011 | 21-Sep-2013
JJCAMP | Calibrated Helium Leak Rate | 10581 | 10581 | 10581 | Unknown | 14-Dec-2010 | 14-Dec-2011
JJCAMP | Calibrated Helium Leak Rate | 10582 | 10582 | 10582 | Unknown | 01-Dec-2010 | 01-Dec-2011
JJCAMP | Calibrated Helium Leak Rate | 10583 | 10583 | 10583 | Unknown | 01-Dec-2010 | 01-Dec-2011
JJCAMP | Calibrated Helium Leak Rate | 10584 | 10584 | 10584 | Unknown | 01-Dec-2010 | 01-Dec-2011
JJCAMP | Calibrated Helium Leak Rate | 10585 | 10585 | 10585 | Unknown | 01-Dec-2010 | 01-Dec-2011
JJCAMP | Calibrated Helium Leak Rate | 10586 | 10586 | 10586 | Unknown | 01-Dec-2010 | 01-Dec-2011
JJCAMP | Particle counter | GT-521 | 22222 | F221171 | Unknown | 14-Jan-2011 | 14-Jan-2012
JJCAMP | Particle counter | 942300 | B1201-1408 | 942300 | Unknown | 16-Feb-2010 | 16-Feb-2011
JJCAMP | Pressure Gauge | 0-30 | EO61723 | EO61723 | Unknown | 01-Feb-2011 | 01-Feb-2012
JJCAMP | Pressure Gauge | 0-200 | EO61725 | EO61725 | Unknown | 01-Feb-2011 | 01-Feb-2012
JJCAMP | Pressure Gauge | 0-100 | EO61727 | EO61727 | Unknown | 01-Feb-2011 | 01-Feb-2012
JJCAMP | Pressure Gauge | 0-300 | EO61747 | EO71747 | Unknown | 01-Feb-2011 | 01-Feb-2012
JJCAMP | Pressure Gauge | 0-60 | EO61752 | EO61752 | Unknown | 01-Feb-2011 | 01-Feb-2012
JJCAMP | Pressure Gauge | 0-600 | EO61755 | EO61755 | Unknown | 01-Feb-2011 | 01-Feb-2012
JJCAMP | Pressure Gauge | u force gage | u2172 | 01 | Unknown | 25-Oct-2010 | 25-Oct-2011
JJCAMP | Torque Wrench | 020660 | 020660 | 1002 | Unknown | 09-Oct-2009 | 09-Oct-2010
JJCAMP | Torque Wrench | 0206601141 | 0206601141 | 1004 | Unknown | 12-Oct-2010 | 12-Oct-2011
JJCAMP | Torque Wrench | 020670305 | 020670305 | 1001 | Unknown | 09-Oct-2009 | 09-Oct-2010
JJCAMP | Torque Wrench | 060830570 | 060830570 | 1000 | Unknown | 12-Oct-2010 | 12-Oct-2011
JJCAMP | Torque Wrench | 0608603911 | 0608603911 | 1003 | Unknown | 14-Jan-2011 | 14-Jan-2012
JJCAMP | Torque Wrench | qdir200 | 0609075448 | 0609075448 | Unknown | 06-Dec-2010 | 06-Dec-2011
JJCAMP | Torque Wrench | 0609075492 | 0609075492 | 1006 | Unknown | 12-Oct-2010 | 12-Oct-2011
JJCAMP | Torque Wrench | 0609075495 | 0609075495 | 0609075495 | Unknown | 06-Dec-2010 | 06-Dec-2011
JJCAMP | Torque Wrench | 0901402016 | 0901402016 | 1007 | Unknown | 06-Dec-2010 | 06-Dec-2011
JJCAMP | Torque Wrench | DGA83322 | DGA83322 | 1008 | Unknown | 09-Oct-2009 | 09-Oct-2010
JJCAMP | Torque Wrench | DHD68938 | DHD68938 | 1009 | Unknown | 09-Oct-2009 | 09-Oct-2010
JJCAMP | Torque Wrench | QJR117E | QJR117E | 1005 | Unknown | 01-Feb-2011 | 01-Feb-2012
JLEUNG | Current Source | 220 | 0823696 | F218527 | Unknown | 21-Jul-2011 | 10-Jul-2013
KING | Microwave Frequency Counter | 2101 | 1087 | F2-7310 | Test Lab, Room 288 | --- In Calibration ---
KING | Microwave Frequency Counter | 53181A | MY40002960 | F2 | Unknown | [n/a] | [n/a]
KING | Oscilloscope | 2465BCT | B011122 | F2-4947 | Test Lab, Room 288 | 05-Mar-2001 | 20-Jul-2028
KING | Power Meter | 438AOPT002 | 2725A04158 | F2-1004 | RF Test Stand | --- In Calibration ---
KING | Power Meter | 437B | 2835A01218 | F2-4093 | RF Test Stand | 01-Jan-2001 | 27-Dec-2004
KING | Power Meter | 437B | 2912A01451 | F2-4380 | RF Test Stand | --- In Calibration ---
KING | Power Meter | 437B | 2949A02768 | F2-08893 | Unknown | 02-Mar-2001 | 17-Jul-2028
KING | Power Meter | 438A | 3008A06276 | F2-6157 | Unknown | 19-Apr-2007 | 03-Sep-2034
KING | Power Meter | 438A | 3008A06616 | F2-6207 | Unknown | --- In Calibration ---
KING | Power Meter | 438A | 3008A06618 | F2-6206 | Unknown | 16-Jan-2001 | 02-Jun-2028
KING | Power Meter | 438A | n/a | F2-6988 | Cavity | 13-Feb-1996 | 30-Jun-2023
KING | Power Sensor | 8482A | 2652A19010 | F2-16922 | Test Lab, Room 288 | 28-Aug-2001 | 09-Dec-2050
KING | Power Sensor | 8481A | 2702A61259 | F2-3424 | Unknown | 03-Jan-2001 | 21-May-2028
KING | Power Sensor | 8481A | 2702A64374 | F2-4127 | Unknown | 01-Jan-2001 | 18-May-2028
KING | Power Sensor | 8481A | 2702A64377 | n/a | Test Lab, Room 288 | 28-Aug-2001 | 12-Jan-2029
KING | Power Sensor | 8481A | 2702A70867 | F2-09009 | Unknown | 02-Mar-2001 | 17-Jul-2028
KING | Power Sensor | 8481A | 2702A71025 | F2-09006 | Unknown | 01-Jan-2001 | 18-May-2028
KING | Power Sensor | 8481A | 2702A71026 | F2-09011 | Unknown | --- In Calibration ---
KING | Power Sensor | 8481A | 2702A72732 | F2-16466 | Test Lab, Room 288 | 28-Aug-2001 | 12-Jan-2029
KING | Spectrum Analyzer | 8562A | 3043A05600 | F2-6208 | Unknown | 15-Jan-2001 | 01-Jun-2028
KING | Waveform Generator | 33120A | US36049828 | F2-20786 | Unknown | 08-May-2001 | 22-Sep-2028
KUSHNICK | Attenuator/Switch Driver | 11713A | 2508A07933 | F2-8180 | Test Lab, Room 150 | 04-Sep-2002 | 20-Jan-2030
KUSHNICK | Attenuator/Switch Driver | 11713A | 2508A07940 | F2-8179 | Test Lab, Room 150 | 04-Sep-2002 | 20-Jan-2030
KUSHNICK | Dewar Pressure Controller | series64 | n/a | F2-3751 | Test Lab, Room 150 | [n/a] | [n/a]
KUSHNICK | Dewar Pressure Controller | series64 | n/a | F2-3962 | Test Lab, Room 150 | [n/a] | [n/a]
KUSHNICK | Dewar Pressure Controller | series64 | n/a | F2-3963 | Test Lab, Room 151 | [n/a] | [n/a]
KUSHNICK | Dewar Pressure Controller | series64 | n/a | F2-3965 | Test Lab, Room 150 | [n/a] | [n/a]
KUSHNICK | Dewar Pressure Controller | series64 | n/a | F2-3966 | Test Lab, Room 151 | [n/a] | [n/a]
KUSHNICK | Dewar Pressure Controller | series64 | n/a | F2-3967 | Test Lab, Room 150 | [n/a] | [n/a]
KUSHNICK | Dewar Pressure Controller | series64 | n/a | F2-3983 | Test Lab, Room 151 | [n/a] | [n/a]
KUSHNICK | Dewar Pressure Controller | series64 | n/a | F2-9495 | Test Lab, Room 151 | [n/a] | [n/a]
KUSHNICK | Microwave Frequency Counter | 5386A | 2946A02010 | F2-8055 | Test Lab, Room 150 | 04-Mar-2009 | 04-Mar-2011
KUSHNICK | Microwave Frequency Counter | 53181 | KR91200988 | F2-20780 | Test Lab, Room 150 | 04-Mar-2009 | 04-Mar-2011
KUSHNICK | Microwave Frequency Counter | HP 5342A | n/a | F2-0269 | Test Lab, Room 151 | --- In Calibration ---
KUSHNICK | Pirani Guage Controller | 917 | n/a | F2-4001 | Test Lab, Room 151 | [n/a] | [n/a]
KUSHNICK | Pirani Guage Controller | 917 | n/a | F2-4004 | Test Lab, Room 151 | [n/a] | [n/a]
KUSHNICK | Pirani Guage Controller | 917 | n/a | F2-4006 | Test Lab, Room 151 | [n/a] | [n/a]
KUSHNICK | Pirani Guage Controller | 917 | n/a | F2-4007 | Test Lab, Room 151 | [n/a] | [n/a]
KUSHNICK | Pirani Guage Controller | 917 | n/a | F2-4008 | Test Lab, Room 151 | [n/a] | [n/a]
KUSHNICK | Pirani Guage Controller | 917 | n/a | F2-4056 | Test Lab, Room 151 | [n/a] | [n/a]
KUSHNICK | Power Meter | 4532 | 120101 | F2-18677 | Unknown | 04-Mar-2009 | 04-Mar-2011
KUSHNICK | Power Meter | 8541C | 1837962 | F2-18830 | Unknown | 04-Mar-2009 | 04-Mar-2011
KUSHNICK | Power Meter | 437B | 2749A02533 | F2-8059 | Unknown | --- In Calibration ---
KUSHNICK | Power Meter | 438A | 2822A05302 | F2-4094 | Unknown | 04-Mar-2009 | 04-Mar-2011
KUSHNICK | Power Meter | 437B | 2949A02575 | F2-8153 | Test Lab, Room 150 | 04-Mar-2009 | 25-Oct-2010
KUSHNICK | Power Meter | 437B | 2949A02576 | F2-8060 | Test Lab, Room 150 | 04-Mar-2009 | 25-Oct-2010
KUSHNICK | Power Meter | E4418B | GB40204643 | F2-20895 | Test Lab, Room 150 | 04-Mar-2009 | 04-Mar-2011
KUSHNICK | Power Meter | EPM-441A | US37480423 | F2-20407 | Test Lab, Room 152 | 04-Mar-2009 | 04-Mar-2011
KUSHNICK | Power Meter | EPM-441A | US37480446 | F2-20406 | Test Lab, Room 150 | 04-Mar-2009 | 04-Mar-2011
KUSHNICK | Power Meter | EPM-441A | US37480447 | F2-20405 | Test Lab, Room 150 | 04-Mar-2009 | 04-Mar-2011
KUSHNICK | Power Sensor | 80301A | 1836039 | n/a | Unknown | 04-Mar-2009 | 04-Mar-2010
KUSHNICK | Power Sensor | 80301A | 1836042 | n/a | Unknown | 04-Mar-2009 | 04-Mar-2011
KUSHNICK | Power Sensor | 8481A | 2702A62148 | F2-4989 | Unknown | 04-Mar-2009 | 04-Mar-2011
KUSHNICK | Power Sensor | 8481A | 2702A64373 | F2-4130 | Test Lab, Room 150 | 04-Mar-2009 | 04-Mar-2010
KUSHNICK | Power Sensor | 8481A | 2702A69264 | F2-8057 | Test Lab, Room 150 | 04-Mar-2009 | 04-Mar-2011
KUSHNICK | Power Sensor | 8481A | 2702A69265 | F2-8058 | Test Lab, Room 150 | 04-Mar-2009 | 04-Mar-2011
KUSHNICK | Power Sensor | 57518 | 2806 | n/a | Unknown | 04-Mar-2009 | 04-Mar-2011
KUSHNICK | Power Sensor | 57518 | 2825 | n/a | Unknown | 04-Mar-2009 | 04-Mar-2011
KUSHNICK | Power Sensor | ECP-E18A | US37181954 | n/a | Test Lab, Room 150 | 04-Mar-2009 | 04-Mar-2011
KUSHNICK | Power Sensor | E4412A | US38486591 | n/a | Test Lab, Room 150 | 04-Mar-2009 | 04-Mar-2011
KUSHNICK | Power Sensor | E4412A | US38487452 | n/a | Unknown | 04-Mar-2009 | 04-Mar-2011
KUSHNICK | Power Sensor | E4412A | US38487816 | n/a | Test Lab, Room 150 | 04-Mar-2009 | 04-Mar-2011
KUSHNICK | Temperature Indicator | SI-9300 | n/a | F2-16794 | Test Lab, Room 150 | [n/a] | [n/a]
KUSHNICK | Temperature Indicator | SI-9300 | n/a | F2-16795 | Test Lab, Room 151 | [n/a] | [n/a]
KUSHNICK | Temperature Indicator | SI-9300 | n/a | F2-4104 | Test Lab, Room 150 | [n/a] | [n/a]
KUSHNICK | Temperature Indicator | SI-9300 | n/a | F2-4105 | Test Lab, Room 152 | [n/a] | [n/a]
KUSHNICK | Temperature Indicator | SI-9300 | n/a | F2-4106 | Test Lab, Room 151 | [n/a] | [n/a]
KUSHNICK | Temperature Indicator | SI-9300 | n/a | F2-4107 | Test Lab, Room 151 | [n/a] | [n/a]
KUSHNICK | Temperature Indicator | SI-9300 | n/a | F2-4109 | Test Lab, Room 150 | [n/a] | [n/a]
KUSHNICK | Temperature Indicator | SI-9300 | n/a | F2-4110 | Test Lab, Room 150 | [n/a] | [n/a]
KUSHNICK | Temperature Indicator | SI-9300 | n/a | F2-4111 | Test Lab, Room 150 | [n/a] | [n/a]
MADRE | Analog | 12345 | 23456 | F4-DUMB | Unknown | 16-Apr-2008 | [n/a]
MADRE | Chart Recorder | 23456 | 12345 | f4-34556 | Unknown | 07-Jan-2010 | [n/a]
MADRE | dumb meter | 12345 | 12345 | F4-BOGUS | TED 2500-42 | 07-Jan-2010 | [n/a]
MADRE* | val screwdriver | 32476 | 345678 | F4-55555 | TED 2500-42 | 06-Jan-2010 | [n/a]
OZELIS | Power Meter | 12309812 | werwer | F2-32412364236 | Unknown | 05-Oct-2004 | 21-Feb-2032
SCOTT | Caliper | D12"T | 505-645-50 | 505-645-50 | Test Lab, Room 146B | 16-Sep-2003 | 15-Sep-2004
SCOTT | Particle counter | Vaculaz-2 | 33894-0795-197 | n/a | Off-line Cleanroom | 07-Mar-2003 | 06-Mar-2005
SCOTT | Surface Roughness Tester | Surftest 178-923A | 110726 | SNS 00004 | Test Lab, Room 146B | 23-Jul-2004 | 23-Jul-2005
WISSMANN | Power Meter | 8542 | 1826126 | f215459 | ARC RM 351 | 01-Nov-2008 | 01-Jan-2010
WISSMANN | Power Meter | 8541 | 1826153 | F219145 | Bldg 59 | --- In Calibration ---
WISSMANN | Power Meter | 8541 | 1826190 | F219144 | Tech Sop, Room 6 | --- In Calibration ---
WISSMANN | Power Meter | 8541 | 1826215 | F219151 | Unknown | 15-Jul-2007 | 14-Jul-2008
WISSMANN | Power Meter/Digital | 8652A | 8651919 | F221701 | Bldg 59 | --- In Calibration ---
WISSMANN | Power Sensor | 80301A | 1825243 | F220002 | Bldg 59 | --- In Calibration ---
WISSMANN | Power Sensor | 80301A | 1825254 | f215459A | Bldg 59 | 30-Jun-2003 | 28-Jun-2004
WISSMANN | Power Sensor | 80301A | 1825256 | f220067 | Bldg 59 | --- In Calibration ---
WISSMANN | Power Sensor | 80301A | 1825259 | NA | ARC RM 351 | --- In Calibration ---
WISSMANN | Power Sensor | 80350A | 1829859 | NA | Bldg 59 | 03-Jan-2006 | 03-Jan-2008
WISSMANN | Power Sensor | 80301A | 1830416 | NA | Bldg 59 | --- In Calibration ---
WISSMANN | Power Sensor | 80301A | 1837150 | NA | Bldg 59 | --- In Calibration ---
WISSMANN | Power Sensor | 80301A | 1837151 | na | Bldg 59 | --- In Calibration ---
WISSMANN | Spectrum Analyzer | 8562A | 1849A00504 | F213727 | Bldg 59 | 03-May-2002 | 02-May-2005
WISSMANN | Spectrum Analyzer | 8568B | 1852A00470 | F213727A | Bldg 59 | 03-May-2002 | 02-May-2005
WISSMANN | Synthesized signal generator | 8644A | 2925A00408 | F26131 | Bldg 59 | --- In Calibration ---
WISSMANN | Synthesized signal generator | 8643A | 3203A00135 | F213545 | Bldb 59 | 21-Dec-2003 | 20-Jan-2007
Owner | Type (description) | Model | Serial | JLAB Asset Tag | Location | Last Cal. | Next Cal.
Note on A1: E. Anne McEwen: Per JLAB Property Management