## Sheet2
WHERE MIRCEA ADDED INFORMATION
SUBMITS TO DATABASE BY MIRCEA
STARTDATE | INSPTECH1_SRFCVP | BAGCOMM | KITPARTS | KITPARTSCOMM | PAIRSN | FPCC1SN | FPCC2SN | SERIALCOMM | CRTEST | CRTECH_SRFCVP | CRCOMM | RGALEAKDATE | RGALEAKTECH_SRFCVP | STATVAC | STATVACUPLOAD | STATVACCOMM | LC1RATE | LC1UPLOAD | LC1COMM | LC1YESNO | RGAUPLOAD | RGACOMM | RGAYESNO | FPC1PROBE | FPC2PROBE | FPCPROBECOMM | EXTCOUNTOK | EXTCOUNTUPLOAD | EXTCOUNTCOMM | FPC1CERAMICOK | FPC2CERAMICOK | CERAMICCOMM | CERAMICPHOTO | FPC1CFKNIFEOK | FPC2CFKNIFEOK | CF100COMM | CR100PHOTO | FPC1FLANGEPLTOK | FPC2FLANGEPLTOK | FLGPLTCOMM | FLGPLTPHOTO | FPC1RFCONOK | FPC2RFCONOK | RFCONCOMM | RFCONPHOTO | FPC1RFHOLEOK | FPC2RFHOLEOK | RFHOLECOMM | RFHOLEPHOTO | FPC1BELLOWSOK | FPC1BELLOWSCOMM | FPC1BELLOWSPHOTO | FPC1CAVSEALOK | FPC1CAVSEALCOMM | FPC1CAVSEALPHOTO | FPC1COPPEROK | FPC1COPPERCOMM | FPC1COPPERPHOTO | FPC1ANTENNAOK | FPC1ANTENNACOMM | FPC1ANTENNAPHOTO | FPC1INTCOUNTOK | FPC1INTCOUNTUPLOAD | FPC1INTCOUNTCOMM | FPC2BELLOWSOK | FPC2BELLOWSCOMM | FPC2BELLOWSPHOTO | FPC2CAVSEALOK | FPC2CAVSEALCOMM | FPC2CAVSEALPHOTO | FPC2COPPEROK | FPC2COPPERCOMM | FPC2COPPERPHOTO | FPC2ANTENNAOK | FPC2ANTENNACOMM | FPC2ANTENNAPHOTO | FPC2INTCOUNTOK | FPC2INTCOUNTUPLOAD | FPC2INTCOUNTCOMM | FPCSTOREDATE | TRAV_SEQ_NUM | MOD_DATE | MOD_USER | OBS
14-07-021 09:49:00 | JJORDAN |  |  |  | CPI-FPCC-HE-007&CPI-FPCC-HE-008 | CPI-FPCC-HE-007 | CPI-FPCC-HE-008 | [73 empty] | 2 | 14-07-021 09:51:58 | JJORDAN | 14-07-021 09:56:08
14-07-021 09:49:00 | JJORDAN |  |  | Unknown what these are | CPI-FPCC-HE-007&CPI-FPCC-HE-008 | CPI-FPCC-HE-007 | CPI-FPCC-HE-008 |  | 14-07-021 09:51:00 | JJORDAN |  |  |  |  | 772716DB-AA55-8726-76805493D53C4C29 | [65 empty] | 2 | 14-07-021 09:56:08 | JJORDAN | 14-07-021 10:55:50
14-07-021 09:49:00 | JJORDAN |  |  | Unknown what these are | CPI-FPCC-HE-007&CPI-FPCC-HE-008 | CPI-FPCC-HE-007 | CPI-FPCC-HE-008 |  | 14-07-021 09:51:00 | JJORDAN |  | 14-07-021 10:55:00 | JJORDAN | 2.25e-07 | 772716DB-AA55-8726-76805493D53C4C29 | [65 empty] | 2 | 14-07-021 10:55:50 | JJORDAN | 14-07-021 20:56:10
14-07-021 09:49:00 | JJORDAN |  |  | Unknown what these are | CPI-FPCC-HE-007&CPI-FPCC-HE-008 | CPI-FPCC-HE-007 | CPI-FPCC-HE-008 |  | 14-07-021 09:51:00 | JJORDAN |  | 14-07-021 10:55:00 | JJORDAN | 2.25e-07 | 772716DB-AA55-8726-76805493D53C4C29 | [6 empty] | Missing RGA histogram file. FPCC cleanness tests based on partial pressure cannot be done. Mircea 14 July 2021 | [58 empty] | 2 | 14-07-021 20:56:10 | STIRBET | 14-07-021 21:03:03
14-07-021 09:49:00 | JJORDAN |  |  | Unknown what these are | CPI-FPCC-HE-007&CPI-FPCC-HE-008 | CPI-FPCC-HE-007 | CPI-FPCC-HE-008 |  | 14-07-021 09:51:00 | JJORDAN |  | 14-07-021 10:55:00 | JJORDAN | 2.25e-07 | 772716DB-AA55-8726-76805493D53C4C29 | [6 empty] | FPCC cleanness tests based on partial pressure cannot be done: no RGA histogram, .txt or .rga has been collected/uploaded for this L2HE FPC pair. Mircea 14 July 2021 | [58 empty] | 2 | 14-07-021 21:03:03 | STIRBET | 14-07-021 21:03:26
14-07-021 09:49:00 | JJORDAN |  |  | Unknown what these are | CPI-FPCC-HE-007&CPI-FPCC-HE-008 | CPI-FPCC-HE-007 | CPI-FPCC-HE-008 |  | 14-07-021 09:51:00 | JJORDAN |  | 14-07-021 10:55:00 | JJORDAN | 2.25e-07 | 772716DB-AA55-8726-76805493D53C4C29 |  |  | AB8C3FC3-FFC9-19D8-30F354F330693E55 |  |  |  | FPCC cleanness tests based on partial pressure cannot be done: no RGA histogram, .txt or .rga has been collected/uploaded for this L2HE FPC pair. Mircea 14 July 2021 | [58 empty] | 2 | 14-07-021 21:03:26 | STIRBET | 15-07-021 11:21:10
14-07-021 09:49:00 | JJORDAN |  |  | Unknown what these are | CPI-FPCC-HE-007&CPI-FPCC-HE-008 | CPI-FPCC-HE-007 | CPI-FPCC-HE-008 |  | 14-07-021 09:51:00 | JJORDAN |  | 14-07-021 10:55:00 | JJORDAN | 2.25e-07 | 772716DB-AA55-8726-76805493D53C4C29 |  | 0 | AB8C3FC3-FFC9-19D8-30F354F330693E55 |  |  | AC5A95A5-B4E4-28C4-4BF435C3B73E0F5C | FPCC cleanness tests based on partial pressure cannot be done: no RGA histogram, .txt or .rga has been collected/uploaded for this L2HE FPC pair. Mircea 14 July 2021 | [58 empty] | 2 | 15-07-021 11:21:10 | JJORDAN | 15-07-021 11:43:32
14-07-021 09:49:00 | JJORDAN |  |  | Unknown what these are | CPI-FPCC-HE-007&CPI-FPCC-HE-008 | CPI-FPCC-HE-007 | CPI-FPCC-HE-008 |  | 14-07-021 09:51:00 | JJORDAN |  | 14-07-021 10:55:00 | JJORDAN | 2.25e-07 | 772716DB-AA55-8726-76805493D53C4C29 |  | 0 | AB8C3FC3-FFC9-19D8-30F354F330693E55 |  | Yes | AC5A95A5-B4E4-28C4-4BF435C3B73E0F5C | FPCC cleanness tests based on partial pressure cannot be done: no RGA histogram, .txt or .rga has been collected/uploaded for this L2HE FPC pair. Mircea 14 July 2021 | [58 empty] | 2 | 15-07-021 11:43:32 | JJORDAN | 15-07-021 16:22:29
14-07-021 09:49:00 | JJORDAN |  |  | Unknown what these are | CPI-FPCC-HE-007&CPI-FPCC-HE-008 | CPI-FPCC-HE-007 | CPI-FPCC-HE-008 |  | 14-07-021 09:51:00 | JJORDAN |  | 14-07-021 10:55:00 | JJORDAN | 2.25e-07 | 772716DB-AA55-8726-76805493D53C4C29 |  | 0 | AB8C3FC3-FFC9-19D8-30F354F330693E55 |  | Yes | AC5A95A5-B4E4-28C4-4BF435C3B73E0F5C | FPCC cleanness tests based on partial pressure cannot be done: no RGA histogram, .txt or .rga has been collected/uploaded for this L2HE FPC pair. Mircea 14 July 2021 | [58 empty] | 2 | 15-07-021 16:22:29 | STIRBET | 15-07-021 16:24:34
14-07-021 09:49:00 | JJORDAN |  |  | Unknown what these are | CPI-FPCC-HE-007&CPI-FPCC-HE-008 | CPI-FPCC-HE-007 | CPI-FPCC-HE-008 |  | 14-07-021 09:51:00 | JJORDAN |  | 14-07-021 10:55:00 | JJORDAN | 2.25e-07 | 772716DB-AA55-8726-76805493D53C4C29 |  | 0 | AB8C3FC3-FFC9-19D8-30F354F330693E55 |  | Yes | AC5A95A5-B4E4-28C4-4BF435C3B73E0F5C | Done FPCC cleanness tests based on partial pressure values collected in RGA histogram: L2HE FPCC_007_008 failed all three specifications. Mircea 15 July 2021 | [58 empty] | 2 | 15-07-021 16:24:34 | STIRBET | 20-07-021 07:40:01
14-07-021 09:49:00 | JJORDAN |  |  | Unknown what these are | CPI-FPCC-HE-007&CPI-FPCC-HE-008 | CPI-FPCC-HE-007 | CPI-FPCC-HE-008 |  | 14-07-021 09:51:00 | JJORDAN |  | 14-07-021 10:55:00 | JJORDAN | 2.25e-07 | 772716DB-AA55-8726-76805493D53C4C29 |  | 0 | AB8C3FC3-FFC9-19D8-30F354F330693E55 |  | Yes | AC5A95A5-B4E4-28C4-4BF435C3B73E0F5C | Done FPCC cleanness tests based on partial pressure values collected in RGA histogram: L2HE FPCC_007_008 failed all three specifications. Mircea 15 July 2021 | No | [57 empty] | 2 | 20-07-021 07:40:01 | JJORDAN | 20-07-021 07:46:36
14-07-021 09:49:00 | JJORDAN |  |  | Unknown what these are | CPI-FPCC-HE-007&CPI-FPCC-HE-008 | CPI-FPCC-HE-007 | CPI-FPCC-HE-008 |  | 14-07-021 09:51:00 | JJORDAN |  | 14-07-021 10:55:00 | JJORDAN | 2.25e-07 | 772716DB-AA55-8726-76805493D53C4C29 |  | 0 | AB8C3FC3-FFC9-19D8-30F354F330693E55 |  | Yes | AC5A95A5-B4E4-28C4-4BF435C3B73E0F5C | Done FPCC cleanness tests based on partial pressure values collected in RGA histogram: L2HE FPCC_007_008 failed all three specifications. Mircea 15 July 2021 | No | Yes | Yes |  |  | A79C2930-D9C7-1CF6-F988A6B2A06DDD3A | [52 empty] | 2 | 20-07-021 07:46:36 | JJORDAN | 20-07-021 09:18:54
14-07-021 09:49:00 | JJORDAN |  |  | Unknown what these are | CPI-FPCC-HE-007&CPI-FPCC-HE-008 | CPI-FPCC-HE-007 | CPI-FPCC-HE-008 |  | 14-07-021 09:51:00 | JJORDAN |  | 14-07-021 10:55:00 | JJORDAN | 2.25e-07 | 772716DB-AA55-8726-76805493D53C4C29 |  | 0 | AB8C3FC3-FFC9-19D8-30F354F330693E55 |  | Yes | AC5A95A5-B4E4-28C4-4BF435C3B73E0F5C | Done FPCC cleanness tests based on partial pressure values collected in RGA histogram: L2HE FPCC_007_008 failed all three specifications. Mircea 15 July 2021 | No | Yes | Yes |  |  | A79C2930-D9C7-1CF6-F988A6B2A06DDD3A | There are two cold couplers on the same test waveguide. Not clear if file DATA0001.CSV has particulate data for coupler FPCC007 or FPCC008. | [51 empty] | 2 | 20-07-021 09:18:54 | STIRBET | 20-07-021 09:20:19
14-07-021 09:49:00 | JJORDAN |  |  | Unknown what these are | CPI-FPCC-HE-007&CPI-FPCC-HE-008 | CPI-FPCC-HE-007 | CPI-FPCC-HE-008 |  | 14-07-021 09:51:00 | JJORDAN |  | 14-07-021 10:55:00 | JJORDAN | 2.25e-07 | 772716DB-AA55-8726-76805493D53C4C29 |  | 0 | AB8C3FC3-FFC9-19D8-30F354F330693E55 |  | Yes | AC5A95A5-B4E4-28C4-4BF435C3B73E0F5C | Done FPCC cleanness tests based on partial pressure values collected in RGA histogram: L2HE FPCC_007_008 failed all three specifications. Mircea 15 July 2021 | No | Yes | Yes |  |  | A79C2930-D9C7-1CF6-F988A6B2A06DDD3A | There are two cold couplers on the same test waveguide. Not clear if file DATA0001.CSV has external particulates data for coupler FPCC007 or FPCC008. Mircea 20 July 2021 | [51 empty] | 2 | 20-07-021 09:20:19 | STIRBET | 20-07-021 09:58:02
14-07-021 09:49:00 | JJORDAN |  |  | Unknown what these are | CPI-FPCC-HE-007&CPI-FPCC-HE-008 | CPI-FPCC-HE-007 | CPI-FPCC-HE-008 |  | 14-07-021 09:51:00 | JJORDAN |  | 14-07-021 10:55:00 | JJORDAN | 2.25e-07 | 772716DB-AA55-8726-76805493D53C4C29 |  | 0 | AB8C3FC3-FFC9-19D8-30F354F330693E55 |  | Yes | AC5A95A5-B4E4-28C4-4BF435C3B73E0F5C | Done FPCC cleanness tests based on partial pressure values collected in RGA histogram: L2HE FPCC_007_008 failed all three specifications. Mircea 15 July 2021 | No | Yes | Yes |  | Yes | A79C2930-D9C7-1CF6-F988A6B2A06DDD3A | There are two cold couplers on the same test waveguide. Not clear if file DATA0001.CSV has external particulates data for coupler FPCC007 or FPCC008. Mircea 20 July 2021 |  |  |  | AA3026E3-D60E-0068-3E12770B9C153023 | [47 empty] | 2 | 20-07-021 09:58:02 | JJORDAN | 20-07-021 10:02:06
14-07-021 09:49:00 | JJORDAN |  |  | Unknown what these are | CPI-FPCC-HE-007&CPI-FPCC-HE-008 | CPI-FPCC-HE-007 | CPI-FPCC-HE-008 |  | 14-07-021 09:51:00 | JJORDAN |  | 14-07-021 10:55:00 | JJORDAN | 2.25e-07 | 772716DB-AA55-8726-76805493D53C4C29 |  | 0 | AB8C3FC3-FFC9-19D8-30F354F330693E55 |  | Yes | AC5A95A5-B4E4-28C4-4BF435C3B73E0F5C | Done FPCC cleanness tests based on partial pressure values collected in RGA histogram: L2HE FPCC_007_008 failed all three specifications. Mircea 15 July 2021 | No | Yes | Yes |  | Yes | A79C2930-D9C7-1CF6-F988A6B2A06DDD3A | There are two cold couplers on the same test waveguide. Not clear if file DATA0001.CSV has external particulates data for coupler FPCC007 or FPCC008. Mircea 20 July 2021 | Yes | Yes | Small scratch marks on top ceramics | AA3026E3-D60E-0068-3E12770B9C153023 | [47 empty] | 2 | 20-07-021 10:02:06 | JJORDAN | 20-07-021 11:26:04
14-07-021 09:49:00 | JJORDAN |  |  | Unknown what these are | CPI-FPCC-HE-007&CPI-FPCC-HE-008 | CPI-FPCC-HE-007 | CPI-FPCC-HE-008 |  | 14-07-021 09:51:00 | JJORDAN |  | 14-07-021 10:55:00 | JJORDAN | 2.25e-07 | 772716DB-AA55-8726-76805493D53C4C29 |  | 0 | AB8C3FC3-FFC9-19D8-30F354F330693E55 |  | Yes | AC5A95A5-B4E4-28C4-4BF435C3B73E0F5C | Done FPCC cleanness tests based on partial pressure values collected in RGA histogram: L2HE FPCC_007_008 failed all three specifications. Mircea 15 July 2021 | No | Yes | Yes | The three photos uploaded at pct 7 have nothing to do with FPC ceramics: these are just SMA connectors and should be checked with a cable connected to a multimeter. Pct. 7 and 8 should be properly addressed, for each individual couplers. Mircea 20 July 2020. | Yes | A79C2930-D9C7-1CF6-F988A6B2A06DDD3A | There are two cold couplers on the same test waveguide. Not clear if file DATA0001.CSV has external particulates data for coupler FPCC007 or FPCC008. Each cold coupler is supposed to have its external / internal particulate counts. Mircea 20 July 2021 | Yes | Yes | Small scratch marks on top ceramics | AA3026E3-D60E-0068-3E12770B9C153023 |  |  |  | ADEB29C7-CFD2-AECC-7F5569FC0CA0727D | [43 empty] | 2 | 20-07-021 11:26:04 | STIRBET | 20-07-021 11:47:57
14-07-021 09:49:00 | JJORDAN |  |  | Unknown what these are | CPI-FPCC-HE-007&CPI-FPCC-HE-008 | CPI-FPCC-HE-007 | CPI-FPCC-HE-008 |  | 14-07-021 09:51:00 | JJORDAN |  | 14-07-021 10:55:00 | JJORDAN | 2.25e-07 | 772716DB-AA55-8726-76805493D53C4C29 |  | 0 | AB8C3FC3-FFC9-19D8-30F354F330693E55 |  | Yes | AC5A95A5-B4E4-28C4-4BF435C3B73E0F5C | Done FPCC cleanness tests based on partial pressure values collected in RGA histogram: L2HE FPCC_007_008 failed all three specifications. Mircea 15 July 2021 | No | Yes | Yes | The three photos uploaded at pct 7 have nothing to do with FPC ceramics: these are just SMA connectors and should be checked with a cable connected to a multimeter. Pct. 7 and 8 should be properly addressed, for each individual couplers. Mircea 20 July 2020. | Yes | A79C2930-D9C7-1CF6-F988A6B2A06DDD3A | There are two cold couplers on the same test waveguide. Not clear if file DATA0001.CSV has external particulates data for coupler FPCC007 or FPCC008. Each cold coupler is supposed to have its external / internal particulate counts. Mircea 20 July 2021 | No | Yes | stain on fpcc007 | AA3026E3-D60E-0068-3E12770B9C153023 | Yes | Yes |  | ADEB29C7-CFD2-AECC-7F5569FC0CA0727D | [43 empty] | 2 | 20-07-021 11:47:58 | JJORDAN | 20-07-021 11:53:19
14-07-021 09:49:00 | JJORDAN |  |  | Unknown what these are | CPI-FPCC-HE-007&CPI-FPCC-HE-008 | CPI-FPCC-HE-007 | CPI-FPCC-HE-008 |  | 14-07-021 09:51:00 | JJORDAN |  | 14-07-021 10:55:00 | JJORDAN | 2.25e-07 | 772716DB-AA55-8726-76805493D53C4C29 |  | 0 | AB8C3FC3-FFC9-19D8-30F354F330693E55 |  | Yes | AC5A95A5-B4E4-28C4-4BF435C3B73E0F5C | Done FPCC cleanness tests based on partial pressure values collected in RGA histogram: L2HE FPCC_007_008 failed all three specifications. Mircea 15 July 2021 | No | Yes | Yes | The three photos uploaded at pct 7 have nothing to do with FPC ceramics: these are just SMA connectors and should be checked with a cable connected to a multimeter. Pct. 7 and 8 should be properly addressed, for each individual couplers. Mircea 20 July 2020. | Yes | A79C2930-D9C7-1CF6-F988A6B2A06DDD3A | There are two cold couplers on the same test waveguide. Not clear if file DATA0001.CSV has external particulates data for coupler FPCC007 or FPCC008. Each cold coupler is supposed to have its external / internal particulate counts. Mircea 20 July 2021 | No | Yes | stain on fpcc007 | AA3026E3-D60E-0068-3E12770B9C153023 | Yes | Yes |  | ADEB29C7-CFD2-AECC-7F5569FC0CA0727D | No | No | Small pits or scratches found on both fpcc007 and 008 flat copper surfaces |  | Yes | No | 3 scratches on side near top edge | AE3DE94A-DC4B-30AF-456A4976FCD6659D | [35 empty] | 2 | 20-07-021 11:53:19 | JJORDAN | 20-07-021 13:01:04
14-07-021 09:49:00 | JJORDAN |  |  | Unknown what these are | CPI-FPCC-HE-007&CPI-FPCC-HE-008 | CPI-FPCC-HE-007 | CPI-FPCC-HE-008 |  | 14-07-021 09:51:00 | JJORDAN |  | 14-07-021 10:55:00 | JJORDAN | 2.25e-07 | 772716DB-AA55-8726-76805493D53C4C29 |  | 0 | AB8C3FC3-FFC9-19D8-30F354F330693E55 |  | Yes | AC5A95A5-B4E4-28C4-4BF435C3B73E0F5C | Done FPCC cleanness tests based on partial pressure values collected in RGA histogram: L2HE FPCC_007_008 failed all three specifications. Mircea 15 July 2021 | No | Yes | Yes | The three photos uploaded at pct 7 have nothing to do with FPC ceramics: these are just SMA connectors and should be checked with a cable connected to a multimeter. Pct. 7 and 8 should be properly addressed, for each individual couplers. Mircea 20 July 2020. | Yes | A79C2930-D9C7-1CF6-F988A6B2A06DDD3A | There are two cold couplers on the same test waveguide. Not clear if file DATA0001.CSV has external particulates data for coupler FPCC007 or FPCC008. Each cold coupler is supposed to have its external / internal particulate counts. Mircea 20 July 2021 | No | Yes | stain on fpcc007 ceramic | AA3026E3-D60E-0068-3E12770B9C153023 | Yes | Yes |  | ADEB29C7-CFD2-AECC-7F5569FC0CA0727D | No | No | Small pits or scratches found on both fpcc007 and 008 flat copper surfaces |  | Yes | No | 3 scratches on side near top edge of fpcc008 | AE3DE94A-DC4B-30AF-456A4976FCD6659D | [35 empty] | 2 | 20-07-021 13:01:04 | JJORDAN | 20-07-021 13:18:35
14-07-021 09:49:00 | JJORDAN |  |  | Unknown what these are | CPI-FPCC-HE-007&CPI-FPCC-HE-008 | CPI-FPCC-HE-007 | CPI-FPCC-HE-008 |  | 14-07-021 09:51:00 | JJORDAN |  | 14-07-021 10:55:00 | JJORDAN | 2.25e-07 | 772716DB-AA55-8726-76805493D53C4C29 |  | 0 | AB8C3FC3-FFC9-19D8-30F354F330693E55 |  | Yes | AC5A95A5-B4E4-28C4-4BF435C3B73E0F5C | Done FPCC cleanness tests based on partial pressure values collected in RGA histogram: L2HE FPCC_007_008 failed all three specifications. Mircea 15 July 2021 | No | Yes | Yes | The three photos uploaded at pct 7 have nothing to do with FPC ceramics: these are just SMA connectors and should be checked with a cable connected to a multimeter. Pct. 7 and 8 should be properly addressed, for each individual couplers. Mircea 20 July 2020. | Yes | A79C2930-D9C7-1CF6-F988A6B2A06DDD3A | There are two cold couplers on the same test waveguide. Not clear if file DATA0001.CSV has external particulates data for coupler FPCC007 or FPCC008. Each cold coupler is supposed to have its external / internal particulate counts. Mircea 20 July 2021 | No | Yes | stain on fpcc007 ceramic | AA3026E3-D60E-0068-3E12770B9C153023 | Yes | Yes |  | ADEB29C7-CFD2-AECC-7F5569FC0CA0727D | No | No | Small pits or scratches found on both fpcc007 and 008 flat copper surfaces |  | Yes | No | 3 scratches on side near top edge of fpcc008 | AE3DE94A-DC4B-30AF-456A4976FCD6659D | Yes | Yes | [33 empty] | 2 | 20-07-021 13:18:35 | JJORDAN | 20-07-021 13:56:56
14-07-021 09:49:00 | JJORDAN |  |  | Unknown what these are | CPI-FPCC-HE-007&CPI-FPCC-HE-008 | CPI-FPCC-HE-007 | CPI-FPCC-HE-008 |  | 14-07-021 09:51:00 | JJORDAN |  | 14-07-021 10:55:00 | JJORDAN | 2.25e-07 | 772716DB-AA55-8726-76805493D53C4C29 |  | 0 | AB8C3FC3-FFC9-19D8-30F354F330693E55 |  | Yes | AC5A95A5-B4E4-28C4-4BF435C3B73E0F5C | Done FPCC cleanness tests based on partial pressure values collected in RGA histogram: L2HE FPCC_007_008 failed all three specifications. Mircea 15 July 2021 | No | Yes | Yes | The three photos uploaded at pct 7 have nothing to do with FPC ceramics: these are just SMA connectors and should be checked with a cable connected to a multimeter. Pct. 7 and 8 should be properly addressed, for each individual couplers. Mircea 20 July 2020. | Yes | A79C2930-D9C7-1CF6-F988A6B2A06DDD3A | There are two cold couplers on the same test waveguide. Not clear if file DATA0001.CSV has external particulates data for coupler FPCC007 or FPCC008. Each cold coupler is supposed to have its external / internal particulate counts. Mircea 20 July 2021 | No | Yes | stain on fpcc007 ceramic | AA3026E3-D60E-0068-3E12770B9C153023 | Yes | Yes |  | ADEB29C7-CFD2-AECC-7F5569FC0CA0727D | No | No | Small pits or scratches found on both fpcc007 and 008 flat copper surfaces |  | Yes | No | 3 scratches on side near top edge of fpcc008 | AE3DE94A-DC4B-30AF-456A4976FCD6659D | Yes | Yes |  |  | Yes | Outside copper ring has indentation from stiffener bracket | B2A9DE49-983E-3606-89A2FD39BEC87FDC |  |  | B2AFFA5D-DBB9-E45E-B837B744A22C5C0F |  |  | B2B53A71-BD21-FE28-87DD4173AB575D80 |  |  | B2B9CDCA-9143-6BC3-4C30325EE97C342C | [19 empty] | 2 | 20-07-021 13:56:56 | JJORDAN | 20-07-021 14:00:01
14-07-021 09:49:00 | JJORDAN |  |  | Unknown what these are | CPI-FPCC-HE-007&CPI-FPCC-HE-008 | CPI-FPCC-HE-007 | CPI-FPCC-HE-008 |  | 14-07-021 09:51:00 | JJORDAN |  | 14-07-021 10:55:00 | JJORDAN | 2.25e-07 | 772716DB-AA55-8726-76805493D53C4C29 |  | 0 | AB8C3FC3-FFC9-19D8-30F354F330693E55 |  | Yes | AC5A95A5-B4E4-28C4-4BF435C3B73E0F5C | Done FPCC cleanness tests based on partial pressure values collected in RGA histogram: L2HE FPCC_007_008 failed all three specifications. Mircea 15 July 2021 | No | Yes | Yes | The three photos uploaded at pct 7 have nothing to do with FPC ceramics: these are just SMA connectors and should be checked with a cable connected to a multimeter. Pct. 7 and 8 should be properly addressed, for each individual couplers. Mircea 20 July 2020. | Yes | A79C2930-D9C7-1CF6-F988A6B2A06DDD3A | There are two cold couplers on the same test waveguide. Not clear if file DATA0001.CSV has external particulates data for coupler FPCC007 or FPCC008. Each cold coupler is supposed to have its external / internal particulate counts. Mircea 20 July 2021 | No | Yes | stain on fpcc007 ceramic | AA3026E3-D60E-0068-3E12770B9C153023 | Yes | Yes |  | ADEB29C7-CFD2-AECC-7F5569FC0CA0727D | No | No | Small pits or scratches found on both fpcc007 and 008 flat copper surfaces |  | Yes | No | 3 scratches on side near top edge of fpcc008 | AE3DE94A-DC4B-30AF-456A4976FCD6659D | Yes | Yes |  |  | Yes | Outside copper ring has indentation from stiffener bracket | B2A9DE49-983E-3606-89A2FD39BEC87FDC | Yes |  | B2AFFA5D-DBB9-E45E-B837B744A22C5C0F | Yes |  | B2B53A71-BD21-FE28-87DD4173AB575D80 | Yes |  | B2B9CDCA-9143-6BC3-4C30325EE97C342C |  | B35C3688-99AB-E2AE-D2777E244D961BE5 | [17 empty] | 2 | 20-07-021 14:00:01 | JJORDAN | 20-07-021 14:17:38
14-07-021 09:49:00 | JJORDAN |  |  | Unknown what these are | CPI-FPCC-HE-007&CPI-FPCC-HE-008 | CPI-FPCC-HE-007 | CPI-FPCC-HE-008 |  | 14-07-021 09:51:00 | JJORDAN |  | 14-07-021 10:55:00 | JJORDAN | 2.25e-07 | 772716DB-AA55-8726-76805493D53C4C29 |  | 0 | AB8C3FC3-FFC9-19D8-30F354F330693E55 |  | Yes | AC5A95A5-B4E4-28C4-4BF435C3B73E0F5C | Done FPCC cleanness tests based on partial pressure values collected in RGA histogram: L2HE FPCC_007_008 failed all three specifications. Mircea 15 July 2021 | No | Yes | Yes | The three photos uploaded at pct 7 have nothing to do with FPC ceramics: these are just SMA connectors and should be checked with a cable connected to a multimeter. Pct. 7 and 8 should be properly addressed, for each individual couplers. Mircea 20 July 2020. | Yes | A79C2930-D9C7-1CF6-F988A6B2A06DDD3A | There are two cold couplers on the same test waveguide. Not clear if file DATA0001.CSV has external particulates data for coupler FPCC007 or FPCC008. Each cold coupler is supposed to have its external / internal particulate counts. Mircea 20 July 2021 | No | Yes | stain on fpcc007 ceramic | AA3026E3-D60E-0068-3E12770B9C153023 | Yes | Yes |  | ADEB29C7-CFD2-AECC-7F5569FC0CA0727D | No | No | Small pits or scratches found on both fpcc007 and 008 flat copper surfaces |  | Yes | No | 3 scratches on side near top edge of fpcc008 | AE3DE94A-DC4B-30AF-456A4976FCD6659D | Yes | Yes |  |  | Yes | Outside copper ring has indentation from stiffener bracket | B2A9DE49-983E-3606-89A2FD39BEC87FDC | Yes |  | B2AFFA5D-DBB9-E45E-B837B744A22C5C0F | Yes |  | B2B53A71-BD21-FE28-87DD4173AB575D80 | Yes |  | B2B9CDCA-9143-6BC3-4C30325EE97C342C | Yes | B35C3688-99AB-E2AE-D2777E244D961BE5 |  |  |  | B41819EF-BC0B-6B33-B6524FA00CC4837B |  |  | B41F76BD-D94B-AA8C-76F3AF58E23204DA |  |  | B429405A-C79C-FCB5-AEA517CC4D0138A8 |  |  | B42DAEC3-BE5C-25E6-64D738B360BDB08F |  | B431C5F9-D921-3FC0-10B936D33B2C7F8D |  |  | 2 | 20-07-021 14:17:38 | JJORDAN | 20-07-021 14:41:14
14-07-021 09:49:00 | JJORDAN |  |  | Unknown what these are | CPI-FPCC-HE-007&CPI-FPCC-HE-008 | CPI-FPCC-HE-007 | CPI-FPCC-HE-008 |  | 14-07-021 09:51:00 | JJORDAN |  | 14-07-021 10:55:00 | JJORDAN | 2.25e-07 | 772716DB-AA55-8726-76805493D53C4C29 |  | 0 | AB8C3FC3-FFC9-19D8-30F354F330693E55 |  | Yes | AC5A95A5-B4E4-28C4-4BF435C3B73E0F5C | Done FPCC cleanness tests based on partial pressure values collected in RGA histogram: L2HE FPCC_007_008 failed all three specifications. Mircea 15 July 2021 | No | Yes | Yes | The three photos uploaded at pct 7 have nothing to do with FPC ceramics: these are just SMA connectors and should be checked with a cable connected to a multimeter. Pct. 7 and 8 should be properly addressed, for each individual couplers. Mircea 20 July 2020. | Yes | A79C2930-D9C7-1CF6-F988A6B2A06DDD3A | There are two cold couplers on the same test waveguide. Not clear if file DATA0001.CSV has external particulates data for coupler FPCC007 or FPCC008. Each cold coupler is supposed to have its external / internal particulate counts. Mircea 20 July 2021 | No | Yes | stain on fpcc007 ceramic | AA3026E3-D60E-0068-3E12770B9C153023 | Yes | Yes |  | ADEB29C7-CFD2-AECC-7F5569FC0CA0727D | No | No | Small pits or scratches found on both fpcc007 and 008 flat copper surfaces |  | Yes | No | 3 scratches on side near top edge of fpcc008 | AE3DE94A-DC4B-30AF-456A4976FCD6659D | Yes | Yes |  |  | Yes | Outside copper ring has indentation from stiffener bracket | B2A9DE49-983E-3606-89A2FD39BEC87FDC | Yes |  | B2AFFA5D-DBB9-E45E-B837B744A22C5C0F | Yes |  | B2B53A71-BD21-FE28-87DD4173AB575D80 | Yes |  | B2B9CDCA-9143-6BC3-4C30325EE97C342C | Yes | B35C3688-99AB-E2AE-D2777E244D961BE5 |  | Yes |  | B41819EF-BC0B-6B33-B6524FA00CC4837B | Yes |  | B41F76BD-D94B-AA8C-76F3AF58E23204DA | Yes |  | B429405A-C79C-FCB5-AEA517CC4D0138A8 | Yes |  | B42DAEC3-BE5C-25E6-64D738B360BDB08F | Yes | B431C5F9-D921-3FC0-10B936D33B2C7F8D |  | 20-07-021 14:40:00 | 2 | 20-07-021 14:41:14 | JJORDAN | 20-07-021 15:09:05
14-07-021 09:49:00 | JJORDAN |  |  | Unknown what these are | CPI-FPCC-HE-007&CPI-FPCC-HE-008 | CPI-FPCC-HE-007 | CPI-FPCC-HE-008 |  | 14-07-021 09:51:00 | JJORDAN |  | 14-07-021 10:55:00 | JJORDAN | 2.25e-07 | 772716DB-AA55-8726-76805493D53C4C29 |  | 0 | AB8C3FC3-FFC9-19D8-30F354F330693E55 |  | Yes | AC5A95A5-B4E4-28C4-4BF435C3B73E0F5C | Done FPCC cleanness tests based on partial pressure values collected in RGA histogram: L2HE FPCC_007_008 failed all three specifications. Mircea 15 July 2021 | No | Yes | Yes | The three photos uploaded at pct 7 have nothing to do with FPC ceramics: these are just SMA connectors and should be checked with a cable connected to a multimeter. Pct. 7 and 8 should be properly addressed, for each individual couplers. Mircea 20 July 2020. | Yes | A79C2930-D9C7-1CF6-F988A6B2A06DDD3A | There are two cold couplers on the same test waveguide. Not clear if file DATA0001.CSV has external particulates data for coupler FPCC007 or FPCC008. Each cold coupler is supposed to have its external / internal particulate counts. Mircea 20 July 2021 | No | Yes | stain on fpcc007 ceramic | AA3026E3-D60E-0068-3E12770B9C153023 | Yes | Yes |  | ADEB29C7-CFD2-AECC-7F5569FC0CA0727D | No | No | Small pits or scratches found on both fpcc007 and 008 flat copper surfaces |  | Yes | No | 3 scratches on side near top edge of fpcc008 | AE3DE94A-DC4B-30AF-456A4976FCD6659D | Yes | Yes |  |  | Yes | Outside copper ring has indentation from stiffener bracket | B2A9DE49-983E-3606-89A2FD39BEC87FDC | Yes |  | B2AFFA5D-DBB9-E45E-B837B744A22C5C0F | Yes |  | B2B53A71-BD21-FE28-87DD4173AB575D80 | Yes |  | B2B9CDCA-9143-6BC3-4C30325EE97C342C | Yes | B35C3688-99AB-E2AE-D2777E244D961BE5 |  | Yes |  | B41819EF-BC0B-6B33-B6524FA00CC4837B | Yes |  | B41F76BD-D94B-AA8C-76F3AF58E23204DA | Yes |  | B429405A-C79C-FCB5-AEA517CC4D0138A8 | Yes |  | B42DAEC3-BE5C-25E6-64D738B360BDB08F | Yes | B431C5F9-D921-3FC0-10B936D33B2C7F8D |  | 20-07-021 14:40:00 | 2 | 20-07-021 15:09:05 | STIRBET | 20-07-021 15:15:37
14-07-021 09:49:00 | JJORDAN |  |  | Unknown what these are | CPI-FPCC-HE-007&CPI-FPCC-HE-008 | CPI-FPCC-HE-007 | CPI-FPCC-HE-008 |  | 14-07-021 09:51:00 | JJORDAN |  | 14-07-021 10:55:00 | JJORDAN | 2.25e-07 | 772716DB-AA55-8726-76805493D53C4C29 |  | 0 | AB8C3FC3-FFC9-19D8-30F354F330693E55 |  | Yes | AC5A95A5-B4E4-28C4-4BF435C3B73E0F5C | Done FPCC cleanness tests based on partial pressure values collected in RGA histogram: L2HE FPCC_007_008 failed all three specifications. Mircea 15 July 2021 | No | Yes | Yes | The three photos uploaded at pct 7 have nothing to do with FPC ceramics: these are just SMA connectors and should be checked with a cable connected to a multimeter. Pct. 7 and 8 should be properly addressed, for each individual couplers. Mircea 20 July 2020. | Yes | A79C2930-D9C7-1CF6-F988A6B2A06DDD3A | There are two cold couplers on the same test waveguide. Not clear if file DATA0001.CSV has external particulates data for coupler FPCC007 or FPCC008. Each cold coupler is supposed to have its external / internal particulate counts. Mircea 20 July 2021 | No | Yes | stain on fpcc007 ceramic | AA3026E3-D60E-0068-3E12770B9C153023 | Yes | Yes |  | ADEB29C7-CFD2-AECC-7F5569FC0CA0727D | No | No | Small pits or scratches found on both fpcc007 and 008 flat copper surfaces |  | Yes | No | 3 scratches on side near top edge of fpcc008 | AE3DE94A-DC4B-30AF-456A4976FCD6659D | Yes | Yes |  |  | Yes | Outside copper ring has indentation from stiffener bracket | B2A9DE49-983E-3606-89A2FD39BEC87FDC | Yes |  | B2AFFA5D-DBB9-E45E-B837B744A22C5C0F | Yes |  | B2B53A71-BD21-FE28-87DD4173AB575D80 | Yes |  | B2B9CDCA-9143-6BC3-4C30325EE97C342C | Yes | B35C3688-99AB-E2AE-D2777E244D961BE5 | Particulate counts starts at about 1000 x 0.3um counts (this coupler was supposed to be delivered with internal counts less than 10). Mircea 20 July 2021 | Yes |  | B41819EF-BC0B-6B33-B6524FA00CC4837B | Yes |  | B41F76BD-D94B-AA8C-76F3AF58E23204DA | Yes |  | B429405A-C79C-FCB5-AEA517CC4D0138A8 | Yes |  | B42DAEC3-BE5C-25E6-64D738B360BDB08F | Yes | B431C5F9-D921-3FC0-10B936D33B2C7F8D | Particulate counts starts at over 1000 x 0.3um counts (this coupler was supposed to be delivered with internal counts less than 10). Mircea 20 July 2021 | 20-07-021 14:40:00 | 2 | 20-07-021 15:15:37 | STIRBET | 20-07-021 15:23:01
14-07-021 09:49:00 | JJORDAN |  |  | Unknown what these are | CPI-FPCC-HE-007&CPI-FPCC-HE-008 | CPI-FPCC-HE-007 | CPI-FPCC-HE-008 |  | 14-07-021 09:51:00 | JJORDAN |  | 14-07-021 10:55:00 | JJORDAN | 2.25e-07 | 772716DB-AA55-8726-76805493D53C4C29 |  | 0 | AB8C3FC3-FFC9-19D8-30F354F330693E55 |  | Yes | AC5A95A5-B4E4-28C4-4BF435C3B73E0F5C | Done FPCC cleanness tests based on partial pressure values collected in RGA histogram: L2HE FPCC_007_008 failed all three specifications. Mircea 15 July 2021 | No | Yes | Yes | The three photos uploaded at pct 7 have nothing to do with FPC ceramics: these are just SMA connectors and should be checked with a cable connected to a multimeter. Pct. 7 and 8 should be properly addressed, for each individual couplers. Mircea 20 July 2020. | Yes | A79C2930-D9C7-1CF6-F988A6B2A06DDD3A | There are two cold couplers on the same test waveguide. Not clear if file DATA0001.CSV has external particulates data for coupler FPCC007 or FPCC008. Each cold coupler is supposed to have its external / internal particulate counts. Mircea 20 July 2021 | No | Yes | stain on fpcc007 ceramic | AA3026E3-D60E-0068-3E12770B9C153023 | Yes | Yes |  | ADEB29C7-CFD2-AECC-7F5569FC0CA0727D | No | No | Small pits or scratches found on both fpcc007 and 008 flat copper surfaces |  | Yes | No | 3 scratches on side near top edge of fpcc008 | AE3DE94A-DC4B-30AF-456A4976FCD6659D | Yes | Yes |  |  | Yes | Outside copper ring has indentation from stiffener bracket | B2A9DE49-983E-3606-89A2FD39BEC87FDC | Yes |  | B2AFFA5D-DBB9-E45E-B837B744A22C5C0F | Yes |  | B2B53A71-BD21-FE28-87DD4173AB575D80 | Yes |  | B2B9CDCA-9143-6BC3-4C30325EE97C342C | Yes | B35C3688-99AB-E2AE-D2777E244D961BE5 | Particulate counts starts at about 1000 x 0.3um counts (this coupler was supposed to be delivered with internal counts less than 10). Mircea 20 July 2021 | Yes |  | B41819EF-BC0B-6B33-B6524FA00CC4837B | Yes |  | B41F76BD-D94B-AA8C-76F3AF58E23204DA | Yes |  | B429405A-C79C-FCB5-AEA517CC4D0138A8 | Yes | Scratches on outer conductor copper plating at 6 - 8 o'clock position. Mircea 20 July 2021 | B42DAEC3-BE5C-25E6-64D738B360BDB08F | Yes | B431C5F9-D921-3FC0-10B936D33B2C7F8D | Particulate counts starts at over 1000 x 0.3um counts (this coupler was supposed to be delivered with internal counts less than 10). Mircea 20 July 2021 | 20-07-021 14:40:00 | 2 | 20-07-021 15:23:01 | STIRBET | 20-07-021 15:24:33
14-07-021 09:49:00 | JJORDAN |  |  | Unknown what these are | CPI-FPCC-HE-007&CPI-FPCC-HE-008 | CPI-FPCC-HE-007 | CPI-FPCC-HE-008 |  | 14-07-021 09:51:00 | JJORDAN |  | 14-07-021 10:55:00 | JJORDAN | 2.25e-07 | 772716DB-AA55-8726-76805493D53C4C29 |  | 0 | AB8C3FC3-FFC9-19D8-30F354F330693E55 |  | Yes | AC5A95A5-B4E4-28C4-4BF435C3B73E0F5C | Done FPCC cleanness tests based on partial pressure values collected in RGA histogram: L2HE FPCC_007_008 failed all three specifications. Mircea 15 July 2021 | No | Yes | Yes | The three photos uploaded at pct 7 have nothing to do with FPC ceramics: these are just SMA connectors and should be checked with a cable connected to a multimeter. Pct. 7 and 8 should be properly addressed, for each individual couplers. Mircea 20 July 2020. | Yes | A79C2930-D9C7-1CF6-F988A6B2A06DDD3A | There are two cold couplers on the same test waveguide. Not clear if file DATA0001.CSV has external particulates data for coupler FPCC007 or FPCC008. Each cold coupler is supposed to have its external / internal particulate counts. Mircea 20 July 2021 | No | Yes | stain on fpcc007 ceramic | AA3026E3-D60E-0068-3E12770B9C153023 | Yes | Yes |  | ADEB29C7-CFD2-AECC-7F5569FC0CA0727D | No | No | Small pits or scratches found on both fpcc007 and 008 flat copper surfaces |  | Yes | No | 3 scratches on side near top edge of fpcc008 | AE3DE94A-DC4B-30AF-456A4976FCD6659D | Yes | Yes |  |  | Yes | Outside copper ring has indentation from stiffener bracket | B2A9DE49-983E-3606-89A2FD39BEC87FDC | Yes |  | B2AFFA5D-DBB9-E45E-B837B744A22C5C0F | Yes |  | B2B53A71-BD21-FE28-87DD4173AB575D80 | Yes |  | B2B9CDCA-9143-6BC3-4C30325EE97C342C | Yes | B35C3688-99AB-E2AE-D2777E244D961BE5 | Particulate counts starts at about 1000 x 0.3um counts (this coupler was supposed to be delivered with internal counts less than 10). Mircea 20 July 2021 | Yes |  | B41819EF-BC0B-6B33-B6524FA00CC4837B | Yes |  | B41F76BD-D94B-AA8C-76F3AF58E23204DA | Yes | Scratches on outer conductor copper plating at 6 - 8 o'clock position. Mircea 20 July 2021 | B429405A-C79C-FCB5-AEA517CC4D0138A8 | Yes |  | B42DAEC3-BE5C-25E6-64D738B360BDB08F | Yes | B431C5F9-D921-3FC0-10B936D33B2C7F8D | Particulate counts starts at over 1000 x 0.3um counts (this coupler was supposed to be delivered with internal counts less than 10). Mircea 20 July 2021 | 20-07-021 14:40:00 | 2 | 20-07-021 15:24:33 | STIRBET | 20-07-021 15:29:35
14-07-021 09:49:00 | JJORDAN |  |  | Unknown what these are | CPI-FPCC-HE-007&CPI-FPCC-HE-008 | CPI-FPCC-HE-007 | CPI-FPCC-HE-008 |  | 14-07-021 09:51:00 | JJORDAN |  | 14-07-021 10:55:00 | JJORDAN | 2.25e-07 | 772716DB-AA55-8726-76805493D53C4C29 |  | 0 | AB8C3FC3-FFC9-19D8-30F354F330693E55 |  | Yes | AC5A95A5-B4E4-28C4-4BF435C3B73E0F5C | Done FPCC cleanness tests based on partial pressure values collected in RGA histogram: L2HE FPCC_007_008 failed all three specifications. Mircea 15 July 2021 | No | Yes | Yes | The three photos uploaded at pct 7 have nothing to do with FPC ceramics: these are just SMA connectors and should be checked with a cable connected to a multimeter. Pct. 7 and 8 should be properly addressed, for each individual couplers. Mircea 20 July 2020. | Yes | A79C2930-D9C7-1CF6-F988A6B2A06DDD3A | There are two cold couplers on the same test waveguide. Not clear if file DATA0001.CSV has external particulates data for coupler FPCC007 or FPCC008. Each cold coupler is supposed to have its external / internal particulate counts. Mircea 20 July 2021 | No | Yes | stain on fpcc007 ceramic | AA3026E3-D60E-0068-3E12770B9C153023 | Yes | Yes |  | ADEB29C7-CFD2-AECC-7F5569FC0CA0727D | No | No | Small pits or scratches found on both fpcc007 and 008 flat copper surfaces |  | Yes | No | 3 scratches on side near top edge of fpcc008 | AE3DE94A-DC4B-30AF-456A4976FCD6659D | Yes | Yes |  |  | Yes | Outside copper ring has indentation from stiffener bracket | B2A9DE49-983E-3606-89A2FD39BEC87FDC | Yes |  | B2AFFA5D-DBB9-E45E-B837B744A22C5C0F | Yes | AlMg left over form previous seals between 5 to 8 o'clock. Potential impact during string installation. Mircea 20 July 2021 | B2B53A71-BD21-FE28-87DD4173AB575D80 | Yes |  | B2B9CDCA-9143-6BC3-4C30325EE97C342C | Yes | B35C3688-99AB-E2AE-D2777E244D961BE5 | Particulate counts starts at about 1000 x 0.3um counts (this coupler was supposed to be delivered with internal counts less than 10). Mircea 20 July 2021 | Yes |  | B41819EF-BC0B-6B33-B6524FA00CC4837B | Yes |  | B41F76BD-D94B-AA8C-76F3AF58E23204DA | Yes | Scratches on outer conductor copper plating at 6 - 8 o'clock position. Mircea 20 July 2021 | B429405A-C79C-FCB5-AEA517CC4D0138A8 | Yes |  | B42DAEC3-BE5C-25E6-64D738B360BDB08F | Yes | B431C5F9-D921-3FC0-10B936D33B2C7F8D | Particulate counts starts at over 1000 x 0.3um counts (this coupler was supposed to be delivered with internal counts less than 10). Mircea 20 July 2021 | 20-07-021 14:40:00 | 2 | 20-07-021 15:29:35 | STIRBET