## ProcessList
Order | ShortName | Name | Category | User Contact | Software Contact | Due Date | Completed Date
33 | PSD | Power Spectral Density (AFM/PROF) | Analysis (Matlab) | HT | VB |  |  | Presssure before coating [Torr],HV Voltage [kV], Beam current [mA], Filament current [A], Filament Voltage[V], RF Power in[W], RF Power Absorbed [W], Substrate Temperature[˚C], Bias Voltage [V], Deposition rate [Å/s], raw data file, Deposition time [min]
3 | DCMS | DC Magnetron Sputtering | Coating | AMVF | BM | 2008-04-25 | 2008-04-25 | Presssure before coating [Torr],HV Voltage [kV], Beam current [mA], Filament current [A], Filament Voltage[V], RF Power in[W], RF Power Absorbed [W], Substrate Temperature[˚C], Bias Voltage [V], Deposition rate [Å/s], raw data file, Deposition time [min]
1 | ECRCavity | Electron Cyclotron Resonance | Coating | AMVF | BM | 2008-04-25 | 2008-04-25 | Presssure before coating [Torr], Pworking[torr], Voltage[V], current[A], Substrate Temperature[˚C], Bias Voltage [V], Deposition time [min], Pre-deposition
2 | ECRSample | Electron Cyclotron Resonance | Coating | AMVF | BM | 2008-04-25 | 2008-04-25 | Presssure before coating [Torr], Pworking[Torr], Voltage[V], current[A], Rfpower [W], Substrate Temperature[˚C], Bias Voltage [V], Deposition Time [min]
27 | ReacMS | Reactive Magnetron Sputtering | Coating | AMVF | VB | 2008-06-20 | 2008-06-16 | Tc [K], ΔTc [K], Raw data file
30 | RFID | RF Ion Deposition | Coating | AMVF | BM |  |  | RRR, raw data file
4 | RFMS | RF Magnetron Sputtering | Coating | AMVF | BM | 2008-04-25 | 2008-04-25 | Bath composition, Voltage [V], Current [A], Bath Temperature [˚C], Polishing time [min]...
| TEM | Transmission Electron Microscope | MaterialAnalysis
9 | AFM | Atomic Force Microscope | MaterialAnalysis | HT | VB | 2008-05-16 | 2008-06-11
13 | EBSD | Electron Backscatter Diffraction (SEM) | MaterialAnalysis | XZ | VB | 2008-05-30 | 2008-06-11
12 | EDX | Energy Dispersive X-Ray Spectroscopy | MaterialAnalysis | AW | BM | 2008-05-16 | 2008-05-15 | Instrument, measurement location or provider, micrographs and corresponding magnification, aperture [μm], beam energy [keV]
14 | FEV | Field Emission Viewer | MaterialAnalysis | AMVF | BM | 2008-05-30 | 2008-06-25
25 | FIB | Focused Ion Beam | MaterialAnalysis | AMVF | VB | 2008-06-20 | 2008-06-16 | raw data file, measurement location, instrument, beam energy, scan area [mm x mm], orientation map, pole figures
18 | HDOM | Hyrox Digital Optical Microscope | MaterialAnalysis | WS | VB | 2008-06-06 | 2008-06-16
26 | HRTEM | High Resolution TEM | MaterialAnalysis | AW | BM | 2008-06-13 | 2008-06-27
20 | MOM | Metallographic Optical Microscope | MaterialAnalysis | AW | BM | 2008-06-06 | 2008-06-27
8 | Prof | Surface Profilometry System | MaterialAnalysis | AW | BM | 2008-05-09 | 2008-06-03
31 | SAM | Scanning Auger Microscope | MaterialAnalysis | XZ | VB
31 | SAM | Scanning Auger Microscope | MaterialAnalysis | AW | BM |  |  | Grit grade, Polishing time [min]
35 | SCPROP | Superconducting Properties Measurement | MaterialAnalysis | JM | BM
11 | SEM | Scanning Electron Microscopy | MaterialAnalysis | AW | BM | 2008-05-16 | 2008-05-15 | Bath nature, Bath Composition, Bath Temperature [˚C], Polishing time [min]...
10 | SFEM | Scanning Field Emission Microscopy | MaterialAnalysis | AW | BM | 2008-05-09 | 2008-05-15 | Bath nature, Bath Composition, Bath Temperature [˚C], Polishing time [min]...
23 | SIMS | Secondary Ion Mass Spectrometry | MaterialAnalysis | AW | BM | 2008-06-13 | 2008-06-19
28 | TEO11 | TEO11 Measurement | MaterialAnalysis | GC/JM | BM | 2008-06-20 | 2008-08-06
16 | XPS | X-ray Photoelectron Spectroscopy | MaterialAnalysis | HT | VB | 2008-05-30 | 2008-06-11 | Instrument, measurement location or provider, micrographs and corresponding magnification, beam energy [keV], ions nature, cut sample size and reference
17 | XRD | X-ray Diffraction | MaterialAnalysis | XZ | VB | 2008-06-06 | 2008-06-16 | Instrument, measurement location or provider, micrographs and corresponding magnification, diffraction pattern, aperture [μm], beam energy [keV]
6 | RRRMeas | Residual Resistivity Ratio | RF/SC Measurement | XZ | VB | 2008-05-09 | 2008-05-15 | Presssure before coating [Torr], Pworking gas[Torr], Preactivegas [Torr], Voltage[V], current[A], Substrate Temperature[˚C], Bias Voltage [V], Working Gas (Ar, Kr…), Reactive Gas (O2, N2…), Deposition time [min]
24 | SIC | SIC Cavity TEO11 Surface Impedence | RF/SC Measurement | BX | VB | 2008-06-20 | 2008-06-17
5 | TcMeas | Transition Temperature Measurement | RF/SC Measurement | XZ | VB | 2008-05-09 | 2008-05-15 | Cycle Time [h], Final Temp [˚C] Ramp rate [˚C/min] Duration at final temp [h], Pressure at Final Temperature [torr], Pressure at Beginning of cycle [Torr], Pressure vs Time curve…
29 | ANN | Annealing | Surface Preparations | AMVF | BM |  |  | Presssure before coating [Torr], Pworking[Torr], Gas flow [sccm], Beam Grid Voltage[V], Beam Current[mA], RFpower [W], Substrate Temperature[˚C], Bias Voltage [V], Deposition time [min]
22 | BCP | Buffered Chemical Polish | Surface Preparations | AMVF | VB | 2008-06-13 | 2008-06-17
21 | CP | Copper Chemical Polish | Surface Preparations | AMVF | VB | 2008-06-13 | 2008-06-17
34 | CuEP | Copper ElectroPolish | Surface Preparations | AMVF | VB
32 | EIS | ElectroChemical Impedance Spectroscopy | Surface Preparations | HT | VB
7 | EP | ElectroPolish | Surface Preparations | HT | VB | 2008-05-16 | 2008-05-15
19 | MP | Buehler Minimet 1000 Polisher/Grinder | Surface Preparations | AW | BM | 2008-06-06
15 | PLETCH | Plasma Etching | Surface Preparations | MR | BM | 2008-05-30 | 2008-08-04 | Instrument, measurement location or provider, micrographs and corresponding magnification, diffraction pattern, aperture [μm], beam energy [keV]

## template
SamTraxs 'Process Event' Requirements
Process |  | User |  | Sftwr |  | STXarea
EVENT_ | [5 empty] | Surface Preparation
Standard Process Variables
| Name | Units | DataType | Size | Null? | NOTES
1 | EVENTUUID |  | VARCHAR2 | 40 |  | The Event's UUID
2 | SAMPLEUUID |  | VARCHAR2 | 40 |  | The Sample's UUID
3 | PROCESSCODE |  | NUMBER |  |  | The Event Process Code
4 | DATAFILE |  | NUMBER
5 | EVENTNOTE |  | VARCHAR2 | 2048 | Y | Event Note
6 | TIME_STAMP |  | DATE |  | Y | Date & Time of Event
7 | DURATION |  | FLOAT | 126 | Y | Length of Event process
8 | MOD_DATE |  | DATE |  | Y | Date of modification
9 | MOD_USER |  | VARCHAR2 | 8 | Y | User who made data mod
10 | OBS |  | DATE |  | Y | Date inserted when event is updated; tracks history of changes
Process Specific Variables
| Name | Units | DataType | Size | Null? | NOTES
11
12
13
14
15
16
17
18
19
20

## EP
SamTraxs 'Process Event' Requirements
SURFACE PREPARATIONS
Process |  | User |  | Sftwr |  | STXarea
ElectroPolish |  | HT |  | VB |  | Surface Preparation
EVENT_EP
Standard Process Variables
| Name | Units | DataType | Size | Null? | NOTES
1 | EVENTUUID |  | VARCHAR2 | 40 |  | The Event's UUID
2 | SAMPLEUUID |  | VARCHAR2 | 40 |  | The Sample's UUID
3 | PROCESSCODE |  | NUMBER |  |  | The Event Process Code
4 | DATAFILE |  | NUMBER
5 | EVENTNOTE |  | VARCHAR2 | 2048 | Y | Event Note
6 | TIME_STAMP |  | DATE |  | Y | Date & Time of Event
7 | DURATION |  | FLOAT | 126 | Y | Length of Event process
8 | MOD_DATE |  | DATE |  | Y | Date of modification
9 | MOD_USER |  | VARCHAR2 | 8 | Y | User who made data mod
10 | OBS |  | DATE |  | Y | Date inserted when event is updated; tracks history of changes
Process Specific Variables
| Name | Units | DataType | Size | Null? | NOTES
11 | BATHCOMP |  | VARCHAR2 | 48 | Y
12 | BATHTEMP |  | FLOAT | 126 | Y
13 | POLISHINGTIME |  | FLOAT | 126 | Y
14 | EPCURRENT |  | FLOAT | 126 | Y
15 | FLOWRATE |  | FLOAT | 126 | Y
16 | ANODEVOLTAGE |  | FLOAT | 126 | Y
17
18
19
20

## PLETCH
SamTraxs 'Process Event' Requirements
SURFACE PREPARATIONS
Process |  | User |  | Sftwr |  | STXarea
Plasma Etching |  | MR |  | BM |  | Coating
EVENT_PLETCH
Standard Process Variables
| Name | Units | DataType | Size | Null? | NOTES
1 | EVENTUUID |  | VARCHAR2 | 40 |  | The Event's UUID
2 | SAMPLEUUID |  | VARCHAR2 | 40 |  | The Sample's UUID
3 | PROCESSCODE |  | NUMBER |  |  | The Event Process Code
4 | DATAFILE |  | NUMBER
5 | EVENTNOTE |  | VARCHAR2 | 2048 | Y | Event Note
6 | TIME_STAMP |  | DATE |  | Y | Date & Time of Event
7 | DURATION |  | FLOAT | 126 | Y | Length of Event process
8 | MOD_DATE |  | DATE |  | Y | Date of modification
9 | MOD_USER |  | VARCHAR2 | 8 | Y | User who made data mod
10 | OBS |  | DATE |  | Y | Date inserted when event is updated; tracks history of changes
Process Specific Variables
| Name | Units | DataType | Size | Null? | NOTES
11 | INITIALPRESS | TORR | FLOAT | 126 | Y | Initial pressure
12 | GASPRESS | TORR | FLOAT | 126 | Y | Gas pressure
13 | GASTYPE |  | VARCHAR2 | 48 | Y | Gas type
14 | PARTPRESS1 | TORR | FLOAT | 126 | Y | Partial pressure 1
15 | PARTPRESS2 | TORR | FLOAT | 126 | Y | Partial pressure 2
16 | POWER |  | FLOAT | 126 | Y
17 | ETCHRATE |  | FLOAT | 126 | Y
18 | DURATION | MIN | FLOAT | 126 | Y | Shown as "Exposure Time" on screen
19
20

## ANN
SamTraxs 'Process Event' Requirements
SURFACE PREPARATIONS
Process |  | User |  | Sftwr |  | STXarea
Annealing | [5 empty] | Surface Preparation
EVENT_ANN
Standard Process Variables
| Name | Units | DataType | Size | Null? | NOTES
1 | EVENTUUID |  | VARCHAR2 | 40 |  | The Event's UUID
2 | SAMPLEUUID |  | VARCHAR2 | 40 |  | The Sample's UUID
3 | PROCESSCODE |  | NUMBER |  |  | The Event Process Code
4 | DATAFILE |  | NUMBER
5 | EVENTNOTE |  | VARCHAR2 | 2048 | Y | Event Note
6 | TIME_STAMP |  | DATE |  | Y | Date & Time of Event
7 | DURATION |  | FLOAT | 126 | Y | Length of Event process
8 | MOD_DATE |  | DATE |  | Y | Date of modification
9 | MOD_USER |  | VARCHAR2 | 8 | Y | User who made data mod
10 | OBS |  | DATE |  | Y | Date inserted when event is updated; tracks history of changes
Process Specific Variables
| Name | Units | DataType | Size | Null? | NOTES
11
12
13
14
15
16
17
18
19
20

## BCP
SamTraxs 'Process Event' Requirements
SURFACE PREPARATIONS
Process |  | User |  | Sftwr |  | STXarea
Buffered Chemical Polish |  | AMVF |  | VB |  | Surface Preparation
EVENT_BCP
Standard Process Variables
| Name | Units | DataType | Size | Null? | NOTES
1 | EVENTUUID |  | VARCHAR2 | 40 |  | The Event's UUID
2 | SAMPLEUUID |  | VARCHAR2 | 40 |  | The Sample's UUID
3 | PROCESSCODE |  | NUMBER |  |  | The Event Process Code
4 | DATAFILE |  | NUMBER
5 | EVENTNOTE |  | VARCHAR2 | 2048 | Y | Event Note
6 | TIME_STAMP |  | DATE |  | Y | Date & Time of Event
7 | DURATION |  | FLOAT | 126 | Y | Length of Event process
8 | MOD_DATE |  | DATE |  | Y | Date of modification
9 | MOD_USER |  | VARCHAR2 | 8 | Y | User who made data mod
10 | OBS |  | DATE |  | Y | Date inserted when event is updated; tracks history of changes
Process Specific Variables
| Name | Units | DataType | Size | Null? | NOTES
11 | BATHTYPE |  | VARCHAR2 | 48 | X
12 | BATHCOMP |  | VARCHAR2 | 48 | X
13 | BATHTEMP |  | FLOAT | 126 | X
14 | POLISHINGTIME |  | FLOAT | 126 | X
15
16
17
18
19
20

## CP
SamTraxs 'Process Event' Requirements
SURFACE PREPARATIONS
Process |  | User |  | Sftwr |  | STXarea
Copper Chemical Polish |  | AMVF |  | VB |  | Surface Preparation
EVENT_CP
Standard Process Variables
| Name | Units | DataType | Size | Null? | NOTES
1 | EVENTUUID |  | VARCHAR2 | 40 |  | The Event's UUID
2 | SAMPLEUUID |  | VARCHAR2 | 40 |  | The Sample's UUID
3 | PROCESSCODE |  | NUMBER |  |  | The Event Process Code
4 | DATAFILE |  | NUMBER
5 | EVENTNOTE |  | VARCHAR2 | 2048 | Y | Event Note
6 | TIME_STAMP |  | DATE |  | Y | Date & Time of Event
7 | DURATION |  | FLOAT | 126 | Y | Length of Event process
8 | MOD_DATE |  | DATE |  | Y | Date of modification
9 | MOD_USER |  | VARCHAR2 | 8 | Y | User who made data mod
10 | OBS |  | DATE |  | Y | Date inserted when event is updated; tracks history of changes
Process Specific Variables
| Name | Units | DataType | Size | Null? | NOTES
11 | BATHTYPE |  | VARCHAR2 | 48 | X
12 | BATHCOMP |  | VARCHAR2 | 48 | X
13 | BATHTEMP |  | FLOAT | 126 | X
14 | POLISHINGTIME |  | FLOAT | 126 | X
15
16
17
18
19
20

## MP
SamTraxs 'Process Event' Requirements
SURFACE PREPARATIONS
Process |  | User |  | Sftwr |  | STXarea
Minimet 1000 Polisher |  | AW |  | BM |  | Surface Preparation
EVENT_MP
Standard Process Variables
| Name | Units | DataType | Size | Null? | NOTES
1 | EVENTUUID |  | VARCHAR2 | 40 |  | The Event's UUID
2 | SAMPLEUUID |  | VARCHAR2 | 40 |  | The Sample's UUID
3 | PROCESSCODE |  | NUMBER |  |  | The Event Process Code
4 | DATAFILE |  | NUMBER
5 | EVENTNOTE |  | VARCHAR2 | 2048 | Y | Event Note
6 | TIME_STAMP |  | DATE |  | Y | Date & Time of Event
7 | DURATION |  | FLOAT | 126 | Y | Length of Event process
8 | MOD_DATE |  | DATE |  | Y | Date of modification
9 | MOD_USER |  | VARCHAR2 | 8 | Y | User who made data mod
10 | OBS |  | DATE |  | Y | Date inserted when event is updated; tracks history of changes
Process Specific Variables
| Name | Units | DataType | Size | Null? | NOTES
11
12
13
14
15
16
17
18
19
20

## ECR
SamTraxs 'Process Event' Requirements
COATINGS
Process |  | User |  | Sftwr |  | STXarea
Electron Cyclotron Resonance |  | AMVF |  | BM |  | Coating
EVENT_ECR
Standard Process Variables
| Name | Units | DataType | Size | Null? | NOTES
1 | EVENTUUID |  | VARCHAR2 | 40 |  | The Event's UUID
2 | SAMPLEUUID |  | VARCHAR2 | 40 |  | The Sample's UUID
3 | PROCESSCODE |  | NUMBER |  |  | The Event Process Code
4 | DATAFILE |  | NUMBER
5 | EVENTNOTE |  | VARCHAR2 | 2048 | Y | Event Note
6 | TIME_STAMP |  | DATE |  | Y | Date & Time of Event
7 | DURATION |  | FLOAT | 126 | Y | Length of Event process
8 | MOD_DATE |  | DATE |  | Y | Date of modification
9 | MOD_USER |  | VARCHAR2 | 8 | Y | User who made data mod
10 | OBS |  | DATE |  | Y | Date inserted when event is updated; tracks history of changes
Process Specific Variables
| Name | Units | DataType | Size | Null? | NOTES
11 | INITIALPRESS |  | FLOAT | 126 | X
12 | RFINPUTPWR |  | FLOAT | 126 | X
13 | ABSORBEDPWR |  | FLOAT | 126 | X
14 | BEAMVOLTAGE |  | FLOAT | 126 | X
15 | BEAMCURRENT |  | FLOAT | 126 | X
16 | FILAMENTVOLTAGE |  | FLOAT | 126 | X
17 | FILAMENTCURRENT |  | FLOAT | 126 | X
18 | BIASVOLTAGE |  | FLOAT | 126 | X
19 | DEPOSITIONRATE |  | FLOAT | 126 | X
20 | TOTALTHICKNESS |  | FLOAT | 126 | X
21 | SUBSTRATETEMP |  | FLOAT | 126 | X

## DCMS
SamTraxs 'Process Event' Requirements
COATINGS
Process |  | User |  | Sftwr |  | STXarea
DC Magnetron Sputtering |  | AMVF |  | BM |  | Coating
EVENT_DCMS
Standard Process Variables
| Name | Units | DataType | Size | Null? | NOTES
1 | EVENTUUID |  | VARCHAR2 | 40 |  | The Event's UUID
2 | SAMPLEUUID |  | VARCHAR2 | 40 |  | The Sample's UUID
3 | PROCESSCODE |  | NUMBER |  |  | The Event Process Code
4 | DATAFILE |  | NUMBER
5 | EVENTNOTE |  | VARCHAR2 | 2048 | Y | Event Note
6 | TIME_STAMP |  | DATE |  | Y | Date & Time of Event
7 | DURATION |  | FLOAT | 126 | Y | Length of Event process
8 | MOD_DATE |  | DATE |  | Y | Date of modification
9 | MOD_USER |  | VARCHAR2 | 8 | Y | User who made data mod
10 | OBS |  | DATE |  | Y | Date inserted when event is updated; tracks history of changes
Process Specific Variables
| Name | Units | DataType | Size | Null? | NOTES
11 | PreDepTreatment |  | VARCHAR2 | 24 | x
12 | InitialPress |  | FLOAT | 126 | x
13 | SputGasPress |  | FLOAT | 126 | x
14 | SputGasType |  | VARCHAR2 | 32 | x
15 | EndPress |  | FLOAT | 126 | x
16 | SubstrateTemp |  | FLOAT | 126 | x
17 | DCMSCurrent |  | FLOAT | 126 | x
18 | Voltage |  | FLOAT | 126 | x
19 | BiasVoltage |  | FLOAT | 126 | x
20

## RFMS
SamTraxs 'Process Event' Requirements
COATINGS
Process |  | User |  | Sftwr |  | STXarea
RF Magnetron Sputtering |  | AMVF |  | BM |  | Coating
EVENT_RFMS
Standard Process Variables
| Name | Units | DataType | Size | Null? | NOTES
1 | EVENTUUID |  | VARCHAR2 | 40 |  | The Event's UUID
2 | SAMPLEUUID |  | VARCHAR2 | 40 |  | The Sample's UUID
3 | PROCESSCODE |  | NUMBER |  |  | The Event Process Code
4 | DATAFILE |  | NUMBER
5 | EVENTNOTE |  | VARCHAR2 | 2048 | Y | Event Note
6 | TIME_STAMP |  | DATE |  | Y | Date & Time of Event
7 | DURATION |  | FLOAT | 126 | Y | Length of Event process
8 | MOD_DATE |  | DATE |  | Y | Date of modification
9 | MOD_USER |  | VARCHAR2 | 8 | Y | User who made data mod
10 | OBS |  | DATE |  | Y | Date inserted when event is updated; tracks history of changes
Process Specific Variables
| Name | Units | DataType | Size | Null? | NOTES
11 | SPUTGASPRESS |  | FLOAT | 126 | X
12 | SPUTGASTYPE |  | VARCHAR2 | 32 | X
13 | ENDPRESS |  | FLOAT | 126 | X
14 | SUBSTRATETEMP |  | FLOAT | 126 | X
15 | RFMSCURRENT |  | FLOAT | 126 | X
16 | VOLTAGE |  | FLOAT | 126 | X
17 | BIASVOLTAGE |  | FLOAT | 126 | X
18 | RFPOWER |  | FLOAT | 126 | X
19 | INITIALPRESS |  | FLOAT | 126 | X
20

## ReacMS
SamTraxs 'Process Event' Requirements
COATINGS
Process |  | User |  | Sftwr |  | STXarea
Reactive Magnetron Sputtering |  | AMVF |  | VB |  | Coating
EVENT_ReacMS
Standard Process Variables
| Name | Units | DataType | Size | Null? | NOTES
1 | EVENTUUID |  | VARCHAR2 | 40 |  | The Event's UUID
2 | SAMPLEUUID |  | VARCHAR2 | 40 |  | The Sample's UUID
3 | PROCESSCODE |  | NUMBER |  |  | The Event Process Code
4 | DATAFILE |  | NUMBER
5 | EVENTNOTE |  | VARCHAR2 | 2048 | Y | Event Note
6 | TIME_STAMP |  | DATE |  | Y | Date & Time of Event
7 | DURATION |  | FLOAT | 126 | Y | Length of Event process
8 | MOD_DATE |  | DATE |  | Y | Date of modification
9 | MOD_USER |  | VARCHAR2 | 8 | Y | User who made data mod
10 | OBS |  | DATE |  | Y | Date inserted when event is updated; tracks history of changes
Process Specific Variables
| Name | Units | DataType | Size | Null? | NOTES
11 | PREDEPTREATMENT |  | VARCHAR2 | 18 | X
12 | INITIALPRESS |  | FLOAT | 126 | X
13 | SPUTGASPRESS |  | FLOAT | 126 | X
14 | SPUTGASTYPE |  | VARCHAR2 | 32 | X
15 | REACGASPRESS |  | FLOAT | 126 | X
16 | REACGASTYPE |  | VARCHAR2 | 32 | X
17 | ENDPRESS |  | FLOAT | 126 | X
18 | SUBSTRATETEMP |  | FLOAT | 126 | X
19 | REACMSCURRENT |  | FLOAT | 126 | X
20 | VOLTAGE |  | FLOAT | 126 | X

## RFID
SamTraxs 'Process Event' Requirements
COATINGS
Process |  | User |  | Sftwr |  | STXarea
RF Ion Deposition |  | AMVF |  | BM |  | Coating
EVENT_RFID
Standard Process Variables
| Name | Units | DataType | Size | Null? | NOTES
1 | EVENTUUID |  | VARCHAR2 | 40 |  | The Event's UUID
2 | SAMPLEUUID |  | VARCHAR2 | 40 |  | The Sample's UUID
3 | PROCESSCODE |  | NUMBER |  |  | The Event Process Code
4 | DATAFILE |  | NUMBER
5 | EVENTNOTE |  | VARCHAR2 | 2048 | Y | Event Note
6 | TIME_STAMP |  | DATE |  | Y | Date & Time of Event
7 | DURATION |  | FLOAT | 126 | Y | Length of Event process
8 | MOD_DATE |  | DATE |  | Y | Date of modification
9 | MOD_USER |  | VARCHAR2 | 8 | Y | User who made data mod
10 | OBS |  | DATE |  | Y | Date inserted when event is updated; tracks history of changes
Process Specific Variables
| Name | Units | DataType | Size | Null? | NOTES
11 | INITIALPRESS |  | FLOAT | 126 | X
12 | WORKINGGASPRESS |  | FLOAT | 126 | X
13 | GASTYPE |  | VARCHAR2 | 32 | X
14 | GASFLOW |  | FLOAT | 126 | X
15 | ENDPRESS |  | FLOAT | 126 | X
16 | BEAMGRIDVOLTAGE |  | FLOAT | 126 | X
17 | BEAMCURRENT |  | FLOAT | 126 | X
18 | SUBSTRATETEMP |  | FLOAT | 126 | X
19 | BIASVOLTAGE |  | FLOAT | 126 | X
20 | RFPOWER |  | FLOAT | 126 | X

## PROF
SamTraxs 'Process Event' Requirements
MATERIAL ANALYSIS
Process |  | User |  | Sftwr |  | STXarea
Surface Profilometry System |  | AW |  | BM |  | Material Analysis
EVENT_PROF
Standard Process Variables
| Name | Units | DataType | Size | Null? | NOTES
1 | EVENTUUID |  | VARCHAR2 | 40 |  | The Event's UUID
2 | SAMPLEUUID |  | VARCHAR2 | 40 |  | The Sample's UUID
3 | PROCESSCODE |  | NUMBER |  |  | The Event Process Code
4 | DATAFILE |  | NUMBER
5 | EVENTNOTE |  | VARCHAR2 | 2048 | Y | Event Note
6 | TIME_STAMP |  | DATE |  | Y | Date & Time of Event
7 | DURATION |  | FLOAT | 126 | Y | Length of Event process
8 | MOD_DATE |  | DATE |  | Y | Date of modification
9 | MOD_USER |  | VARCHAR2 | 8 | Y | User who made data mod
10 | OBS |  | DATE |  | Y | Date inserted when event is updated; tracks history of changes
Process Specific Variables
| Name | Units | DataType | Size | Null? | NOTES
11 | SAMPLECOORDX | mm | FLOAT | 126 | Y
12 | SAMPLECOORDY | mm | FLOAT | 126 | Y
13 | FORCE | mg | FLOAT | 126 | Y | Force applied to sample
14 | SAMPLINGFREQ | HZ | FLOAT | 126 | Y
15 | SCANSPEED | μm/sec | FLOAT | 126 | Y
16 | VIEW |  | VARCHAR2 | 10 | Y | 2D OR 3D
17 | SCANSIZEX | μm | FLOAT | 126 | Y
18 | SCANSIZEY | μm | FLOAT | 126 | Y
19
20

## AFM
SamTraxs 'Process Event' Requirements
MATERIAL ANALYSIS
Process |  | User |  | Sftwr |  | STXarea
Atomic Force Microsope |  | HT |  | VB |  | Material Analysis
EVENT_AFM
Standard Process Variables
| Name | Units | DataType | Size | Null? | NOTES
1 | EVENTUUID |  | VARCHAR2 | 40 |  | The Event's UUID
2 | SAMPLEUUID |  | VARCHAR2 | 40 |  | The Sample's UUID
3 | PROCESSCODE |  | NUMBER |  |  | The Event Process Code
4 | DATAFILE |  | NUMBER
5 | EVENTNOTE |  | VARCHAR2 | 2048 | Y | Event Note
6 | TIME_STAMP |  | DATE |  | Y | Date & Time of Event
7 | DURATION |  | FLOAT | 126 | Y | Length of Event process
8 | MOD_DATE |  | DATE |  | Y | Date of modification
9 | MOD_USER |  | VARCHAR2 | 8 | Y | User who made data mod
10 | OBS |  | DATE |  | Y | Date inserted when event is updated; tracks history of changes
Process Specific Variables
| Name | Units | DataType | Size | Null? | NOTES
11 | SCANLENGTH | um | FLOAT | 126 | X
12 | SCANWIDTH | um | FLOAT | 126 | X
13 | SCANRATE | Hz | FLOAT | 126 | X
14 | NUMBEROFTRACES |  | FLOAT | 126 | X
15 | NUMBEROFPOINTS |  | FLOAT | 126 | X
16 | SCANANGLE | list | VARCHAR2 | 24 | X | [Vertical, Horizontal, 45]
17 | SCANMODE | list | VARCHAR2 | 24 | X | [Tapping, NonContact, Contact]
18 | POSITIONNOTE |  | VARCHAR2 | 512 | X
19
20

## SFEM
SamTraxs 'Process Event' Requirements
MATERIAL ANALYSIS
Process |  | User |  | Sftwr |  | STXarea
Scanning Field Emission Microscopy |  | AW |  | BM |  | Material Analysis
EVENT_SFEM
Standard Process Variables
| Name | Units | DataType | Size | Null? | NOTES
1 | EVENTUUID |  | VARCHAR2 | 40 |  | The Event's UUID
2 | SAMPLEUUID |  | VARCHAR2 | 40 |  | The Sample's UUID
3 | PROCESSCODE |  | NUMBER |  |  | The Event Process Code
4 | DATAFILE |  | NUMBER
5 | EVENTNOTE |  | VARCHAR2 | 2048 | Y | Event Note
6 | TIME_STAMP |  | DATE |  | Y | Date & Time of Event
7 | DURATION |  | FLOAT | 126 | Y | Length of Event process
8 | MOD_DATE |  | DATE |  | Y | Date of modification
9 | MOD_USER |  | VARCHAR2 | 8 | Y | User who made data mod
10 | OBS |  | DATE |  | Y | Date inserted when event is updated; tracks history of changes
Process Specific Variables
| Name | Units | DataType | Size | Null? | NOTES
11 | MAXGRADIENT | MV/m | FLOAT | 126 | Y
12 | SAMPLETYPE |  | VARCHAR2 | 48 | Y | Standard Sample or Not Prepared
13 | MEASUREMENTAREA | μm | FLOAT | 126 | Y | Diameter
14 | TIPSIZE | μm | FLOAT | 126 | Y
15
16
17
18
19
20

## SEM
SamTraxs 'Process Event' Requirements
MATERIAL ANALYSIS
Process |  | User |  | Sftwr |  | STXarea
Scanning Emission Microscopy |  | AW |  | BM |  | Material Analysis
EVENT_SEM
Standard Process Variables
| Name | Units | DataType | Size | Null? | NOTES
1 | EVENTUUID |  | VARCHAR2 | 40 |  | The Event's UUID
2 | SAMPLEUUID |  | VARCHAR2 | 40 |  | The Sample's UUID
3 | PROCESSCODE |  | NUMBER |  |  | The Event Process Code
4 | DATAFILE |  | NUMBER
5 | EVENTNOTE |  | VARCHAR2 | 2048 | Y | Event Note
6 | TIME_STAMP |  | DATE |  | Y | Date & Time of Event
7 | DURATION |  | FLOAT | 126 | Y | Length of Event process
8 | MOD_DATE |  | DATE |  | Y | Date of modification
9 | MOD_USER |  | VARCHAR2 | 8 | Y | User who made data mod
10 | OBS |  | DATE |  | Y | Date inserted when event is updated; tracks history of changes
Process Specific Variables
| Name | Units | DataType | Size | Null? | NOTES
11 | MEASLOCATION |  | VARCHAR2 | 2048 | Y | Measurement location - string, explaining where on the sample the measurement was taken
12 | INSTRUMENT |  | VARCHAR2 | 48 | Y | Specify the instrument (e.g. "AMR")
13 | ACCELERATINGVOLTAGE | kV | FLOAT | 126 | Y
14 | EMISSIONCURRENT | Ua | FLOAT | 126 | Y
15 | MAGNIFICATION | X | FLOAT | 126 | y | Magnification used
16 | MICROGRAPHS |  | VARCHAR2 | 48 | Y | Comma-separated list of micrographs associated with this event
17
18
19
20

## EDX
SamTraxs 'Process Event' Requirements
MATERIAL ANALYSIS
Process |  | User |  | Sftwr |  | STXarea
Energy Dispersive X-Ray Spectroscopy |  | AW |  | BM |  | Material Analysis
EVENT_EDX
Standard Process Variables
| Name | Units | DataType | Size | Null? | NOTES
1 | EVENTUUID |  | VARCHAR2 | 40 |  | The Event's UUID
2 | SAMPLEUUID |  | VARCHAR2 | 40 |  | The Sample's UUID
3 | PROCESSCODE |  | NUMBER |  |  | The Event Process Code
4 | DATAFILE |  | NUMBER
5 | EVENTNOTE |  | VARCHAR2 | 2048 | Y | Event Note
6 | TIME_STAMP |  | DATE |  | Y | Date & Time of Event
7 | DURATION |  | FLOAT | 126 | Y | Length of Event process
8 | MOD_DATE |  | DATE |  | Y | Date of modification
9 | MOD_USER |  | VARCHAR2 | 8 | Y | User who made data mod
10 | OBS |  | DATE |  | Y | Date inserted when event is updated; tracks history of changes
Process Specific Variables
| Name | Units | DataType | Size | Null? | NOTES
11 | PROBEVOLTAGE | kV | FLOAT | 126 | Y
12 | EMISSIONCURRENT | Μa | FLOAT | 126 | Y
13 | MEASUREMENTTYPE |  | VARCHAR2 | 48 | Y | Point Spectrum or Area Average Spectrum
14
15
16
17
18
19
20

## EBSD
SamTraxs 'Process Event' Requirements
MATERIAL ANALYSIS
Process |  | User |  | Sftwr |  | STXarea
Electron Backscatter Diffraction |  | XZ |  | VB |  | Material Analysis
EVENT_EBSD
Standard Process Variables
| Name | Units | DataType | Size | Null? | NOTES
1 | EVENTUUID |  | VARCHAR2 | 40 |  | The Event's UUID
2 | SAMPLEUUID |  | VARCHAR2 | 40 |  | The Sample's UUID
3 | PROCESSCODE |  | NUMBER |  |  | The Event Process Code
4 | DATAFILE |  | NUMBER
5 | EVENTNOTE |  | VARCHAR2 | 2048 | Y | Event Note
6 | TIME_STAMP |  | DATE |  | Y | Date & Time of Event
7 | DURATION |  | FLOAT | 126 | Y | Length of Event process
8 | MOD_DATE |  | DATE |  | Y | Date of modification
9 | MOD_USER |  | VARCHAR2 | 8 | Y | User who made data mod
10 | OBS |  | DATE |  | Y | Date inserted when event is updated; tracks history of changes
Process Specific Variables
| Name | Units | DataType | Size | Null? | NOTES
11 | MEASLOCATION |  | VARCHAR2 | 32 | Y
12 | INSTRUMENT |  | VARCHAR2 | 48 | Y
13 | BEAMENERGY | KeV | FLOAT | 126 | Y
14 | SCANAREA | um x um | FLOAT | 126 | Y
15 | ORIENTATIONMAP |  | VARCHAR2 | 32 | Y
16 | POLEFIGURES |  | VARCHAR2 | 32 | Y
17
18
19
20

## FEV
SamTraxs 'Process Event' Requirements
MATERIAL ANALYSIS
Process |  | User |  | Sftwr |  | STXarea
Field Emission Viewer |  | AMVF |  | BM |  | Material Analysis
EVENT_FEV
Standard Process Variables
| Name | Units | DataType | Size | Null? | NOTES
1 | EVENTUUID |  | VARCHAR2 | 40 |  | The Event's UUID
2 | SAMPLEUUID |  | VARCHAR2 | 40 |  | The Sample's UUID
3 | PROCESSCODE |  | NUMBER |  |  | The Event Process Code
4 | DATAFILE |  | NUMBER
5 | EVENTNOTE |  | VARCHAR2 | 2048 | Y | Event Note
6 | TIME_STAMP |  | DATE |  | Y | Date & Time of Event
7 | DURATION |  | FLOAT | 126 | Y | Length of Event process
8 | MOD_DATE |  | DATE |  | Y | Date of modification
9 | MOD_USER |  | VARCHAR2 | 8 | Y | User who made data mod
10 | OBS |  | DATE |  | Y | Date inserted when event is updated; tracks history of changes
Process Specific Variables
| Name | Units | DataType | Size | Null? | NOTES
11 | PRESSURE | TORR | FLOAT | 126 | Y
12 | ZEROSTAGEPOS |  | VARCHAR2 | 48 | Y | Touch Screen Frame or Sample Load Position
13 | MEASUREMENTPOS |  | FLOAT | 126 | Y
14 | GAP | μ | FLOAT | 126 | Y
15 | MAXHIGHVOLTAGE | kV | FLOAT | 126 | Y
16 | MINHIGHVOLTAGE | kV | FLOAT | 126 | Y
17 | FIELDEMISSIONONSET | MV/m | FLOAT | 126 | Y
18 | MAXGRADIENTREACHED | MV/m | FLOAT | 126 | Y
19
20

## XPS
SamTraxs 'Process Event' Requirements
MATERIAL ANALYSIS
Process |  | User |  | Sftwr |  | STXarea
X-Ray Photoelectron Spectroscopy |  | HT |  | VB |  | Material Analysis
EVENT_XPS
Standard Process Variables
| Name | Units | DataType | Size | Null? | NOTES
1 | EVENTUUID |  | VARCHAR2 | 40 |  | The Event's UUID
2 | SAMPLEUUID |  | VARCHAR2 | 40 |  | The Sample's UUID
3 | PROCESSCODE |  | NUMBER |  |  | The Event Process Code
4 | DATAFILE |  | NUMBER
5 | EVENTNOTE |  | VARCHAR2 | 2048 | Y | Event Note
6 | TIME_STAMP |  | DATE |  | Y | Date & Time of Event
7 | DURATION |  | FLOAT | 126 | Y | Length of Event process
8 | MOD_DATE |  | DATE |  | Y | Date of modification
9 | MOD_USER |  | VARCHAR2 | 8 | Y | User who made data mod
10 | OBS |  | DATE |  | Y | Date inserted when event is updated; tracks history of changes
Process Specific Variables
| Name | Units | DataType | Size | Null? | NOTES
11 | PHOTONENERGY | eu | FLOAT | 126 | X
12 | STARTENERGY | eu | FLOAT | 126 | X
13 | ENDENERGY | eu | FLOAT | 126 | X
14 | PASSENERGY | eu | FLOAT | 126 | X
15 | NUMBEROFSCANS | # | FLOAT | 126 | X
16 | STEPSIZE | eu | FLOAT | 126 | X
17 | DWELLTIME | second | FLOAT | 126 | X
18 | TAKEOFFANGLE | degree | FLOAT | 126 | X
19 | SCANTYPE | list | VARCHAR2 | 24 | X | [SurveyScan, Nb3d, CIS, OIS]
20 | PHOTONTYPE | list | VARCHAR2 | 24 | X | [Al w/monochromator, Mg, Number]

## FIB
SamTraxs 'Process Event' Requirements
MATERIAL ANALYSIS
Process |  | User |  | Sftwr |  | STXarea
Focused Ion Beam |  | AMVF |  | VB |  | Material Analysis
EVENT_FIB
Standard Process Variables
| Name | Units | DataType | Size | Null? | NOTES
1 | EVENTUUID |  | VARCHAR2 | 40 |  | The Event's UUID
2 | SAMPLEUUID |  | VARCHAR2 | 40 |  | The Sample's UUID
3 | PROCESSCODE |  | NUMBER |  |  | The Event Process Code
4 | DATAFILE |  | NUMBER
5 | EVENTNOTE |  | VARCHAR2 | 2048 | Y | Event Note
6 | TIME_STAMP |  | DATE |  | Y | Date & Time of Event
7 | DURATION |  | FLOAT | 126 | Y | Length of Event process
8 | MOD_DATE |  | DATE |  | Y | Date of modification
9 | MOD_USER |  | VARCHAR2 | 8 | Y | User who made data mod
10 | OBS |  | DATE |  | Y | Date inserted when event is updated; tracks history of changes
Process Specific Variables
| Name | Units | DataType | Size | Null? | NOTES
11 | MEASLOCATION |  | VARCHAR2 | 32 | X
12 | BEAMENERGY |  | FLOAT | 126 | X
13 | IONTYPES |  | VARCHAR2 | 48 | X
14 | MICROGRAPHS |  | VARCHAR2 | 32 | X
15 | CUTSAMPLESIZE |  | VARCHAR2 | 48 | X
16 | INSTRUMENT |  | VARCHAR2 | 48 | X
17
18
19
20

## HRTEM
SamTraxs 'Process Event' Requirements
MATERIAL ANALYSIS
Process |  | User |  | Sftwr |  | STXarea
High Resolution TEM |  | AW |  | BM |  | Material Analysis
EVENT_HRTEM
Standard Process Variables
| Name | Units | DataType | Size | Null? | NOTES
1 | EVENTUUID |  | VARCHAR2 | 40 |  | The Event's UUID
2 | SAMPLEUUID |  | VARCHAR2 | 40 |  | The Sample's UUID
3 | PROCESSCODE |  | NUMBER |  |  | The Event Process Code
4 | DATAFILE |  | NUMBER
5 | EVENTNOTE |  | VARCHAR2 | 2048 | Y | Event Note
6 | TIME_STAMP |  | DATE |  | Y | Date & Time of Event
7 | DURATION |  | FLOAT | 126 | Y | Length of Event process
8 | MOD_DATE |  | DATE |  | Y | Date of modification
9 | MOD_USER |  | VARCHAR2 | 8 | Y | User who made data mod
10 | OBS |  | DATE |  | Y | Date inserted when event is updated; tracks history of changes
Process Specific Variables
| Name | Units | DataType | Size | Null? | NOTES
11 | HRTEM_ALIAS |  | VARCHAR2 | 48 | Y | Descriptive name for this sample/process
12 | MAGNIFICATION | X | FLOAT | 126 | Y | Magnification used
13 | IMAGETYPE |  | VARCHAR2 | 48 |  | DIFFRACTION PATTERN, DARK FIELD OR BRIGHT FIELD
14 | ACCELERATINGVOLTAGE | Kv | FLOAT | 126 | Y
15 | EMISSIONCURRENT | μA | FLOAT | 126 | y
16 | TILTANGLE | ° | FLOAT | 126 | Y
17 | APERTURE1 | μm | FLOAT | 126 | Y
18 | APERTURE2 | μm | FLOAT | 126 | Y
19
20

## MOM
SamTraxs 'Process Event' Requirements
MATERIAL ANALYSIS
Process |  | User |  | Sftwr |  | STXarea
Metallographic Optical Microscope |  | AW |  | BM |  | Material Analysis
EVENT_MOM
Standard Process Variables
| Name | Units | DataType | Size | Null? | NOTES
1 | EVENTUUID |  | VARCHAR2 | 40 |  | The Event's UUID
2 | SAMPLEUUID |  | VARCHAR2 | 40 |  | The Sample's UUID
3 | PROCESSCODE |  | NUMBER |  |  | The Event Process Code
4 | DATAFILE |  | NUMBER
5 | EVENTNOTE |  | VARCHAR2 | 2048 | Y | Event Note
6 | TIME_STAMP |  | DATE |  | Y | Date & Time of Event
7 | DURATION |  | FLOAT | 126 | Y | Length of Event process
8 | MOD_DATE |  | DATE |  | Y | Date of modification
9 | MOD_USER |  | VARCHAR2 | 8 | Y | User who made data mod
10 | OBS |  | DATE |  | Y | Date inserted when event is updated; tracks history of changes
Process Specific Variables
| Name | Units | DataType | Size | Null? | NOTES
11 | MATERIAL |  | VARCHAR2 | 48 | Y | Sample material
12 | MOM_ALIAS |  | VARCHAR2 | 48 | Y | Descriptive name for this sample/event
13 | MAGNIFICATION1 | X | FLOAT | 126 | Y
14 | MAGNIFICATION2 | X | FLOAT | 126 | Y
15 | POLARIZED |  | BOOLEAN |  | Y | Checkbox to indicate polarization
16
17
18
19
20

## SAM
SamTraxs 'Process Event' Requirements
MATERIAL ANALYSIS
| EVENT_SAM |  | user= | sftwr= |  | Material Analysis
| Name | Units | DataType | Size | Null? | NOTES
1 | EVENTUUID |  | VARCHAR2 | 40 |  | The Event's UUID
2 | SAMPLEUUID |  | VARCHAR2 | 40 |  | The Sample's UUID
3 | PROCESSCODE |  | NUMBER |  |  | The Event Process Code
4 | DATAFILE |  | NUMBER |  |  | FILE TYPE/SIZE
5 | EVENTNOTE |  | VARCHAR2 | 2048 | Y | Event Note
6 | TIME_STAMP |  | DATE |  | Y | Date & Time of Event
7 | DURATION |  | FLOAT | 126 | Y | Length of Event processing
8 | MOD_DATE |  | DATE |  | Y | Date of modification
9 | MOD_USER |  | VARCHAR2 | 8 | Y | User who made modification
10 | OBS |  | DATE |  | Y | Date inserted when event is updated; tracks history of changes
11 | VAR |  | TYPE | SIZE | Y
12 | BEAMCURRENT | µA | FLOAT | 126 | Y
13 | ACCELERATINGVOLTAGE | kV | FLOAT | 126 | y
14 | CHAMBERPRESSURE | TORR | FLOAT | 126 | y
15 | OPMODE |  | VARCHAR2 | 32 | y
16 | DETECTIONMODE |  | VARCHAR2 | 10 | y
17 | IONBEAMSTATUS |  | VARCHAR2 | 10 | y
18 | IONBEAMCURRENT | µA | FLOAT | 126 | y
19 | IONBEAMSPECIES |  | VARCHAR2 | 126 | y
20 | IONBEAMENERGY |  | VARCHAR2 | 126 | y

## SIMS
SamTraxs 'Process Event' Requirements
MATERIAL ANALYSIS
Process |  | User |  | Sftwr |  | STXarea
Secondary Ion Mass Spectrometry |  | AW |  | BM |  | Material Analysis
EVENT_SIMS
Standard Process Variables
| Name | Units | DataType | Size | Null? | NOTES
1 | EVENTUUID |  | VARCHAR2 | 40 |  | The Event's UUID
2 | SAMPLEUUID |  | VARCHAR2 | 40 |  | The Sample's UUID
3 | PROCESSCODE |  | NUMBER |  |  | The Event Process Code
4 | DATAFILE |  | NUMBER
5 | EVENTNOTE |  | VARCHAR2 | 2048 | Y | Event Note
6 | TIME_STAMP |  | DATE |  | Y | Date & Time of Event
7 | DURATION |  | FLOAT | 126 | Y | Length of Event process
8 | MOD_DATE |  | DATE |  | Y | Date of modification
9 | MOD_USER |  | VARCHAR2 | 8 | Y | User who made data mod
10 | OBS |  | DATE |  | Y | Date inserted when event is updated; tracks history of changes
Process Specific Variables
| Name | Units | DataType | Size | Null? | NOTES
11 | BEAMCURRENT | μA | FLOAT | 126 | Y
12 | PRIMIONBEAMVOLTAGE | kV | FLOAT | 126 | Y
13 | SAMPLECOORDX | mm | FLOAT | 126 | Y | Sample Coordinate X
14 | SAMPLECOORDY | mm | FLOAT | 126 | Y | Sample Coordinate Y
15 | SAMPLECOORDZ | mm | FLOAT | 126 | Y | Sample Coordinate Z
16 | SAMPLECOORDR | mm | FLOAT | 126 | Y | Sample Coordinate R
17 | MEASUREMENTANGLE | ° | FLOAT | 126 | Y
18 | MEASUREMENTTYPE |  | VARCHAR2 | 48 | Y | Whole Spectrum or Depth Profile
19
20

## TE011
SamTraxs 'Process Event' Requirements
MATERIAL ANALYSIS
Process |  | User |  | Sftwr |  | STXarea
TE011 Measurement |  | GC/JM |  | BM |  | Material Analysis
EVENT_TE011
Standard Process Variables
| Name | Units | DataType | Size | Null? | NOTES
1 | EVENTUUID |  | VARCHAR2 | 40 |  | The Event's UUID
2 | SAMPLEUUID |  | VARCHAR2 | 40 |  | The Sample's UUID
3 | PROCESSCODE |  | NUMBER |  |  | The Event Process Code
4 | DATAFILE |  | NUMBER
5 | EVENTNOTE |  | VARCHAR2 | 2048 | Y | Event Note
6 | TIME_STAMP |  | DATE |  | Y | Date & Time of Event
7 | DURATION |  | FLOAT | 126 | Y | Length of Event process
8 | MOD_DATE |  | DATE |  | Y | Date of modification
9 | MOD_USER |  | VARCHAR2 | 8 | Y | User who made data mod
10 | OBS |  | DATE |  | Y | Date inserted when event is updated; tracks history of changes
Process Specific Variables
| Name | Units | DataType | Size | Null? | NOTES
11 | AVERAGEDIAMETER | MM | FLOAT | 126 | Y | Average diameter of the sample
12 | FREQUENCY | Hz | FLOAT | 126 | Y
13 | Q0 | Hz | FLOAT | 126 | Y
14 | G | [Ω] | FLOAT | 126 | Y
15 | BpDIVBYSqrtU |  | FLOAT | 126 | Y | Bp/√u
16 | BpSampleDIVBYBpCavity |  | FLOAT | 126 | Y
17 | BpSample | mT | FLOAT | 126 | Y
18 | TEMPERATURE | °K | FLOAT | 126 | Y
19
20

## XRD
SamTraxs 'Process Event' Requirements
MATERIAL ANALYSIS
Process |  | User |  | Sftwr |  | STXarea
X-Ray Diffraction |  | XZ |  | VB |  | Material Analysis
EVENT_XRD
Standard Process Variables
| Name | Units | DataType | Size | Null? | NOTES
1 | EVENTUUID |  | VARCHAR2 | 40 |  | The Event's UUID
2 | SAMPLEUUID |  | VARCHAR2 | 40 |  | The Sample's UUID
3 | PROCESSCODE |  | NUMBER |  |  | The Event Process Code
4 | DATAFILE |  | NUMBER
5 | EVENTNOTE |  | VARCHAR2 | 2048 | Y | Event Note
6 | TIME_STAMP |  | DATE |  | Y | Date & Time of Event
7 | DURATION |  | FLOAT | 126 | Y | Length of Event process
8 | MOD_DATE |  | DATE |  | Y | Date of modification
9 | MOD_USER |  | VARCHAR2 | 8 | Y | User who made data mod
10 | OBS |  | DATE |  | Y | Date inserted when event is updated; tracks history of changes
Process Specific Variables
| Name | Units | DataType | Size | Null? | NOTES
11 | XRDMODE |  | VARCHAR2 | 48 | Y
12
13
14
15
16
17
18
19
20

## HDOM
SamTraxs 'Process Event' Requirements
MATERIAL ANALYSIS
Process |  | User |  | Sftwr |  | STXarea
Hyrox Digital Optical Microscope |  | WS |  | VB |  | Material Analysis
EVENT_HDOM
Standard Process Variables
| Name | Units | DataType | Size | Null? | NOTES
1 | EVENTUUID |  | VARCHAR2 | 40 |  | The Event's UUID
2 | SAMPLEUUID |  | VARCHAR2 | 40 |  | The Sample's UUID
3 | PROCESSCODE |  | NUMBER |  |  | The Event Process Code
4 | DATAFILE |  | NUMBER |  |  | multiple Kb files
5 | EVENTNOTE |  | VARCHAR2 | 2048 | Y | Event Note
6 | TIME_STAMP |  | DATE |  | Y | Date & Time of Event
7 | DURATION |  | FLOAT | 126 | Y | Length of Event process
8 | MOD_DATE |  | DATE |  | Y | Date of modification
9 | MOD_USER |  | VARCHAR2 | 8 | Y | User who made data mod
10 | OBS |  | DATE |  | Y | Date inserted when event is updated; tracks history of changes
Process Specific Variables
| Name | Units | DataType | Size | Null? | NOTES
11 | LENS |  | VARCHAR2 | 48 | Y | [Macro, Low Mag, High Mag 1A, High Mag 2A]
12 | SAMPLEIMAGESIZE | mm | VARCHAR2 | 48 | Y | size of tick marks within image
13 | HIGHMAGFILTERS |  | VARCHAR2 | 48 | Y | [N/A, POL, VAL, CDIFF, Polarizer, Manual Aperature, Rotary Adapter, Ring Lighting]
14 | LOWMAGFILTERS |  | VARCHAR2 | 48 | Y | [N/A, Standard w/ Diffuser, Standard w/o Diffuser, Rotating w/ Diffuser, Rotating w/o Diffuser, Ring Light, Hand Held w/ Pol, Hand Held w/o Pol, Hand Held w/ Diff, Hand Held w/o Diff, Hand Held w/ STD, Hand Held w/o STD]
15 | MAGNIFICATION |  | FLOAT | 126 | Y | [1-40X, 50-400X, 340-3500X, 700-7000X]

## SCPROP
SamTraxs 'Process Event' Requirements
MATERIAL ANALYSIS
Process |  | User |  | Sftwr |  | STXarea
Superconducting Properties Measurement |  | GC/JM |  | BM |  | Material Analysis
EVENT_SCPROP
Standard Process Variables
| Name | Units | DataType | Size | Null? | NOTES
1 | EVENTUUID |  | VARCHAR2 | 40 |  | The Event's UUID
2 | SAMPLEUUID |  | VARCHAR2 | 40 |  | The Sample's UUID
3 | PROCESSCODE |  | NUMBER |  |  | The Event Process Code
4 | DATAFILE |  | NUMBER
5 | EVENTNOTE |  | VARCHAR2 | 2048 | Y | Event Note
6 | TIME_STAMP |  | DATE |  | Y | Date & Time of Event
7 | DURATION |  | FLOAT | 126 | Y | Length of Event process
8 | MOD_DATE |  | DATE |  | Y | Date of modification
9 | MOD_USER |  | VARCHAR2 | 8 | Y | User who made data mod
10 | OBS |  | DATE |  | Y | Date inserted when event is updated; tracks history of changes
Process Specific Variables
| Name | Units | DataType | Size | Null? | NOTES
11 | AVERAGEDIAMETER | mm | FLOAT | 126 | y
12 | HC1BULK | mT | FLOAT | 126 | y
13 | HC2BULK | mT | FLOAT | 126 | y
14 | DISTBTWNTHERM | mm | FLOAT | 126 | y | Distance between thermometers
15 | THERMALCONDUCTIVITY | W/m-K | FLOAT | 126 | y
16 | COILCURRENT | mA | FLOAT | 126 | y
17 | HC1SURFACE | mT | FLOAT | 126 | y
18 | HC2SURFACE | mT | FLOAT | 126 | y
19 | HC3SURFACE | mT | FLOAT | 126 | y
20 | PENETRATIONDEPTH0K | nm | FLOAT | 126 | y | Penetration depth at 0 °K

## RRRMEAS
SamTraxs 'Process Event' Requirements
RF/SC Measurements
Process |  | User |  | Sftwr |  | STXarea
Residual Resistivity Ratio |  | XZ |  | VB |  | RF/SC Measurements
EVENT_RRRMEAS
Standard Process Variables
| Name | Units | DataType | Size | Null? | NOTES
1 | EVENTUUID |  | VARCHAR2 | 40 |  | The Event's UUID
2 | SAMPLEUUID |  | VARCHAR2 | 40 |  | The Sample's UUID
3 | PROCESSCODE |  | NUMBER |  |  | The Event Process Code
4 | DATAFILE |  | NUMBER |  |  | test files ~ 15Kb
5 | EVENTNOTE |  | VARCHAR2 | 2048 | Y | Event Note
6 | TIME_STAMP |  | DATE |  | Y | Date & Time of Event
7 | DURATION |  | FLOAT | 126 | Y | Length of Event process
8 | MOD_DATE |  | DATE |  | Y | Date of modification
9 | MOD_USER |  | VARCHAR2 | 8 | Y | User who made data mod
10 | OBS |  | DATE |  | Y | Date inserted when event is updated; tracks history of changes
Process Specific Variables
| Name | Units | DataType | Size | Null? | NOTES
11 | RRR | ratio | FLOAT | 126 | Y
12
13
14
15
16
17
18
19
20

## TCMEAS
SamTraxs 'Process Event' Requirements
RF/SC Measurements
Process |  | User |  | Sftwr |  | STXarea
Transition Temperature Measurement |  | XZ |  | VB |  | RF/SC Measurements
EVENT_TcMEAS
Standard Process Variables
| Name | Units | DataType | Size | Null? | NOTES
1 | EVENTUUID |  | VARCHAR2 | 40 |  | The Event's UUID
2 | SAMPLEUUID |  | VARCHAR2 | 40 |  | The Sample's UUID
3 | PROCESSCODE |  | NUMBER |  |  | The Event Process Code
4 | DATAFILE |  | NUMBER |  |  | test files ~ 15Kb
5 | EVENTNOTE |  | VARCHAR2 | 2048 | Y | Event Note
6 | TIME_STAMP |  | DATE |  | Y | Date & Time of Event
7 | DURATION |  | FLOAT | 126 | Y | Length of Event process
8 | MOD_DATE |  | DATE |  | Y | Date of modification
9 | MOD_USER |  | VARCHAR2 | 8 | Y | User who made data mod
10 | OBS |  | DATE |  | Y | Date inserted when event is updated; tracks history of changes
Process Specific Variables
| Name | Units | DataType | Size | Null? | NOTES
11 | Tc | K | FLOAT | 126 | Y
12
13
14
15
16
17
18
19
20

## SIC
SamTraxs 'Process Event' Requirements
RF/SC Measurements
Process |  | User |  | Sftwr |  | STXarea
SIC Cavity TE011 Surface Impedance |  | BX |  | VB |  | RF/SC Measurements
EVENT_SIC
Standard Process Variables
| Name | Units | DataType | Size | Null? | NOTES
1 | EVENTUUID |  | VARCHAR2 | 40 |  | The Event's UUID
2 | SAMPLEUUID |  | VARCHAR2 | 40 |  | The Sample's UUID
3 | PROCESSCODE |  | NUMBER |  |  | The Event Process Code
4 | DATAFILE |  | NUMBER |  |  | test files ~ 15Kb
5 | EVENTNOTE |  | VARCHAR2 | 2048 | Y | Event Note
6 | TIME_STAMP |  | DATE |  | Y | Date & Time of Event
7 | DURATION |  | FLOAT | 126 | Y | Length of Event process
8 | MOD_DATE |  | DATE |  | Y | Date of modification
9 | MOD_USER |  | VARCHAR2 | 8 | Y | User who made data mod
10 | OBS |  | DATE |  | Y | Date inserted when event is updated; tracks history of changes
Process Specific Variables
| Name | Units | DataType | Size | Null? | NOTES
11 | TEMPERATURE | K | FLOAT | 126 | Y
12 | HPK | mT | FLOAT | 126 | Y
13
14
15
16
17
18
19
20

## SampleEvents
| SampleEvents |  |  |  |  | Vars from the SampleEvents Table used by all processes.
| Name | Units | DataType | Size | Null? | NOTES
1 | EVENTUUID |  | VARCHAR2 | 40 |  | The Event's UUID
2 | SAMPLEUUID |  | VARCHAR2 | 40 |  | The Sample's UUID
3 | PROCESSCODE |  | NUMBER |  |  | The Event's Process Code
4 | EVENTPERSON |  | VARCHAR2 | 8 | Y | Who processed this event
5 | EVENTDATE |  | DATE |  | Y | Date of Event
6 | EVENTSTARTTIME |  | DATE |  | Y | Time of Event
7 | EVENTDURATION |  | FLOAT | 126 | Y | Length of Event processing
8 | EVENTLOCATION |  | VARCHAR2 | 48 | Y | Where event occurred
9 | EVENTCLOSED |  | NUMBER | 10 |  | Is the Event locked/closed?
10 | MOD_DATE |  | DATE |  | Y | Date of modification
11 | MOD_USER |  | VARCHAR2 | 8 | Y | User who made modification
12 | OBS |  | DATE |  | Y | Date inserted when event is updated; tracks history of changes