| Traveler Title | L2-HE Single Cell Thermal Cycles in the VTA |  |  |  |
| --- | --- | --- | --- | --- |
| Traveler Abstract |  |  |  |  |
| Traveler ID | L2HE-VTA-CAV-THRMCYC |  |  |  |
| Traveler Revision | R1 |  |  |  |
| Traveler Author | David Savransky |  |  |  |
| Traveler Date | 8-Sep-21 |  |  |  |
| NCR Informative Emails |  |  |  |  |
| NCR Dispositioners | dsavr,hannesv |  |  |  |
| D3 Emails | dsavr,hannesv |  |  |  |
| Approval Names | David Savransky | John Vennekate | Justin Kent | John Hogan |
| Approval Signatures |  |  |  |  |
| Approval Dates |  |  |  |  |
| Approval Title | Author | SME | Work Center Lead | Project Manager |

| References | List and Hyperlink all documents related to this traveler. This includes, but is not limited to: safety (THAs, SOPs, etc), drawings, procedures, and facility related documents. |  |  |  |
| --- | --- | --- | --- | --- |
|  | LCLS-HE Single Cell Thermal Cycles in the VTA. |  |  |  |

| Revision Note |  |
| --- | --- |
| R1 | Initial release of this Traveler. |

| Step No. | Instructions | Data Input |
| --- | --- | --- |
| 1 | Input cavity SN | [[SCCAVSN]] <<CAVSN>> |
| 2 | Input material batch number for SC | [[MaterialBatchSN]] <<SN>> [[BakeTemp]] <<FLOAT>> |
| 3 | Input VTA dewar number | [[VTADewar]] <<INTEGER>> |
| 4 | Input VTA test stand SN | [[VTATSSN]] <<VTATSSN>> |
| 5 | Input all the magnetic field sensors readings before the start of the cooldown (If any are not reading back or reading incorrectly include a note.) | [[MagSensor1]] <<FLOAT>> mG [[MagSensor2]] <<FLOAT>> mG [[MagSensor3]] <<FLOAT>> mG [[MAGError]] <<COMMENT>> |
| 6 | Are all temperature sensors within 2K of each other at room temperature? (If any are not reading back or reading incorrectly include a note.) | [[TempSensorsCorrect]] <<YESNO>> [[TempError]] <<COMMENT>> |

| Step No. | Instructions | Data Input |
| --- | --- | --- |
| 7 | Record the start time for the initial dewar CD | [[CooldownStartTime]] <<TIMESTAMP>> |
| 8 | Input the CRYO operator for the thermal cycles | [[CooldownOperator]] <<SRF>> |
| 9 | Attach the Data file for the thermal cycles (Include any comments of issues encountered during thermal cycles) | [[TCData]] <<FILEUPLOAD>> [[TCIssues]] <<COMMENT>> |
| 10 | Was there anything strange with the flux sensor values or temperature sensor values during the thermal cycles? (Include comments if the answer is yes) | [[SensorError]] <<YESNO>> [[SensorErrorNotes]] <<COMMENT>> |