|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| Traveler Title | VTA RF (Cavity) Test Plan | | | |
| Traveler Abstract | Test Plan / Request for testing of cavities in the Vertical Test Area (VTA) | | | |
| Traveler ID | VTA-CAV-TSTP …. Should cover also activities in D1 and D2, not only CAV… | | | |
| Traveler Revision | R1 | | | |
| Traveler Author | K. Davis | | | |
| Traveler Date | 31-July-2023 | | | |
| NCR Emails | JKent, POwen, KDavis | | | |
| Approval Names | K. Davis | J. Kent | P. Owen | A. Reilly |
| Approval Signatures |  |  |  |  |
| Approval Dates |  |  |  |  |
| Approval Title | Author | Reviewer | Reviewer | Project Manager |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| References | List and Hyperlink all documents related to this traveler. This includes, but is not limited to: safety (THAs, SOPs, etc), drawings, procedures, and facility related documents. | | | |
| [VTA SOP](https://jlabdoc.jlab.org/docushare/dsweb/Get/Document-48111/A-09-001-SOP-21542%5b1%5d.pdf) | C75-PR-CPR-VTRF-R4-1 | C100R-PR-VTA-CAV-VTRF-R2 | L2HE-PR-VTA-CAV-VTRF-R1 | NB3SN-CP-C75-CPR-VTRF-R1 |
| Theory and practice of cavity RF test systems | CP-STP-CAV-VTRF-OST-R1 | L2HE-PR-VTA-CAV-AMMS |  |  |

|  |  |
| --- | --- |
| Revision Note |  |
| R1 | Initial release of this Traveler. |

1. Test Plans collections?!
2. Insert at PI reuest if multiple same cavity same dewar RF qualification tests.
3. Insert at VTA operator section [[TestAborted]]<<YESNO>> If NO is selected fill up data for successful test(s). If YES is selected fill up the reason (cable, cold leak test or other) For “other”option provide a Comment box.

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **To Be Completed by Primary Investigatoir (Submission)** | | | | | | |
| **Test PLAN** | | | | | | |
| *Select the Project Abbreviation / Charge Code from list.*  [[PROJSN]] <<PROJSN>>  *If project code not found enter NEW code in the text box below.*  [[ProjName]] <<TEXT>> | [[PrincipalInvestigator]] <<SRF>>  [[automate name of PI to session username]] <<NOTE>> | | Description of Test:  (e.g. Q vs E test of 5-cell CEBAF cavity at 1497 MHz and up to 100W incident power)  [[TestDescription]] <<COMMENT>>  (e.g. **VTA cavity qualification tests conform procedure see procedure links on the first page**…..)  **TEST PLAN COLLECTION? Once a TP is approved, associate a TP No then refer to this of a VTA test request?**  Instead of [[CavType]] {{Ea/AU,Ep/Ea,Bp/Ea}} <<SELECT>>  [[SqrtRoverQ= display this value here after Cavity Type is selected above.]] <<NOTE>>  [Cavity Type SpreadSheet](file:///\\jlabgrp\group\asd\www\pansophy\html\travelersit\docfiles\STP\link%20to%20spreadsheet%20here) **probably we should consider Cavity Pi mode** | | | |
| *Select the Cavity Serial Number / Cavity Name from list*  [[CAVSN]] <<CAVSN>>  *If Serial Number not found enter NEW Serial Number in the text box below.*  [[CavName]] <<TEXT>> | [[RequestDate]] <<TIMESTAMP>>  (Date of Request)  [[autofill date with today date]] <<NOTE>> | |
| [[CavType]] {{Ea/AU,Ep/Ea,Bp/Ea}} <<SELECT>>  [[SqrtRoverQ= display this value here after Cavity Type is selected above.]] <<NOTE>>  [Cavity Type SpreadSheet](file:///\\jlabgrp\group\asd\www\pansophy\html\travelersit\docfiles\STP\link%20to%20spreadsheet%20here) | [[RequestedTestDate]] <<TIMESTAMP>>  (Requested Date FOR Test) | |
| [[VTATestD1]] <<COMMENT>>  [[DescriptionOfCryoTestD1]] <<FILEUPLOAD>> | | [[RequestedTestDateD1]] <<TIMESTAMP>> | | | [[VTATestD2]] <<COMMENT>>  [[[DescriptionOfCryoTestD2]]<<FILEUPLOAD>> | [[RequestedTestDateD2]] <<TIMESTAMP>> |
| **TEST Information - provided by PI** | | | | | | |
| **SAFETY AND WORK CONTROL DOCUMENTATION**  Upload Documentation NOT referenced on Title Page of this traveler (i.e. Page 0) | | | | [[WorkControlDocuments]] <<FILEUPLOAD>> | | |
| **DEWAR REQUEST**  [[PreferredDewar]] {{1,2,3,4,5,6,7,8}} <<RADIO>>  [[SpecifyCavityNO]]{{Single,Pair,Three}}<<Select>>  If Principle Investigator is unfamiliar with the facility, then the Test Coordinator can recommend a Dewar. | | | | If Test in dewar 1 or 2, explain why test won’t generate prompt radiation:  [[PromptRadiationComment]] <<COMMENT>> | | |
| **RELIEF VALVE VERIFICATION**  Is each vacuum space on the test stand protected by a properly sized, cryogenically rated, non-isolable relief valve?  [[ReliefValve]] <<YESNO>> | | | | List location and rating for each relief valve:  [[ReliefValveComment]] <<COMMENT>> | | |
| **NEUTRON RADIATION VERIFICATION:**  Does this test have the potential to generate neutron radiation?  [[NeutronRadiation]] <<YESNO>> | | | | If Yes, attach a detailed analysis **(ILC 9-cell cavities are covered by VTA SOP, there sould be something similar for C75, C100 and L2HE)**.  [[NeutronRadiationAnalysis]] <<FILEUPLOAD>>  [[NeutronRadiationComment]] <<COMMENT>> | | |
| **TEST PARAMETERS**  [[TemperaturRequirement]] <<FLOAT>> (float)  [[MinLHeLevel]] <<FLOAT>> (float) | | | | [[SpecialConsiderations]] <<COMMENT>> | | |
| **ADDITIONAL REQUIREMENTS**  [[PreferedRFSystem]]{{PRoductionSystem1, ProductionSystem2,R&D}}<<Select>>  *Specify if successive RF tests will be done on the same cavity in the same Dewar*  [[SuccessiveRFTests?]]<<YES/NO>>  [[DewarTemperature(s)]]{{Single, Multiple}}<<Select>>  [[DewarMagnetics]]{{Choice1,Choice2,Choice3}}<<Select>>  [[OSTdata]]<<YESNO>> *(Instrumentation for collecting Oscillating Superleak Transducer data)*  [[HOMdata]]<<YESNO>>  *If YES is selected connect/ check cables*  [[AMMSneeded]]<<YESNO>>*(RF setup for Anti-Mode Mixing Control)*  [[OtherRequirements]]<<COMMENT>> | | | |  | | |
| **TEST Request Submission** | | | | | | |
| [[SubmitRequest]] <<YESNO>>  *A YES will email the request to the VTA Facility Manager* | | | | EMAIL: The VTA Facility Manager  [[VTAFacilityManager]] {{kdavis,JKENT,bookwalt,DANNY?}} <<EMAIL>>  [[VTAFacilityManager]] {{VTA Test Plan Submitted}} <<EMAILSUBJ>>  [[only email if SubmitRequest is Yes]] <<NOTE>> | | |

|  |  |
| --- | --- |
| **To Be Completed by VTA Facility Manager (Review)** | |
| **REVIEW** | |
| [[VTATestReviewCoord]] {{KDAVIS,JKENT,DANNY?}} <<SELECT>>  [[VTATestReviewDate]] <<TIMESTAMP>>  [[auto fill review coord name to session username and autofill today date]] <<NOTE>> | [[TPReviewComments]] <<COMMENT>> |
| **RETURN** | **APPROVE** |
| [[TPStatus]] {{RETURN,APPROVE}} <<RADIO>>  [[TPReturnedComments]] <<COMMENT>> | [[TPStatus2]] <<RADIO>>  [[TPApprovedComments]] <<COMMENT>>  [[Rename TPStatus2 to TPStatus to link up with previously set radio]] <<NOTE>> |
| *IF Test Plan is Returned, then an email of the request will be sent to the Primary Investigator*  [[TPReturnEmail]] {{PrincipalInvestigator}} <<EMAIL>>  [[TPReturnEmail]] {{VTA Test Plan Returned}} <<EMAILSUBJ>>  [[Only email Principal Investigator if the TPReturned box is checked; substitute name in data file]] <<NOTE>> | [[TestCoordinator]] {{JKENT,tgoodman,POWEN}} <<SELECT>>  *IF Test Plan is Approved, then an email of the request will be sent to the VTA Test Coordinators*  [[TPApprovedEmail]] {{JKENT,tgoodmand,PrincipalInvestigator,bookwalt }} <<EMAIL>>  [[TPApprovedEmail]] {{VTA Test Plan Approved}} <<EMAILSUBJ>>  [[Only email if the TPApproved box is checked; substitute name in data file]] <<NOTE>>  **Generate / associate a TP identification e.g. TestPlanC100R\_ddmmmyyy** |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **To Be Completed by VTA Test Coordinator (Finalize)** | | | | | | | |
| testplan finalization /// REQUEST for a VTA test BASED on a specific Test Plan | | | | | | | | |
| Test Project:[[ TestProject]]{{SRF projects list}}<<tSelect>>  The recommended dewar:  [[RecommendedTestDewar]] {{1,2,3,4,5,6,7,8}} <<RADIO>>  [[ExpectedTestDate]] <<TIMESTAMP>>  *Select the Cavity Serial Number / Cavity Name from list*  [[CAVSN]] <<CAVSN>>  *If Serial Number not found enter NEW Serial Number in the text box below.*  [[CavName]] <<TEXT>> | [[TestComments]] <<COMMENT>> | | | | | | | |
| TESTplan activation | | | | | | | | |
| [[VTATPActive]] <<YESNO>>  [[VTATPActiveCoord]] {{JKENT,tgoodman,POWEN, KDAVIS }} <<SELECT>>  [[VTATPActiveDate]] <<TIMESTAMP>> | EMAIL: The VTA Facility Manager  [[VTATPActive]] {{kdavis,JKENT,POWEN,tgoodman}} <<EMAIL>>  [[VTATPActive]] {{VTA Test Plan is Active}} <<EMAILSUBJ>> | | | | | | | |
|  | [[VTATestCoord]] {{JKENT}} <<HOLDPOINT>> | | | | | | | |
| **VTA OPERATOR** | | | | | | | | |
| [[VTATestSummarySingleCAV]] <<COMMENT>>  [[TestDewar]] {{3,4,5,6,7,8}} <<SELECT>> | *Select the Cavity Serial Number / Cavity Name from list*  [[CAVSN]] <<CAVSN>>  *If Serial Number not found enter NEW Serial Number in the text box below.*  [[CavName]] <<TEXT>> | [[VTA test date]] <<TIMESTAMP>> | | [[VTAoperator]] {{VTA Operators list}} <<SELECT>> | [[VTATestLimit]] {{Admin,Quench,Radiation}} <<SELECT>>  [[ReasonAbortedTest]]{{Cables,ColdLEak,}}<< | | | |
| [Emax]] <<FLOAT>> (MV/m) | [[FEonset]] <<FLOAT>> (MV/m) | | [[Radmax]] <<FLOAT>> (mR/h) | [[NeutronAlarm]] <<YESNO>>  *If YES is selected inform sent emails* | | | |
| [[VTATestSummaryPairCAV]] <<COMMENT>>  [[TestDewar]] {{3,4,5,6,7,8}} <<SELECT>> | ***Bottom Cavity****: Select the Cavity Serial Number / Cavity Name from list*  [[CAVSN]] <<CAVSN>> | [[Bottom VTA test date]] | | [[VTAoperator]] {{VTA Operators list}} <<SELECT>> | | [[VTATestLimit]] {{Admin,Quench,Radiation}} <<SELECT>>  [[ReasonAbortedTest]]{{Cables,ColdLEak,}}<< | | |
| [[BottomEmax]] <<FLOAT>> (MV/m) | [[BottomFEonset]] <<FLOAT>> (MV/m) | | [[BottomRadmax]] <<FLOAT>> (mR/h) | | [[BottomNeutronAlarm]] <<YESNO>>  *If YES is selected inform sent emails*. | | |
| ***TOP Cavity****: Select the Cavity Serial Number / Cavity Name from list*  [[CAVSN]] <<CAVSN>> | [[TopVTA test date]] <<TIMESTAMP>> | | [[VTAoperator]] {{VTA Operators list}} <<SELECT>> | | [[VTATestLimit]] {{Admin,Quench,Radiation}} <<SELECT>>  [[ReasonAbortedTest]]{{PSS,Cables,ColdLEak,}}<< | | |
| [[TopEmax]] <<FLOAT>> (MV/m) | [[TopFEonset]] <<FLOAT>> (MV/m) | | [[TopRadmax]] <<FLOAT>> (mR/h) | | [[TopNeutronAlarm]] <<YESNO>>  *If YES is selected inform sent emails* | | |
| [[VTATestSummaryThreeCAVs]] <<COMMENT>>  Select test Dewar  [[TestDewar]] {{3,4,5,6,7,8}} <<SELECT>>  *Done only in D5.*  [[TestAborted]]<<YESNO>> | ***Position1****: Select the Cavity Serial Number / Cavity Name from list*  [[CAVSN]] <<CAVSN>> | [[Pos1VTA test date]] <<TIMESTAMP>> | | [[VTAoperator]] {{VTA Operators list}} <<SELECT>> | | [[VTATestLimit]] {{Admin,Quench,Radiation}} <<SELECT>>  [[ReasonAbortedTest]]{{PSS,Cables,ColdLEak,}}<<Select>> |  | |
| [{Pos1Emax]] <<FLOAT>> (MV/m) | [[Pos1FEonset]] <<FLOAT>> (MV/m) | | [[Pos1Radmax]] <<FLOAT>> (mR/h) | | [[Pos1NeutronAlarm]] <<YESNO>>  *If YES is selected inform sent emails*. |
| ***Position2****: Select the Cavity Serial Number / Cavity Name from list*  [[CAVSN]] <<CAVSN>> | [[Pos2VTA test date]] <<TIMESTAMP>> | | [[VTAoperator]] {{VTA Operators list}} <<SELECT>> | | [[Pos2VTATestLimit]] {{Admin,Quench,Radiation}} <<SELECT>>  [[ReasonAbortedTest]]{{PSS,Cables,ColdLEak,}}<< |  | |
| [[Pos2Emax]] <<FLOAT>> (MV/m) | [[Pos2FEonset]] <<FLOAT>> (MV/m) | | [[Pos2Radmax]] <<FLOAT>> (mR/h) | | [[Pos2NeutronAlarm]] <<YESNO>>  *If YES is selected inform sent emails* |
| ***Position3****: Select the Cavity Serial Number / Cavity Name from list*  [[CAVSN]] <<CAVSN>> | [[Pos3VTA test date]] <<TIMESTAMP>> | | [[Pos3VTAoperator]] {{VTA Operators list}} <<SELECT>> | | [[Pos3VTATestLimit]] {{Admin,Quench,Radiation}} <<SELECT>>  [[ReasonAbortedTest]]{{PSS,Cables,ColdLEak,}}<< |  | |
| [[Pos3Emax]] <<FLOAT>> (MV/m) | [[Pos3FEonset]] <<FLOAT>> (MV/m) | | [[Pos3Radmax]] <<FLOAT>> (mR/h) | | [[Pos3NeutronAlarm]] <<YESNO>>  *If YES is selected inform sent emails* |
| [[VTATestSummaryD1]] <<COMMENT>> | | | [[VTATestSummaryD2]] <<COMMENT>> | | | | | |
| **NEUTRON GENERATION DURING VTA CAVITY QUALIFICATION TESTS** | | | | | | | | |
| [[NeutronGenerated]] <<YESNO>>  *Inform / sent emails is YES is selected* | [[VTAFacilityManager]] {{kdavis,jkent,powens, tgoodman,hamlette}} <<EMAIL>>  [[VTAFacilityManager]] {{Dewar, CaVSN, NeutronGenerated,VTA test date}} <<EMAILSUBJ>> | | | | | | | |
| **CLOSE TESTPLAN** |  | | |  | | | | |