## Sheet1
TRAV_ID | REV | VARNAME | VARTYPE | NEW VARTYPE | DRAWING | DRAWING REVISION | DESCRIPTION
EIC197-FAB-FPCBPA-ASSY1 | R1 | BLFSN | BLFSN | BLF | JL0119538 |  | BEAMLINE FLANGE
EIC197-FAB-FPEGBP-ASSY1 | R1 | BLFSN | BLFSN
EIC197-FAB-ENDG1-ASSY | R1 | BSINSN1 | SN | BSIN | JL0143260 | - | END DISH ASSY'S BOSS
EIC197-FAB-ENDG2-ASSY | R1 | BSINSN1 | SN
EIC197-FAB-ENDG1-ASSY | R1 | BSINSN2 | SN
EIC197-FAB-ENDG2-ASSY | R1 | BSINSN2 | SN
EIC197-FAB-ENDG1-ASSY | R1 | BSOUTSN1 | SN | BSOUT | JL0135965 | - | END DISH ASSY'S BOSS
EIC197-FAB-ENDG2-ASSY | R1 | BSOUTSN1 | SN
EIC197-FAB-ENDG1-ASSY | R1 | BSOUTSN2 | SN
EIC197-FAB-ENDG2-ASSY | R1 | BSOUTSN2 | SN
EIC197-FAB-ENDG1-ASSY | R1 | BSTOPSN1 | SN | BSTOP | JL0135769 | - | FP END DISH ASSY BOSS
EIC197-FAB-ENDG1-ASSY | R1 | BSTOPSN2 | SN
EIC197-FAB-ENDG1-ASSY | R1 | DISHSN1 | SN | DISH | JL0129594 | - | END GROUPS END DISH
EIC197-FAB-ENDG2-ASSY | R1 | DISHNBSSN1 | SN
EIC197-FAB-ENDG1-ASSY | R1 | DISHNBSSN2 | SN
EIC197-FAB-ENDG2-ASSY | R1 | DISHNBSSN2 | SN
EIC197-FAB-ENDG1-ASSY | R1 | DISHNBSSN3 | SN
EIC197-FAB-ENDG2-ASSY | R1 | DISHNBSSN3 | SN
EIC197-FAB-ENDG1-ASSY | R1 | DISHNBSSN4 | SN
EIC197-FAB-ENDG2-ASSY | R1 | DISHNBSSN4 | SN
EIC197-FAB-ENDG1-ASSY | R1 | DISHNBSSN1 | SN | DISHNBS | JL0136183 | - | END GROUP 2 FPC END DISH ASSY
EIC197-FAB-ENDG2-ASSY | R1 | DISHSN1 | SN
EIC197-FAB-ENDG1-ASSY | R1 | DISHSN2 | SN
EIC197-FAB-ENDG2-ASSY | R1 | DISHSN2 | SN
EIC197-FAB-ENDG1-ASSY | R1 | DISHSN3 | SN
EIC197-FAB-ENDG2-ASSY | R1 | DISHSN3 | SN
EIC197-FAB-ENDG1-ASSY | R1 | EG1SN | SN | EG1 | JL0134242 | - | CAVITY WELDMENT END GROUP 1
EIC197-FAB-ENDG2-ASSY | R1 | EG2SN | SN | EG2 | JL0134243 | - | CAVITY WELDMENT END GROUP 2
EIC197-FAB-FPCBPA-ASSY1 | R1 | FPCBPASN | FPCBPASN | FPCBPA | JL0136181 |  | FPC BEAMPIPE ASSY
EIC197-FAB-ENDG2-ASSY | R1 | FPCBPASN1 | SN
EIC197-FAB-FPCBPA-ASSYF | R1 | FPCBPASN1 | FPCBPASN
EIC197-FAB-ENDG2-ASSY | R1 | FPCBPASN2 | SN
EIC197-FAB-FPCBPA-ASSYF | R1 | FPCBPASN3 | FPCBPASN
EIC197-FAB-FPCT-ASSY1 | R1 | FPCPSN1 | FPCPSN | FPCP | JL0134072 |  | FPC PORT
EIC197-FAB-FPCT-ASSY1 | R1 | FPCPTRSN1 | FPCPTRSN | FPCPTR | JL0141299 |  | FPC PORT TRANSITION ROUGH MACHINING
EIC197-FAB-FPCT-ASSYF | R1 | FPCPTRSN1 | FPCPTRSN
EIC197-FAB-FPCT-ASSY1 | R1 | FPCPTRSN2 | FPCPTRSN
EIC197-FAB-FPCT-ASSYF | R1 | FPCPTRSN2 | FPCPTRSN
EIC197-FAB-FPCT-ASSYF | R1 | FPCPTRSN3 | FPCPTRSN
EIC197-FAB-ENDG2-ASSY | R1 | FPCWASN1 | SN | FPCWA | JL0136179 | - | FPC WAVEGUIDE ASSY
EIC197-FAB-FPCWA-ASSY | R1 | FPCWASN1 | FPCWASN
EIC197-FAB-ENDG2-ASSY | R1 | FPCWASN2 | SN
EIC197-FAB-FPCWA-ASSY | R1 | FPCWASN2 | FPCWASN
EIC197-FAB-FPCWA-ASSY | R1 | FPCWASN3 | FPCWASN
EIC197-FAB-FPCWA-ASSY | R1 | FPCWASN4 | FPCWASN
EIC197-FAB-ENDG1-ASSY | R1 | FPEGBPSN | SN | FPEGBP | JL0136187 | A | FP END GROUP BEAMPIPE
EIC197-FAB-FPEGBP-ASSY1 | R1 | FPEGBPSN | FPEGBPSN
EIC197-FAB-FPEGBP-ASSYF | R1 | FPEGBPSN1 | FPEGBPSN
EIC197-FAB-FPEGBP-ASSYF | R1 | FPEGBPSN2 | FPEGBPSN
EIC197-FAB-FPCBPA-ASSY1 | R1 | FPEGBRSN | FPEGBRSN | FPEGBR | JL0133803 |  | BEAMPIPE
EIC197-FAB-FPEGBP-ASSY1 | R1 | FPEGBRSN | FPEGBRSN
EIC197-FAB-FPPA-ASSY1 | R1 | FPPASN | SN | FPPA | JL0140270 |  | FIELD PROBE PORT ASSY
EIC197-FAB-FPPA-ASSYF | R1 | FPPASN | SN
EIC197-FAB-FPPA-ASSY1 | R1 | FPPASN2 | SN
EIC197-FAB-FPPA-ASSYF | R1 | FPPASN2 | SN
EIC197-FAB-ENDG1-ASSY | R1 | FPWASN1 | SN | FPWA | JL0140269 | - | END GROUP 1 FIELD PROBE WAVEGUIDE ASSY
EIC197-FAB-FPWA-ASSY | R1 | FPWASN1 | FPWASN
EIC197-FAB-ENDG1-ASSY | R1 | FPWASN2 | SN
EIC197-FAB-FPWA-ASSY | R1 | FPWASN2 | FPWASN
EIC197-FAB-ENDG1-ASSY | R1 | FULDSHSN1 | SN | FULDSH | JL0136189 | - | END GROUP 1 FP END DISH ASSY
EIC197-FAB-ENDG1-ASSY | R1 | FULDSHSN2 | SN
EIC197-FAB-ENDG1-ASSY | R1 | FULDSHSN3 | SN
EIC197-FAB-ENDG1-ASSY | R1 | FULDSHSN4 | SN
EIC197-FAB-ENDG1-ASSY | R1 | FULDSHSN5 | SN
EIC197-FAB-ENDG1-ASSY | R1 | FULDSHSN6 | SN
EIC197-FAB-ENDG1-ASSY | R1 | FULDSHSN7 | SN
EIC197-FAB-ENDG1-ASSY | R1 | FULPLT1SN1 | SN | FULPLT1 | JL0136188 | - | END GROUP 1 FP END PLATE ASSY
EIC197-FAB-ENDG1-ASSY | R1 | FULPLT1SN2 | SN
EIC197-FAB-ENDG1-ASSY | R1 | FULPLT1SN3 | SN
EIC197-FAB-ENDG1-ASSY | R1 | FULPLT1SN4 | SN
EIC197-FAB-ENDG1-ASSY | R1 | FULPLT1SN5 | SN
EIC197-FAB-ENDG1-ASSY | R1 | FULPLT1SN6 | SN
EIC197-FAB-ENDG1-ASSY | R1 | FULPLT1SN7 | SN
EIC197-FAB-ENDG2-ASSY | R1 | FULPLT2SN1 | SN | FULPLT2 | JL0136182 | - | END GROUP 2 FPC END PLATE ASSY
EIC197-FAB-ENDG2-ASSY | R1 | FULPLT2SN2 | SN
EIC197-FAB-ENDG2-ASSY | R1 | FULPLT2SN3 | SN
EIC197-FAB-ENDG2-ASSY | R1 | FULPLT2SN4 | SN
EIC197-FAB-ENDG2-ASSY | R1 | FULPLT2SN5 | SN
EIC197-FAB-ENDG2-ASSY | R1 | FULPLT2SN6 | SN
EIC197-FAB-ENDG2-ASSY | R1 | FULPLT2SN7 | SN
EIC197-FAB-ENDG2-ASSY | R1 | HWGFASN1 | SN | HWGFA | JL0136180 | A | H HOM WAVEGUIDE ASSY
EIC197-FAB-ENDG2-ASSY | R1 | HWGFASN2 | SN
EIC197-FAB-ENDG1-ASSY | R1 | PLATE1SN1 | SN | PLATE1 | JL0134182 | - | END GROUP 1 END PLATE 1
EIC197-FAB-ENDG1-ASSY | R1 | PLATE1SN2 | SN
EIC197-FAB-ENDG2-ASSY | R1 | PLATE2SN1 | SN | PLATE2 | JL0134212 | - | FPC END PLATE ASSY END PLATE 2
EIC197-FAB-ENDG2-ASSY | R1 | PLATE2SN2 | SN
EIC197-FAB-FPPA-ASSY1 | R1 | PUPFSN | SN | PUPF | JL0119121 |  | PICKUP PORT FLANGE
EIC197-FAB-FPPA-ASSY1 | R1 | PUTSN | SN | PUT | JL0139908 |  | PICK UP TUBE
EIC197-FAB-ENDG1-ASSY | R1 | VWGFASN1 | SN | VWGFA | JL0136186 | A | ASSY V HOM WAVEGUIDE
EIC197-FAB-ENDG1-ASSY | R1 | VWGFASN2 | SN
EIC197-FAB-ENDG1-ASSY | R1 | VWGFASN3 | SN

## TRAV_ACRONYMS
ACRONYM_LEVEL | ACRONYM_ID | ACRONYM_NOTES | MOD_USER | MOD_DATE | OBS | RETIRED | USED | CLOSED | PRIMES | ACRONYM_DESC
COMP | 2CTRM | G.CHENG | BOOKWALT | 2020-09-18 | 2020-09-18 |  |  |  | n | 2-CELL CAVITY TRIMMING TOOL INSP
COMP | ACM50 |  | BOOKWALT | 2020-09-18 |  |  |  |  | y | ABSOLUTE CAPACITANCE NANOMETER 50 TORR
COMP | ADPT |  | BOOKWALT | 2020-09-18 |  |  |  |  | n | RF WINDOW ADAPTER ASSEMBLIES
COMP | ADPTR | HUQUE AUPPS | MDICKEY | 2024-03-11 |  |  |  |  | y | AUPPS ANTENNA ADAPTER
COMP | AMGV |  | BOOKWALT | 2020-09-18 |  |  |  |  | y | ALL METAL GATE VALVE
COMP | AV15 |  | BOOKWALT | 2020-09-18 |  |  |  |  | y | 1 1/2 ANGLE VALVE
COMP | AV16 |  | BOOKWALT | 2020-09-18 |  |  |  |  | y | EASY CLOSE ALL METAL ANGLE VALVE DN 16
COMP | B12TD |  | BOOKWALT | 2020-09-18 |  |  |  |  | y | BARATRON TRANSDUCER 0-100
COMP | B53TD |  | BOOKWALT | 2020-09-18 |  |  |  |  | y | BARATRON TRANSDUCER 0-5000
COMP | BBRD | CHENG | BOOKWALT | 2020-09-18 |  |  |  |  | n | BAYONET BOX RUPTURE DISC & HOLDER ASSY
COMP | BD | DAVID GREEN | BOOKWALT | 2020-09-18 |  |  |  | Y | n | 12GeV BD MAGNET
COMP | BL | SR FROM FISCHER | BOOKWALT | 2024-02-19 |  |  |  |  | n | BEAM LINE
COMP | BLA |  | BOOKWALT | 2020-09-18 |  |  |  |  | y | HOM BEAM LINE ABSORBER (STD LENGTH)
COMP | BLACRM |  | BOOKWALT | 2020-09-18 |  |  |  |  | y | HOM BEAM LINE ABSORBER CERAMIC
COMP | BLAS |  | BOOKWALT | 2020-09-18 | 2020-09-18 |  |  |  | n | BEAM LINE HOM ABSORBER (STD LENGTH)
COMP | BLAV |  | BOOKWALT | 2020-09-18 |  |  |  |  | n | ALL METAL RIGHT ANGLE VALVE FOR BLA
COMP | BLBFA |  | BOOKWALT | 2020-09-18 |  |  |  |  | y | BEAMLINE BLANK FLANGE ASSEMBLY
COMP | BLBL |  | BOOKWALT | 2020-09-18 |  |  |  |  | y | BEAMINE BELLOWS LONG
COMP | BLBP |  | BOOKWALT | 2020-09-18 |  |  |  |  | y | BEAMLINE BELLOWS PrCM
COMP | BLBS |  | BOOKWALT | 2020-09-18 |  |  |  |  | y | BEAMLINE BELLOWS SHORT
COMP | BLBU |  | BOOKWALT | 2020-09-18 |  |  |  |  | y | BEAMLINE BELLOWS UPSTREAM
COMP | BLCPC | HUQUE | BOOKWALT | 2020-09-18 |  |  |  |  | y | 316 STAINLESS STEEL COUPON COPPER PLATING
COMP | BLF | INVENTORY | PRIMeS | 2024-09-09 |  |  |  |  | y | BEAMLINE FLANGE
COMP | BLIPT |  | BOOKWALT | 2020-09-18 |  |  |  |  | y | BEAMLINE ION PUMP TEE ASSEMBLY
COMP | BLX1 | HUQUE | BOOKWALT | 2020-09-18 |  |  |  |  | y | CST WELDMENT EXTENSION-1 SPOOL
COMP | BLX2 | HUQUE | BOOKWALT | 2020-09-18 |  |  |  |  | y | CST WELDMENT EXTENSION-2 SPOOL
COMP | BLXD | KWILSON | BOOKWALT | 2020-09-18 |  |  |  |  | y | CST WELDMENT EXTENSION-DS DOWNSTREAM SPOOL
COMP | BLXU | KWILSON | BOOKWALT | 2020-09-18 |  |  |  |  | y | CST WELDMENT EXTENSION-US UPSTREAM SPOOL
COMP | BM | DAVID GREEN | BOOKWALT | 2020-09-18 |  |  |  | Y | n | 12GEV BM MAGNET
COMP | BP2PH | GENG | BOOKWALT | 2020-09-18 |  |  |  |  | y | BELLOWS 2-PHASE PIPE
COMP | BPIP | MACHA | BOOKWALT | 2020-09-18 |  |  |  |  | n | SUPPLY AND RETURN BEAM PIPE ASSEMBLIES
COMP | BPM | MACHA/FOREHAND | BOOKWALT | 2020-09-18 |  |  |  |  | y | BPM MAGNET SUB-ASSEMBLY
COMP | BPMFT | HKPARK | BOOKWALT | 2020-09-18 |  |  |  |  | y | BPM FEEDTHROUGH
COMP | BRDG | CHENG | BOOKWALT | 2020-09-18 |  |  |  |  | y | INJECTORY CM END CAN BRIDGE ASSEMBLIES
COMP | BRKMT | CHENG | BOOKWALT | 2020-09-18 |  |  |  |  | n | UCM ASSY BRACKET MOUNTING
COMP | BSTR | BURRILL | BOOKWALT | 2020-09-18 |  |  |  | Y | n | HZB BOOST CAVITY
COMP | C001 | DAVID BUTLER | BOOKWALT | 2020-09-18 |  |  |  | Y | n | FDC CUTTING CATHODE FOIL
COMP | C002 | DAVID BUTLER | BOOKWALT | 2020-09-18 |  |  |  | Y | n | FDC ALIGNING AND GLUING CATHODE FOIL
COMP | C003 | DAVID BUTLER | BOOKWALT | 2020-09-18 |  |  |  | Y | n | FDC CATHODE GLUEING ON TRANSFER RING
COMP | C004 | DAVID BUTLER | BOOKWALT | 2020-09-18 |  |  |  | Y | n | FDC CATHODE FOIL TENSIONING
COMP | C005 | DAVID BUTLER | BOOKWALT | 2020-09-18 |  |  |  | Y | n | FDC CATHODE GLUING FRAME TO THE FOIL
COMP | C006 | DAVID BUTLER | BOOKWALT | 2020-09-18 |  |  |  | Y | n | FDC CUTTING CATHODE FOIL HOLES AND SLOTS
COMP | C007 | DAVID BUTLER | BOOKWALT | 2020-09-18 |  |  |  | Y | n | FDC CATHODE GROUD FLAPS
COMP | C009 | DAVID BUTLER | BOOKWALT | 2020-09-18 |  |  |  | Y | n | FDC GLUING MYLAR ON THE TRANSFER RING
COMP | C037 | DAVID BUTLER | BOOKWALT | 2020-09-18 |  |  |  | Y | n | FDC CATHODE G10 RING
COMP | C038 | DAVID BUTLER | BOOKWALT | 2020-09-18 |  |  |  | Y | n | FDC CATHODE FOIL INSP & TEST
COMP | C041 | DAVID BUTLER | BOOKWALT | 2020-09-18 |  |  |  | Y | n | FDC END WINDOW TENSIONING
COMP | C044 | DAVID BUTLER | BOOKWALT | 2020-09-18 |  |  |  | Y | n | FDC CATHODE HISTORY
COMP | C054 | DAVID BUTLER | BOOKWALT | 2020-09-18 |  |  |  | Y | n | FDC MODIFY TYPE 1 CATHODE FRAME TO TYPE 2
COMP | C12P |  | BOOKWALT | 2020-09-18 |  |  |  |  | y | C12P PRESSURE TRANSDUCER
COMP | C2CB | CHENG | BOOKWALT | 2020-09-18 |  |  |  |  | n | INJECTOR CM CAVITY TO CAVITY BELLOWS
COMP | CALPRB | MARHAUSER | BOOKWALT | 2020-09-18 |  |  |  |  | n | CALIBRATED INPUT & FIELD PROBE ANTENNA
COMP | CAV |  | BOOKWALT | 2020-09-18 |  |  |  |  | y | CAVITY
COMP | CB2K | SHIRLEY YANG | BOOKWALT | 2020-09-18 |  |  |  | Y | n | CHL SC1R 2K COLD BOX ASSEMBLY
COMP | CCC | SHIRLEY YANG | BOOKWALT | 2020-09-18 |  |  |  | Y | n | COLD COMPRESSOR CASINGS
COMP | CCM | FISCHER | BOOKWALT | 2020-09-18 |  |  |  | Y | n | TORUS COIL CASE
COMP | CDV | CHENG | BOOKWALT | 2020-09-18 |  |  |  |  | y | CM COOL DOWN CRYOGENIC VALVE
COMP | CEBRZ | T. GANEY | BOOKWALT | 2023-06-13 |  |  |  |  | n | CERAMIC BRAZEMENT FOR WINDOW-WAVEGUIDE FABRICATION
COMP | CFFLNG | T.HIATT | BOOKWALT | 2020-09-18 |  |  |  |  | n | 300K CURRENT LEADS CF FLANGE
COMP | CFL | T.HIATT | BOOKWALT | 2020-09-18 | 2020-09-18 |  |  |  | y | 300K CURRENT LEADS CF FLANGE
COMP | CHA |  | BOOKWALT | 2020-09-18 |  |  |  |  | y | CORRUGATED HOSE ASSEMBLY
COMP | CHK | MAMMOSSER/LEGG | BOOKWALT | 2020-09-18 |  |  |  | Y | n | INTERLOCK CHECKOUT / FINAL CHK OF MAG
COMP | CLDCTH | SALVADOR | BOOKWALT | 2020-09-18 |  |  |  |  | y | COLD CATHODE GAUGE / VACUUM SENSOR
COMP | CLMP02K | LALITHA | MDICKEY | 2021-06-15 |  |  |  |  | y | 2K CLAMP ASSEMBLY KIT
COMP | CLMP05K | LALITHA | MDICKEY | 2021-06-15 |  |  |  |  | y | 5K CLAMP ASSEMBLY KIT
COMP | CLMP2 | CHENG | BOOKWALT | 2020-09-18 |  |  |  |  | n | UCM CLAMP 2 INCH TUBE
COMP | CLMP50K | LALITHA | MDICKEY | 2021-06-15 |  |  |  |  | y | 50K CLAMP ASSEMBLY FULL WRAP KIT
COMP | CLMPSQ | LALITHA | MDICKEY | 2021-06-15 |  |  |  |  | y | SPLIT QUAD CLAMP KIT
COMP | CM |  | BOOKWALT | 2020-09-18 |  |  |  |  | y | CRYOMODULE
COMP | CMFSK | CHENG | BOOKWALT | 2020-09-18 |  |  |  |  | y | UCM ASSY FIXED SUPPORT KIT
COMP | CMSSK | CHENG | BOOKWALT | 2020-09-18 |  |  |  |  | y | UCM SLIDING SUPPORT
COMP | CMSTD | BOOKWALT | BOOKWALT | 2020-09-18 |  |  |  |  | n | CM STANDS FROM FNAL
COMP | CNVTRN |  | BOOKWALT | 2020-09-18 |  |  |  |  | y | CONVECTRON GAUGE NW40
COMP | COAX | L.KING | BOOKWALT | 2020-09-18 |  |  |  |  | n | COAXIAL CABLES ASSY & QUALIFICATION
COMP | CPSN | CLEAN ROOM AREA PAIR ASSEMBLY | BOOKWALT | 2021-06-15 | [5 empty] | CAVITY PAIR
COMP | CST |  | BOOKWALT | 2020-09-18 | [5 empty] | CAVITY STRING
COMP | CTRLV | S.YANG | BOOKWALT | 2020-09-18 |  |  |  | Y | n | CRYOGENIC CONTROL VALVES & BAYONETS
COMP | CTUN | MATALEVICH | BOOKWALT | 2020-09-18 |  |  |  | Y | n | COLD TUNER INSP
COMP | CTUN2 | MATALEVICH | BOOKWALT | 2020-09-18 |  |  |  | Y | n | COLD TUNER EXPANDED INSP
COMP | CU |  | BOOKWALT | 2020-09-18 | [5 empty] | CRYO UNIT
COMP | CURING | AUP | BOOKWALT | 2020-09-18 |  |  |  |  | y | HORIZONTAL HOM DAMPER COPPER RING, JL0089865
COMP | CURNG | N.HUQUE changed for AUPPS | BOOKWALT | 2022-12-06 | [5 empty] | HORIZONTAL HOM DAMPER COPPER RING, JL0089865 (N.HUQUE changed for AUPPS)
COMP | CWBTRE |  | BOOKWALT | 2020-09-18 |  |  |  |  | y | BELLOWS ASSEMBLY WELDMENT
COMP | CWBTSE |  | BOOKWALT | 2020-09-18 |  |  |  |  | y | SUPPLY END WELDMENT
COMP | D12TD |  | BOOKWALT | 2020-09-18 |  |  |  |  | y | BARATRON TRANSDUCER 0-100
COMP | D53TD |  | BOOKWALT | 2020-09-18 |  |  |  |  | y | BARATRON TRANSDUCER 0-5000
COMP | DB | DAVID GREEN | BOOKWALT | 2020-09-18 |  |  |  | Y | n | DB MAGNET
COMP | DBEL | CIOVATI/AARON | BOOKWALT | 2020-09-18 |  |  |  |  | n | DUMB-BELLS
COMP | DBFL | S.WILLIAMS | BOOKWALT | 2020-09-18 |  |  |  |  | n | LL CAVITY DUMB-BELLS
COMP | DBFP | INVENTORY | PRIMeS | 2024-08-15 |  |  |  |  | y | DOG BONE FIELD PROBE
COMP | DCXCU |  | BOOKWALT | 2020-09-18 |  |  |  |  | y | DIODE CXCU
COMP | DCXSD |  | BOOKWALT | 2020-09-18 |  |  |  |  | y | DIODE CXSD
COMP | DDTCU | RECV | BOOKWALT | 2020-09-18 |  |  |  |  | y | DIODE DDTCU
COMP | DDTSD | RECV | BOOKWALT | 2020-09-18 |  |  |  |  | y | DIODE DTSD
COMP | DGLG |  | BOOKWALT | 2020-09-18 |  |  |  |  | y | DOGLEG WINDOW ASSY
COMP | DIO | STIRBET | BOOKWALT | 2020-09-18 |  |  |  |  | n | Si DIODES
COMP | DK12P | G.CHENG | BOOKWALT | 2020-09-18 |  |  |  |  | y | DISK 2-PHASE DUPPORT (DK12P)
COMP | DK22P | G.CHENG | BOOKWALT | 2020-09-18 |  |  |  |  | n | DISK 2-PHASE DUPPORT (DK22P)
COMP | DLCF |  | BOOKWALT | 2020-09-18 |  |  |  |  | n | DOGLEG WAVEGUIDE CAVITY FLANGE
COMP | DLWF |  | BOOKWALT | 2020-09-18 |  |  |  |  | n | DOGLEG WAVEGUIDE WINDOW FLANGE
COMP | DLWS |  | BOOKWALT | 2020-09-18 |  |  |  |  | n | DOGLEG WINDOW WAVEGUIDE SECTION
COMP | DN10 | RECV | BOOKWALT | 2020-09-18 |  |  |  |  | n | DN10 VALVE 0010, CRYO DN10
COMP | DN6 | RECV | BOOKWALT | 2020-09-18 |  |  |  |  | n | DN10 VALVE 0020, CRYO DN6
COMP | DQW | HKPARK | BOOKWALT | 2020-09-18 |  |  |  |  | n | DQW CAVITY TYPE
COMP | DRT | RECV | BOOKWALT | 2020-09-18 |  |  |  |  | y | CERNOX RTD
COMP | DSCCRM | RECV / AUP | BOOKWALT | 2020-09-18 |  |  |  |  | n | CERAMIC DISC D40d14, LHCACFHC0206
COMP | DSRF |  | BOOKWALT | 2020-09-18 |  |  |  |  | y | DOUBLE SIDED RECTANGULAR FLANGE
COMP | EDCP | HUQUE | BOOKWALT | 2020-09-18 |  |  |  |  | n | SHIPPING END CAP
COMP | EG1 | INVENTORY | PRIMeS | 2024-10-16 |  |  |  |  | y | END GROUP 1
COMP | EG2 | INVENTORY | PRIMeS | 2024-10-16 |  |  |  |  | y | END GROUP 2
COMP | EG2BP | INVENTORY | PRIMeS | 2024-11-19 |  |  |  |  | y | END GROUP 2 BEAMPIPE
COMP | EHCEL | CIOVATI | BOOKWALT | 2020-09-18 |  |  |  |  | n | END HALF-CELL
COMP | ELFT | FISCHER | BOOKWALT | 2020-09-18 | 2020-09-18 |  |  |  | y | 8 PIN CRYOGENIC FEEDTHRUS
COMP | ENDC | RECV | BOOKWALT | 2020-09-18 |  |  |  |  | n | END CAPS
COMP | ENDD |  | BOOKWALT | 2020-09-18 |  |  |  |  | y | END DISH AND BELLOWS ASSY
COMP | EVA |  | BOOKWALT | 2020-09-18 |  |  |  |  | y | ELECTRIC VALVE ACTUATOR
COMP | FA25H | WEAKS | BOOKWALT | 2020-09-18 |  |  |  |  | n | FIELD ANTENNA 25 OHM HOOK
COMP | FBA | MDD Request SR104 | BOOKWALT | 2023-04-13 |  |  |  |  | y | FLANGED BELLOWS ASSEMBLY
COMP | FCC | DELISA SMITH | BOOKWALT | 2020-09-18 |  |  |  | Y | n | FIELD CONTROL CHASSIS
COMP | FDC | DAVID BUTLER | BOOKWALT | 2020-09-18 |  |  |  | Y | n | FDC CATHODE FOILS
COMP | FDCP | HUQUE | BOOKWALT | 2020-09-18 |  |  |  |  | n | SHIPPING FEED CAP
COMP | FEAA |  | BOOKWALT | 2020-09-18 |  |  |  |  | y | FLANGE END ADAPTER ASSEMBLY
COMP | FLNG | HKPARK/CIOVATI | BOOKWALT | 2020-09-18 |  |  |  |  | n | DOUBLE SIDED RECTANGULAR FLANGE
COMP | FPBA | WILLIAMS | BOOKWALT | 2020-09-18 |  |  |  |  | n | FIELD PROBE END GROUP HOM BEAMPIPE
COMP | FPC |  | BOOKWALT | 2020-09-18 |  |  |  |  | y | FUNDAMENTAL POWER COUPLER PAIR
COMP | FPCBA |  | BOOKWALT | 2020-09-18 |  |  |  |  | y | FPC BELLOWS ASSEMBLY
COMP | FPCBPA | INVENTORY | PRIMeS | 2024-09-09 |  |  |  |  | y | FPC BEAMPIPE ASSY
COMP | FPCBT | AARON | BOOKWALT | 2020-09-18 |  |  |  |  | n | FPC BEAMTUBE
COMP | FPCC | STIRBET | BOOKWALT | 2020-09-18 |  |  |  |  | y | FPC COLD PART
COMP | FPCEG | AARON | BOOKWALT | 2020-09-18 |  |  |  |  | n | FPC END GROUP
COMP | FPCEX | INVENTORY | PRIMeS | 2024-11-21 |  |  |  |  | y | FUNDAMENTAL COUPLER EXTENSION ASSEMBLY
COMP | FPCH | WILLIAMS | BOOKWALT | 2020-09-18 |  |  |  |  | n | FPC END GROUP HOM BEAMPIPE
COMP | FPCP | INVENTORY | PRIMeS | 2024-09-09 |  |  |  |  | y | FPC PORT
COMP | FPCPF | INVENTORY | PRIMeS | 2024-09-09 |  |  |  |  | y | 6 CF BLANK MOD
COMP | FPCPTB | INVENTORY | PRIMeS | 2024-09-09 |  |  |  |  | y | FPC PORT TUBE
COMP | FPCPTR | INVENTORY | PRIMeS | 2024-09-09 |  |  |  |  | y | FPC PORT TRANSITION ROUGH MACHINING
COMP | FPCW | STIRBET | BOOKWALT | 2020-09-18 |  |  |  |  | y | FPC WARM PART
COMP | FPCWA | INVENTORY | PRIMeS | 2024-09-03 |  |  |  |  | y | FPC WAVEGUIDE ASSY
COMP | FPCWG |  | BOOKWALT | 2020-09-18 |  |  |  |  | y | WAVEGUIDE (BOX) KIT
COMP | FPEG | WILLIAMS | BOOKWALT | 2020-09-18 |  |  |  |  | n | FIELD PROBE END GROUP
COMP | FPEGBP | INVENTORY | PRIMeS | 2024-09-09 |  |  |  |  | y | FP END GROUP BEAMPIPE
COMP | FPEGBR | INVENTORY | PRIMeS | 2024-09-24 |  |  |  |  | y | BEAMPIPE
COMP | FPF | MACHA | BOOKWALT | 2020-09-18 | 2020-09-18 |  |  |  | n | FIELD PROBE FEEDTHROUGH
COMP | FPFT | MULTIPLE | BOOKWALT | 2020-09-18 |  |  |  |  | y | FIELD PROBE FEEDTHROUGH / PICKUP FEEDTHROUGH
COMP | FPPA | INVENTORY | PRIMeS | 2024-07-30 |  |  |  |  | y | FIELD PROBE PORT ASSY
COMP | FPWA | INVENTORY | PRIMeS | 2024-08-28 |  |  |  |  | y | FIELD PROBE WAVEGUIDE ASSY
COMP | FT06P | INV | BOOKWALT | 2020-09-18 |  |  |  |  | y | 6 PIN FEEDTHRU/ CONN G/C 6 PIN DBL ENDED
COMP | FT10P | INV | BOOKWALT | 2020-09-18 |  |  |  |  | y | 10 PIN FEEDTHRU
COMP | FT19P | INV | BOOKWALT | 2020-09-18 |  |  |  |  | y | 19 PIN CONNECTOR - VV ELEC FEEDTHRU
COMP | FT32P | INV | BOOKWALT | 2020-09-18 |  |  |  |  | y | 32 PIN CONNECTOR
COMP | FT6P |  | BOOKWALT | 2020-09-18 |  |  |  |  | y | 6 PIN CIRCULAR CONNECTORS
COMP | FTHMRD | AUP | BOOKWALT | 2020-09-18 |  |  |  |  | y | HORIZONTAL HOM DAMPER H0HOM FEEDTHROUGH, JL0089755
COMP | FTPC |  | BOOKWALT | 2020-09-18 |  |  |  |  | y | HOM FT 25 OHM PINCE
COMP | FTROD | AUP | BOOKWALT | 2020-09-18 |  |  |  |  | y | VERTICAL HOM COUPLER FEEDTHRU 25 OHM ROD, JL0090118
COMP | FWM | Tiffany request for L2HE | SAMUELS | 2022-03-01 | [5 empty] | Faraday Window Manifold
COMP | GHRP |  | BOOKWALT | 2020-09-18 |  |  |  |  | y | HELIUM GAS RETURN PIPE
COMP | GTVCDN | CHENG | BOOKWALT | 2020-09-18 |  |  |  |  | y | GV BEARING CLAMP DOWNSTREAM
COMP | GTVCUP | CHENG | BOOKWALT | 2020-09-18 |  |  |  |  | n | GV BEARING CLAMP UPSTREAM
COMP | GTVSW | CHENG | BOOKWALT | 2020-09-18 |  |  |  |  | y | UCM ASSY GV-SUPPORT WELDMENT
COMP | GTVUP | CHENG | BOOKWALT | 2020-09-18 |  |  |  |  | y | WELDMENT GV SUPPORT
COMP | GUIDES | ELTON SMITH | BOOKWALT | 2020-09-18 |  |  |  | Y | n | LIGHT GUIDES
COMP | GUN | BURRILL | BOOKWALT | 2020-09-18 |  |  |  | Y | n | GUN CAVITY
COMP | GV15 |  | BOOKWALT | 2020-09-18 |  |  |  |  | y | GATE VALVE 1.5 HV MANUAL
COMP | GV40 | RECV | BOOKWALT | 2020-09-18 |  |  |  |  | y | Cavity MDC Gate Valve
COMP | GV60 |  | BOOKWALT | 2020-09-18 |  |  |  |  | y | 6 IN GATE VALVE
COMP | GVPA | INV | BOOKWALT | 2020-09-18 |  |  |  |  | n | COLD MASS GUARD VACUUM PIPING ASSY
COMP | GVSWLD | unknown | BOOKWALT | 2020-09-18 |  |  |  |  | n | Gate Valve Weld
COMP | GVWF | KWILSON | BOOKWALT | 2020-09-18 |  |  |  |  | n | GUARD VACUUM WAVEGUIDE FLANGE
COMP | GVWG |  | BOOKWALT | 2020-09-18 |  |  |  |  | y | GUARD VACUUM WAVEGUIDE / SECONDARY GUARD VAC
COMP | H4KPF | G.CHENG | BOOKWALT | 2020-09-18 |  |  |  |  | y | CM 4K PIPE FORWARD HOLDER
COMP | HCEL | CIOVATI | BOOKWALT | 2020-09-18 |  |  |  |  | n | CAVITY HALF CELL
COMP | HEH |  | BOOKWALT | 2020-09-18 | 2020-09-18 |  |  | Y | y | HELIUM HEADER (CRYOGENIC CIRCUIT ASSEMBLY)
COMP | HEHD | CHENG | BOOKWALT | 2020-09-18 |  |  |  |  | n | HELIUM VESSEL HEADER
COMP | HEHDF | INV | BOOKWALT | 2020-09-18 |  |  |  |  | n | HELIUM VESSEL FPC END
COMP | HEHDP | INV | BOOKWALT | 2020-09-18 |  |  |  |  | n | HELIUM VESSEL PROBE END
COMP | HELV | FISCHER | BOOKWALT | 2020-09-18 |  |  |  |  | n | HELIUM VESSEL
COMP | HERB | FROM C100R 2022. MISSED ADDING | BOOKWALT | 2024-02-28 |  |  |  |  | n | RETURN HEADER BELLOWS
COMP | HES |  | BOOKWALT | 2020-09-18 |  |  |  |  | y | HELIUM VESSEL SHELL/HELIUM VESSEL ASSEMBLY
COMP | HESB | FROM C100R 2022. MISSED ADDING | BOOKWALT | 2024-02-28 |  |  |  |  | n | SUPPLY HEADER BELLOWS
COMP | HHOM | AUP-AUPPS | BOOKWALT | 2023-12-11 |  |  |  |  | n | HORIZONTAL HOM
COMP | HK5347 |  | BOOKWALT | 2020-09-18 |  |  |  |  | y | KAPTON (POLYMIDE) THERMOFOIL HEATER 46.3 OHMS
COMP | HLS | INV | BOOKWALT | 2020-09-18 |  |  |  |  | y | HELIUM LEVEL SENSOR / LIQUID LEVEL PROBE
COMP | HMBLA |  | BOOKWALT | 2020-09-18 |  |  |  |  | n | HOM BLA
COMP | HMDR | INV | BOOKWALT | 2020-09-18 |  |  |  |  | y | TUNER HARMONIC DRIVE
COMP | HMFT |  | BOOKWALT | 2020-09-18 |  |  |  |  | y | HOM FEEDTHRU
COMP | HOM | A.SOLOPOVA | BOOKWALT | 2020-09-18 |  |  |  |  | n | HOM
COMP | HOMA | INV | BOOKWALT | 2020-09-18 |  |  |  |  | n | HOM ABSORBER
COMP | HOMAF |  | BOOKWALT | 2020-09-18 |  |  |  |  | y | HOM ABSORBER FLANGE
COMP | HOME |  | BOOKWALT | 2020-09-18 |  |  |  |  | y | HOM ELBOW
COMP | HOMEG |  | BOOKWALT | 2020-09-18 |  |  |  |  | n | HOM END GROUP
COMP | HOML |  | BOOKWALT | 2020-09-18 |  |  |  |  | y | HOM LOAD
COMP | HOMOC | HUQUE | BOOKWALT | 2020-09-18 |  |  |  |  | n | HOM DAMPER OUTER CAN
COMP | HOMPB |  | BOOKWALT | 2020-09-18 |  |  |  |  | y | C50 HOM PEG BOARD
COMP | HRDW | INV | BOOKWALT | 2020-09-18 |  |  |  |  | n | HARDWARE
COMP | HV2C | CHENG | BOOKWALT | 2020-09-18 |  |  |  |  | n | 2-CELL HELIUM VESSEL
COMP | HVHD | CHENG | BOOKWALT | 2020-09-18 |  |  |  |  | y | HELIUM VESSEL HEAD ASSY
COMP | IMAG | CHENG | BOOKWALT | 2020-09-18 |  |  |  |  | y | INNER MAGNETIC SHIELD
COMP | IMAG2C | CHENG | BOOKWALT | 2020-09-18 |  |  |  |  | n | 2-CELL INNER MAGNETIC SHIELD
COMP | INAD |  | BOOKWALT | 2020-09-18 |  |  |  |  | y | INNER ADAPTER FLANGE
COMP | INFF |  | BOOKWALT | 2020-09-18 |  |  |  |  | y | INSTRUMENTATION FEED THROUGH FLANGE
COMP | IP11STD |  | BOOKWALT | 2020-09-18 |  |  |  |  | y | STD ION PUMP 11 L/S, 2.75" CFF W/MAGNET
COMP | IP25SDX |  | BOOKWALT | 2020-09-18 |  |  |  |  | y | 25S TITAN ION PUMP
COMP | IP265D |  | BOOKWALT | 2020-09-18 |  |  |  |  | n | 25L/S ION PUMP
COMP | IP45S2D |  | BOOKWALT | 2020-09-18 |  |  |  |  | y | 45S-2D ION PUMP
COMP | IP45S4D |  | BOOKWALT | 2020-09-18 |  |  |  |  | y | 35 L/S ION PUMP / 45S-4D ION PUMP
COMP | IP75SD | INV | BOOKWALT | 2020-09-18 |  |  |  |  | y | 75S TITAN ION PUMP
COMP | IROD | CHENG | BOOKWALT | 2020-09-18 |  |  |  |  | y | INVAR ROD
COMP | IROD2L | CHENG | BOOKWALT | 2020-09-18 |  |  |  |  | y | INVAR ROD 2-PHASE LONG
COMP | IROD2P | CHENG | BOOKWALT | 2020-09-18 |  |  |  |  | y | INVAR ROD 2-PHASE
COMP | IRODC1 | CHENG | BOOKWALT | 2020-09-18 |  |  |  |  | y | INVAR ROD CLAMP ASSY KIT 1
COMP | IRODC2 | CHENG | BOOKWALT | 2020-09-18 |  |  |  |  | y | INVAR ROD CLAMP ASSY KIT 2
COMP | JG |  | BOOKWALT | 2020-09-18 |  |  |  | Y | n | JG MAGNET
COMP | JH |  | BOOKWALT | 2020-09-18 |  |  |  | Y | n | JH MAGNET
COMP | JTV | CHENG | BOOKWALT | 2020-09-18 |  |  |  |  | y | JT CRYOGENIC VALVE / WEKA VALVE 221759-0020 (JT)
COMP | JTVIB |  | BOOKWALT | 2020-09-18 |  |  |  |  | y | JT VALVE INNER BELLOWS
COMP | JTVOB |  | BOOKWALT | 2020-09-18 |  |  |  |  | y | JT VALVE OUTER BELLOWS
COMP | JTVP |  | BOOKWALT | 2020-09-18 |  |  |  |  | y | PRIMARY CONTROL VALVE ASSY
COMP | JTVS |  | BOOKWALT | 2020-09-18 |  |  |  |  | y | COUPLE CONTROL VALVE ASSY
COMP | JTVTK | CHENG | BOOKWALT | 2020-09-18 |  |  |  |  | y | JT CRYOGENIC VALVE TUBE KIT
COMP | LDS12 |  | BOOKWALT | 2020-09-18 |  |  |  |  | y | 1/2-13 LOCKDOWN STUD
COMP | LDS34 |  | BOOKWALT | 2020-09-18 |  |  |  |  | n | 3/4-10 LOCKDOWN STUD
COMP | LDS34H |  | BOOKWALT | 2020-09-18 |  |  |  |  | y | 3/4-10 LOCKDOWN STUD W/ 1/2-13 HOLE
COMP | LLDB | S.WILLIAMS | BOOKWALT | 2020-09-18 |  |  |  |  | n | LL CAVITY DUMB-BELLS
COMP | LLDS | CHENG | BOOKWALT | 2020-09-18 |  |  |  |  | y | LIQUID He LEVEL DOWNSTREAM
COMP | LLNDS | CHENG | BOOKWALT | 2020-09-18 |  |  |  |  | y | LINE LIQUID LEVEL DOWNSTREAM
COMP | LLNUS | CHENG | BOOKWALT | 2020-09-18 |  |  |  |  | y | LINE LIQUID LEVEL UPSTREAM
COMP | LLUS | CHENG | BOOKWALT | 2020-09-18 |  |  |  |  | y | LIQUID He LEVEL UPSTREAM
COMP | MAG | CHENG | BOOKWALT | 2020-09-18 |  |  |  |  | y | MAGNETIC SHIELD
COMP | MAWA | JL0076778 B | BOOKWALT | 2023-09-13 |  |  |  |  | y | MODIFIED ADAPTER WINDOW ASSEMBLY
COMP | MCCLA | CHENG | BOOKWALT | 2020-09-18 |  |  |  |  | y | MC COUPLING LINE ASSY
COMP | MLI |  | BOOKWALT | 2020-09-18 |  |  |  |  | y | 55K SHIELD 1 MLI / 2 MLI
COMP | MUGV |  | BOOKWALT | 2020-09-18 |  |  |  |  | y | MINI UHV GATE VALVE
COMP | MWND | KWILSON | BOOKWALT | 2020-09-18 |  | 2020-10-05 |  |  | n | MODIFIED WINDOW
COMP | NB |  | BOOKWALT | 2020-09-18 |  |  |  |  | n | NIOBIUM DISC
COMP | NB55 | INV | BOOKWALT | 2020-09-18 |  |  |  |  | n | NIOBIUM 55
COMP | NBI | CHENG | BOOKWALT | 2020-09-18 |  |  |  |  | n | NIOBIUM INGOT
COMP | NBS | Niobium sheet | MENIA | 2024-12-09 | [5 empty] | GCIOVATI ServiceRequest#731
COMP | NSALH | CHENG | BOOKWALT | 2020-09-18 |  |  |  |  | y | NEEDLE SUPPORT LH
COMP | NSARH | CHENG | BOOKWALT | 2020-09-18 |  |  |  |  | y | NEEDLE SUPPORT RH
COMP | NTFT | FISCHER | BOOKWALT | 2020-09-18 |  |  |  |  | y | N-TYPE VV FEEDTHRU / COAXIAL TYPE N
COMP | OMAG | FISCHER | BOOKWALT | 2020-09-18 |  |  |  |  | y | OUTER MAGNETIC SHIELD
COMP | OMAGS | FISCHER | BOOKWALT | 2020-09-18 |  |  |  |  | y | SECONDARY OUTER MAGNTIC SHIELD
COMP | OOPS | FISCHER | BOOKWALT | 2020-09-18 |  |  |  |  | n | OOPS ASSEMBLY
COMP | P2PH | INV | BOOKWALT | 2020-09-18 |  |  |  |  | y | PIPE 2-PHASE / 4 IN OD X .083 IN W X 8FT
COMP | PBD |  | BOOKWALT | 2020-09-18 |  |  |  |  | y | ASSEMBLY RUPTURE DISKS / MDC 420032
COMP | PEC2P | CHENG | BOOKWALT | 2020-09-18 |  |  |  |  | y | 2-PHASE PIPE END CAP
COMP | PED | ROSS BAILES | BOOKWALT | 2020-09-18 |  |  |  | Y | n | PEDESTALS, BEAM TRANSPORT
COMP | PIEZO | ORIGINAL C100 ACRONYM | BOOKWALT | 2021-04-28 |  |  |  |  | y | TUNER PIEZO
COMP | PINLOC | CHENG | BOOKWALT | 2020-09-18 |  |  |  |  | n | PIN LOCATING / LOCATING PIN
COMP | PIRANI | INV | BOOKWALT | 2020-09-18 |  |  |  |  | y | BAKEABLE PARINI GAUGE
COMP | PRPA | MARCHLIK | BOOKWALT | 2020-09-18 |  |  |  |  | y | PRESSURE RELIEF PLATE
COMP | PTR |  | BOOKWALT | 2020-09-18 |  |  |  |  | y | PFEIFFER VACUUM GAUGE KIT
COMP | PUPF | INVENTORY | PRIMeS | 2024-07-30 |  |  |  |  | y | PICK UP PORT FLANGE
COMP | PUT | INVENTORY | PRIMeS | 2024-07-30 |  |  |  |  | y | PICK UP TUBE
COMP | PVA |  | BOOKWALT | 2020-09-18 |  |  |  |  | y | PURGE VALVE ASSY
COMP | QG999 |  | BOOKWALT | 2020-09-18 |  |  |  |  | y | 999 QUATTRO GAUGE
COMP | QH |  | BOOKWALT | 2020-09-18 |  |  |  | Y | n | QH MAGNET
COMP | QP |  | BOOKWALT | 2020-09-18 |  |  |  | Y | n | QP MAGNET
COMP | QR |  | BOOKWALT | 2020-09-18 |  |  |  | Y | n | QR MAGNET
COMP | QUAD | T.HIATT | BOOKWALT | 2020-09-18 |  |  |  |  | n | QUADRAPOLE MAGNET
COMP | QUADMG |  | BOOKWALT | 2020-09-18 |  |  |  |  | y | LCLS-II MAGNET PACKAGE ASSY
COMP | REC |  | BOOKWALT | 2020-09-18 |  |  |  |  | y | RETURN END CANS
COMP | RECBP |  | BOOKWALT | 2020-09-18 | 2020-10-23 |  |  |  |  | RETURN END CAN BEAM PIPE
COMP | RETBP | CHENG | BOOKWALT | 2020-09-18 |  |  |  |  | n | INJECTOR CM RETURN SIDE BEAMPIPE WELDMENT
COMP | RFD | USLARP-AUPPS | BOOKWALT | 2020-09-18 |  |  |  |  | n | RFD CAVITY TYPE
COMP | RPAD | FISCHER | MDICKEY | 2024-11-04 | [5 empty] | REINFORCED PIVOT ARM - DETAIL
COMP | RTBP | MATALEVICH | BOOKWALT | 2020-09-18 |  |  |  |  | y | RETURN BEAM PIPE
COMP | RTD | INV | BOOKWALT | 2020-09-18 |  |  |  |  | n | DIODES FROM FNAL
COMP | RTDC | INV | BOOKWALT | 2020-09-18 |  |  |  |  | n | CERNOX RTD
COMP | RTUBE5 | CHENG | BOOKWALT | 2020-09-18 |  |  |  |  | y | 5K RETURN TUBE
COMP | SADL | CHENG | BOOKWALT | 2020-09-18 |  |  |  |  | y | INJECTOR CM SADDLES
COMP | SCRWLK | CHENG | BOOKWALT | 2020-09-18 |  |  |  |  | n | UCM ASSY SCREW LOCK
COMP | SDT |  | BOOKWALT | 2020-09-18 |  |  |  |  | y | SILICON DIODE THERMOMETER
COMP | SEC | INV | BOOKWALT | 2020-09-18 |  |  |  |  | y | SUPPLY END CANS
COMP | SFR |  | BOOKWALT | 2020-09-18 |  |  |  |  | y | SPACEFRAME
COMP | SM | INV | BOOKWALT | 2020-09-18 |  |  |  |  | y | TUNER MOTORS / CRYO STEPPER MOTOR
COMP | SMA2K | CHENG | BOOKWALT | 2020-09-18 |  |  |  |  | y | 2K-5K STEP MOTOR ASSY
COMP | SPL | S.YANG | BOOKWALT | 2020-09-18 |  |  |  | Y | n | COLD BOX SPOOL
COMP | SPOSTA | CHENG | BOOKWALT | 2020-09-18 |  |  |  |  | y | CM ASSEMBLY SUPPORT POST
COMP | SRING | INSP | BOOKWALT | 2020-09-18 |  |  |  |  | n | STIFFENING RING
COMP | SSPLTE | CHENG | BOOKWALT | 2020-09-18 |  |  |  |  | n | STAINLESS STEEL PLATE
COMP | STTL | J.DAVENPORT | BOOKWALT | 2020-09-18 |  |  |  |  | n | CST TOOLING
COMP | SUBP | MATALEVICH | BOOKWALT | 2020-09-18 |  |  |  |  | y | SUPPLY BEAM PIPE
COMP | SUPBP | CHECN | BOOKWALT | 2020-09-18 |  |  |  |  | n | INJECTORY CM SUPPLY SIDE BEAMPIPE WELDMENT
COMP | SWEEP | KWILSON | BOOKWALT | 2020-09-18 | 2020-10-30 | 2020-10-30 |  |  | n | WAVEGUIDE SWEEPS
COMP | SWP |  | BOOKWALT | 2020-09-18 |  |  |  |  | y | HALF HT-H-PL SWEEP W/PORT
COMP | T1NN2 | RECV | BOOKWALT | 2020-09-18 |  |  |  |  | y | L2PRO TFlex401 N/N 2M HOM1
COMP | T1NN3 | RECV | BOOKWALT | 2020-09-18 |  |  |  |  | y | L2PRO TFlex401 N/N 3M HOM2
COMP | T1NNR2 | RECV | BOOKWALT | 2020-09-18 |  |  |  |  | y | TFLEX401 TZ-2-N-NR HOM1
COMP | T1NNR3 | RECV | BOOKWALT | 2020-09-18 |  |  |  |  | y | TFLEX401 TZ-3-N-NR HOM2
COMP | T2NN2 | RECV | BOOKWALT | 2020-09-18 |  |  |  |  | y | L2PRO TFlex402 N/N 2M BPM
COMP | T2NNR2 | RECV | BOOKWALT | 2020-09-18 |  |  |  |  | y | TFLEX402 TZ-2-N-NR BPM
COMP | T2NSR3 | RECV | BOOKWALT | 2020-09-18 |  |  |  |  | y | TFLEX402 TZ-3-N-SMAR FIELD PROBE
COMP | T2SS1 | RECV | BOOKWALT | 2020-09-18 |  |  |  |  | y | L2PRO TFlex402 S/S 1M E-Probe
COMP | TDTP | S.YANG | BOOKWALT | 2020-09-18 |  |  |  | Y | n | CHL TDs AND TPs
COMP | THAT | LAPPING | BOOKWALT | 2020-09-18 |  |  |  |  | n | TOP HAT FLANGE
COMP | THERM | FISCHER | BOOKWALT | 2020-09-18 |  |  |  |  | n | TORUS MAGNET SHIELD
COMP | THLH |  | BOOKWALT | 2020-09-18 |  |  |  |  | y | AL LEFT HAND TOP HAT WELD (SINGLE)
COMP | THRH |  | BOOKWALT | 2020-09-18 |  |  |  |  | y | AL RIGHT HAND TOP HAT WELD (SINGLE)
COMP | THRM | K.SMITH | BOOKWALT | 2020-09-18 |  |  |  |  | y | 50K TERMAL SHIELD COMPONETS
COMP | THRMLW | CHENG | BOOKWALT | 2020-09-18 |  |  |  |  | y | 50K SHIELD LOWER
COMP | THRMST | MARCHLIK | BOOKWALT | 2020-09-18 |  |  |  |  | n | THERMAL STATION
COMP | THRMUP | CHENG | BOOKWALT | 2020-09-18 |  |  |  |  | y | 50K SHIELD UPPER
COMP | THST |  | BOOKWALT | 2020-09-18 |  |  |  |  | y | THERMAL STATION FINAL ASSY
COMP | THTD | KWILSON | BOOKWALT | 2020-09-18 |  |  |  |  | y | TOPHATS DOUBLE
COMP | THTS | KWILSON | BOOKWALT | 2020-09-18 |  |  |  |  | y | TOPHATS SINGLE
COMP | TPHT | MARCHLIK | BOOKWALT | 2020-09-18 |  |  |  |  | y | CM FPC TOPHATS
COMP | TPHTB | MARCHLIK | BOOKWALT | 2020-09-18 |  |  |  |  | n | TOPHAT BELLOWS
COMP | TPHTD | KWILSON | BOOKWALT | 2020-09-18 |  |  |  |  | n | TOPHAT DOUBLE
COMP | TPHTS |  | BOOKWALT | 2020-09-18 |  |  |  |  | n | TOPHAT SINGLE
COMP | TSCPLR | INV | BOOKWALT | 2020-09-18 |  |  |  |  | y | 5K, 50K, COUPLE THERMAL STRAPS
COMP | TSHMSM | INV | BOOKWALT | 2020-09-18 |  |  |  |  | y | HOM, STEPPER MOTOR THERMAL STRAP
COMP | TUNC |  | BOOKWALT | 2020-09-18 |  |  |  |  | y | TUNER COLD
COMP | TUNMC | HUQUE | BOOKWALT | 2020-09-18 | 2021-04-28 |  |  |  | y | END LEVEL TUNER MECHANICAL FRAME
COMP | TUNMT | HUQUE | BOOKWALT | 2020-09-18 | 2021-03-31 |  |  |  | y | TUNER STEPPER MOTOR / PHYTRON MOTOR
COMP | TUNPZ | HUQUE | BOOKWALT | 2020-09-18 | 2021-04-28 |  |  |  | y | TUNER PIEZO ACTUATOR
COMP | TUNW |  | BOOKWALT | 2020-09-18 |  |  |  |  | y | WARM TUNER ASSEMBLY
COMP | UCM | CHENG | BOOKWALT | 2020-09-18 |  |  |  |  | y | UPPER COLD MASS
COMP | VH25H |  | BOOKWALT | 2020-09-18 | [5 empty] | V-HOM 25 OHM HOOK
COMP | VPFT | FISCHER | BOOKWALT | 2020-09-18 |  |  |  |  | y | SAPPHIRE VIEWPORT
COMP | VRFTM | INVENTORY | PRIMeS | 2024-07-08 |  |  |  |  | y
COMP | VTATS |  | BOOKWALT | 2021-09-30 | [5 empty] | VERTICAL TEST STAND
COMP | VV |  | BOOKWALT | 2020-09-18 |  |  |  |  | y | VACUUM VESSEL
COMP | W0014 | DAVID BUTLER | BOOKWALT | 2020-09-18 |  |  |  | Y | n | FDC Wireplane Assemble G10/Rohacell Lamination
COMP | W011 |  | BOOKWALT | 2020-09-18 |  |  |  |  | n | FDC Forming Ground Plane Connections
COMP | W012 |  | BOOKWALT | 2020-09-18 |  |  |  |  | n | FDC Wireplane PCB Fitting And Gluing
COMP | W013 |  | BOOKWALT | 2020-09-18 |  |  |  |  | n | FDC WIREPLANE GAS BLOCK ATTACHMENT
COMP | W015 |  | BOOKWALT | 2020-09-18 |  |  |  |  | n | FDC Wireplane G10/Rohacell Ring to PCB
COMP | W018 |  | BOOKWALT | 2020-09-18 |  |  |  |  | n | FDC WIREPLANE CLEAN FOR ENTRY INTO CLEANROOM
COMP | W020 |  | BOOKWALT | 2020-09-18 |  |  |  |  | n | FDC Wireplane Strongback and Wiring Prep
COMP | W021 |  | BOOKWALT | 2020-09-18 |  |  |  |  | n | FDC Wireplane String and Tension All Wires
COMP | W025 |  | BOOKWALT | 2020-09-18 |  |  |  |  | n | FDC Wireplane Apply Epoxy Ring And Fix Wire
COMP | W026 |  | BOOKWALT | 2020-09-18 |  |  |  |  | n | FDC Wireplane Solder Wires
COMP | W027 |  | BOOKWALT | 2020-09-18 |  |  |  |  | n | FDC Wireplane Frequency to Tension Measurements
COMP | W028 |  | BOOKWALT | 2020-09-18 |  |  |  |  | n | FDC Wireplane Cut Wires and Remove Tape
COMP | W035 |  | BOOKWALT | 2020-09-18 |  |  |  |  | n | FDC Wireplane G10 Lamination Inspection
COMP | W042 |  | BOOKWALT | 2020-09-18 |  |  |  |  | n | FDC Wire Deadening
COMP | W043 |  | BOOKWALT | 2020-09-18 |  |  |  |  | n | FDC Wireplane History
COMP | W046 |  | BOOKWALT | 2020-09-18 |  |  |  |  | n | FDC Place Wireboard Capacitors
COMP | W047 |  | BOOKWALT | 2020-09-18 |  |  |  |  | n | FDC Wireboard Current Test
COMP | W048 |  | BOOKWALT | 2020-09-18 |  |  |  |  | n | FDC Wireboard Final Resistor Check
COMP | W049 |  | BOOKWALT | 2020-09-18 |  |  |  |  | n | FDC Wireboard Continuity Check
COMP | W052 |  | BOOKWALT | 2020-09-18 |  |  |  |  | n | FDC Package Diffusion Repair
COMP | WBA |  | BOOKWALT | 2020-09-18 |  |  |  |  | y | BRAZEMENT ADAPTER ASSY
COMP | WCLA | CHENG | BOOKWALT | 2020-09-18 |  |  |  |  | y | WARMUP COOLDOWN LINE
COMP | WG | FISCHER | BOOKWALT | 2020-09-18 |  |  |  |  | n | NB3SN WAVEGUIDE
COMP | WGD | KWILSON | BOOKWALT | 2020-09-18 |  |  |  |  | y | WAVEGUIDE
COMP | WGDX |  | BOOKWALT | 2020-09-18 |  |  |  |  | n | WAVEGUIDE EXTENSION FLANGE
COMP | WIN | HKPARK | BOOKWALT | 2020-09-18 |  |  |  |  | y | RF WINDOW FLANGE WELDING ASSY
COMP | WINW |  | BOOKWALT | 2020-09-18 |  |  |  |  | y | RF WINDOW WARM
COMP | WINWGD | T. GANEY | BOOKWALT | 2023-06-13 |  |  |  |  | n | WINDOW-WAVEGUIDE ASSEMBLY FOR C100R
COMP | WIR | DAVID BUTLER | BOOKWALT | 2020-09-18 |  |  |  | Y | n | WIREPLANE
COMP | WNCR | S.WILLIAMS | BOOKWALT | 2020-09-18 |  |  |  |  | n | DOGLEG WINDOW CERAMIC; CERAMIC/EYELET WINDOW
COMP | WNEY | INSPO | BOOKWALT | 2020-09-18 |  |  |  |  | n | DOGLEG WINDOW EYELET
COMP | WSA | CHENG | BOOKWALT | 2020-09-18 |  |  |  |  | y | UCM WARMUP SUPPORT ASSY
COMP | WSPT | KWILSON | BOOKWALT | 2020-09-18 |  |  |  |  | n | WAVEGUIDE SUPPORTS
COMP | WTUN | MATALEVICH | BOOKWALT | 2020-09-18 |  |  |  |  | n | WARM TUNER
GRAY - OBS/RETIRED/USED/CLOSED