| Traveler Title | L2RB Cavity HOM Feedthru Receiving Inspection |  |  |  |
| --- | --- | --- | --- | --- |
| Traveler Abstract | L2RB cavity HOM feedthru receiving inspection traveler, this is for leak test work station. |  |  |  |
| Traveler ID | L2RB-CMA-HMFT-LEAK |  |  |  |
| Traveler Revision | R2 |  |  |  |
| Traveler Author | Liang Zhao |  |  |  |
| Traveler Date | 27-Jun-25 |  |  |  |
| NCR Informative Emails | hannesv,cheng,areilly |  |  |  |
| NCR Dispositioners | lzhao,adamg |  |  |  |
| D3 Emails | lzhao,adamg |  |  |  |
| Approval Names | L. Zhao | C. Wilcox | J. Fischer | A. Grabowski |
| Approval Signatures |  |  |  |  |
| Approval Dates |  |  |  |  |
| Approval Title | Author | Reviewer 1 | Reviewer 2 | Project Representative |

| References | List and Hyperlink all documents related to this traveler. This includes, but is not limited to: safety (THAs, SOPs, etc), drawings, procedures, and facility related documents. |  |  |  |
| --- | --- | --- | --- | --- |
| HOM Antenna GMM-B9433A | Leak check spec 11141-S-0029 rev. C |  |  |  |

| Revision Note |  |
| --- | --- |
| R1 | Initial release of this Traveler. |
| R2 | Added 5 more HMFTSNs |

| Step No. | Instructions | Data Input |
| --- | --- | --- |
| HOM feedthru is an ultra high vacuum component. Wear talc free latex or Nitrile gloves at all times when handling this component. |  |  |
|  | Record the name of the leak check tech and the date of the leak check test Upload leak check file | [[Post_Leak_Tech]] <<SRF>> [[Post_Leak_Date]] <<TIMESTAMP>> [[Post_Leak_File]] <<FILEUPLOAD>> |
|  | High bay Leak check area |  |
| 1 | Leak test after cryo cycle (Leak test area) Perform final leak test per 11141-S-0029 rev.C. Did the part pass the leak test? If it did not pass, generate NCR. Provide comments, if any. When the leak check is complete, pass the feedthroughs to QC team. | [[HMFTSN1]] <<HMFTSN>> [[Post_Leak_Pass1]] <<YESNO>> [[Post_Leak_Comm1]] <<COMMENT>> |
|  |  | [[HMFTSN2]] <<HMFTSN>> [[Post_Leak_Pass2]] <<YESNO>> [[Post_Leak_Comm2]] <<COMMENT>> |
|  |  | [[HMFTSN3]] <<HMFTSN>> [[Post_Leak_Pass3]] <<YESNO>> [[Post_Leak_Comm3]] <<COMMENT>> |
|  |  | [[HMFTSN4]] <<HMFTSN>> [[Post_Leak_Pass4]] <<YESNO>> [[Post_Leak_Comm4]] <<COMMENT>> |
|  |  | [[HMFTSN5]] <<HMFTSN>> [[Post_Leak_Pass5]] <<YESNO>> [[Post_Leak_Comm5]] <<COMMENT>> |
|  |  | [[HMFTSN6]] <<HMFTSN>> [[Post_Leak_Pass6]] <<YESNO>> [[Post_Leak_Comm6]] <<COMMENT>> |