## Slide 1: PPU SCL Systems
May 2021 Trip to JLab
Matt Howell
PPU SCL Systems Manager
Thursday, May 06, 2021

## Slide 2: Observations
Weld Area:
  Great progress, the quality looks amazing!
  Don’t let up even when it seems like we have plenty of cavities in helium vessels
  Having options of which cavities go where can be advantageous to the project
Cavity Assembly and test:
  Really appreciate the effort
  We are having a larger failure rate from the vendor than originally planned so we have a bigger load here
  We had an issue with tanked cavity assembly to test
    Having issues early is really a blessing even though I know it doesn’t seem like that
    Hopefully, that is behind us but we’ll see over the next few cavities
  Keep diligent

## Slide 3: Observations Cont’d
Cold Mass Assembly:
  The first cold mass looks good. Glad to see it coming together
  As we go, it is important to work through the little things
    Do we have things in the right order?
    What could get us into trouble?
    Continue to ask and make sure we have things written down and entered in the traveler
Instrumentation:
  I really liked the design. It’s better than the original.
  I still worry about tracking the Cernox Sensors from the sensor to the pin connector.
  We had good questions come up about FPC instrumentation and the instrumentation panel
    The team worked to resolve it

## Slide 4: Observations Cont’d
General observations:
  There is a real stress on the work force due to Covid. Communication can be an issue. Be patient.
  There are many projects ongoing so distractions and starts and stops in working on a particular item are a concern.
  There is a tendency to say “we’ll figure that out when we get to it”. It is unlikely that shipping is going to be a problem on PPU but what is going to be a problem?
  Procurement effort has been stellar during the pandemic. I think the vacuum vessel looks is the best one I have ever seen.
  Thank you for the effort and hospitality! We are a team from JLab to SNS. We want you to be successful and will work with you to make it that way.