## Slide 1: Three bars test update
Ye Tian
Shandong University
5/11/2017

## Slide 2: Time walk correction
1/
1/
TDC channel

## Slide 3: Time walk correction
Processing and cut
Hit position cut
Time walk correction
Low signal and high signal cut
TDC channel

## Slide 4: Reference PMT problem
Time distribution of reference bar which is used for trigger is too wide, it should be a constant(time difference between trigger time and trigger PMT).

## Slide 5: Time difference between two outputs from Fan in-out of one PMT signal
TDC channel
Problem maybe caused from same reason as previous slide.
Need to check plug-in board.

## Slide 6: Time resolution with trigger PMT FADC cut
FADC integral channel <6000
FADC integral channel 4000~5000
Time resolution: 4.441* 35ps *
Time resolution: 3.388* 35ps *

## Slide 7: Vince’s result
The HV of PMT in run 1484 is 100V larger than 1480
Also the HV of PMT in run 1487 is 100V larger than 1484