## Slide 1: First shashlyk module cosmic test result
Chendi Shen
2016.9.8

## Slide 2
Silver shine 415001 painting
The end of fiber has painted reflective material(silver shine 415001)

## Slide 3
Cosmic test
PMT1
PMT2
PMT3
ECal
PMT0
fan-in/
fan-out
discriminator
coincidence apparatus
TDC
QDC
gate
gate
discriminator
oscilloscope

## Slide 4
Cosmic test
4cm*2cm*1cm
25cm*5cm*5cm
10cm*5cm*4cm
ECal
3CM
1M
ECal
3CM
23CM

## Slide 5
Vertical Test result
Triggered by two scintillators
PMT1
PMT2
PMT3
ECal
PMT0
Gain of PMT:
QDC: 0.1pc/channel
Peak is 424.9

## Slide 6
Vertical Test result
Triggered by three scintillators
PMT1
PMT2
PMT3
ECal
PMT0
Peak is 472

## Slide 7
ECal
3CM
23CM
Horizontal Result
Triggered by two scintillators
Peak is 96.2

## Slide 8
ECal
3CM
23CM
Vertical Test result
Triggered by three scintillators
Peak is 95.9

## Slide 9: Thank You ! ! !