## Slide 1: LASPD time resolution test update
Ye Tian(SDU), Jixie Zhang
09/28/2017

## Slide 2: Test setup
LASPD
Trigger bar
0.75”
Narrow side
PMT4
Wide side
PMT1
1.75”
2”
2”
PMT0(top) and PMT2(bottom)
PMT3(top) and PMT5(bottom)

## Slide 3: Time walk correction for non-trigger bar

## Slide 4: Time vs. 1/ for trigger bar(top)
The same method but not work.

## Slide 5: Time walk correction for trigger bar(top)
Time resolution is calculated as
-
X and Y axis are slopes of two PMTs in trigger bar,
time resolution unit: ns
Result without FADC integral signal cut

## Slide 6: FADC channel Integral cut need all 6 PMTs satisfy the cut
>2800
>2000
>2000
>2000

## Slide 7: Time resolution of single PMT readout(wide side, right)
Fitting: Y=p0*X+p1
-t1
sigma
Hit position on SPD
Time resolution after correction

## Slide 8: Time resolution of single PMT readout(narrow side, left)
-t4
8cm in vertical

## Slide 9: Narrow side(near) add Y direction cut(from 8cm to 4cm)
-t4
4cm in vertical

## Slide 10: Narrow side(near) consider hit distance to PMT(8cm cut data)
The distance between PMT window and first dynode which is about 3cm is considered in calculation, and the time resolution result is just a little better.

## Slide 11: Parallel test setup
LASPD
Trigger bar
Narrow side
PMT4
Wide side
PMT1
PMT0 and PMT2
PMT3 and PMT5

## Slide 12
Time resolution of single PMT readout(wide side)

## Slide 13
Time resolution of single PMT readout(narrow side)

## Slide 14: Time walk for PMTs at trigger PMT side
Since the incidence angle of comic ray is small, so the time distribution is narrow.

## Slide 15
Time walk for PMTs at trigger PMT side
Not like trigger PMT side, the time distribution of these PMTs are hit position related.

## Slide 16: Raw histogram of hit position vs. time difference left: 8cm cut in y direction right: 4cm cut in y direction