## Slide 1: Pictures from TRIUMF’s 300kV thermionic cathode RF grid gated electron gun
Carlos’ visit, Nov 20-21 2017

## Slide 2: Behold, the Cyclotron!

## Slide 4: This is why they want a high brightness gun: Make THz or IR light!
Blue: e-LINAC with present 300kV pulsed RF gun

## Slide 5: Gun cross section (F. Ames, et al, LINAC 2016)

## Slide 6: This is the concept of the thermionic grid RF gated gun

## Slide 7: Bunch extraction scheme using RF gated grid

## Slide 8: Glassman HVPS inside a Faraday cage

## Slide 9: The cable connecting the HVPS to the gun is stripped of the ground shield to minimize stored energy

## Slide 10: This is the RF input feed to the SF6 tank

## Slide 11: Gun ceramic insulator and ceramic rod RF waveguide

## Slide 12: RF is transmitted through a solid ceramic rod, this is a 1/3 scale test using nylon!

## Slide 13: Gun RF tuner feed, it’s complicated…has three internal ‘transformers’ to manage reflections back to the power supplies
RF input
Cathode PS
RF to cathode

## Slide 15: Coupling RF to the gridded cathode (grid, cathode power, and ground)
This connector plugs directly behind the thermionic cathode flange

## Slide 16: They use Helmholtz coils all around the beamline to compensate for the cyclotron’s B-field!

## Slide 17: Magnetic field?...anyone?

## Slide 18: Shielding for viewer cameras

## Slide 19: SF6 storage bag on top of the cage. SF6 set to 30 psi in the gun tank

## Slide 20: This is a miniature model of one of the user beamlines

## Slide 21: They deliver isotope beams at various elevations (miniature model)

## Slide 22: Don’t destroy the turbos!

## Slide 23: Mass spectrometer (RGA) up to 500 amu!?